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Table S1. Characteristics, distribution and results of all the wild deer serum samples (n=189) tested in the present study. A) Subset of 119 samples tested with the cELISA kits Bio K218 and ID Screen to assess diagnostic test efficacy. B)  Remaining 70 samples tested only with the ID Screen kit to calculate the overall N. caninum seroprevalence. %INH = % inhibition, S/N% = % sample/negative control.


Table S1 
A)
	Host ID
	Deer species
	Location
	Bio K218
	ID Screen

	
	
	
	%INH
	Result
	S/N%
	Result

	VIC001
	Sambar
	Victoria
	49.58
	Positive
	134.13
	Negative

	VIC002
	Sambar
	Victoria
	94.85
	Positive
	16.11
	Positive

	VIC003
	Sambar
	Victoria
	94.02
	Positive
	134.13
	Negative

	VIC004
	Sambar
	Victoria
	54.91
	Positive
	128.88
	Negative

	VIC005
	Sambar
	Victoria
	37.82
	Positive
	133.53
	Negative

	VIC006
	Sambar
	Victoria
	59.58
	Positive
	131.86
	Negative

	VIC007
	Sambar
	Victoria
	47.52
	Positive
	139.50
	Negative

	VIC008
	Sambar
	Victoria
	50.97
	Positive
	123.27 
	Negative

	VIC009
	Sambar
	Victoria
	34.42
	Positive
	109.19
	Negative

	VIC010
	Sambar
	Victoria
	39.09
	Positive
	134.73
	Negative

	VIC011
	Sambar
	Victoria
	39.27
	Positive
	150.60
	Negative

	VIC012
	Sambar
	Victoria
	23.09
	Negative
	125.06
	Negative

	VIC013
	Sambar
	Victoria
	22.93
	Negative
	129.59
	Negative

	VIC014
	Sambar
	Victoria
	34.12
	Positive
	154.77
	Negative

	VIC015
	Sambar
	Victoria
	32.20
	Negative
	129.83
	Negative

	VIC016
	Sambar
	Victoria
	25.29
	Negative
	128.76
	Negative

	VIC017
	Sambar
	Victoria
	77.45
	Positive
	9.07
	Positive

	VIC018
	Sambar
	Victoria
	30.17
	Negative
	143.20
	Negative

	VIC019
	Sambar
	Victoria
	12.45
	Negative
	144.51
	Negative

	VIC020
	Sambar
	Victoria
	25.12
	Negative
	118.74
	Negative

	VIC021
	Sambar
	Victoria
	43.06
	Positive
	125.71
	Negative

	VIC022
	Sambar
	Victoria
	37.25
	Positive
	126.39
	Negative

	VIC023
	Sambar
	Victoria
	26.55
	Negative
	116.94
	Negative

	VIC024
	Sambar
	Victoria
	16.68
	Negative
	122.79
	Negative

	VIC025
	Sambar
	Victoria
	14.48
	Negative
	104.18
	Negative

	VIC026
	Sambar
	Victoria
	85.21
	Positive
	123.15
	Negative

	VIC027
	Sambar
	Victoria
	10.73
	Negative
	138.90
	Negative

	VIC028
	Sambar
	Victoria
	19.82
	Negative
	137.71
	Negative

	VIC029
	Sambar
	Victoria
	92.42
	Positive
	115.87
	Negative

	VIC030
	Sambar
	Victoria
	65.39
	Positive
	120.53
	Negative

	VIC031
	Sambar
	Victoria
	6.36
	Negative
	88.31
	Negative

	VIC032
	Sambar
	Victoria
	9.43
	Negative
	115.97
	Negative

	VIC033
	Sambar
	Victoria
	18.87
	Negative
	110.27
	Negative

	VIC034
	Sambar
	Victoria
	10.75
	Negative
	137.11
	Negative

	VIC035
	Sambar
	Victoria
	40.85
	Positive
	101.72
	Negative

	VIC036
	Sambar
	Victoria
	48.06
	Positive
	133.51
	Negative

	VIC037
	Sambar
	Victoria
	44.42
	Positive
	121.29
	Negative

	VIC038
	Sambar
	Victoria
	21.76
	Negative
	121.48
	Negative

	VIC039
	Sambar
	Victoria
	33.33
	Positive
	108.32
	Negative

	VIC040
	Sambar
	Victoria
	30.85
	Negative
	112.97
	Negative

	VIC041
	Sambar
	Victoria
	44.42
	Positive
	116.27
	Negative

	VIC042
	Sambar
	Victoria
	41.70
	Positive
	118.82
	Negative

	VIC043
	Fallow
	Victoria
	32.04
	Negative
	109.43
	Negative

	VIC044
	Fallow
	Victoria
	60.39
	Positive
	116.11
	Negative

	VIC045
	Sambar
	Victoria
	39.50
	Positive
	101.87
	Negative

	VIC046
	Sambar
	Victoria
	36.81
	Positive
	109.60
	Negative

	VIC047
	Sambar
	Victoria
	72.68
	Positive
	167.54
	Negative

	VIC048
	Sambar
	Victoria
	33.08
	Positive
	131.62
	Negative

	VIC049
	Sambar
	Victoria
	60.34
	Positive
	34.13
	Positive

	VIC050
	Sambar
	Victoria
	68.84
	Positive
	41.53
	Positive

	VIC051
	Sambar
	Victoria
	42.57
	Positive
	127.74
	Negative

	VIC052
	Sambar
	Victoria
	35.93
	Positive
	120.61
	Negative

	VIC053
	Red 
	Victoria
	44.82
	Positive
	111.54
	Negative

	VIC054
	Red 
	Victoria
	45.20
	Positive
	106.45
	Negative

	VIC055
	Red 
	Victoria
	41.52
	Positive
	100.37
	Negative

	VIC056
	Red 
	Victoria
	40.15
	Positive
	129.39
	Negative

	VIC057
	Sambar
	Victoria
	22.27
	Negative
	115.59
	Negative

	VIC058
	Sambar
	Victoria
	35.98
	Positive
	111.62
	Negative

	VIC059
	Sambar
	Victoria
	37.74
	Positive
	115.22
	Negative

	VIC060
	Red 
	Victoria
	40.04
	Positive
	89.96
	Negative

	VIC061
	Red 
	Victoria
	25.73
	Negative
	110.72
	Negative

	VIC062
	Sambar
	Victoria
	25.18
	Negative
	120.09
	Negative

	VIC063
	Sambar
	Victoria
	33.02
	Positive
	131.98
	Negative

	VIC064
	Sambar
	Victoria
	7.62
	Negative
	124.34
	Negative

	VIC065
	Sambar
	Victoria
	14.26
	Negative
	120.61
	Negative

	VIC066
	Sambar
	Victoria
	30.12
	Negative
	117.02
	Negative

	VIC067
	Sambar
	Victoria
	26.77
	Negative
	116.27
	Negative

	VIC068
	Sambar
	Victoria
	26.77
	Negative
	110.12
	Negative

	VIC069
	Sambar
	Victoria
	33.46
	Positive
	131.15
	Negative

	VIC070
	Red 
	Victoria
	28.85
	Negative
	116.27
	Negative

	VIC071
	Red 
	Victoria
	28.85
	Negative
	101.20
	Negative

	VIC072
	Fallow
	Victoria
	8.56
	Negative
	97.90
	Negative

	VIC073
	Sambar
	Victoria
	5.27
	Negative
	122.19
	Negative

	VIC074
	Sambar
	Victoria
	19.09
	Negative
	127.66
	Negative

	VIC075
	Fallow
	Victoria
	15.19
	Negative
	105.40
	Negative

	VIC076
	Fallow
	Victoria
	26.88
	Negative
	98.88
	Negative

	VIC077
	Fallow
	Victoria
	5.65
	Negative
	103.07
	Negative

	VIC078
	Fallow
	Victoria
	15.30
	Negative
	114.44
	Negative

	VIC079
	Sambar
	Victoria
	27.21
	Negative
	100.45
	Negative

	VIC080
	Fallow
	Victoria
	21.28
	Negative
	118.82
	Negative

	VIC081
	Fallow
	Victoria
	26.60
	Negative
	103.90
	Negative

	VIC082
	Fallow
	Victoria
	13.22
	Negative
	115.44
	Negative

	VIC083
	Fallow
	Victoria
	16.90
	Negative
	117.17
	Negative

	VIC084
	Fallow
	Victoria
	23.26
	Negative
	108.02
	Negative

	VIC085
	Sambar
	Victoria
	41.80
	Positive
	133.05
	Negative

	VIC086
	Sambar
	Victoria
	23.53
	Negative
	110.34
	Negative

	VIC087
	Sambar
	Victoria
	16.46
	Negative
	109.90
	Negative

	VIC088
	Sambar
	Victoria
	28.36
	Negative
	118.14
	Negative

	VIC089
	Sambar
	Victoria
	20.44
	Negative
	112.59
	Negative

	NSW300
	Fallow
	New South Wales
	36.89
	Positive
	99.16
	Negative

	NSW301
	Fallow
	New South Wales
	32.46
	Negative
	109.66
	Negative

	NSW302
	Fallow
	New South Wales
	34.75
	Positive
	117.20
	Negative

	NSW303
	Fallow
	New South Wales
	29.06
	Negative
	103.92
	Negative

	NSW304
	Fallow
	New South Wales
	35.45
	Positive
	106.16
	Negative

	NSW305
	Fallow
	New South Wales
	30.92
	Negative
	108.63
	Negative

	NSW306
	Fallow
	New South Wales
	30.36
	Negative
	104.28
	Negative

	NSW307
	Fallow
	New South Wales
	20.29
	Negative
	98.25
	Negative

	NSW308
	Fallow
	New South Wales
	39.65
	Positive
	105.61
	Negative

	NSW309
	Fallow
	New South Wales
	26.21
	Negative
	105.01
	Negative

	NSW310
	Fallow
	New South Wales
	35.31
	Positive
	115.87
	Negative

	NSW311
	Fallow
	New South Wales
	31.16
	Negative
	99.09
	Negative

	NSW312
	Fallow
	New South Wales
	38.81
	Positive
	103.98
	Negative

	NSW313
	Fallow
	New South Wales
	28.96
	Negative
	109.05
	Negative

	NSW314
	Fallow
	New South Wales
	28.36
	Negative
	84.19
	Negative

	NSW315
	Fallow
	New South Wales
	32.28
	Negative
	97.71
	Negative

	NSW316
	Fallow
	New South Wales
	25.14
	Negative
	92.09
	Negative

	NSW317
	Fallow
	New South Wales
	32.74
	Negative
	92.28
	Negative

	NSW318
	Fallow
	New South Wales
	26.54
	Negative
	105.25
	Negative

	NSW319
	Fallow
	New South Wales
	21.22
	Negative
	107.60
	Negative

	NSW320
	Fallow
	New South Wales
	24.49
	Negative
	95.29
	Negative

	NSW321
	Fallow
	New South Wales
	17.91
	Negative
	111.29
	Negative

	NSW322
	Fallow
	New South Wales
	21.46
	Negative
	97.65
	Negative

	NSW323
	Fallow
	New South Wales
	22.76
	Negative
	94.93
	Negative

	NSW330
	Fallow
	New South Wales
	16.70
	Negative
	91.07
	Negative

	NSW331
	Fallow
	New South Wales
	13.43
	Negative
	94.51
	Negative

	NSW332
	Fallow
	New South Wales
	24.77
	Negative
	96.38
	Negative

	NSW333
	Fallow
	New South Wales
	13.15
	Negative
	99.03
	Negative

	NSW334
	Fallow
	New South Wales
	11.57
	Negative
	97.40
	Negative

	NSW335
	Fallow
	New South Wales
	16.65
	Negative
	110.44
	Negative



B)
	Host ID
	Deer species
	Location
	ID Screen

	
	
	
	S/N%
	Result

	NSW324
	Fallow
	New South Wales
	111.01
	Negative

	NSW325
	Fallow
	New South Wales
	122.12
	Negative

	NSW326
	Fallow
	New South Wales
	106.21
	Negative

	NSW327
	Fallow
	New South Wales
	122.29
	Negative

	NSW328
	Fallow
	New South Wales
	121.77
	Negative

	NSW329
	Fallow
	New South Wales
	121.77
	Negative

	NSW336
	Fallow
	New South Wales
	143.47
	Negative

	NSW337
	Fallow
	New South Wales
	143.47
	Negative

	NSW338
	Fallow
	New South Wales
	140.51
	Negative

	NSW339
	Fallow
	New South Wales
	134.60
	Negative

	NSW340
	Fallow
	New South Wales
	140.34
	Negative

	NSW341
	Fallow
	New South Wales
	128.95
	Negative

	NSW342
	Fallow
	New South Wales
	127.43
	Negative

	NSW343
	Fallow
	New South Wales
	131.14
	Negative

	NSW344
	Fallow
	New South Wales
	120.01 
	Negative

	NSW345
	Fallow
	New South Wales
	125.82
	Negative

	NSW346
	Fallow
	New South Wales
	139.66
	Negative

	NSW347
	Fallow
	New South Wales
	135.36
	Negative

	NSW348
	Fallow
	New South Wales
	142.45
	Negative

	NSW349
	Fallow
	New South Wales
	131.56
	Negative

	NSW350
	Fallow
	New South Wales
	115.61
	Negative

	NSW351
	Fallow
	New South Wales
	137.47
	Negative

	NSW352
	Fallow
	New South Wales
	33.33
	Positive

	NSW353
	Fallow
	New South Wales
	124.47
	Negative

	NSW354
	Fallow
	New South Wales
	133.00
	Negative

	NSW355
	Fallow
	New South Wales
	130.38
	Negative

	NSW356
	Fallow
	New South Wales
	140.84
	Negative

	NSW357
	Fallow
	New South Wales
	128.61
	Negative

	NSW358
	Fallow
	New South Wales
	133.42
	Negative

	NSW359
	Fallow
	New South Wales
	137.30
	Negative

	NSW360
	Fallow
	New South Wales
	118.14
	Negative

	NSW361
	Fallow
	New South Wales
	134.48
	Negative

	NSW362
	Fallow
	New South Wales
	131.03
	Negative

	NSW363
	Fallow
	New South Wales
	131.03
	Negative

	NSW364
	Fallow
	New South Wales
	131.56
	Negative

	NSW365
	Fallow
	New South Wales
	131.56
	Negative

	NSW366
	Fallow
	New South Wales
	137.20
	Negative

	NSW367
	Sambar
	New South Wales
	137.20
	Negative

	NSW368
	Sambar
	New South Wales
	118.70
	Negative

	NSW369
	Fallow
	New South Wales
	118.70
	Negative

	NSW370
	Fallow
	New South Wales
	114.94
	Negative

	NSW371
	Fallow
	New South Wales
	114.94
	Negative

	NSW372
	Fallow
	New South Wales
	96.55
	Negative

	NSW373
	Fallow
	New South Wales
	96.55
	Negative

	NSW374
	Fallow
	New South Wales
	127.90
	Negative

	NSW375
	Fallow
	New South Wales
	127.90
	Negative

	NSW376
	Fallow 
	New South Wales
	108.88
	Negative

	NSW377
	Fallow 
	New South Wales
	108.88
	Negative

	NSW378
	Red 
	New South Wales
	163.85
	Negative

	NSW379
	Red 
	New South Wales
	163.85
	Negative

	NSW380
	Red 
	New South Wales
	126.40
	Negative

	NSW381
	Red 
	New South Wales
	121.85
	Negative

	NSW382
	Red 
	New South Wales
	114.60
	Negative

	NSW383
	Sambar 
	New South Wales
	113.37
	Negative

	NSW384
	Red 
	New South Wales
	116.43
	Negative

	VIC90
	Sambar 
	Victoria
	138.14
	Negative

	VIC91
	Sambar 
	Victoria
	165.99
	Negative

	VIC92
	Sambar 
	Victoria
	133.67
	Negative

	VIC93
	Fallow 
	Victoria
	137.72
	Negative

	VIC94
	Fallow 
	Victoria
	135.11
	Negative

	VIC95
	Fallow 
	Victoria
	117.76
	Negative

	VIC96
	Fallow 
	Victoria
	129.36
	Negative

	VIC97
	Fallow 
	Victoria
	129.36
	Negative

	VIC98
	Fallow 
	Victoria
	128.42
	Negative

	VIC99
	Sambar
	Victoria
	128.42
	Negative

	VIC100
	Fallow
	Victoria
	127.48
	Negative

	VIC101
	Fallow
	Victoria
	127.48
	Negative

	VIC102
	Fallow
	Victoria
	123.25
	Negative

	VIC103
	Sambar
	Victoria
	26.75
	Positive

	VIC104
	Sambar
	Victoria
	17.14
	Positive



