Supplementary Information

Determination of multi-pesticides residues in jasmine flower and its scented tea

Food Analytical Methods

Yilu Zhou, Yangliu Wu, Wenbo Zeng, Quanshun An, Guanyu Chen, Canping Pan*

Innovation Center of Pesticide Research, Department of Applied Chemistry, College of Science, China Agricultural University, 100193, Beijing, P. R. China.

*Corresponding author:

Canping Pan, China Agricultural University, 2 Yuanmingyuan West Road, Haidian District, 100193, Beijing, P. R. China.

E-mail: canpingp@cau.edu.cn; Fax: +86-10-62733620; Tel: +86-10-62731978

Fig.S1 The UHPLC-MS/MS chromatograms of a blank mixed standard solution of 25 pesticides (0.1 mg L-1)

Table S1 Comparison of the m-PFC with the d-SPE method in scented tea

| Pesticide | Recovery, % (5 mg kg-1, n=5) |  | RSD, % (5 mg kg-1, n=5) |  |
| --- | --- | --- | --- | --- |
|  | d-SPE | m-PFC | d-SPE | m-PFC |
| methamidophos | 36 | 70 | 5.3 | 3.7 |
| dinotefuran | 111 | 79 | 6.2 | 0.84 |
| thiamethoxam | 70 | 83 | 12 | 5.0 |
| imidacloprid | 79 | 89 | 6.2 | 2.0 |
| clothianidin | 77 | 84 | 8.4 | 2.4 |
| acetamiprid | 84 | 91 | 4.3 | 1.1 |
| thiacloprid | 82 | 91 | 5.0 | 1.5 |
| aldicarb | 75 | 85 | 12 | 1.0 |
| carbofuran | 93 | 98 | 3.7 | 1.7 |
| carbaryl | 83 | 90 | 6.7 | 1.0 |
| isocarbophos | 96 | 100 | 2.2 | 3.1 |
| malathion | 96 | 100 | 2.0 | 1.6 |
| fenitrothion | 97 | 99 | 2.1 | 0.94 |
| triazophos | 97 | 100 | 1.7 | 1.0 |
| indoxacarb | 101 | 102 | 2.3 | 1.9 |
| buprofezin | 101 | 99 | 1.8 | 1.1 |
| chlorpyrifos | 96 | 97 | 2.3 | 1.6 |
| fenpropathrin | 99 | 97 | 1.7 | 1.7 |
| cyhalothrin | 110 | 101 | 2.3 | 3.1 |
| cypermethrin | 106 | 99 | 1.4 | 0.33 |
| deltamethrin | 108 | 97 | 1.9 | 0.78 |
| fenvalerate | 119 | 98 | 1.2 | 2.6 |
| carbosulfan | 75 | 91 | 3.5 | 3.5 |
| bifenthrin | 112 | 98 | 2.1 | 1.5 |

Table S2 Recoveries (%) and RSD (%) (n=5) for samples spiked at three levels and R2 of 25 pesticides in jasmine flower

|  | Spiked 0.01 mg kg-1 |  | Spiked 0.1 mg kg-1 |  | Spiked 5 mg kg-1 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Pesticide | Recovery (%) | RSD (%) | Recovery (%) | RSD (%) | Recovery (%) | RSD (%) | R2 |
| methamidophos | 74 | 5.5 | 64 | 0.91 | 73 | 1.6 | 0.9999 |
| dinotefuran | 91 | 2.4 | 85 | 4.1 | 83 | 1.8 | 0.9996 |
| methomyl | 86 | 4.3 | 93 | 5.8 | 91 | 2.1 | 0.9989 |
| thiamethoxam | 97 | 3.4 | 97 | 3.3 | 94 | 0.66 | 0.9991 |
| imidacloprid | 106 | 3.3 | 102 | 2.0 | 92 | 2.3 | 0.9981 |
| clothianidin | 94 | 3.6 | 95 | 2.6 | 91 | 2.3 | 0.9986 |
| acetamiprid | 90 | 3.9 | 90 | 4.4 | 94 | 2.5 | 0.9988 |
| thiacloprid | 79 | 5.8 | 78 | 5.5 | 91 | 3.9 | 0.9970 |
| aldicarb | 86 | 4.8 | 87 | 7.9 | 92 | 4.8 | 0.9983 |
| carbofuran | 74 | 7.2 | 77 | 10 | 91 | 7.6 | 0.9976 |
| carbaryl | 83 | 8.6 | 68 | 9.0 | 84 | 10 | 0.9962 |
| isocarbophos | 93 | 2.2 | 78 | 6.1 | 89 | 7.6 | 0.9994 |
| malathion | 93 | 5.3 | 95 | 2.3 | 95 | 3.1 | 0.9999 |
| fenitrothion | 65 | 5.0 | 89 | 4.6 | 100 | 1.2 | 0.9999 |
| triazophos | 98 | 2.7 | 99 | 4.5 | 97 | 2.8 | 0.9999 |
| indoxacarb | 99 | 1.4 | 100 | 2.3 | 99 | 1.5 | 0.9996 |
| buprofezin | 95 | 4.9 | 90 | 3.5 | 91 | 2.8 | 0.9999 |
| chlorpyrifos | 97 | 0.58 | 96 | 3.2 | 91 | 2.5 | 0.9995 |
| fenpropathrin | 92 | 3.7 | 93 | 2.4 | 93 | 2.9 | 0.9994 |
| cyhalothrin | 98 | 2.1 | 100 | 3.1 | 95 | 3.0 | 0.9995 |
| cypermethrin | 96 | 3.4 | 102 | 2.4 | 91 | 1.3 | 0.9994 |
| deltamethrin | 92 | 2.4 | 90 | 3.8 | 92 | 2.5 | 0.9983 |
| fenvalerate | 89 | 2.4 | 102 | 1.6 | 92 | 2.0 | 0.9987 |
| carbosulfan | 88 | 2.8 | 77 | 0.80 | 87 | 2.4 | 0.9983 |
| bifenthrin | 89 | 0.80 | 94 | 2.5 | 91 | 2.2 | 0.9987 |

Table S3 Matrix-matched standards, linear range, ME and LOQ of 25 pesticides in jasmine flower

| Pesticide | Matrix-matched standards | Linear range (mg L-1) | ME | LOQ (mg kg-1) |
| --- | --- | --- | --- | --- |
| methamidophos | y = 489757x - 1022 | 0.002-1 | 0.18 | 0.01 |
| dinotefuran | y = 314161x + 5367 | 0.002-1 | 0.13 | 0.01 |
| methomyl | y = 224677x - 674 | 0.002-1 | 0.10 | 0.01 |
| thiamethoxam | y = 533768x + 113798 | 0.002-1 | 0.23 | 0.01 |
| imidacloprid | y = 317033x + 17614 | 0.002-1 | 0.15 | 0.01 |
| clothianidin | y = 166613x + 10167 | 0.002-1 | 0.17 | 0.01 |
| acetamiprid | y = 884766x + 116738 | 0.002-1 | 0.082 | 0.01 |
| thiacloprid | y = 871468x - 7982 | 0.002-1 | 0.059 | 0.01 |
| aldicarb | y = 180450x - 1238 | 0.002-1 | 0.031 | 0.01 |
| carbofuran | y = 4366852x - 30445 | 0.002-1 | 0.14 | 0.01 |
| carbaryl | y = 2276660x - 29395 | 0.002-1 | 0.10 | 0.01 |
| isocarbophos | y = 49581 x + 449 | 0.002-1 | 0.15 | 0.01 |
| malathion | y = 6069575x - 6164 | 0.002-1 | 0.67 | 0.01 |
| fenitrothion | y = 87374x - 37 | 0.002-1 | 1.2 | 0.01 |
| triazophos | y = 22350935x + 591261 | 0.002-1 | 0.67 | 0.01 |
| indoxacarb | y = 1215719x - 2018 | 0.002-1 | 0.87 | 0.01 |
| buprofezin | y = 11143393x + 4008 | 0.002-1 | 0.46 | 0.01 |
| chlorpyrifos | y = 1126220x + 32526 | 0.002-1 | 0.37 | 0.01 |
| fenpropathrin | y = 1063949x - 3779 | 0.002-1 | 0.50 | 0.01 |
| cyhalothrin | y = 145609x + 22612 | 0.002-1 | 0.40 | 0.01 |
| cypermethrin | y = 294507x + 16677 | 0.002-1 | 0.36 | 0.01 |
| deltamethrin | y = 304515x + 563 | 0.002-1 | 0.33 | 0.01 |
| fenvalerate | y = 65169x + 947 | 0.002-1 | 0.40 | 0.01 |
| carbosulfan | y = 4650446x - 48528 | 0.002-1 | 0.43 | 0.01 |
| bifenthrin | y = 676201x + 8702 | 0.002-1 | 0.16 | 0.01 |

Table S4 Recoveries (%) and RSD (%) (n=5) for samples spiked at three levels and R2 of 25 pesticides in scented tea

|  | Spiked 0.05 mg kg-1 |  | Spiked 0.5 mg kg-1 |  | Spiked 5 mg kg-1 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Pesticide | Recovery (%) | RSD (%) | Recovery (%) | RSD (%) | Recovery (%) | RSD (%) | R2 |
| methamidophos | 72 | 3.0 | 90 | 3.9 | 70 | 3.7 | 0.9992 |
| dinotefuran | 85 | 7.3 | 87 | 2.5 | 79 | 0.84 | 0.9959 |
| methomyl | - | - | - | - | - | - | - |
| thiamethoxam | 99 | 8.8 | 98 | 2.4 | 83 | 5.0 | 0.9936 |
| imidacloprid | 83 | 5.4 | 90 | 4.3 | 89 | 2.0 | 0.9989 |
| clothianidin | 88 | 6.0 | 72 | 3.8 | 84 | 2.4 | 0.9999 |
| acetamiprid | 96 | 2.4 | 91 | 4.4 | 91 | 1.1 | 0.9996 |
| thiacloprid | 90 | 3.1 | 83 | 2.8 | 91 | 1.5 | 0.9996 |
| aldicarb | 99 | 4.2 | 65 | 6.6 | 85 | 1.0 | 0.9971 |
| carbofuran | 96 | 2.0 | 91 | 1.5 | 98 | 1.7 | 0.9999 |
| carbaryl | 95 | 2.8 | 73 | 2.1 | 90 | 1.0 | 0.9989 |
| isocarbophos | 93 | 6.7 | 89 | 2.9 | 100 | 3.1 | 0.9994 |
| malathion | 97 | 3.6 | 95 | 0.59 | 100 | 1.6 | 0.9999 |
| fenitrothion | 96 | 7.1 | 101 | 3.4 | 99 | 0.94 | 0.9985 |
| triazophos | 91 | 1.7 | 98 | 2.3 | 100 | 0.95 | 0.9999 |
| indoxacarb | 98 | 2.8 | 104 | 1.1 | 102 | 1.9 | 0.9999 |
| buprofezin | 97 | 3.1 | 98 | 1.1 | 99 | 1.1 | 0.9997 |
| chlorpyrifos | 94 | 0.74 | 96 | 1.1 | 97 | 1.6 | 0.9997 |
| fenpropathrin | 95 | 1.9 | 99 | 1.1 | 97 | 1.7 | 0.9998 |
| cyhalothrin | 91 | 4.3 | 96 | 0.51 | 101 | 3.1 | 0.9999 |
| cypermethrin | 94 | 1.4 | 96 | 2.8 | 99 | 0.33 | 0.9997 |
| deltamethrin | 91 | 5.0 | 92 | 1.7 | 97 | 0.78 | 0.9999 |
| fenvalerate | 89 | 4.0 | 108 | 3.3 | 98 | 2.6 | 0.9998 |
| carbosulfan | 91 | 5.2 | 108 | 5.7 | 91 | 3.5 | 0.9942 |
| bifenthrin | 98 | 3.5 | 103 | 1.5 | 98 | 1.5 | 0.9997 |
| - no reliable value |  |  |  |  |  |  |  |

Table S5 Matrix-matched standards, linear range, ME and LOQ of 25 pesticides in scented tea

| Pesticide | Matrix-matched standards | Linear range (mg L-1) | ME | LOQ (mg kg-1) |  |
| --- | --- | --- | --- | --- | --- |
| methamidophos | y = 6626x - 85 | 0.01-1 | 0.011 | 0.05 |  |
| dinotefuran | y = 6653x + 71 | 0.01-1 | 0.0074 | 0.05 |  |
| methomyl | - | - | - | - |  |
| thiamethoxam | y = 1345x + 72 | 0.01-1 | 0.0015 | 0.05 |  |
| imidacloprid | y = 4687x + 387 | 0.01-1 | 0.014 | 0.05 |  |
| clothianidin | y = 2468x + 73 | 0.01-1 | 0.0072 | 0.05 |  |
| acetamiprid | y = 98859x + 15349 | 0.01-1 | 0.047 | 0.05 |  |
| thiacloprid | y = 169002x + 166 | 0.01-1 | 0.064 | 0.05 |  |
| aldicarb | y = 35293x - 315 | 0.01-1 | 0.055 | 0.05 |  |
| carbofuran | y = 1442804x + 3483 | 0.01-1 | 0.31 | 0.05 |  |
| carbaryl | y = 591240x - 2765 | 0.01-1 | 0.24 | 0.05 |  |
| isocarbophos | y = 15239x + 150 | 0.01-1 | 0.38 | 0.05 |  |
| malathion | y = 696887x + 924 | 0.01-1 | 0.65 | 0.05 |  |
| fenitrothion | y = 8054x + 224 | 0.01-1 | 0.66 | 0.05 |  |
| triazophos | y = 3512118x + 76518 | 0.01-1 | 0.66 | 0.05 |  |
| indoxacarb | y = 155759x + 3920 | 0.01-1 | 0.84 | 0.05 |  |
| buprofezin | y = 2586536x + 180580 | 0.01-1 | 0.71 | 0.05 |  |
| chlorpyrifos | y = 193981x + 17398 | 0.01-1 | 0.70 | 0.05 |  |
| fenpropathrin | y = 201930x + 36593 | 0.01-1 | 0.67 | 0.05 |  |
| cyhalothrin | y = 36923x + 5343 | 0.01-1 | 1.1 | 0.05 |  |
| cypermethrin | y = 71014x + 6185 | 0.01-1 | 0.71 | 0.05 |  |
| deltamethrin | y = 52763x + 379 | 0.01-1 | 0.78 | 0.05 |  |
| fenvalerate | y = 11690x + 222 | 0.01-1 | 0.49 | 0.05 |  |
| carbosulfan | y = 42521x + 2300 | 0.01-1 | 0.26 | 0.05 |  |
| bifenthrin | y = 235977x + 66735 | 0.01-1 | 0.31 | 0.05 |  |
| - no reliable value. |  |  |  |  |

Table S6 Analytical results of scented tea samples

| Pesticide | Numbers of positive sample | Detection rate (%) | Residue range (mg kg-1) | Average (mg kg-1) | Median (mg kg-1) | MRLs (mg kg-1) |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | China | EU | CAC |
| methamidophos | 1 | 6.2 | 0.14 | 0.14 | 0.14 | 0.05 | 0.05* | - |
| dinotefuran | 12 | 75.0 | 0.014-4.7 | 1.4 | 1.4 | 20 | - | - |
| thiamethoxam | 10 | 56.2 | 0.38-1.9 | 0.83 | 0.72 | 10 | 20 | 20 |
| imidacloprid | 9 | 56.2 | 0.33-2.4 | 1.3 | 1.3 | 0.5 | 0.05 | 50 |
| clothianidin | 7 | 43.8 | 0.13-0.73 | 0.38 | 0.33 | 10 | 0.7 | 0.7 |
| acetamiprid | 8 | 50.0 | 0.17-3.7 | 1.6 | 1.4 | 10 | 0.05* | - |
| thiacloprid | 9 | 56.2 | 0.090-0.68 | 0.31 | 0.28 | 10 | 10 | - |
| carbofuran | 2 | 12.5 | 0.079-0.15 | 0.11 | 0.11 | 0.02 | 0.05* | - |
| isocarbophos | 1 | 6.2 | 0.70 | 0.70 | 0.70 | 0.05 | - | - |
| triazophos | 2 | 12.5 | 0.052-0.12 | 0.086 | 0.086 | - | 0.02* | - |
| indoxacarb | 6 | 37.5 | 0.094-0.64 | 0.41 | 0.43 | 5 | 5 | 5 |
| buprofezin | 7 | 43.8 | 0.086-0.92 | 0.47 | 0.43 | 10 | 0.05* | 30 |
| chlorpyrifos | 6 | 37.5 | 0.084-3.2 | 0.82 | 0.30 | 2 | 0.01* | 2 |
| fenpropathrin | 3 | 18.8 | 0.19-1.4 | 0.82 | 0.84 | 5 | 2 | 3 |
| cyhalothrin | 11 | 68.8 | 0.30-2.4 | 1.3 | 1.4 | 15 | 0.01* | - |
| cypermethrin | 9 | 56.2 | 0.24-1.1 | 0.60 | 0.51 | 20 | 0.5 | 15 |
| deltamethrin | 9 | 56.2 | 0.033-0.51 | 0.17 | 0.078 | 10 | 5 | 5 |
| fenvalerate | 1 | 6.2 | 0.066 | 0.066 | 0.066 | 0.1 | 0.1* | - |
| bifenthrin | 8 | 50.0 | 0.26-4.4 | 2.2 | 2.5 | 5 | 30 | 30 |
| * lower limit of analytical determination; - no MRL established |  |  |  |  |  |  |  |  |