Outcomes

The primary outcome in our study was global score (GS), calculated by the following formulas, and reflected the overall performances of the TCI system. It has included proportion of time of adequate anesthesia (BIS between 40 and 60) fluctuation of BIS as well as concepts like performance error (PE) and Wobble, as defined below. These data were collected automatically by the data-collecting software provided by Beijing Silugao Medical Technology Co. Ltd.

Performance error (PE) was defined as the difference between the actual value and the set value:

PEij

Median performance error (MDPE):

MDPEi=Median [PEij,j=1,…,Ni]

Median absolute performance error (MDAPE):

MDAPEi=Median [ |PEij|, j=1,…,Ni]

Wobble reflects the intraindividual variability in PE:

Wobbei= [ |PEij-MDPEi|, j=1,…,Ni]

i =subject number; j= jth (one) measurement of observation period; N= total number of measurements during the observation period.

Lower MDAPE, lower Wobble, and higher proportion of time of BIS between 40 and 60, would result in a lower GS, which was represented better performances of the infusion system.

Secondary outcomes included consumption of anesthetics (propofol and remifentanil), time of endotracheal tube removal (from the end of the infusion of intravenous anesthetics to the removal of the endotracheal tube), patients’ MAP, HR, BIS at T1 (5 minutes after intubation), T2 (10 minutes after intubation), T3 (5 minutes after adjusting to beach chair position), T4 (10 minutes after adjusting to beach chair position), T5 (15 minutes after adjusting to beach chair position), and T6 (20 minutes after adjusting to beach chair position), MMSE scores of the day before operation and the day after operation, serum concentration of GFAP and S100B protein before anesthesia (T0), after extubation (T7) and the day after operation (T8).