Supporting Information

An anthracene and indole-based fluorescent probe for the detection of chromium(III) ions in real water samples

Garen Sunaa and Simay Gunduza*

aOrganic Chemistry Laboratory, Chemistry Group, The Scientific & Technological Research Council of Turkey, National Metrology Institute, (TUBITAK UME), 41470 Gebze, Kocaeli, Turkey simay.gunduz@tubitak.gov.tr

CONTENTS										        PAGE

1.	Effect of pH on ANT–In and Cr3+	2

2.	Time-dependent Fluorescence Change of ANT–In with Cr3+	2

3.	Determination of Detection Limit of Cr3+	2

4.	Calibration curves of real water samples	3

5.	1H and 13C NMR of ANT–In in d6-DMSO	5

6.	HRMS spectrum of ANT–In	6

7.	HRMS spectrum of ANT–In + Cr3+	6

# Effect of pH on ANT–In and Cr3+

Figure S1. Effect of pH on the fluorescence intensity of ANT–In (10 µM) in 7:3 CH3CN/HEPES in the absence (black line) and presence (red line) of Cr3+ (3.0 equiv.)

# Time-dependent Fluorescence Change of ANT–In with Cr3+

| (a) | (b) |
| --- | --- |

Figure S2. Time-dependent fluorescence change of ANT–In (10 µM) in the presence of a) 1.0 equivalent b) 5.0 equivalent of Cr3+ measured in 7:3 CH3CN/HEPES at pH=7.0

# Determination of Detection Limit of Cr3+

The detection limit was calculated based on fluorescence titration. To determine the S/N ratio, the emission intensity of ANT–In (10µM) without Cr3+ was measured 10 times, and the standard deviation of blank measurements was determined. Under the present conditions, a good linear relationship between the fluorescence intensity and Cr3+ concentration could be obtained in the 2 – 8 µM. The detection limit is calculated using the equation: detection limit = 3σbi/m, where σbi is the standard deviation of blank measurements; m is the slope between intensity versus sample concentration. The detection limit was measured to be 1.15µM at S/N = 3.

Figure S3. Fluorescence changes of ANT–In (10 μM) upon addition of Cr3+ (2 to 8 µM, 0.2 to 0.8 equiv.)

# Calibration curves of real water samples

(a)

(b)

Figure S4. Calibration curves of (a) drinking water (b) tap water with Cr3+.

1H-NMR of ANT–In

1H and 13C NMR of ANT–In in d6-DMSO

13C-NMR of ANT–In

# HRMS spectrum of ANT–In

# HRMS spectrum of ANT–In + Cr3+