Fig. S1. Structural analysis of the HPLC fractions. The HPLC fractions and standard pseurotin A (Sigma-Aldrich, USA) were analyzed by LC-MS to identify the molecular structure. The upper panels are HPLC chromatograms, and the lower panels are MS chromatograms of the indicated samples.

Table S1. Gradient protocols used in the HPLC analysis.

Fig. S1.

Table S1. Gradient protocols used in the HPLC analysis.

| A solvent : 20 mM Ammonium formate (pH 5.2) |  |
| --- | --- |
| B solvent : Methanol (>99.9% HPLC grade) |  |
| Time (min) | % B |
| 0.00 | 5 |
| 1.00 | 5 |
| 31.00 | 95 |
| 31.00 | 95 |
| 34.00 | 5 |
| 35.00 | 5 |