Additional file 1: Text S1. Detailed step-by-step description of DNA extraction protocols. Deviations from manufacturer’s instructions are specified (*).

- AllPrep DNA/RNA Mini Kit

- *Start with 100 mg of stool. If the sample is not in any storage buffer proceed to step 2. Otherwise, vortex the sample for 10 sec, centrifuge the tube for 10 min at maximum speed and discard supernatant.

- *Add 110 μl of TE buffer containing lysozyme and proteinase K to the stool pellet and vortex for 10 sec.

- *Incubate at room temperature (15–25°C) for 10 min. Incubate on a shaker or vortex for 10 sec at least every 2 min.

- *Add 1200 μl of RLT Plus w/ β-ME to sample tube and vortex for 10 sec.

- *Transfer sample into a 2 ml sterile bead-beating tube with 1 ml of 0.1mm glass beads. Fill the remaining volume of the tube with RLT Plus w/ β-ME. Place the tube in the bead beater for 3 min.

- *Centrifuge the tube for 5 min at max speed and transfer the supernatant from into a sterile 1.5 ml tube.

- *Centrifuge for 2 min at max speed to remove any additional debris.

- Add the supernatant into a QIAshredder spin column placed in a 2 ml collection tube, and centrifuge for 2 min at max speed.

- Transfer the homogenized lysate to the AllPrep DNA spin column placed in a 2 ml collection tube and centrifuge for 30 sec at ≥ 8,000 x g (≥10,000 rpm).

- Place the AllPrep DNA spin column in a new 2 ml collection tube (supplied), and store at room temperature (15–25°C) or at 4°C.

- Add 500 μl Buffer AW1 to the AllPrep DNA spin column. Centrifuge for 15 sec at ≥ 8,000 x g to wash the spin column membrane. Discard the flow through.

- Add 500 μl Buffer AW2 to the AllPrep DNA spin column. Centrifuge for 2 min at max speed to wash the spin column membrane.

- Place the AllPrep DNA spin column in a new 1.5 ml collection tube. Add 50 μl Buffer 1x low TE or EB to the spin column membrane. Incubate at room temperature (15–25°C) for 1 min and centrifuge for 1 min at ≥ 8,000 x g (≥10,000 rpm) to elute the DNA.

- Repeat the previous step to elute further DNA. To prevent dilution of the first DNA eluate, use a new 1.5 ml collection tube to collect the second DNA eluate and combine them.

- Store the DNA at -20°C

- QIAamp Fast DNA Stool Mini Kit

- Start with 180-220 mg of stool. Transfer the sample to a 2 ml microcentrifuge tube (Safe-Lock tube, Eppendorf).

- Prepare the QIAcube machine for step 8, including the following components: Buffer AL, Buffer AW1, Buffer AW2, Proteinase K and Ethanol.

- Add 1 ml InhibitEX Buffer to the sample. Vortex continuously for at least 1 min or until the stool sample is thoroughly homogenized.

- *Heat the suspension for 10 min at 95°C, while shaking at 1000 rpm. Then, vortex each sample for 15 sec.

- Centrifuge samples at max speed for 1 min to pellet stool particles at at 20,000 x g (approximately 14,000 rpm).

- Transfer 200 μl of the supernatant to a 2 ml microcentrifuge tube (Screw Cap tube).

- Load the samples to the QIAcube robot, program on the Qiacube for QIAamp® Fast DNA Stool Mini Kit and follow the instructions.

- Once the QIAcube is finished, store the DNA at -20°C.