Additional file 2:

| Concentration of standards (pg/ml) | Mean OD |
| --- | --- |
| 150 | 0.1645 |
| 300 | 0.4040 |
| 600 | 0.4215 |
| 1200 | 0.7315 |
| 1800 | 1.2165 |

Title: The standard curve to determine the amount of Leptospira antibodies in sera of captured animals (rats).

Description:

The graph shows the mean optical density (OD) to a range of concentrations (150pg/mL to 1800pg/mL) of standard reagent (purified rat Leptospira IgG) that binds with Genus specific Leptospira antigen pre-coated microtiter plate wells in the Rat Leptospira IgG ELISA.