Quantification of biological nitrogen fixation by Mo-independent complementary nitrogenases in environmental samples with low nitrogen fixation activity

Authors: Shannon J. Haynes1±*, Romain Darnajoux1±, Eunah Han1, Sergey Oleynik1, Ezra Zimble2, and Xinning Zhang1,2

Affiliations: 1Department of Geosciences, Princeton University, Guyot Hall, Princeton, NJ 08544

2High Meadow Environmental Institute, Princeton University, Guyot Hall, Princeton, NJ 08544

*Corresponding author: Shannon Haynes (sjhaynes@princeton.edu)

± co-lead authors, SH and RD contributed equally to this study

Contents:

Methods S1. Description of the EPCon-GC-C-IRMS system

Methods S2. Details on ARA incubations for LISARA of samples and Azotobacter calibration standards

Methods S3. Additional environmental sample details

Methods S4. Correction for background ethylene in acetylene generated from calcium carbide

Methods S5. Calculations of %VNase in samples

Table S1. Instrument parameters

Table S2. Ideal loading order of samples and standards on EPCon

Table S3. Summary of sample collection and acetylene reduction assay for δ13Cethylene measurements

Table S4. Estimates of and differences between Mo- and V- mutant 13C fractionation during acetylene reduction assay (13εAR).

Table S5. δ13C values used for background and Rayleigh corrections

Data S1. Excel spreadsheet containing raw and processed δ13C data and templates for data analyses

Methods S1. Description of the EPCon-GC-C-IRMS system

Samples or standards are loaded into sealed, Helium (Airgas He UHP300) flushed, 20 mL autosampler vials to reach an ethylene concentration of 2.5 nanomoles in each vial. Sample vials are loaded into a Leap Technologies CTC GC-PAL autosampler with a custom-built tray to accommodate 120, 20 mL vials. During analysis, the headspace of one vial is fully displaced into the EPCon by a stream of He. He is used as the carrier gas throughout the system and the flow rate decreases across each valve between the autosampler and the GC-C-IRMS.

Using He, the sample is carried through a series of traps to remove moisture from the sample stream; a magnesium perchlorate (Mg(ClO4)2) chemical trap, Nafion™ tubing, and a cooling bath (stainless steel loop submersed in ethanol bath held at -70° C, Trap 1; Figure 1b). The gas analytes (including ethylene and acetylene) are then trapped in a stainless-steel loop submersed in liquid nitrogen (-195° C, Trap 2) while gasses with a low freezing point (CH4) are vented. Analytes are then carried from Trap 2 through a 2 m GC column (GC 1; Supelco 1/8” x 2.1 mm stainless steel custom packed with 80/100 HayeSep N resin) held at 80° C, where ethylene and acetylene are separated. Ethylene elutes from GC 1 first and is collected in Trap 3 (1/16” diameter Silcosteel® tubing submersed in liquid N2). The timing of Valve 4 is adjusted to ensure complete recovery of the ethylene from GC 1 and the remaining acetylene is removed through a vent. The sample ethylene is then released from the trap (once it lifts out of liquid nitrogen) and introduced into the GC-C-IRMS through a silica capillary that is connected directly to the front end of the GC column in the Isolink. From here the sample follows the same flow path as with the classical direct injection method used in Zhang et al. (2016).

Detailed information on instrument settings (e.g. flowrates, timing, etc) and optimized sample loading order can be found in Tables S1 and S2.

Methods S2. Details on ARA incubations for LISARA of samples and Azotobacter calibration standards

Source acetylene for acetylene reduction assays:

The relatively high background of ethylene (~20 ppmv) in commercially available acetylene tanks precluded the use of tank acetylene in acetylene reduction assays of low BNF activity samples, which typically yield < 100 ppmv ethylene in ARAs. To obtain a higher purity source of acetylene for ARAs, we generated acetylene by reaction of calcium carbide (CaC2, Sigma Aldrich, piece thickness < 10 mm, typically technical grade, ~80%, part no. 270296-500G) with Milli-Q® water. Reactions were performed in fume hood in an evacuated 5-L gas tight Tedlar bag with dual Luer Lock valves (10-15 g CaC2, 50 mL water, 10-Calibrated Instruments Cali-5-bond gas tight bag [GSB-P/5] with two stopcock bases [STOPBASE-F]), in an evacuated 1.6 L Tedlar bag (5 g CaC2, 25 mL DI water, Chemware® Tedlar® PVF Gas sampling bag, manufacturer part no. D1075018-10) , or in an evacuated 160-240 mL serum bottle sealed with a 20 mm blue butyl stopper (0.8-4 g CaC2 with 330-440 uL water). Background ethylene from carbide-generated acetylene was a few ppmv as measured by GC-FID.

Ethylene concentration analyses in ARAs:

Headspace ethylene concentrations in ARAs were measured by GC-FID on a Shimadzu GC-8A with a flame ionization detector (FID) and fitted with a Supelco 1/8” x 2.0 m long stainless-steel GC column custom packed with 80/100 HayeSep N resin. GC oven temperature was held at 80°C.

Azotobacter culturing:

Azotobacter vinelandii mutants1-3 using only MoNase (strain CA1.70) or only VNase (strain CA11.70) for nitrogen fixation were grown aerobically in a modified nitrogen fixing Burks medium 4,5 containing [KH2PO4] = 5∙10−3 M, [K2HPO4] = 2.3∙10−3 M, [D-Glucose] = 10 g∙L−1, [D-Mannitol] = 10 g∙L−1, [MgSO4∙7H2O] = 4.05∙10−4 M, [CaCl2∙2H2O] = 6.8∙10−4 M, [Na2MoO4∙2H2O] or [NaVO3] = 1∙10−7 M, [FeCl3∙6H2O] = 5.0∙10−6 M, and ethylenediaminetetraacetic acid (EDTA) = 1∙10−4 M. The pH of the medium was adjusted to 7.2 using NaOH and filter-sterilized with 0.2 um bottle top filters prior to aseptic dispensation into pre-sterilized Nunc growth flasks (Nunc EasyFlask). Bacteria were cultured in 50-ml Nunc flasks with 75% headspace for aeration of ambient air through a filter paper of the cap, at 30 °C in a shaking incubator (200 rpm shaking, orbital platform shaker New Brunswick EXCELLA E24R). Growth phase was monitored by optical density at 620nm using spectrophotometry (Spectronic 20 Gensys Visible Spectrophotometer). Strains were revived from freezer stock on modified Burks solid medium with ammonium acetate (10 mM) then sequentially transitioned into diazotrophy through growth in modified Burks liquid medium with ammonium acetate at 10 mM (1 transfer), at 0.5 mM (1 transfer), and at 0 mM added (2 transfers). Diazotrophy in the last transfers in no added ammonium medium was confirmed by GC-FID.

Azotobacter calibration ARAs:

Azotobacter MoNase and VNase strain cells in exponential phase (OD620nm ~0.3-0.8) were used in calibration ARAs containing the same source acetylene as ARAs with environmental samples.

Azotobacter ARAs at 30 °C and 200 rpm shaking were performed in 30-240 mL serum bottles sealed with 20 mm blue butyl stoppers (Bellco) that were filled 10% by volume with cell culture, and 90% v/v air and 10% v/v acetylene from calcium carbide. Headspace gas in calibration ARAs was transferred to evacuated serum vials (10 mL) with 20 mm blue butyl stoppers (Bellco) to be saved for later IRMS analysis once headspace ethylene concentrations reached 100-2200 ppmv (MoNase strain, typically within 4 hr of incubation) and 50-200ppmv (VNase strain, 6 hrs within incubation), yielding in-house ethylene scaling standards EY-Mo-1, EY-V-1 (Table S1, Fig. 2).

In an optimal experiment using the direct scaling method with Azotobacter ARAs to quantify complementary Nase contribution to AR as % Vnase (Figure 2, method 1), nine 30 mL ARA vials (3 sets of triplicates) are prepared with 10% v/v acetylene (in air) using the same stock of acetylene as for environmental samples. Two sets of triplicates are used for the conversion into ethylene via ARA using the MoNase only and VNase only Azotobacter mutants, and one set is saved to measure δ13C of any background ethylene (following acetylene removal with chemical precipitation). Ethylene d13C for each Azotobacter mutant is then analyzed by IRMS at least three times within each batch of samples to calibrate ethylene d13C values to the %MoNase and %VNase scale.

Methods S3. Additional environmental sample information

Laboratory maintenance of Zootermopsis termites purchased from Ward Scientific was accomplished using a habitat consisting of a plastic box with a lid that was punctured and covered in screen to allow sufficient air flow. The box was kept in a foil lined drawer to keep it dark. To maintain humidity, a cup with saturated KCl was placed next to the enclosure and all materials were wetted with MiliQ water 1-2 times per week. Enclosure materials included an ~1 cm thick layer of vermiculite. The termites were fed with small chunks of degraded wood (autoclaved), Whatman filter paper, and paper towels. Termite ARAs were done using 0.4-2.7 g (fresh weight) of termites (~20-100 individuals).

Additional information on collection and ARAs on natural surface samples collected from northeastern US forests and termites can be found in Table S3.

Methods S4. Correction for background ethylene in acetylene generated from calcium carbide

Eqn. S1		δ13Csample=ftotal×δ13Ctotal-fbackground EY × δ13Cbackground EYfsample

δ13Cbackground EY is the δ13C value of the background ethylene in ‘pure’ acetylene. ƒtotal is the measured ethylene concentration taken during ARA (includes the concentration of the sample and the background ethylene). ƒsample is the measured ethylene concentration of the sample minus ƒbackground EY the concentration of ethylene in the background. If background ethylene concentration in source acetylene was not measured, an estimate of 2 ppm was assumed. In cases where there was not enough pure acetylene remaining in a batch to measure the δ13Cbackground EY, the average of all measured acetylene batches was used (8.4 ± 1.9‰, n = 8).

Methods S5. Calculations of %VNase in samples

Eqn. S2		%VNase sample=13εMo- 13εsample 13εMo – 13εV×100

=(δ13Cacetylene- δ13CMo)-(δ13Cacetylene- δ13CSample)(δ13Cacetylene- δ13CMo)-(δ13Cacetylene- δ13CV)×100

Method 1 - Direct scaling based on Cethylene

In the case where Azotobacter Mo and VNase mutant strain ARA and sample ARA are run with the same batch of acetylene generated from calcium carbide, then the value of δ13Cacetylene can be simplified, and the scaling is directly conducted on the δ13Cethylene values of mutants (Eqn. S3).

Eqn. S3	%VNase sample=δ13CMo- δ13Csampleδ13CMo- δ13CV ×100

δ13CMo is the δ13Cethylene value of the Mo-only mutant, and δ13CV is of the V-only mutant. The Average δ13CMo and δ13CV values from Azotobacter ARAs runs over the same interval of time in which the samples were run were used in calculations.

Method 2 - 13AR scaling based on measured sample Cacetylene and Cethylene:

When the same acetylene stock used in sample ARAs was not processed into ethylene by Azotobacter MoNase and VNase mutants (i.e., different batches of acetylene gas were used for different sets of sample and Azotobacter ARAs), the calculation of %VNase contribution to AR from 13Cacetylene and13Cethylene (Eqn. S4b) followed the 13AR method of Zhang et al., 2016 (Eqn. S4a). Measurement of δ13Cacetylene was achieved by direct injection of samples into the GC-C-IRMS. 13δMo and 13δV values from Azotobacter MoNase and Vnase strain ARAs as well as Anaebaena variabilis, Rhodopseudomonas palustris (Table S4) were employed in calculations.

Eqn. S4a %VNase sample=13εMo- 13εsample13εMo-13εV×100

Eqn. S4b %VNase sample= (δ13Csource Ac,Mo- δ13CMo)-(δ13Csource Ac,sample- δ13CSample)(δ13Csource Ac, Mo- δ13CMo)-(δ13Csource Ac,V- δ13CV)×100

Where 13Csource ac = carbon stable isotope composition of acetylene used in an ARA containing sample or Azotobacter MoNase or VNase strain, 13CMo= carbon stable isotope composition of ethylene generated in Azotobacter MoNase strain ARA, 13CMo= carbon stable isotope composition of ethylene generated in Azotobacter MoNase strain ARA, 13CV= carbon stable isotope composition of ethylene generated in Azotobacter VNase strain ARA.

To minimize uncertainty associated with Azotobacter 13Mo and 13V values, one of 3 calculation procedures (A, B, C) below was used, depending on whether or not Azotobacter MoNase and VNase ARAs were analyzed by IRMS at the same time as samples.:

Option A Eqn. S4c,

For option A, the δ13CMo and δ13CV values are the average of all measured δ13C of ethylene for Azotobacter MoNase and VNase ARAs run at the same time as the sample set of interest.

Option B. Eqn. S4d

Option C.  Eqn. S4e

For options B and C, if ARAs for both Azotobacter MoNase and VNase were not measured at the same time as samples, then we use average fractionation values based on data for MoNase and VNase strains of Azotobacter and of multiple organisms previously reported in Zhang et al., 2016 and measured in this paper: 13Mo=13.63 and (13εMo- 13εV)= 6.03 (see table S4).

Method 3 - 13AR scaling based on measured laboratory average 13Cacetylene and sample 13Cethylene:

Calculation of % VNase contribution to AR from 13Cacetylene and13Cethylene (Eqn. S4b) followed the 13AR method of Zhang et al 2016 (Eqn. S5a). If the particular stock of acetylene used in ARAs could not be directly measured, we relied on a long-term estimate of δ13Cacetylene (=14.920 per mil) for acetylene repeatedly generated from calcium carbide over the course of 3 years (13Cest Source acetylene in Eqn. S5b, see Fig. S1), which has an associated uncertainty of ~1‰. Measurement of δ13Cacetylene was achieved by direct injection of samples into the GC-C-IRMS. Values of 13Mo and = 13V used for calculations Eqn. S5b were obtained as in Method 2 (i.e. using Eqns. S4e-S4d in which 13C for Azotobacter MoNase and Vnase ARAs derive from the same IRMS runs as samples or are averages of Nase specific ARAs across multiple organisms, Table S4).

Eqn. S5a	%VNase sample=13εMo- 13εsample13εMo-13εV×100

Eqn. S5b 	%VNase sample= (δ13Csource Ac- δ13CMo)-(δ13CEst.   source Ac- δ13CSample)(δ13Csource Ac- δ13CMo)-(δ13Csource Ac- δ13CV)×100

Replicate and Uncertainty information for environmental sample analyses.

Summary statistics for calculation of % Vnase for environmental samples with n being the number of biological replicates for each sample type (Fig 3): Leaf litter (Avg % Vnase = 32.4%, SD = 45.4%, Range = -19.9 to 195.4%, n = 30), Lichens (Avg % VNase = -0.8%, SD = 4.7%, Range = -8.9 to 5.6%, n = 6), Moss (Avg % Vnase = 65.3%, SD = 37.9, Range = -14.5 to 123.0%, n = 31, one outlier of 237.1% may be attributed to a leak in the storage vial), Soil (Avg % VNase = 123.9%, SD = 37.2%, Range = 25.4 to 177.8%, n = 21, 2 outliers of 274.1 and 234.3% may be attributed to a leak in the storage vial), Termites (Avg % VNase = 130.1%, SD = 22.0%, Range = 104.8 to 156.6%, n = 7), and Wood (Avg % VNase = 125.9%, SD = 32.6%, Range = 40.6 to 167.6%, n = 43).

Typical uncertainty (expressed as SD) for %VNase values for each scenario (method 1 – 3 in Fig2) were calculated by compounding analytical or estimated long-term uncertainties of each individual term from the relevant equation in Figure 2. Similarly, the uncertainty associated with %FeNase were estimated according to the following equation (% FeNase = % VNase x (Δ13εMo-V)/(Δ13εMo-Fe)) using data from SI Table S4, and found to be similar to % VNase (5-20%). All error calculations can be found in SI DATA S1 (Tab Error_Calculations). The highest error term in the calculation stems from VNase and FeNase uncertainty. At low values (0-30% VNase or FeNase), typical uncertainty is 6%, 11%, and 14% for methods 1, 2, 3 respectively. At high VNase and FeNase values (70-100%), uncertainty is 16%, 18%, and 20% for the three methods, resp.

Given the estimated uncertainties, we conclude that samples with >120% in the %FeNase scale or 160% in the %VNase scale must be influenced by some sort of ethylene cycling (production or consumption).

Figure S1. Spread of carbon isotopic composition of different batches of acetylene generated from calcium carbide made by 3 different researchers and analyzed on 8 different days. Error bars are +/-s.d. within the same day of run, several datapoints for the same batch number represent analyses conducted over multiple day.

Figure S2. Variations in raw δ13C values of acetylene from in-house reference tank AY-1 relative to lab CO2 with regular seed oxidations.

Figure S3

Figure S3. Correcting for intraday drift associated with degradation of the combustion reactor.

Supplementary Tables

Table S1. Instrument parameters

a) GC-C (Isolink) settings and details – for direct injections

| Inlet temperature | 60°C |
| --- | --- |
| Split flow | 40 ml/min |
| Injector mode | Splitless |
| Constant septum purge | ON |
| GC column | Agilent HP-Plot/Q column (30 m x 0.32 mm id, f.t. = 20 μm) |
| GC column temperature | 30°C |
| He carrier flow | 2 ml/min |
| Combustion reactor temperature | 1000°C |
| Combustion reactor type | Nickel oxide tube with CuO, NiO, and Pt wires |
| Combustion reactor regeneration frequency (seed oxidations) | For ethylene: every 6-8 injections |
|  | For acetylene: every 4-6 injections |
| Combustion reactor regeneration program | 1 hour with pure O2 each day, 15 minutes for seed injections |

b) GC-C (Isolink) settings – in EPCon mode

| Inlet temperature | OFF |
| --- | --- |
| Split flow | OFF |
| Injector mode | OFF |
| Constant septum purge | OFF |
| GC column | Agilent HP-Plot/Q column (30 m x 0.32 mm id, f.t. = 20 μm) |
| GC column temperature | 30°C |
| He carrier flow | OFF |
| Combustion reactor temperature | 1000°C |
| Combustion reactor type | Nickel oxide tube with CuO, NiO, and Pt wires |
| Combustion reactor regeneration frequency | At least every 120 injections |
| Combustion reactor regeneration program | 1 hour with pure O2 each day |

c) EPCon settings

| Setting | Set value | Unit | Comments |
| --- | --- | --- | --- |
| GC1 temperature | 80 | °C |  |
| GC column | Supelco 1/8" x 2.1mm s.s. custom packed with 80/100 HayeSep N resin |  |  |
| Chiller temperature | -70 | °C |  |
| Pressure to sample needle | 15 | psi |  |
| Sample line backflush pressure | 5 | psi |  |
| Middle flow pressure | 17 | psi |  |
| Backflush pressure to GC1 | 17 | psi |  |
| Low flow pressure | 11 | psi |  |
| N2 pressure for Nafion | 3 | psi |  |
| Flow to needle | 38 | ml/min |  |
| Flow from needle | 38 | ml/min | during sample collection |
| Flow in GC1 | 8 | ml/min | when V2 in backflush mode |
| Flow in GC1 | 5 | ml/min | when V2 in sample mode |
| Flow from V4 | 5 | ml/min | when V1 in load mode, V2 in backflush mode, V4 inject mode |
| Flow from V4 | 8 | ml/min | when V1 in backflush mode, V2 in sample mode, V4 load mode |

d) EPCon valve timings

| Process | Time (seconds) |
| --- | --- |
| Delay following EPCon Reset | 5 |
| General Trap Delay | 20 |
| Vial to T2 Trapping Time | 600 |
| Valve 2 switch prior to Trap 2 Sample release | 10 |
| Valve 1 switch prior to T2 release | 6 |
| Delay between VC2 switch and Trap 3 Down | 150 |
| Time for sample release from T2, transfer through EPCon GC and trapping in T3 | 130 |
| Valve 4 switch to load | 5 |

Table S2. Ideal loading order of samples and standards on EPCon (Direct scaling method)

| Loading position | Type | Description | Purpose |
| --- | --- | --- | --- |
| 1 | Dummy | He blank |  |
| 2 | Dummy | In house standard mix with ethylene + acetylene | to ensure peak separation and acetylene removal |
| 3 | Dummy | Ethylene tank | Prime combustion reactor |
| 4 | Drift correction standard | Ethylene tank |  |
| 5 | QC standard | Ethylene tank |  |
| 6 | QC standard | Ethylene tank |  |
| 7 | QC standard - linearity | Ethylene tank | to test for linearity effects on d13C values between 1 and 5 V (mass 44 peak amplitude) |
| 8 | QC standard - linearity | Ethylene tank |  |
| 9 | QC standard - linearity | Ethylene tank |  |
| 10 | QC standard - linearity | Ethylene tank |  |
| 11 | Drift correction standard | Ethylene tank |  |
| 12 | QC standard | Ethylene tank |  |
| 13 | QC standard | Ethylene tank |  |
| 14 | In-house scaling standard | Azotobacter MoNase strain |  |
| 15 | In-house scaling standard | Azotobacter VNase strain |  |
| 16 | Sample | Sample ID |  |
| 17 | Sample | Sample ID |  |
| 18 | Drift correction standard | Ethylene tank |  |
| 19 | Sample | Sample ID |  |
| 20 | Sample | Sample ID |  |
| 21 | Sample | Sample ID |  |
| 22 | Sample | Sample ID |  |
| 23 | Sample | Sample ID |  |
| 24 | Sample | Sample ID |  |
| 25 | Drift correction standard | Ethylene tank |  |
| 26 | Sample | Sample ID |  |
| 27 | Sample | Sample ID |  |
| 28 | Sample | Sample ID |  |
| 29 | Sample | Sample ID |  |
| 30 | Sample | Sample ID |  |
| 31 | Sample | Sample ID |  |
| 32 | Drift Correction | Ethylene tank |  |
| 33 | Sample | Sample ID |  |
| 34 | Sample | Sample ID |  |
| 35 | Sample | Sample ID |  |
| 36 | Sample | Sample ID |  |
| 37 | Sample | Sample ID |  |
| 38 | Sample | Sample ID |  |
| 39 | Drift correction standard | Ethylene tank |  |
| 40 | QC standard | Sample ID |  |
| 41 | QC standard | Sample ID |  |
| 42 | Sample | Sample ID |  |
| 43 | Sample | Sample ID |  |
| 44 | Sample | Sample ID |  |
| 45 | Sample | Sample ID |  |
| 46 | Drift correction standard | Ethylene tank |  |
| 47 | Sample | Sample ID |  |
| 48 | Sample | Sample ID |  |
| 49 | Sample | Sample ID |  |
| 50 | Sample | Sample ID |  |
| 51 | Sample | Sample ID |  |
| 52 | Sample | Sample ID |  |
| 53 | Drift correction standard | Ethylene tank |  |
| 54 | Sample | Ethylene tank |  |
| 55 | Sample | Ethylene tank |  |
| 56 | Sample | Azotobacter MoNase strain |  |
| 57 | Sample | Azotobacter VNase strain |  |
| 58 | Sample | Sample ID |  |
| 59 | Sample | Sample ID |  |
| 60 | Drift correction standard | Ethylene tank |  |
| 61 | Sample | Sample ID |  |
| 62 | Sample | Sample ID |  |
| 63 | Sample | Sample ID |  |
| 64 | Sample | Sample ID |  |
| 65 | QC standard | Sample ID |  |
| 66 | QC standard | Sample ID |  |
| 67 | Drift correction standard | Ethylene tank |  |
| 68 | In-house scaling standard | Sample ID |  |
| 69 | In-house scaling standard | Sample ID |  |
| 70 | Sample | Sample ID |  |
| 71 | Sample | Sample ID |  |
| 72 | Sample | Sample ID |  |
| 73 | Sample | Sample ID |  |
| 74 | Drift correction standard | Ethylene tank |  |
| 75 | Sample | Sample ID |  |
| 76 | Sample | Sample ID |  |
| 77 | Sample | Sample ID |  |
| 78 | Sample | Sample ID |  |
| 79 | Sample | Sample ID |  |
| 80 | Sample | Sample ID |  |
| 81 | Drift correction standard | Ethylene tank |  |
| 82 | Sample | Sample ID |  |
| 83 | Sample | Sample ID |  |
| 84 | Sample | Sample ID |  |
| 85 | Sample | Sample ID |  |
| 86 | Sample | Sample ID |  |
| 87 | Sample | Sample ID |  |
| 88 | Drift correction standard | Ethylene tank |  |
| 89 | Sample | Sample ID |  |
| 90 | Sample | Sample ID |  |
| 91 | Sample | Sample ID |  |
| 92 | Sample | Sample ID |  |
| 93 | QC standard | Sample ID |  |
| 94 | QC standard | Sample ID |  |
| 95 | Drift correction standard | Ethylene tank |  |
| 96 | Sample | Sample ID |  |
| 97 | Sample | Sample ID |  |
| 98 | Sample | Sample ID |  |
| 99 | Sample | Sample ID |  |
| 100 | Sample | Sample ID |  |
| 101 | Sample | Sample ID |  |
| 102 | Drift correction standard | Ethylene tank |  |
| 103 | Sample | Sample ID |  |
| 104 | Sample | Sample ID |  |
| 105 | Sample | Sample ID |  |
| 106 | Sample | Sample ID |  |
| 107 | Sample | Sample ID |  |
| 108 | Sample | Sample ID |  |
| 109 | Drift correction standard | Ethylene tank |  |
| 110 | Sample | Sample ID |  |
| 111 | Sample | Sample ID |  |
| 112 | Sample | Sample ID |  |
| 113 | QC standard - linearity | Ethylene tank | to test for linearity effects on d13C values between 1 and 5 V (mass 44 peak amplitude) |
| 114 | QC standard - linearity | Ethylene tank |  |
| 115 | QC standard - linearity | Ethylene tank |  |
| 116 | Drift correction standard | Ethylene tank |  |
| 117 | In-house scaling standard | Azotobacter MoNase strain |  |
| 118 | In-house scaling standard | Azotobacter VNase strain |  |
| 119 | QC standard | Ethylene tank |  |
| 120 | Drift correction standard | Ethylene tank |  |

Table S3. Environmental sample collection and acetylene reduction assays.

|  | New Jersey |  |  |  | New Hampshire |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Pine Barrens | Watershed Institute | Stony Ford Research Station | Institute of Advanced Studies woods | Mt. Moosilauke | Termites |
| Location | 39° 55' N, 74° 35' W 39° 46' N, 74° 32' W | 40°21' N, 74°46' W | 40°19' N, 74°40' W | 40° 19' N, 74°40' W | 44°00' N, 71°49' W | Ward Scientific Lab |
| Date of collection | July 2021 | April 2021 | June 2019 | July 2019 | July 24, 2021 | May 2019 |
| Vegetation type | Mixed | Deciduous, Coniferous, Mixed | Deciduous | Deciduous | Mixed | N/A |
| Sample types* | Soil, Leaf litter, Decayed woods | Soil, Leaf litter, Decayed woods | Soil, Leaf litter | Soil, Leaf litter, Decayed woods, Moss | Soil, Leaf litter, Decayed woods, Moss, Lichens | Zootermopsis termites |
| No. sites | 9 | 9 | 3 | 9 | 9 | N/A |
| ARA Incubations |  |  |  |  |  |  |
| No. + 10% acetylene controls | 54 | 54 | 45 | 95 | 154 | 3 |
| No. ISARA samples analyzed with 10% acetylene | 12 | 28 | 19 | 60 | 22 | 5 |
| No acetylene added control | 27 | 0 | 0 | 0 | 27 | 2 |
| Incubation duration (hours) | 168 | 297 | 43-72 | 48 | 24-51 | 2-4 |
| Incubation container | glass canning jars (Ball, Mason) lids fitted with 20 mm butyl stoppers (Bellco) |  |  | glass canning jars (Ball, Mason) lids fitted with 20 mm butyl stoppers (Bellco/Chem Glass) and 30 mL glass vials with PTFE/Silicone septa (Supelco) |  | glass serum vials with 20 mm butyl stoppers (Bellco) |
| Total incubation volume (ml) | 236 | 236 | 28, 118, 236, 472 | 28, 118, 236, 472 | 28, 236 | 15 |
| Sample size | ~ 40 ml wet volume | ~ 40 ml wet volume | 1-10g | 1-10g | ~ 40 ml wet volume | 0.4-2.7 g (20-100 individuals) |
| Ethylene concentrations (ppm) |  |  |  |  |  |  |
| Samples | 12 to 248 | 11 to 479 | 7 to 155 | 5 to 200 | 10 to 960 | 34-238 |
| No. Controls with 10% acetylene | 0 | 0 to 19 | ND | ND | 0 to 1.1 | 0 to 3 |

Table S4. Estimates of and differences between 13C fractionation during acetylene reduction to ethylene (13εAR) for Mo- and V- Nase only expressing diazotrophs during acetylene reduction assay. Each row reflects ARAs using the same batch of acetylene.

| Organism | Methods | 13εMo |  |  |  | 13εV |  |  |  | 13εFe |  |  |  | ∆13εMo-V |  |  | References |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Average (‰) | SD ( ‰) | n |  | Average ( ‰) | SD ( ‰) | n |  | Average ( ‰) | SD ( ‰) | n |  | Average ( ‰) | SD ( ‰) |  |  |
| Rhodopseudomonas palustris | Direct injection | 14.2 | 0.3 | 8 |  | 8.3 | 0.3 | 7 |  | 6.2 | 0.4 | 4 |  | 5.9 | 0.6 |  | Zhang et al., 2016 |
| Azotobacter vinelandii | Direct injection | 13.9 | 0.2 | 4 |  | 7.8 |  | 1 |  |  |  |  |  | 6.1 | 0.2 |  | Zhang et al., 2016 |
| Anabaena variabilis | Direct injection | 13.2 | 0.2 | 4 |  | 7.7 | 0.2 | 3 |  |  |  |  |  | 5.5 | 0.3 |  | Zhang et al., 2016 |
| Azotobacter vinelandii*^ | EPCon | 13.0 | 0.5 | 5 |  | 6.2 | 0.5 | 7 |  |  |  |  |  | 6.8 | 0.7 |  | This study |
| Azotobacter vinelandii*^ | EPCon | 13.7 | 0.2 | 2 |  | 7.8 | 0.1 | 2 |  |  |  |  |  | 5.9 | 0.2 |  | This study |
| Anabaena variabilis*^ | EPCon | 13.9 | 0.3 | 6 |  | 7.8 | 0.2 | 6 |  |  |  |  |  | 6.1 | 0.4 |  | This study |
| Rhodopseudomonas palustris*^ | EPCon | 13.1 | 0.9 | 3 |  | 7.9 | 0.04 | 2 |  | 5.1 | 0.8 | 8 |  | 5.1 | 0.3 |  | This study |
| Azotobacter vinelandii (long-term standard)*+^ | EPCon | 14.1 | 0.2 | 2 (61) |  | 7.3 | 0.1 | 2 (58) |  |  |  |  |  | 6.8 | 0.2 |  | This study |
| Mean |  | 13.6 | 0.3 |  |  | 7.6 | 0.2 |  |  |  |  |  |  | 6.0 | 0.3 |  |  |
| SD |  | 0.5 | 0.1 |  |  | 0.6 | 0.2 |  |  |  |  |  |  | 0.6 | 0.2 |  |  |

*13ε estimated in EPCon using the long-term acetylene value δ13C acetylene value of 14.9 + 0.8‰ (see Methods S4, Fig. S1).

+ (n) = the number of replicate analyses

^Azotobacter culturing and ARA information are in Methods S4. Rhodopseudomonas palustris single nitrogenase strains Mo-nitrogenase only CGA753, V-nitrogenase only CGA766, and Fe-nitrogenase only CGA755 were grown in batch culture under anaerobic photo- heterotrophic conditions in defined nitrogen-fixing medium with added Mo or V as needed 6(Zhang et al. 2016). Anabaena variabilis (wild type ATCC 29413) and strain MZ49 (molybdate uptake modBC mutant) were grown in BG-11 medium containing added Mo or V (Zhang et al. 2016). ARAs for R. palustris and A. variabilis used acetylene from calcium carbide in sealed containers filled at most 30% by volume with exponential culture and background headspace of N2 (R. palustris) or air (A. variabilis).

Table S5. δ13C values (‰) used for background and Rayleigh corrections

| Values used in background correction and Rayleigh fractionation equations |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Acetylene source for background ethylene δ13C analysis | Average Value (‰) | Standard deviation (‰) | n | Ethylene conc. est. (ppmv) in sample w/ 10% acetylene |  |
| 'pure' acetylene generated from CaC2 average of all batches | 8.41 | 1.89 | 8 | 2 |  |
| Generated from CaC2 for 2021 NH samples | 10.56 | 1.18 | 3 | 2 |  |
| Generated from CaC2 for 2019 A. variabilis experiment | 7.93 | 0.49 | 4 | 2.4 |  |
| Generated from CaC2 for NJ samples collected on 8/1/2019 | 6.45 | 0.55 | 2 | 2.1 |  |
| Generated from CaC2 for NJ samples collected on 8/8/2019 | 6.19 |  | 1 | ND |  |
| Generated from CaC2 for NJ samples collected on 7/25/2019 | 8.66 |  | 1 | ND |  |
| Acetylene source | Average | sd | n | combined sd btw batches + within each batch | Acetylene conc. est. in samples (ppm) |
| Avg of acetylene batches (reported δ13C values) | 14.92 | 0.82 | 8 | 0.87 | 100,000 |
| Acetylene generated from CaC2, applies to NJ samples collected on 7/25/19 | 15.42 | 0.56 | 3 |  | 100,000 |
| Acetylene generated from CaC2, applies to NJ samples collected on 7/25/19 | 15.50 | 0.66 | 2 |  | 100,000 |
| Acetylene generated for 2019 A. variabilis experiment | 15.69 |  | 1 |  | 100,000 |

Data S1. Excel spreadsheet containing raw and processed δ13C data and templates for data analyses. See separate file “SI Data S1.xls”

Supplementary References

1	Bishop, P. E., Hawkins, M. E. & Eady, R. R. Nitrogen fixation in molybdenum-deficient continuous culture by a strain of Azotobacter vinelandii carrying a deletion of the structural genes for nitrogenase (nifHDK). Biochem J 238, 437–442 (1986).

2	Joerger, R. D., Jacobson, M. R., Premakumar, R., Wolfinger, E. D. & Bishop, P. E. Nucleotide sequence and mutational analysis of the structural genes (anfHDGK) for the second alternative nitrogenase from Azotobacter vinelandii. Journal of Bacteriology 171, 1075-1086 (1989). https://doi.org:10.1128/jb.171.2.1075-1086.1989

3	Premakumar, R., Jacobitz, S., Ricke, S. C. & Bishop, P. E. Phenotypic characterization of a tungsten-tolerant mutant of Azotobacter vinelandii. Journal of Bacteriology 178, 691-696 (1996). https://doi.org:10.1128/jb.178.3.691-696.1996

4	Bellenger, J. P., Wichard, T., Xu, Y. & Kraepiel, A. M. L. Essential Metals for Nitrogen Fixation in a Free-Living N2-Fixing Bacterium: Chelation, Homeostasis and High Use Efficiency. Environmental Microbiology 13, 1395-1411 (2011). https://doi.org:10.1111/j.1462-2920.2011.02440.x [doi]

5	Strandberg, G. W. & Wilson, P. W. Formation of the nitrogen-fixing enzyme system in Azotobacter vinelandii. Can. J. Microbiol. 14, 25-31. (1968). https://doi.org:doi: 10.1139/m68-005. PMID: 5644401.

6	Zhang, X. et al. Alternative nitrogenase activity in the environment and nitrogen cycle implications. Biogeochemistry 127, 189-198 (2016). https://doi.org:10.1007/s10533-016-0188-6