| S/No. | Water quality parameter | Analytical technique | Units of measurement | References |
| --- | --- | --- | --- | --- |
| 1 | Cl- | Complexometric titration; using ethylenediaminetetraacetic acid (EDTA) | mg/L | Tucker and Kurtz (1961) |
| 2 | HCO3- | Complexometric titration (using EDTA) | mg/L | Tucker and Kurtz (1961) |
| 3 | SO42- | Hach DR/2000 spectrophotometry | mg/L | Moran et al. (1994) |
| 4 | NO3- | phenol disulphuric acid method using the spectrophotometer | mg/L | APHA (2017) |
| 4 | Ca2+ | Gallenkamp flame analyzer (at 33°C) | mg/L | Moran et al. (1994) |
| 5 | Mg2+ | Gallenkamp flame analyzer (at 33°C), | mg/L | Moran et al. (1994) |
| 6 | Na+ | Flame photometric | mg/L | APHA (2017) |
| 7 | K+ | Flame photometric | mg/L | APHA (2017) |
| 8 | PH | pH/EC/TDS meter | - |  |
| 9 | EC | pH/EC/TDS meter | µS/cm |  |
| 10 | TDS | pH/EC/TDS meter | mg/L |  |
| 11 | TH | Derived as (TH = 2.5*Ca2+ + 4.1*Mg2+) | mg/L |  |

Table 1 Summary of analytical techniques of physicochemical parameters

Table 3 Equations for calculation of the irrigation water quality parameters

| Quality Parameter | Equation |
| --- | --- |
| Sodium adsorption ratio (SAR) | Na/[(Ca+ Mg2)/2]1/2 a |
| Total hardness (TH) | 2.5Ca+ 4.1 Mg2+ b |
| Permeability index (PI) | Na+ +(HCO3-×100)Ca2++Mg2++Na+ c |
| Kelly’s index (KI) | Na2+/(Ca2+ Mg2+) d |
| Magnesium ratio (MR) | Mg2+/Ca2+ e |
| Soluble sodium percentage (SPP) | ( Na++K+) ×100(Ca2++Mg2+) f |
| Potential salinity (PS) | Cl− + √SO42− g |

aRichards (1954); b Todd (1980); c; d Kelly (1940); e Nagaraju et al. (2014); f Wilcox (1955); g Doneen (1964)

Table 5 Overall results of physiochemical parameters for surface and groundwater samples

|  |  |  |  |  | Concentration measured in mg/L |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Parameters | Temp (0C) | pH | EC (µS/cm) | Salinity | TH | TDS | Mg2+ | K+ | Ca2+ | Na+ | NO3- | NO2- | SO42- | Cl- | HCO3- |
| SW | STRM 1 | 31 | 6 | 425 | 0.0165 | 198.4 | 213 | 24 | 2.2 | 40 | 0.6 | 4 | 2.02 | 1.08 | 159.77 | 98.33 |
|  | STRM 2 | 33 | 6.2 | 629.1 | 0.68 | 158.72 | 1257 | 19.2 | 3 | 32 | 0.3 | 3.67 | 2.33 | 1.11 | 2.01 | 99.99 |
|  | STRM 3 | 27 | 5.8 | 677 | 0.078 | 149 | 729.8 | 14.88 | 6 | 35.2 | 2.6 | 4.38 | 2.01 | 1.28 | 147.6 | 179.98 |
|  | STRM 4 | 30 | 6.88 | 100 | 0.067 | 144.88 | 48.11 | 16.8 | 4 | 30.4 | 2 | 5.22 | 2.04 | 3.96 | 215.25 | 666.66 |
|  | STRM 5 | 28 | 6.76 | 87.21 | 0.071 | 157.06 | 38.76 | 17.21 | 3.9 | 34.6 | 1.89 | 2.23 | 1.22 | 3.88 | 212.23 | 563.42 |
|  | STRM 6 | 29 | 6.5 | 610.1 | 0.67 | 164.35 | 745.81 | 19.22 | 7.2 | 34.22 | 1.11 | 5.44 | 2.04 | 4.86 | 138.71 | 581.22 |
|  | STRM 7 | 32 | 5.6 | 454.02 | 0.86 | 165.08 | 89.21 | 18.21 | 4.2 | 36.17 | 3.4 | 4.89 | 1.45 | 3.9 | 157.21 | 273.12 |
|  | PND1 | 27 | 5.7 | 1448 | 0.68 | 134.97 | 724 | 15.36 | 1 | 28.8 | 0.43 | 2.48 | 0.98 | 1.44 | 1.88 | 3333 |
|  | PND2 | 33 | 6.8 | 403 | 0.086 | 164.94 | 27 | 15.84 | 3.16 | 40 | 1 | 5.58 | 1.01 | 2.16 | 141.45 | 266.68 |
|  | PND3 | 29 | 6.9 | 55.9 | 0.04 | 70.34 | 201 | 7.4 | 2 | 16 | 0.9 | 4.03 | 1.33 | 3.24 | 153.75 | 353.29 |
|  | PND4 | 29 | 6.5 | 67.81 | 0.05 | 113.05 | 32 | 10.99 | 1 | 27.2 | 0.7 | 2.79 | 1.02 | 12.24 | 173.8 | 413.29 |
|  | PND5 | 28 | 4.5 | 702 | 0.089 | 153.43 | 884 | 18.32 | 4.3 | 31.33 | 0.79 | 1.87 | 1.87 | 2.04 | 174.23 | 517.34 |
|  | PND6 | 31 | 5.5 | 665 | 0.87 | 159.63 | 765 | 19.32 | 8.1 | 32.17 | 0.87 | 3.87 | 1.34 | 3.08 | 133.21 | 783.12 |
|  | PND7 | 28 | 6 | 451 | 0.78 | 157.3 | 581 | 14.22 | 4.3 | 39.6 | 1.03 | 2.56 | 2.02 | 1.98 | 43.22 | 89.65 |
|  | Min | 27 | 4.5 | 55.9 | 0.0165 | 70.34 | 27 | 7.4 | 1 | 16 | 0.3 | 1.87 | 0.98 | 1.08 | 1.88 | 89.65 |
|  | Max | 33 | 6.9 | 1448 | 0.87 | 198.4 | 1257 | 24 | 8.1 | 40 | 3.4 | 5.58 | 2.33 | 12.24 | 215.25 | 3333 |
|  | Mean | 29.65 | 6.12 | 483.93 | 0.36 | 149.37 | 452.55 | 16.49 | 3.88 | 32.69 | 1.26 | 3.79 | 1.62 | 3.31 | 132.46 | 587.08 |
|  | SD | 2.07 | 0.68 | 367.66 | 0.37 | 29.41 | 404.73 | 4.04 | 2.11 | 6.27 | 0.89 | 1.25 | 0.48 | 2.85 | 68.43 | 821.15 |
| GW | BH1 | 30 | 5.7 | 674.1 | 0.078 | 103.36 | 41.2 | 9.6 | 2.2 | 25.6 | 3.02 | 0.22 | 1 | 3.6 | 3.44 | 186.65 |
|  | BH2 | 34 | 6.02 | 544 | 0.071 | 107.29 | 31.22 | 10.56 | 7 | 25.6 | 2.01 | 0.87 | 3.01 | 1.8 | 196.88 | 233.31 |
|  | BH3 | 32 | 6.51 | 91 | 0.07 | 149.34 | 28.4 | 17.34 | 4.03 | 31.3 | 2.11 | 1.22 | 2.05 | 3.72 | 189.33 | 661.3 |
|  | BH4 | 28 | 6.12 | 78.9 | 0.06 | 156.85 | 25.6 | 17.22 | 3.411 | 34.5 | 2.43 | 1.54 | 1.89 | 3.81 | 181.22 | 662.8 |
|  | BH5 | 31 | 4.8 | 489 | 0.87 | 155.77 | 32.12 | 18.42 | 8 | 32.1 | 1.87 | 1.42 | 2.04 | 2.89 | 3.41 | 561.5 |
|  | BH6 | 29 | 5.31 | 544 | 0.91 | 114.84 | 25.3 | 12.34 | 5.6 | 25.7 | 2.12 | 0.89 | 1.77 | 3.1 | 171.22 | 481.3 |
|  | BH7 | 32 | 6.2 | 551 | 0.89 | 134.21 | 32.12 | 13.21 | 2.89 | 34.89 | 3.12 | 1.98 | 2.87 | 4.09 | 172.22 | 871.3 |
|  | Min | 28 | 4.8 | 78.9 | 0.06 | 103.36 | 25.3 | 9.6 | 2.2 | 25.6 | 1.87 | 0.22 | 1 | 1.8 | 3.41 | 186.648 |
|  | Max | 34 | 6.51 | 674.1 | 0.91 | 156.85 | 41.2 | 18.42 | 8 | 34.89 | 3.12 | 1.98 | 3.01 | 4.09 | 196.88 | 871.3 |
|  | Mean | 30.86 | 5.81 | 424.58 | 0.43 | 131.67 | 30.86 | 14.10 | 4.73 | 29.95571 | 2.39 | 1.163 | 2.09 | 3.29 | 131.11 | 522.60 |
|  | SD | 2.037 | 0.59 | 238.64 | 0.44 | 23.14 | 5.40 | 3.55 | 2.19 | 4.24 | 0.50 | 0.57 | 0.69 | 0.78 | 87.69 | 245.05 |
|  | WHO (2017) | NA | 6.5–8.5 | 1000 | NA | 100 | 1000 | 50 | 12 | 75 | 50 | 50 | 200 | 250 | 200-300 | 250 |
|  | SON (2015) | NA | 6.5–8.5 | 1000 | NA | 150 | 1000 | 0.2 | NA | NA | 50 | 50 | 200 | 100 | 250 | NA |

SW= Surface water; GW= Groundwater; TH (Total hardness expressed as CaCO3

| Table 6 summary results of calculated WQI parameters Sample ID | PI | MAR | KR | SAR | TH | SSP | EC | PS | Index parameter | Range | Class | % category | Sample code |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BH1 | 39.769 | 27.118 | 0.031 | 0.015 | 103.860 | 8.527 | 674.1 | 5.297 | SAR | < 10 10-18 | Excellent Good | 100 Nil | All samples - |
| BH2 | 47.197 | 29.471 | 0.084 | 0.042 | 106.173 | 21.884 | 544 | 198.142 |  | 18-26 | Doubtful | Nil | - |
| BH3 | 54.762 | 35.695 | 0.042 | 0.021 | 149.475 | 11.144 | 91 | 191.258 |  | > 26.0 | Unsuitable | Nil |  |
| BH4 | 51.548 | 33.294 | 0.036 | 0.018 | 156.852 | 9.294 | 78.9 | 183.173 | MAR | <50% >50% | Suitable Unsuitable | 100 Nil | All samples - |
| BH5 | 52.23 | 37.23 | 0.065 | 0.021 | 167.8 | 23.32 | 489 | 153.56 | PI | > 75 25-75 | Good Doubtable | 19 76.2 | PND3, PND5, PND6, PND7 H1, BH2, BH3, BH4, BH5, BH6, BH7, STRM3, STRM4, STRM5, STRM6, STRM7, PND1, PND2, PND4, PND7 |
| BH6 | 48.21 | 34.55 | 0.089 | 0.098 | 154.23 | 10.87 | 544 | 189.23 |  | < 25 | Unsuitable | 9.5 | STRM1, STRM2 |
| BH7 | 53.21 | 28.12 | 0.062 | 0.046 | 109.23 | 12.22 | 551 | 177.21 | TH | < 75 75-150 | Soft Moderately hard | 7.69 46.15 | PND3 BH-1-7; PND-1, 2, 4, 5, 6 7; STRM-1-7 |
| STRM1 | 16.534 | 37.777 | 0.009 | 0.004 | 195.580 | 4.182 | 425 | 160.8092 |  | 150–300 | Hard | 46.15 |  |
| STRM2 | 19.904 | 38.735 | 0.005 | 0.002 | 157.860 | 6.469 | 629.1 | 3.06356 |  | > 300 | Very hard | Nil |  |
| STRM 3 | 30.581 | 29.619 | 0.052 | 0.026 | 150.004 | 14.854 | 677 | 148.731 | KR | > 1 < 1 | Unsuitable Suitable | Nil 100 | All samples |
| STRM 4 | 54.998 | 37.070 | 0.041 | 0.020 | 148.439 | 11.113 | 100 | 217.24 | SSP | < 20 | Excellent | 84.61 | All except BH2 and PND3 |
| STRM 5 | 47.680 | 33.179 | 0.036 | 0.018 | 157.165 | 10.042 | 87.21 | 214.199 |  | 20-40 40-60 | Good Permissible | 15.38 | BH2, PND3 |
| STRM 6 | 63.23 | 29.12 | 0.048 | 0.032 | 178.23 | 22.34 | 610.1 | 185.22 |  | 60-80 | Doubtful | Nil |  |
| STRM 7 | 38.12 | 35.34 | 0.043 | 0.016 | 156.76 | 17.32 | 454.02 | 218.21 |  | >80 | Unsuitable | Nil |  |
| PND1 | 42.157 | 34.958 | 0.009 | 0.004 | 134.289 | 8.311 | 1448 | 3.045 | PS | < 5 | Excellent to good | 9.5 | STRM2, PND1 |
| PND2 | 30.565 | 28.252 | 0.017 | 0.008 | 165.403 | 19.742 | 403 | 142.919 |  | 5-10 | Good- injurious | 4.7 | BH1 |
| PND3 | 80.676 | 31.533 | 0.038 | 0.019 | 70.651 | 26.534 | 55.9 | 161.694 |  | >10 | Injurious | 85.7 | BH-2,3,4, 5, 6, 7; STRM-1, 3, 4, 5, 6, 7; PND-2,3,4, 5, 6, 7 |
| PND4 | 53.523 | 28.488 | 0.018 | 0.009 | 114.079 | 12.719 | 67.81 | 133.448 | EC | < 250 | Excellent | 28.5 | STRM4, STRM5, PND3, PND4, BH3 and BH4 |
| PND5 | 78.22 | 32.12 | 0.023 | 0.009 | 165.32 | 11.23 | 702 | 154.34 |  | 250–750 | Good (medium salinity) | 66.6 | STRM1, STRM2, STRM3, STRM6, STRM7, PND2, PND5, PND6, PND7, BH1, BH2, BH5, BH6, BH7 |
| PND6 | 81.23 | 33.22 | 0.045 | 0.056 | 109.23 | 28.34 | 665 | 176.21 |  | 750-2250 | Doubtful | 4.7 | PND1 |
| PND7 | 56.21 | 27.23 | 0.039 | 0.089 | 154.22 | 21.11 | 451 | 151.03 |  | >2250 | Unsuitable | Nil | - |

Table 7 Summary of the performance and statistical metrics used for the validation of the ANN and MLR models

|  | (a) MLR Modelling |  |  |  |  | (b) MLP-ANN |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Predicted index | Multiple correlation coefficient (R) | Coefficient of determination (R2) | Adjusted R2 (R2Adj) | Standard error of estimate (SEES) |  | Relative error (testing) | R2 | Sum of square errors (Training) | Relative error (training) | Sum of square errors (testing) | Relative error (testing) | Residual error plot |
| PI | 0.860 | 0.740 | 0.349 | 3.644 |  | 0.155 | 0.941 | 0.117 | 0.048 | 0.065 | 0.155 | Fig. 5b |
| MAR | 0.798 | 0.636 | 0.091 | 3.56 |  | 0.863 | 0.713 | 0.006 | 0.002 | 0.322 | 0.863 | Fig. 5f |
| KR | 0.926 | 0.858 | 0.645 | 0.013 |  | 0.283 | 0.908 | 0.031 | 0.031 | 0.094 | 0.283 | Fig. 5c |
| SAR | 0.924 | 0.854 | 0.635 | 0.015 |  | 0.397 | 0.896 | 0.076 | 0.067 | 0.092 | 0.397 | Fig. 5e |
| SSP | 0.716 | 0.513 | -0.217 | 3.96 |  | 0.267 | 0.899 | 0.129 | 0.053 | 0.217 | 0.267 | Fig. d |
| PS | 0.920 | 0.847 | 0.617 | 0.21 |  | 0.221 | 0.983 | 0.039 | 0.011 | 0.030 | 0.221 | Fig. 5a |