|  | Actual patient | T | RE |  | REM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1st step | 2nd step | 1st step | 2nd step |
| The amount of anterior sternal translation (mm) | 18.93 | 32.76 | 21.32 | 11.50 | 20.90 | 17.07 |
| Relative difference (%) | - | 73.06 | 12.63 | 39.25 | 10.41 | 9.83 |

Table 1. Comparison of the amount of anterior sternal translation in actual Nuss procedure and finite element analysis (FEA) scenarios

|  | Actual patient | T | RE |  | REM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1st step | 2nd step | 1st step | 2nd step |
| HI | 2.376 | 2.036 | 2.280 | 2.544 | 2.290 | 2.387 |
| Relative difference (%) | - | 14.29 | 4.06 | 7.07 | 3.63 | 0.46 |

Table 2. Comparison of the Haller index (HI) in actual Nuss procedure and finite element analysis (FEA) scenarios

|  |  | T | RE |  | REM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1st step | 2nd step | 1st step | 2nd step |
| Maximum equivalent stress (MPa) | Sternum | 41.34 | 1.13 | 0.71 | 1.16 | 1.29 |
|  | Metal bar | 0.01 | 333.53 | 264.06 | 434.83 | 476.51 |
| Maximum equivalent strain | Sternum | 0.12825 | 0.00315 | 0.00181 | 0.00316 | 0.00374 |
|  | Metal bar | 0.00001 | 0.00223 | 0.00176 | 0.00290 | 0.00318 |
| Average equivalent stress (MPa) | Sternum | 3.45 | 0.13 | 0.10 | 0.17 | 0.17 |
|  | Metal bar | 0.01 | 151.04 | 147.60 | 217.50 | 247.18 |
| Average equivalent strain | Sternum | 0.01067 | 0.00035 | 0.00027 | 0.00046 | 0.00045 |
|  | Metal bar | 0.00001 | 0.00101 | 0.00098 | 0.00145 | 0.00165 |

Table 3. Maximum and average values of equivalent stress and strain in the sternum and metal bar

|  |  |  | T | RE |  | REM |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 1st step | 2nd step | 1st step | 2nd step |
| Contact pressure (N/mm2) | Sternum | X-axis Y-axis Z-axis Total | 0.2541 0.6960 -0.3671 0.8269 | 0.0179 -0.0323 0.0312 0.0483 | 0.0145 -0.0328 0.0154 0.0390 | 0.0274 -0.0651 0.0523 0.0879 | 0.0252 -0.0678 0.0470 0.0863 |
|  | Metal bar | X-axis Y-axis Z-axis Total | 0.0001 0.0001 0.0001 0.0001 | 0.0001 0.0380 -0.0060 0.0385 | 0.0008 0.0309 -0.0044 0.0312 | 0.0021 0.0559 -0.0115 0.0571 | 0.0036 0.0591 -0.0145 0.0609 |

Table 4. Contact pressure in the sternum and metal bar