Appendix A

| Table A1. Physical and chemical properties of the Palm Activated Carbon (PAC) (adopted from previous research, see ref. [6]) |  |
| --- | --- |
| Property | Value |
| Particular shape | Granular |
| Particular size | ~ 3.0 mm |
| Density | 0.431 g/cm3 |
| Heat of adsorption | 1800 kJ/kg |
| Iodine number | 1180 |
| Total pore volume | 0.5 – 0.6 cm3/g |
| Surface area | 1000 – 1100 m2/g |
| Moisture (% Max) | Below 5% |

| Table A2. The car specifications |  |
| --- | --- |
| Item | Specification |
| Car model/engine | Proton Iswara |
| Overall length/width/height | 4.36m/1.68m/1.385m |
| Engine type | VVT Engine 1.3 liter |
| Fuel type | Petrol |
| Transmission | 5-speed manual |
| Max power | 55 kW @ 6000 rpm |
| Max car speed | 165 km/hour |
| Space | ~ 3.17 m3 |
| Fuel consumption | ~ 5.5 liter/100 km (RON 97) |
| Moisture (% Max) | Below 5% |

Appendix B

Table B1. Data on Temperature Vs Time for Heating and Cooling of Adsorbers (Normal Control) at 5 Minutes Interval.

| Time (Minute) | Cycle | Heating Adsorber | Cooling Adsorber | Temperature (oC) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | T0 | T1 | T2 | T3 | T4 | T5 | T6 |
| 0 | - | - | - | 39 | 28 | 28 | 29 | 30 | 30 | 29 |
| 5 | 1 | 1 | 2 | 110 | 36 | 28 | 29 | 49 | 29 | 29 |
| 10 |  | 1 | 2 | 154 | 54 | 28 | 29 | 77 | 28 | 29 |
| 15 |  | 2 | 3 | 168 | 58 | 47 | 29 | 49 | 83 | 29 |
| 20 |  | 2 | 3 | 175 | 53 | 74 | 29 | 38 | 100 | 30 |
| 25 |  | 3 | 1 | 184 | 46 | 74 | 45 | 39 | 56 | 102 |
| 30 |  | 3 | 1 | 187 | 41 | 66 | 72 | 38 | 42 | 118 |
| 35 | 2 | 1 | 2 | 191 | 59 | 55 | 76 | 93 | 43 | 58 |
| 40 |  | 1 | 2 | 193 | 82 | 45 | 71 | 106 | 40 | 42 |
| 45 |  | 2 | 3 | 196 | 81 | 67 | 60 | 59 | 107 | 55 |
| 50 |  | 2 | 3 | 196 | 72 | 92 | 53 | 42 | 117 | 47 |
| 55 |  | 3 | 1 | 197 | 60 | 86 | 65 | 48 | 63 | 119 |
| 60 |  | 3 | 1 | 197 | 51 | 75 | 87 | 44 | 46 | 130 |
| 65 | 3 | 1 | 2 | 195 | 66 | 59 | 86 | 100 | 48 | 54 |
| 70 |  | 1 | 2 | 197 | 88 | 47 | 79 | 112 | 44 | 42 |
| 75 |  | 2 | 3 | 198 | 85 | 71 | 66 | 59 | 111 | 58 |
| 80 |  | 2 | 3 | 201 | 76 | 95 | 56 | 43 | 122 | 50 |
| 85 |  | 3 | 1 | 201 | 62 | 90 | 68 | 50 | 65 | 122 |
| 90 |  | 3 | 1 | 202 | 53 | 78 | 89 | 46 | 49 | 133 |
| 95 | 4 | 1 | 2 | 199 | 71 | 60 | 89 | 104 | 49 | 60 |
| 100 |  | 1 | 2 | 202 | 93 | 49 | 81 | 116 | 45 | 43 |
| 105 |  | 2 | 3 | 199 | 87 | 73 | 68 | 54 | 112 | 59 |
| 110 |  | 2 | 3 | 205 | 78 | 98 | 58 | 42 | 125 | 52 |
| 115 |  | 3 | 1 | 209 | 64 | 92 | 71 | 51 | 67 | 127 |
| 120 |  | 3 | 1 | 208 | 54 | 79 | 93 | 47 | 49 | 138 |

Table B2. Data on Temperature Vs Time for Heating and Cooling of Adsorbers (Pre-Heat Control)

| Time (Minute) | Cycle | Heating Adsorber | Cooling Adsorber | Temperature (0C) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | T0 | T1 | T2 | T3 | T4 | T5 | T6 |
| 0 | - | - | - | 43 | 31 | 29 | 31 | 30 | 29 | 30 |
| 5 | 1 | 1 | 2 | 126 | 38 | 29 | 31 | 51 | 30 | 29 |
| 8 |  | 1 and 2 | 3 | 154 | 49 | 29 | 31 | 60 | 30 | 29 |
| 10 |  | 2 | 3 | 172 | 57 | 30 | 31 | 71 | 54 | 31 |
| 15 |  | 2 | 3 | 190 | 60 | 61 | 30 | 45 | 100 | 31 |
| 18 |  | 2 and 3 | 1 | 195 | 56 | 80 | 30 | 39 | 111 | 31 |
| 20 |  | 3 | 1 | 197 | 54 | 89 | 31 | 39 | 100 | 67 |
| 25 |  | 3 | 1 | 195 | 46 | 83 | 57 | 37 | 58 | 117 |
| 28 |  | 3 and 1 | 2 | 196 | 43 | 76 | 75 | 36 | 48 | 125 |
| 30 |  | 1 | 2 | 200 | 42 | 69 | 83 | 55 | 48 | 117 |
| 35 | 2 | 1 | 2 | 206 | 68 | 52 | 83 | 103 | 43 | 58 |
| 38 |  | 1 and 2 | 3 | 208 | 85 | 46 | 78 | 111 | 41 | 45 |
| 40 |  | 2 | 3 | 209 | 93 | 45 | 74 | 103 | 71 | 61 |
| 45 |  | 2 | 3 | 213 | 85 | 80 | 62 | 56 | 119 | 52 |
| 48 |  | 2 and 3 | 1 | 214 | 78 | 97 | 56 | 45 | 125 | 47 |
| 50 |  | 3 | 1 | 212 | 72 | 103 | 54 | 50 | 113 | 83 |
| 55 |  | 3 | 1 | 218 | 59 | 93 | 76 | 46 | 64 | 134 |
| 58 |  | 3 and 1 | 2 | 214 | 55 | 85 | 90 | 43 | 52 | 140 |
| 60 |  | 1 | 2 | 211 | 52 | 77 | 97 | 63 | 53 | 129 |
| 65 | 3 | 1 | 2 | 205 | 77 | 57 | 93 | 105 | 47 | 58 |
| 68 |  | 1 and 2 | 3 | 198 | 90 | 48 | 87 | 110 | 44 | 44 |
| 70 |  | 2 | 3 | 196 | 95 | 47 | 81 | 101 | 71 | 67 |
| 75 |  | 2 | 3 | 196 | 86 | 77 | 68 | 55 | 111 | 56 |
| 78 |  | 2 and 3 | 1 | 195 | 78 | 90 | 61 | 46 | 116 | 51 |
| 80 |  | 3 | 1 | 192 | 72 | 96 | 59 | 51 | 106 | 81 |
| 85 |  | 3 | 1 | 194 | 60 | 87 | 74 | 47 | 58 | 122 |
| 88 |  | 3 and 1 | 2 | 193 | 54 | 80 | 85 | 44 | 49 | 126 |
| 90 |  | 1 | 2 | 191 | 52 | 72 | 91 | 61 | 51 | 118 |
| 95 | 4 | 1 | 2 | 192 | 73 | 54 | 87 | 100 | 46 | 59 |
| 98 |  | 1 and 2 | 3 | 187 | 86 | 48 | 82 | 105 | 44 | 46 |
| 100 |  | 2 | 3 | 189 | 92 | 46 | 77 | 98 | 69 | 64 |
| 105 |  | 2 | 3 | 193 | 84 | 74 | 64 | 58 | 109 | 54 |
| 108 |  | 2 and 3 | 1 | 192 | 78 | 88 | 58 | 48 | 115 | 50 |
| 110 |  | 3 | 1 | 194 | 72 | 94 | 56 | 51 | 104 | 80 |
| 115 |  | 3 | 1 | 192 | 60 | 86 | 73 | 47 | 56 | 120 |
| 118 |  | 3 and 1 | 2 | 189 | 54 | 79 | 84 | 44 | 46 | 125 |
| 120 |  | 1 | 2 | 185 | 52 | 72 | 90 | 60 | 49 | 115 |

Appendix C

Table C1 Operational Sequence of Adsorbers

| No | Cycle time (10 Min) | Desorption Valves (Heating Adsorbers) |  |  | Adsorption Valves (Cooling Adsorbers) |  |  | Condition of Adsorbers |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Valve 7 | Valve 8 | Valve 9 | Valve 10 | Valve 11 | Valve 12 | 1 | 2 | 3 |
| 1 | Sequence 1 | Open | Close | Close | Close | Open | close | Desorption | Adsorption | None |
| 2 | Sequence 2 | Close | Open | Close | Close | Close | Open | None | Desorption | Adsorption |
| 3 | Sequence 3 | Close | Close | Open | Open | Close | Close | Adsorption | None | Desorption |