SUPPLEMENTARY MATERIALS

MIL-101-based SPE-GC/MS method for simultaneous determination of alachlor, acetochlor and pretilachlor in waters

Yujuan Cai a,*, Liying Li a, *, Jun Zhang a, Zhenjie Li b, Fengmei Zhang b, Yanqun Xu b, Zhigang Tai a,

a Faculty of Life Science and Technology, Kunming University of Science and Technology, Kunming, 650500, P.R. China

b Yunnan Key Laboratory of Tobacco Chemistry, R&D Center of China Tobacco Yunnan Industry Co., Ltd., Kunming, 650231, P.R. China

1. Target herbicides and GC–MS parameters

Table 1

Physico-chemical properties and GC–MS parameters of the target herbicides

| Compound | MWb (g mol-1) | pKa | Retention time (RT /min) | Selected ions (m/z) |
| --- | --- | --- | --- | --- |
| Alachlor | 269.77 | 1.20±0.50 | 12.50 | 160.2, 188.1, 237.1 |
| Acetochlor | 269.77 | 1.29±0.50 | 12.10 | 238.2, 162.2, 176.2 |
| Preochlor | 311.85 | 1.41±0.50 | 16.61 | 146.1, 162.1, 223.1 |

2. Method validation

2.1 Standard curve for alachlor，acetochlor and pretilachlor

Fig.1.Standard curve for alachlor in organic solvent

Fig.2.Standard curve for alachlor in matrix

Fig.3.Standard curve for acetochlor in organic solvent

Fig.4.Standard curve for acetochlor in matrix

Fig.5.Standard curve for pretilachlor in organic solvent

Fig.6.Standard curve for pretilachlor in matrix

2.2 Structure and mass spectrogram

Fig.7. Structure and mass spectrogram of alachlor

Fig.8. Structure and mass spectrogram of acetochlor

Fig.9. Structure and mass spectrogram of pretilachlor

2.3 Intra-day and inter-day precisions

Table 2

Intra-day precisions for alachlor, acetochlor and preochlor. (n=3)

| Compound | c (μg mL-1) |  |  | Average | SD | RSD |
| --- | --- | --- | --- | --- | --- | --- |
| Alachlor | 0.9012 | 0.9402 | 0.9321 | 0.9245 | 2.06 | 2.23 |
| Acetochlor | 0.8912 | 0.9024 | 0.9371 | 0.9102 | 2.39 | 2.63 |
| Preochlor | 0.8865 | 0.9026 | 0.9627 | 0.9173 | 4.02 | 4.38 |

Table 3

Inter-day precisions for alachlor, acetochlor and preochlor. (n=6)

| Compound | c (μg mL-1) |  |  |  |  |  | Average | SD | RSD |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Alachlor | 0.9012 | 0.9402 | 0.9604 | 0.9267 | 0.9301 | 0.9281 | 0.9311 | 1.93 | 2.07 |
| Acetochlor | 0.8912 | 0.9024 | 0.9601 | 0.8824 | 0.8965 | 0.9126 | 0.9075 | 2.77 | 3.05 |
| Preochlor | 0.8865 | 0.9026 | 0.9324 | 0.9069 | 0.8765 | 0.8798 | 0.8975 | 2.10 | 2.34 |

2.4 Comparison with C18, PSA and Florisil.

Table 4

Comparison of the adsorption performance of the MIL-101 with C18, PSA and Florisil cartridges.

| Compound | MIL-101 |  | Florisil |  | C18 |  | PSA |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Average | RSD | Recovery(%) | RSD | Average | RSD | Average | RSD |
| Alachlor | 107.4 | 1.94 | 88.3 | 0.89 | 77.6 | 2.13 | 36.4 | 1.68 |
| Acetochlor | 96.0 | 0.65 | 86.1 | 2.75 | 74.3 | 0.85 | 38.6 | 1.24 |
| Preochlor | 90.7 | 0.10 | 85.6 | 1.85 | 74.7 | 1.96 | 43.5 | 0.98 |

3.Real sample detection

Table 6

Content (μg kg-1) of the amide herbicides in soil samples

| samples |  | alachlor | acetochlor | Pretilachlor |
| --- | --- | --- | --- | --- |
| Wheat field | 0-10cm | ND | 8.04±0.036 | ND |
|  | 10-20cm | ND | 6.98±0.042 | ND |
|  | 20-30cm | ND | 5.23±0.014 | ND |
|  | 30-40cm | ND | 0.97±0.028 | ND |
| Corn field | 0-10cm | 2.03±0.012 | 4.92±0.028 | ND |
|  | 10-20cm | 0.86±0.006 | 2.35±0.021 | ND |
|  | 20-30cm | 0.64±0.003 | 0.94±0.007 | ND |
|  | 30-40cm | ND | 0.62±0.004 | ND |
| Soybean field | 0-10cm | 1.17±0.008 | 2.08±0.012 | ND |
|  | 10-20cm | 0.72±0.004 | 0.67±0.005 | ND |
|  | 20-30cm | ND | ND | ND |
|  | 30-40cm | ND | ND | ND |

ND: not detected

These authors contributed equally to this work.

Corresponding author: Zhigang Tai,  Email: taizg@kust.edu.cn

* These authors contributed to the work equllly and should be regarded as co-first authors.