Supplemental Table S1. Variations in the 16S ribosomal RNA operon copy number in genomes

| Name of Mycoplasma, Ureaplasma and other bacteria | 16S ribosomal RNA operon copy number |
| --- | --- |
| Bacillus cereus | 13 |
| Clostridium difficile | 12 |
| Aeromonas hydrophila | 10 |
| Clostridium perfringens | 10 |
| Enterobacter aerogenes | 8 |
| Enterobacter cloacae | 8 |
| Klebsiella pneumoniae | 8 |
| Bacteroides vulgatus | 7 |
| Escherichia coli | 7 |
| Streptococcus agalactiae | 7 |
| Bacteroides fragilis | 6 |
| Enterococcus faecium | 6 |
| Bacteroides distasonis | 5 |
| Staphylococcus aureus | 5 |
| Staphylococcus epidermidis | 5 |
| Staphylococcus haemolyticus | 5 |
| Staphylococcus lugdunensis | 5 |
| Enterococcus faecalis | 4 |
| Lactobacillus acidophilus | 4 |
| Lactobacillus crispatus | 4 |
| Paptostreptococcus magnus | 4 |
| Paptostreptococcus prevotii | 4 |
| Pseudomonas aeruginosa | 4 |
| Streptococcus mitis | 4 |
| Eubacterium lentum | 3 |
| Campylobacter jejuni | 3 |
| Propionibacterium acnes | 3 |
| Acinetobacter calcoaceticus | 2 |
| Gardnerella vaginalis | 2 |
| Ureaplasma parvum | 2 |
| Ureaplasma urealyticum | 2 |
| Mycoplasma hominis | 2 |
| Mycoplasma genitalium | 1 |
| Mycoplasma pneumoniae | 1 |

(Copyright: Ueno T. et al. PLoS One. 2015 Jun 4;10(6):e0129032.)

Supplemental Table S2. Validation of the measurement errors among 10 different quantification trials using the same Escherichia coli (ATCC25922) solution

| Trial No. | Bacterial count /PCR tube | Difference from the average | Measurement error from the average (%) |
| --- | --- | --- | --- |
| 1 | 304 | -14.1 | -4.43 |
| 2 | 311 | -7.1 | -2.39 |
| 3 | 326 | 7.9 | 2.48 |
| 4 | 325 | 6.9 | 2.17 |
| 5 | 303 | -15.1 | -4.75 |
| 6 | 311 | -7.1 | -2.23 |
| 7 | 322 | 3.9 | 1.23 |
| 8 | 322 | 3.9 | 1.23 |
| 9 | 333 | 14.9 | 4.68 |
| 10 | 324 | 5.9 | 1.85 |
| average | 318.1 |  |  |
| range | 303 to 333 | -15.1 to 14.9 | -4.75 to 4.68 |

Supplemental Table S3. Interpretative criteria for the Tm mapping method

| Difference Value (D) | Suitability for identification | Identification | Interpretation |
| --- | --- | --- | --- |
| 0.0 ≤ D ≤ 0.28 | High | All identification results within this range have the same possibility of being the bacterial isolate | Matched the bacteria registered in the database |
| 0.28 < D ≤ 0.5 | Medium to Low | The identification result with the lowest Difference Value is highly likely to be the bacterial isolate | Mutant strain, or Polymicrobial infection*1 |
| 0.5 < D | Not suitable | Does NOT identify the bacterial isolate | Polymicrobial infection*2, or Not registered in the database, or Under the limit of identification*3 |

(Copyright: Niimi H. et al. Scientific Reports, 2015 Jul 28; 5:12543)

*1: Polymicrobial infection with one dominant bacterial species

*2: Polymicrobial infection with no dominant bacterial species

*3: Under the limit of identification but over or equal to the limit of detection

Supplemental Table S4. A comparison of the identification results between the original protocol for the Tm mapping method and the modified protocol for the Tm mapping quantification method

|  | Using the original protocol for the Tm mapping method |  |  |  | Using the modified protocol for the Tm mapping quantification method |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DNA template | 2 μL |  |  |  | 10 μL |  |  |  |
| 1st PCR | 40 cycles |  |  |  | 30 cycles |  |  |  |
| Dilution | 1/ 500 |  |  |  | 1/ 100 |  |  |  |
| 2nd PCR | 30 cycles |  |  |  | 35 cycles |  |  |  |
| Trials | Tm values of 1st trial | Tm values of 2nd trial | Tm values of 3rd trial | Tm values of NC | Tm values of 1st trial | Tm values of 2nd trial | Tm values of 3rd trial | Tm values of NC |
| Region 1 | 89.50 | 89.60 | 89.50 | N.D | 89.60 | 89.60 | 89.75 | N.D. |
| Region 2 | 88.85 | 88.85 | 88.60 | N.D. | 88.85 | 88.85 | 88.90 | N.D. |
| Region 3 | 89.75 | 90.00 | 89.65 | N.D. | 89.90 | 89.90 | 89.85 | N.D. |
| Region 4 | 90.25 | 90.25 | 90.15 | N.D. | 90.25 | 90.25 | 90.25 | N.D. |
| Region 5 | 86.75 | 86.75 | 86.40 | N.D. | 86.75 | 86.75 | 86.65 | N.D. |
| Region 6 | 88.10 | 88.15 | 87.85 | N.D. | 88.10 | 88.10 | 88.15 | N.D. |
| Region 7 | 87.75 | 87.90 | 87.90 | N.D. | 88.00 | 87.90 | 88.25 | N.D. |
| Identification results | E. coli | E. coli | E. coli | N.D. | E. coli | E. coli | E. coli | N.D. |
| Diff. Value | 0.24 | 0.26 | 0.19 | - | 0.25 | 0.19 | 0.24 | - |

We checked the difference between the identification results using the original protocol for the Tm mapping method and the modified protocol for the Tm mapping quantification method. As a result, no significant differences were observed between the original and modified protocols.

NC = negative control, Diff. Value = Difference Value, N.D. = not detected

Supplemental Figure S1. Bacterial contamination in vacuum blood collection tubes

Vacuum blood collection tubes (n = 10)

Vacuum blood collection tubes (n = 10)

To check whether or not vacuum blood collection tubes were contaminated with bacterial DNA, we added 2 mL each of molecular-grade distilled water to 10 vacuum blood collection tubes (EDTA-2K) and tried to detect and quantify the bacterial DNA in the tubes. We performed pelletizing, DNA extraction, and a quantitative polymerase chain reaction assay according to the protocol described in the Methods section. As a result, bacterial DNA were detected in 8 of the 10 commercially available tubes. Those bacteria could not be identified using the Tm mapping method (Diff. Value > 0.5) as they were not registered in the database, so the bacterial concentrations were quantified as Escherichia coli. The average number of bacteria was 65/blood collection tube. In contrast, no bacteria were detected in any of Nipro′s tubes (OP-BF0205-1; bacterial DNA contamination-free vacuum blood collection tubes). Error bars indicate triplicate testing.