Fig. S1 Schematic illustration of the QB-based mICA

Fig. S2 (A) UV-Vis absorption spectra of mAb, QBs and QB-mAb probes. (B) DLS analysis of QBs and QB-mAb probes

Table S1 Linear equations based on mICA analysis for the nitrofuran metabolites

| Analyte | Standard curve | R2 |
| --- | --- | --- |
| AOZ | y= - 0.350 logx + 0.636 | 0.970 |
| AHD | y= - 0.247 logx + 0.478 | 0.984 |
| SEM | y= - 0.182 logx + 0.377 | 0.979 |
| AMOZ | y= - 0.164 logx + 0.333 | 0.990 |

Table S2 Assay performances comparison of the published methods

| Analytes | Methods | Samples | LOD | References |
| --- | --- | --- | --- | --- |
| AHD | SERS | Sea cucumber | 5 ng/g | Fan et al., 2021 |
| AHD | ELISA | Water | 0.2 ppb | Liu et al., 2007 |
| AOZ | Immunoassay | Milk powder/Shrimp | 0.43 ng/mL | Su et al., 2021 |
| AMOZ | ELISA | Shrimps | 0.16 μg/kg | Pimpitak et al., 2009 |
| AMOZ | Immunosensor | Food samples | 1 ng/mL | Jin et al., 2011 |
| SEM | HPLC | Food matrices | 0.4 μg/kg | Li et al., 2014 |
| AOZ | Multiplex ICA | Red drum/Grass carp/Shrimp/ Scallop | 0.198 ng/mL | This work |
| AHD |  |  | 0.138 ng/mL |  |
| SEM |  |  | 0.071 ng/mL |  |
| AMOZ |  |  | 0.157 ng/mL |  |

Table S3 Recoveries of QB-based mICA strip for the detection of nitrofuran metabolites

| Sample | Spiked (ng/mL) | Measured (ng/mL) | Recovery (%) | RSD (%) |
| --- | --- | --- | --- | --- |
| AOZ | 0.5 | 0.43 | 86.2 | 5.86 |
|  | 5 | 4.67 | 93.3 | 0.49 |
|  | 50 | 40.99 | 82.0 | 8.84 |
| AHD | 0.5 | 0.44 | 88.6 | 6.71 |
|  | 5 | 4.61 | 92.2 | 3.84 |
|  | 50 | 42.12 | 84.2 | 9.33 |
| SEM | 0.5 | 0.46 | 92.0 | 3.69 |
|  | 5 | 4.44 | 88.7 | 1.21 |
|  | 50 | 42.43 | 84.9 | 5.64 |
| AMOZ | 0.5 | 0.46 | 91.9 | 7.52 |
|  | 5 | 4.52 | 90.3 | 2.13 |
|  | 50 | 46.49 | 93.0 | 5.40 |

Table S4 Application of QB-based mICA strip to detect nitrofuran metabolites in different samples

| sample | AOZ |  | AHD |  | SEM |  | AMOZ |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Spiked （μg/kg） | mICA | Spiked （μg/kg） | mICA | Spiked （μg/kg） | mICA | Spiked （μg/kg） | mICA | mICA images |
| Red drum | 0.5 | +,+,+a | 0.5 | +,+,+ | 0.5 | +,+,+ | 0.5 | +,+,+ |  |
|  | 5 | ±,±,±b | 5 | ±,±,± | 5 | ±,±,± | 5 | ±,±,± |  |
|  | 50 | -,-,-c | 50 | -,-,- | 50 | -,-,- | 50 | -,-,- |  |
| Grass carp | 0.5 | +,+,+ | 0.5 | +,+,+ | 0.5 | +,+,+ | 0.5 | +,+,+ |  |
|  | 5 | ±,±,± | 5 | ±,±,± | 5 | ±,±,± | 5 | ±,±,± |  |
|  | 50 | -,-,- | 50 | -,-,- | 50 | -,-,- | 50 | -,-,- |  |
| shrimp | 0.5 | +,+,+ | 0.5 | +,+,+ | 0.5 | +,+,+ | 0.5 | +,+,+ |  |
|  | 5 | ±,±,± | 5 | ±,±,± | 5 | ±,±,± | 5 | ±,±,± |  |
|  | 50 | -,-,- | 50 | -,-,- | 50 | -,-,- | 50 | -,-,- |  |
| scallop | 0.5 | +,+,+ | 0.5 | +,+,+ | 0.5 | +,+,+ | 0.5 | +,+,+ |  |
|  | 5 | ±,±,± | 5 | ±,±,± | 5 | ±,±,± | 5 | ±,±,± |  |
|  | 50 | -,-,- | 50 | -,-,- | 50 | -,-,- | 50 | -,-,- |  |

a Negative result. An obvious fluorescence band was observed.

b Weakly positive result. The fluorescence band was light.

c Positive result. No fluorescence band was observed.