| Clinical Tropical Medicine, QIMR |  |  |
| --- | --- | --- |
| CTM QIMR | Malarial Enrichment via Apheresis - Form | Date Effective: |
| Version: | Status: | Review Date: Two years after review date |

Apheresis laboratory master SOP: Cohort 2

Pre-processing

- Record all lot and catalogue numbers on QIMR- QF-75-B Malaria Parasite Isolation from Apheresis Product for volumes.

- Spray or wipe labelled transfer bags, exchange couplers, CPDA-1 blood bags and necessary consumables into the hood using 80% v/v Ethanol.

- Insert exchange coupler into CPDA-1 blood bag and aliquot citrate into labelled 50mL tubes.

- Using an exchange coupler and pipette prefill labelled transferred bags with the correct citrate volumes.

  - Refer to QIMR- QF-75-B Malaria Parasite Isolation from Apheresis Product for volumes.

- Record times on QIMR-QF-75-B of when transfer bags containing citrate are prewarmed.

Collection and Waterbath setup for maintaining temperature of transfer bags at Apheresis unit

- Refer to “Waterbath setup for blood bags”.

  - Refer to and ensure to QIMR- QF-75-B Malaria Parasite Isolation from Apheresis Product for volumes is filled out for all fractions being collected.

Transfer of transfer bags from Apheresis unit to CTM

- “Refer to Apheresis Thermos Blood Collection Method”.

- Ensure “Apheresis_Thermos_Transport_Form” is filled out for each transfer of fraction of blood collected.

Processing of Apheresis Blood Fractions

- NB Ensure QIMR-QF-75-A Apheresis Fraction Processing is filled in .

- Ensure centrifuge is preheated using program 9 – 4500rpmr/HOLD/40°C.

- Once blood bag has been transported to the waterbath in CTM and process is ready to continue, fill two large silver thermos’ with preheated water. Refer to “Appendix 1 – Table of Correct Water Volumes” for volume of water to add. Prepare one thermos for holding the blood bag and one thermos for holding 50ml falcons at temperature.

- Check temperature of water and replace if below 38°C.

- Place blood bag into thermos and move into BSC.

- Move 50/250ml (for 1 and 2% HCT) collection tube into BSC and hold in thermos.

- Use spike adaptor on sterile port of blood bag.

  - Note: Do not remove blood bag from thermos or lift above water level.

- Grab a 30/50ml preheated syringe from prewarming incubator.

- Unscrew white cap of spike adaptor and place to the side.

- Connect syringe to leur lock of spike adaptor.

- Carefully syringe blood out of blood bag and dispense into 50ml/250ml collection tube.

- Repeat process as necessary until all blood has been removed from blood bag.

- Prepare a labelled 50ml falcon for sampling into a 50ml tube rack.

- Mix collection tube well, either by gentle swirling or aspiration using a 25ml strippette.

- Measure volume of HCT fraction received.

- Aspirate an appropriate volume of sample into sampling tube. Sampling tube can be moved into another BSC for aliquoting during process.

  - Refer to Master Sample list for details regarding subsampling

- Spin 50ml/250ml collection tube in a preheated centrifuge at 1455g/5-15min/40°C

- Replace water in thermos just before centrifuge stops spinning.

- Collect collection tube from centrifuge with thermos and set centrifuge to preheat. (Program 9 – 4500rpm, HOLD, 40°C)

- Place thermos back into BSC.

- Use a strippette to remove plasma and place into a labelled collection tube.

- Resuspend pellet and measure.

  - For 1%, 2% or 3% HCT: Resuspend 650uL of pellet in 650uL of prewarmed AB serum for “Feed Mix”. Remainder is to be used for subsampling.

      - Refer Master Sample list for details regarding subsampling.

    - Prepare small thermos for transportation.

    - Place FM into floatie and transport in small thermos to PC3.

    - Conduct Membrane Feed as per CTM QIMR SOP 15 –Infection of Mosquitoes’ with plasmodium by membrane feeding

  - For 5% and 7% HCT: Resuspend pellet in equal volume of RPMI and prepare thin and thick films.

Appendix

Appendix 1

Volume of Water to Add to Thermos:

- Preeparing Cell  pellets for storage prior to cryopreservation (per HCT Fraction)

  - Transfer remaining pellet to prepared 25mL aliquots of pre-warmed (37°C) AB complete media.

  - Add additional media until total volume is 30mL.

  - Store at 37°C until shortly prior to cryopreservation.

  - Record details on Apheresis Fraction Processing CTM QIMR QF 75A

- Prechillng of cell solutions for cryopreservation (per HCT Fraction)

  - Immediately before pre chilling solutions, prepare a dry ice/ethanol slurry in a plastic beaker

  - Whilst rapidly mixing, prechill a dummy tube of WFI for a period of 50 seconds within slurry

  - Measure temperature of dummy tube.

  - If within 3-8°C, proceed with chilling of HCT Fraction cell suspension in the same manner as the dummy tube.

  - If not alter slurry until desired specifications can be rechecked using fresh dummy tubes prior to proceeding with rapid chilling

  - Wipe chilled cell suspension thoroughly with 80% v/v ethanol and transfer to ice slurry within clean biohazard hood.

  - Evenly split cell suspension into two labelled tubes and transfer to fridge for storage at 2-8°C

  - Record details on Apheresis Fraction Processing CTM QIMR QF 75A

- Addition of Glycerolyte to RBCs/WBCS for Cryopreservation  (per HCT Fraction)

  - Calculate the total volume of glycerolyte needed (the pooled volume of the parasitised RBCs multiplied by 2.2).

  - Record glycerolyte lot number expiry date and volume required on Section

  - Centrifuge cell suspension at 530g/5-15min/ 2-8°C

  - Remove and discard supernatant

  - Agitate pellet (or gently pipette) to resuspend pellet.

  - Slowly add dropwise 1/5 of the total volume of glycerolyte to the pooled volume RBCs, whilst gently shaking the tubes to mix the content.

  - Note: Rapid introduction of glycerolyte can cause damage to RBCs. therefore glycerolyte should be added slowly and should be mixed well after addition.

  - Incubate at room temperature (18-24°C) for 5 minutes.

  - Add dropwise the remaining volume of glycerolyte.

  - Add 1ml volumes to prechilled labelled nunc tubes.

  - On completion of aliquting, ensure tubes are tightly sealed and transfer to a preconditioned Mr Frosty.

  - Carefully transfer Mr Frosty to -80°C freezer for a minimum of twelve hours

  - Record details on Apheresis Fraction Processing CTM QIMR QF 75A

- Addition of Cryostor CS2 to WBC/RBC for Cryopreservation  (per HCT Fraction)

  - Remove a 50µL sample from the cell suspension tube stored at 2-8°C

  - Perform total cell count (Refer to CTM QIMR SOP 38 – RBC Counting using a Haemocytometer) and record details of CTM QIMR QF 38A – RBC Calcualtion Form.

  - Calculate the volume of Cryostor CS2 that the pellet would have to be resuspended in to give a concentration of 106c/mL.

  - Centrifuge cell suspension at 530g/5-15min/ 2-8°C

  - Remove and discard supernatant

  - Agitate pellet (or gently pipette) to resuspend pellet.

  - Slowly add required  volume of prechilled Cryostor CS2

  - Add 1ml volumes to prechilled labelled nunc tubes.

  - On completion of aliquting, ensure tubes are tightly sealed and transfer to a preconditioned Mr Frosty.

  - Carefully transfer Mr Frosty to -80°C freezer for a minimum of twelve hours

  - Record details on Apheresis Fraction Processing CTM QIMR QF 75A