| Clinical Tropical Medicine, QIMR |  |  |
| --- | --- | --- |
| CTM QIMR | Malarial Enrichment via Apheresis - Form | Date Effective: |
| Version: | Status: | Review Date: Two years after review date |

Pre-processing

- Record all lot and catalogue numbers on QIMR- QF-75-B Malaria Parasite Isolation from Apheresis Product for volumes.

- Spray or wipe labelled transfer bags, exchange couplers, CPDA-1 blood bags and necessary consumables into the hood using 80% v/v Ethanol.

- Insert exchange coupler into CPDA-1 blood bag and aliquot citrate into labelled 50mL tubes.

- Using an exchange coupler and pipette prefill labelled transferred bags with the correct citrate volumes.

  - Refer to QIMR- QF-75-B Malaria Parasite Isolation from Apheresis Product for volumes.

- Record times on QIMR-QF-75-B of when transfer bags containing citrate are prewarmed.

Processing of Apheresis Blood Fractions – Above 1%, 1%, 2%, 3%, 5% 7%, below 7% -20mL volumes

- NB Ensure QIMR-QF-75-A Apheresis Fraction Processing is filled in .

- Ensure centrifuge is preheated using program 9 – 4500rpmr/HOLD/40°C.

- Following wiping down with 80% v/v Ethanol, place blood bag into  BSC.

- Move 50mL collection tube into BSC.

- Use spike adaptor on sterile port of blood bag.

- Unscrew white cap of spike adaptor and place to the side.

- Dispense fractions into 50ml collection tube.

- Repeat process as necessary until all blood has been removed from blood bag.

- Prepare a labelled 50ml falcon for sampling into a 50ml tube rack.

- Mix collection tube well, either by gentle swirling or aspiration using a 25ml strippette.

- Measure volume of HCT fraction received.

- Aspirate an appropriate volume of sample into sampling tube. Sampling tube can be moved into another BSC for aliquoting during process.

  - Refer to Master Sample list for details regarding subsampling

- Spin 50ml collection tube in a preheated centrifuge at 1455g/5-15min/RT

- Use a strippette to remove plasma and place into a labelled collection tube

  - Refer to Master Sample list for details regarding subsampling and slide manufacture

Pooling fractions for  sampling– Above 1%, 1%, 2%, 3%, 5% 7%, below 7%: 2 mL volumes

2%,3% Pool – 5mL each, 5%,7% Pool – 5mL each

- From each of the fractions, sample the appropriate voilumes and pool into 50mL tubes

    - Refer to Master Sample list for details regarding subsampling and slide manufacture