Supplementary Table 1. The detailed differences in dosimetry indexes of the clinical and predicted dose distribution for the 20 test patients. Two dosimetry indexes, Dmean and V40 on the structures of interest are included.

| Patients | OAR dosimetry indexes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Bladder-Dmean (Gy) |  |  |  | Bladder-V40 (%) |  |  |  | Rectum-Dmean (Gy) |  |  |  | Rectum-V40 (%) |  |  |  | Femur-head-R-Dmean (Gy) |  |  |  | Femur-head-R-Dmean (Gy) |  |  |  |
|  | Clinical | Module-A | Module-B | Module-C | Clinica | Module- | Module-B | Module- | clinical | Module-A | Module-B | Module-C | clinical | Module-A | Module-B | Module-C | clinical | Module-A | Module-B | Module-C | clinical | Module-A | Module-B | Module-C |
| 1 | 31.2 | 31.3 | 31.2 | 34 | 31.6 | 30.3 | 26.8 | 37.2 | 31.9 | 32.3 | 31.8 | 35.8 | 40.1 | 39.6 | 31.7 | 50.9 | 23.1 | 23.1 | 23.1 | 27.1 | 24.7 | 24.7 | 24.7 | 26.7 |
| 2 | 32.5 | 32.5 | 32.5 | 36.3 | 25.2 | 26.7 | 23.4 | 34.7 | 27.7 | 27.7 | 27.8 | 31.9 | 16.4 | 14.2 | 15.4 | 23.9 | 24.8 | 24.8 | 24.8 | 27.7 | 24.1 | 24.1 | 24.1 | 25.9 |
| 3 | 38.6 | 38.6 | 38.6 | 39 | 36.8 | 38.1 | 39.2 | 39.5 | 34.6 | 34.7 | 34.6 | 37.5 | 45.4 | 44.9 | 44.4 | 60.1 | 25.7 | 25.7 | 25.7 | 28.4 | 25.6 | 25.6 | 25.6 | 27.9 |
| 4 | 37.3 | 37.1 | 37.4 | 39.6 | 43.3 | 42.5 | 39.7 | 47.4 | 38.1 | 38 | 38.2 | 40.7 | 39 | 40.8 | 37.3 | 46 | 25.5 | 25.2 | 25.5 | 28.1 | 24.9 | 24.7 | 24.9 | 29.2 |
| 5 | 26.6 | 26.5 | 26.6 | 31.6 | 4.9 | 5.6 | 5 | 15.7 | 22.3 | 22.3 | 22.3 | 29.7 | 1.7 | 2.1 | 3 | 7.2 | 18.5 | 18.5 | 18.5 | 26.2 | 12.9 | 12.9 | 12.9 | 23.4 |
| 6 | 35 | 34.9 | 35.1 | 37.9 | 29 | 26.2 | 27.3 | 35.7 | 33.8 | 33.6 | 33.8 | 34.1 | 27.1 | 20.3 | 21.5 | 17.1 | 26.9 | 26.7 | 26.9 | 31 | 27.3 | 27.2 | 27.3 | 32 |
| 7 | 37.5 | 37.2 | 37.6 | 39.2 | 32.9 | 29.8 | 31.1 | 40.1 | 24.4 | 24.2 | 24.4 | 30.9 | 10.3 | 9.5 | 15.9 | 18.6 | 20.3 | 20 | 20.3 | 27.4 | 20.3 | 20.1 | 20.3 | 28.5 |
| 8 | 28.9 | 28.7 | 28.9 | 33.2 | 13.1 | 11.7 | 11 | 24.7 | 25.4 | 25.2 | 25.4 | 30.1 | 13.4 | 7.4 | 12.4 | 28 | 20.1 | 19.9 | 20 | 24.9 | 17.3 | 17.1 | 17.3 | 22.1 |
| 9 | 33 | 32.9 | 33.3 | 34.1 | 24.8 | 26.8 | 25.6 | 24.4 | 31 | 30.9 | 29.8 | 35.6 | 31.7 | 28.9 | 20.2 | 41.3 | 21.8 | 21.8 | 21.8 | 24.7 | 20.9 | 20.8 | 20.9 | 22.8 |
| 10 | 31.8 | 31.8 | 31.8 | 32.7 | 24.6 | 26.4 | 19.6 | 22.2 | 29.2 | 29.2 | 29.2 | 34.9 | 20.1 | 16.8 | 16 | 28.9 | 18.8 | 18.7 | 18.7 | 21.2 | 17.1 | 17.1 | 17.1 | 21.4 |
| 11 | 30.4 | 30.6 | 30.5 | 31.6 | 18.3 | 18.8 | 16.2 | 21.4 | 30.3 | 30.4 | 30.3 | 34.8 | 29.6 | 27.2 | 19 | 42.2 | 21 | 21 | 20.9 | 25.3 | 20.6 | 20.6 | 20.6 | 23 |
| 12 | 34.2 | 33.8 | 34.4 | 39 | 36.3 | 36.5 | 36.7 | 47 | 36.6 | 36.2 | 36.7 | 42.7 | 36.1 | 37.8 | 33.1 | 69.2 | 22.9 | 22.6 | 22.9 | 27.2 | 22.1 | 21.8 | 22.1 | 23.3 |
| 13 | 33.4 | 33.4 | 33.7 | 35.4 | 34.6 | 34.8 | 29.5 | 40 | 35.9 | 35.8 | 36.3 | 39.3 | 35.8 | 36.7 | 33 | 48.8 | 22.1 | 22 | 22.2 | 25.8 | 24.2 | 24.1 | 24.3 | 25.2 |
| 14 | 32.6 | 32.4 | 32.8 | 34 | 25.2 | 27.3 | 26.5 | 26 | 36 | 35.8 | 36.2 | 37 | 30 | 27.8 | 32.1 | 38.7 | 25.7 | 25.5 | 25.7 | 26.1 | 24.5 | 24.4 | 24.6 | 20.8 |
| 15 | 35.4 | 35.6 | 35.4 | 40.5 | 37.4 | 38.6 | 34.1 | 53.7 | 30.2 | 30.4 | 30.3 | 34.8 | 17.7 | 18.7 | 10.9 | 30.7 | 19.9 | 20 | 19.9 | 23 | 20.1 | 20.2 | 20.1 | 23.2 |
| 16 | 33.1 | 33.3 | 33.3 | 35.3 | 25.9 | 26.6 | 25.7 | 29.5 | 35.5 | 35.6 | 36 | 37.8 | 26.4 | 29.3 | 27.4 | 39.6 | 18.9 | 18.9 | 19 | 23.2 | 17.2 | 17.2 | 17.2 | 20.8 |
| 17 | 38.3 | 38.4 | 38.6 | 39 | 37.3 | 41.8 | 38.7 | 40.5 | 38.7 | 38.7 | 39.1 | 42.3 | 41.3 | 45.3 | 50.3 | 59.9 | 19.7 | 19.6 | 19.7 | 24.5 | 19.9 | 19.9 | 19.9 | 24.4 |
| 18 | 36.2 | 36.2 | 36.4 | 37 | 41 | 42.4 | 40.9 | 40.2 | 38.8 | 38.9 | 39.3 | 44.9 | 45.9 | 46.8 | 46.4 | 66.5 | 20.1 | 20.2 | 20.1 | 26.2 | 20.5 | 20.5 | 20.5 | 26.6 |
| 19 | 32.5 | 32.4 | 32.7 | 33.7 | 20 | 18.5 | 24.1 | 26.8 | 28.6 | 28.4 | 28.6 | 33.8 | 6.9 | 6.6 | 7.7 | 27.8 | 20.7 | 20.5 | 20.8 | 25.1 | 20.2 | 20.1 | 20.3 | 20.9 |
| 20 | 31.4 | 31.2 | 31.6 | 34.1 | 30.9 | 30.8 | 31 | 35.3 | 34.5 | 34.3 | 34.9 | 39.6 | 37.9 | 38.4 | 36.8 | 51.7 | 21.5 | 21.4 | 21.5 | 24.7 | 23 | 22.8 | 23 | 25.5 |