SUPPLEMENTARY METHODS

# Viral nucleic acid extraction

Clinical specimens (200 μL) were subjected to total nucleic acid (TNA) extraction by EZ1 Virus Mini Kit version 2.0 (QIAGEN, Germany), with the elution volume of 60 μL (1).

# Real-time PCR assays for monkeypox virus detection

A commercial LightMix® Modular Monkeypox Virus kit (TIB MOLBIOL, Germany) with LightCycler Multiplex DNA Virus Master (Roche, Switzerland) was used according to the manufacturer’s instructions. This assay targets the J2L/J2R gene of monkeypox virus. Each 20 μL reaction mixture consisted of 5.5 μL of nuclease-free water, 0.5 μL of reagent mix, 4 μL of Roche Master and 10 μL of TNA as the template. PCR was performed using a LightCycler 480 II Real-Time PCR System (Roche). The thermocycling condition consisted of 95 °C for 5 min, followed by 45 cycles of 95 °C for 5 s, 60 °C for 15 s and 72 °C for 15 s.

In-house real-time PCR assay for monkeypox virus (MPXV) detection was performed using QuantiNova Probe PCR Kit (QIAGEN). Primers and probe used for the in-house assay were shown in Table 1. Each 20 μL reaction mixture contained 10 μL of 2X QuantiNova Probe PCR Master Mix (QIAGEN), 3 μL of nuclease-free water, 0.8 μL of each 10 μM forward and reverse primer, 0.4 μL of 10 μM probe and 5 μL of TNA. The in-house assay was performed using LightCycler® 96 Real-Time PCR System (Roche). The thermocycling conditions consisted of 95°C for 2 min, followed by 45 cycles of 95°C for 5 s and 55°C for 30 s.

Table 1. Primers and probe used in the present study.

| Primer/probe |  | Sequence (5’ to 3’) | Target | Reference |
| --- | --- | --- | --- | --- |
| Forward | GGAAAGTGTAAAGACAACGAATACAG |  | MPXV (93bp TNF receptor gene) | Modified from (2) |
| Reverse | CTTGCTATCACATAATCTGAAAGCGT |  |  |  |
| Probe | HEX- AAGCCGTAATCTATGTTGTCTATCGTGTCC -lABkFQ |  |  |  |

bp, base pairs

Whole genome sequencing for monkeypox virus

Whole genome sequencing of monkeypox virus was performed using the Oxford Nanopore MinION device (Oxford Nanopore Technologies). The whole genome library was prepared by PCR Tiling methodology using the primer scheme designed by Martin Schou Pedersen (Department of Clinical Microbiology, Rigshospitalet, Copenhagen University Hospital, Copenhagen, Denmark) using Primal Scheme to generate overlapping 2500bp amplicons (3). Briefly, the extracted DNA was subjected to PCR amplification using the MonkeyPox primer scheme with Q5® Hot Start High-Fidelity 2X Master Mix kit (New England Biolabs, Ipswich, Massachusetts, United States). The PCR conditions were 98°C for 30s for initial denaturation, followed by 35 cycles of 98°C for 15s and 63°C for 5min. The products from the two PCR pools were then combined and purified using 1.5x AMPure XP beads (Beckman Coulter, Brea, CA, USA). The purified PCR product was then quantified using Qubit dsDNA HS Assay Kit (Thermo Fisher Scientific, Waltham, Massachusetts, United States) and the product was examined using gel electrophoresis. Nanopore sequencing library was prepared using the purified PCR product with the Ligation Sequencing Kit XL (SQL-LSK109-XL) following the manufacture instructions and sequenced on the Oxford Nanopore MinION device using R9.4.1 flow cells for 11 hours. For bioinformatics analysis, Medaka was used for generating the consensus sequence. The consensus sequence was aligned with other monkeypox sequences using MAFFT. The phylogenetic tree was constructed using IQTree2, and was visualized using FigTree.

Reference of Supplementary Methods

1. 	Sridhar S, Yip CCY, Lo KHY, Wu S, Situ J, Chew NFS, et al. Hepatitis E Virus Species C Infection in Humans, Hong Kong. Clin Infect Dis. 2022 Aug 25;75(2):288-296.

2. 	Li Y, Zhao H, Wilkins K, Hughes C, Damon IK. Real-time PCR assays for the specific detection of monkeypox virus West African and Congo Basin strain DNA. J Virol Methods. 2010 Oct;169(1):223-7.

3. 	Welkers M, Jonges M, van den Ouden A. Monkeypox virus whole genome sequencing using combination of NextGenPCR and Oxford Nanopore. [cited 2022 Sep 13]. https://www.protocols.io/view/monkeypox-virus-whole-genome-sequencing-using-comb-n2bvj6155lk5/v1?step=1.