Supplement 1:

| Reference no. | country | time of EQA round (mm/yyyy) |  | no. test facilities/ systems enrolled | no. of samples included |  |
| --- | --- | --- | --- | --- | --- | --- |
| peer-reviewed |  |  |  |  |  |  |
| Asai at al. [20] | Japan | 11/2020 |  | 563 / 563 | 6 |  |
| Buchta et al. [21] | Austria | n/a |  | 66 / 101 | 5 |  |
| Buchta et al. [22] | Austria | 02/2021 |  | 109 / 134 | 7 |  |
| Buchta et al. [23] | Austria | 08/2021 |  | 114 / 139 | 6 |  |
| Buchta et al. [24] | Austria | “early” 2022 |  | 133 / 160 | 7 |  |
| Edson et al. [25] | International | 05/2020 |  | 346 / 346 | 2 |  |
| Fischer et al. [26] | International | 06-07/2020 |  | 68 / 68 | 12 |  |
| Görzer et al. [27] | Austria | 05/2020 |  | 52 / 67 | 4 |  |
| Guo et al. [28] a) | China | 02,03,07,11/2020 |  | 40-131/78-196 | 5/5/5/6 |  |
| Ishii et al [29] | Japan | 07/2020 |  | 53 / 73 | 2 |  |
| Kaur et al [30] | India | 01-06/2020 |  | 953 / 953 | 5 |  |
| Lau et al. [31] a) | Australia, New Zealand | 03,05,11/2020 |  | 16-175 / 16-175 | each 5 |  |
| Li et al. [32] | China | n/a |  | 32 / 32 | 5 |  |
| Matheussen et al. [33] | International | 04-05/2020 |  | 365 / 521 | 8 |  |
| Park et al. [34] | Korea | 10/2021 |  | 232/232 | 7 |  |
| Sung et al. [35] | Korea | 03/2020 |  | 118 / 118 | 4 |  |
| Wang et al. [36] | China | n/a |  | 844 / 931 | 9 |  |
| published by EQA provider |  |  |  |  |  |
| Zeichhardt, Kammel [37] | International | 04/2020 |  | 463 / 463 | 7 |  |

a) reporting on several rounds; n/a – no information available