Supporting Information for

A highly sensitive multiplex lateral flow immunoassay for simultaneous detection of Listeria monocytogenes, Salmonella Typhimurium and Escherichia coli O157:H7

Dianbo Zhaoa,b,c, Jialei Liua, Juan Dua,b,c, Kai Liua and Yanhong Baia,b,c*

aCollege of Food and Biological Engineering, Zhengzhou University of Light Industry, Zhengzhou, 450001, China

bHenan Key Laboratory of Cold Chain Food Quality and Safety Control, Zhengzhou, 450001, China

cHenan collaborative Innovation Center of Food Production and Safety, Zhengzhou, 450001, China

*Corresponding author: Yanhong Bai

Tel: +86 15238396169

E-mail: baiyanhong212@163.com;

Address: Room 207, College of Food and Biological Engineering, Zhengzhou University of Light Industry, No.136 Kexue road, Zhengzhou City, Henan Province, China.

Tables

Table S1 Primers used in this study

| Target bacteria | Target gene | Primer sequence (5’–3’) | Length (bp) | Reference |
| --- | --- | --- | --- | --- |
| L. monocytogenes | hly | hly-F TGAATGCAATTTCGAGCCTA | 360 | [1] |
|  |  | hly-R CGCCGAAGTTTACATTCAAGC |  |  |
| S. Typhimurium | hut | hut-F ACTGGCGTTATCCCTTTCTCTGCTG | 495 | [2] |
|  |  | hut-R ATGTTGTCCTGCCCCTGGTAAGAGA |  |  |
| E. coli O157:H7 | rfbE | rfbE-F AACGGTTGCTCTTCATTTAG | 678 | [3] |
|  |  | rfbE-R GAGACCATCCAATAAGTGTG |  |  |

Table S2 Concentration of primer pairs optimized in this study

| Group number | Final primer concentration (µM) |  |  |
| --- | --- | --- | --- |
|  | L. Monocytogenes (hly) | S. Typhimurium (hut) | E. coli O157:H7 (rfbE) |
| 1 | 0.2 | 0.2 | 0.2 |
| 2 | 0.2 | 0.4 | 0.4 |
| 3 | 0.2 | 0.8 | 0.4 |
| 4 | 0.4 | 0.4 | 0.2 |
| 5 | 0.4 | 0.4 | 0.4 |
| 6 | 0.4 | 0.8 | 0.4 |
| 7 | 0.8 | 0.4 | 0.2 |
| 8 | 0.8 | 0.8 | 0.4 |
| 9 | 0.8 | 0.8 | 0.8 |

Figures

Figure S1. Agarose gel electrophoresis verification of (A) sensitivity of multiplex PCR for DNA detection (M: RealBand 100 bp DNA Ladder; C: negative control; No. 1-11 represent DNA concentration from 70 to 0.075 ng/µL; (B) sensitivity of multiplex PCR for bacteria detection (No. 1-9 represent bacteria concentration from109 CFU mL-1 to 101 CFU mL-1); (C) Selectivity of multiplex PCR assay (No. 1-10 represent LM, EC, ST, LM&EC, LM&ST, ST&EC, LM&ST&EC, SA, VP, PA); (D) sensitivity of multiplex PCR for bacteria detection in chicken breast samples (No. 1-8 represent bacteria concentration from108 CFU mL-1 to 101 CFU mL-1).

Figure S2. The results of detection of Listeria monocytogenes (LM), Salmonella Typhimurium (ST)and Escherichia coli O157:H7 (EC) by commercial LFIA strip

References:

[1] X. Yang, X. N. Bai, J. Y. J. Yang, F. Xu, H. Y. Xu. (2013). Magnetic nano-beads based separation combined with propidium monoazide treatment and multiplex PCR assay for simultaneous detection of viable Salmonella Typhimurium, Escherichia coli O157:H7 and Listeria monocytogenes in food products. Food Microbiology, 34(2), 418-424. https://doi:10.1016/j.fm.2013.01.004.

[2] A. B. Alzwghaibi, R. Yahyaraeyat, B. N. Fasaei. (2018). Rapid molecular identification and differentiation of common Salmonella serovars isolated from poultry, domestic animals and foodstuff using multiplex PCR assay. Archives of Microbiology, 200(7), 1009-1016. https://doi:10.1007/s00203-018-1501-7.

[3] N. Lee, K. Y. Kwon, H. J. Chang. (2014). A Multiplex PCR Assay for Simultaneous Detection of Escherichia coli O157:H7, Bacillus cereus, Vibrio parahaemolyticus, Salmonella spp., Listeria monocytogenes, and Staphylococcus aureus in Korean Ready-to-Eat Food. Foodborne Pathogens and Disease, 11(7), 574-580. https://doi:10.1089/fpd.2013.1638.