## Slide 1: Supplemental File
Single-Time-Point Dosimetry Using Model Selection and Non-Linear Mixed-Effects Modelling
Deni Hardiansyah1,2*, Ade Riana1, Ambros J. Beer3, Gerhard Glatting3,4
1Medical Physics and Biophysics, Physics Department, Faculty of Mathematics and Natural Sciences, Universitas Indonesia, Depok, Indonesia
2Research Collaboration Center for Theranostic Radiopharmaceuticals, Bandung, Indonesia
3Department of Nuclear Medicine, Ulm University, Ulm, Germany
4Medical Radiation Physics, Department of Nuclear Medicine, Ulm University, Ulm, Germany

## Slide 2
Fig. S1
Fig. S1. Time-activity data and all-time-points (ATP) fit curves obtained using functions , , , and .

## Slide 3
Fig. S2
Fig. S2. Time-activity data and all-time-points (ATP) fit curves obtained using functions , , , , and .

## Slide 4
Fig. S3
Fig. S3. Time-activity data and all-time-points (ATP) fit curves obtained using functions and .

## Slide 5
STP Methods | Timepoint (h) | RD (%) |  | RMSE of the %RD (%)
 |  | mean (SD) | median [min, max] | 
Function | T3 (22.8±1.6) | 0 (8) | -1 [-13, 10] | 7.8
Function |  | -6 (9) | -9 [-21, 5] | 10.9
Function | T4 (46.7±1.7) | 0 (5) | -1 [-7, 9] | 4.9
Function |  | -9 (6) | -8 [-19, -1] | 10.7
STP Methods | Timepoint (h) | RD (%) |  | RMSE of the %RD (%)
 |  | mean (SD) | median [min, max] | 
 | T3 (22.8±1.6) | 0 (8) | -1 [-13, 10] | 7.8
 |  | -6 (9) | -9 [-21, 5] | 10.9
 | T4 (46.7±1.7) | 0 (5) | -1 [-7, 9] | 4.9
 |  | -9 (6) | -8 [-19, -1] | 10.7
Tab. S1. RDs and RMSEs of TIAs obtained using a single time point fitting, and the best function of MS-NLME (f4d) and the 3-parameter function f3d with the second-highest Akaike weight (Table 1) of the 3-parameter functions (also used in ref. [8]). The RMSE of the STP method with the MS-NLME best function has a better performance than the RMSE of the STP method with function f3d by a factor of two, which shows the superiority of the MS-NLME approach over the non-model-selecting NLME approach.
RD … Relative deviation; RMSE … root mean square error; TIA … Time-integrated activity; MS … Model selection; NLME … Non-linear mixed-effects modelling; STP … single-time-point