Supplementary Materials

Table of Contents

Table S1. Design and composition of the pathogen panel.	2

Table S2. Pathogen panel genome characteristics.	3

Table S3. Sites and their corresponding technical parameters.	4

Table S4. Library numbers and data size in the study.	5

Table S5. Technical turnaround time of pathogen metagenomics workflow.	6

Table S6. A linear mixed model for identification of significant contributors of experimental variance.	7

Fig. S1. (A) Summary of performance metrics as measured by recall, precision, and F-score; (B) Site-by-site summary; (C) Site analysis of the occurrences of true positive (TP), false positive (FP) and false negative (FN); (D) Correlation analysis.	8

Fig. S2. (A) Heatmap showing the detected abundances at each site. Data were groups by microbial type, PRH and PRL. (B) Prevalence of FN results by microorganism...	9

Fig. S3. Site performance metrics between diluted and undiluted samples.	10

Fig. S4. Correlation between observed and expected abundances by microbial type after normalization with HPV virus as internal control..	11

Fig. S5. Comparison between the overall distribution of expected and observed microbial abundances.  	12

Fig. S6. Correlations between recall (A) or precision (B) and key technical variables..	13

Fig. S7. Evaluation of three candidate pipelines for site-independent analysis..	14

Fig. S8. Count summary of all sites for each of the top four causes of false positive results..	15

Fig. S9. Evaluation of three candidate pipelines for site-independent analysis..	16

Fig. S10. Sequencing depth (left) and genome coverage (right) of the detected microbes in different result categories..	17

# Table S1. Design and composition of the pathogen panel. Related to Fig. 1.

| Sample ID | Microorganism | HeLa Cells | Microbiological Titer (PRH sets) | Microbiological Titer (PRL sets) |
| --- | --- | --- | --- | --- |
| PRH1 & PRL1 | Escherichia coli | 2×105 cells/mL | 1×105 CFU/mL | 2×104 CFU/mL |
|  | Streptococcus pneumoniae |  | 1×103 CFU/mL | 2×102 CFU/mL |
|  | Cryptococcus gattii VGI |  | 5×103 CFU/mL | 1×103 CFU/mL |
|  | Human betaherpes virus 5 |  | 1×104 copies/mL | 2×103 copies/mL |
|  | Human betaherpesvirus 6B |  | 3.5×105 copies/mL | 7×104 copies/mL |
|  | Human alphaherpes virus 1 |  | 5.3×104 copies/mL | 1.1×104 copies/mL |
|  | Echovirus 11 |  | 7×102 copies/mL | 1.4×102 copies/mL |
| PRH2 & PRL2 | Neisseria meningitidis | 2×105 cells/mL | 5×103 CFU/mL | 1×103 CFU/mL |
|  | Streptococcus agalactiae |  | 2×105 CFU/mL | 4×104 CFU/mL |
|  | Haemophilus influenzae |  | 1×104 CFU/mL | 2×103 CFU/mL |
|  | Listeria monocytogenes |  | 1×105 CFU/mL | 2×104 CFU/mL |
|  | Human alphaherpes virus 2 |  | 2.6×105 copies/mL | 5.2×104 copies/mL |
|  | Human parechovirus |  | 3.5×106 copies/mL | 7×104 copies/mL |
|  | Human alphaherpesvirus 3 |  | 3.3×103 copies/mL | 6.6×102 copies/mL |
| PRH3 & PRL3 | Enterococcus faecalis | 2×105 cells/mL | 1×105 CFU/mL | 2×104 CFU/mL |
|  | Candida albicans |  | 2×103 CFU/mL | 4×102 CFU/mL |
|  | Klebsiella oxytoca |  | 1.5×105 CFU/mL | 3×104 CFU/mL |
|  | Streptococcus pyogenes |  | 1×105 CFU/mL | 2×104 CFU/mL |
|  | Human mastadeno virus C |  | 7.5×105 copies/mL | 1.5×105 copies/mL |
|  | Human parainfluenza virus 1 |  | 2×106 copies/mL | 4×105 copies/mL |
|  | Human Respiratory syncytial virus A |  | 6×104 copies/mL | 1.2×104 copies/mL |
|  | Human Respiratory syncytial virus B |  | 8.5×104 copies/mL | 1.7×104 copies/mL |
| PRH4 & PRL4 | Neisseria sicca | 2×105 cells/mL | 3.5×105 CFU/mL | 7×104 CFU/mL |
|  | Pseudomonas fluorescens |  | 3.5×105 CFU/mL | 7×104 CFU/mL |
|  | Aeromonas hydrophila |  | 3×105 CFU/mL | 6×104 CFU/mL |
|  | Candida lusitaniae |  | 1×104 CFU/mL | 2×103 CFU/mL |
|  | Legionella pneumophila |  | 3×105 CFU/mL | 6×104 CFU/mL |
|  | Human mastadeno virus E |  | 2×106 copies/mL | 4×105 copies/mL |
|  | Influenza A virus (H1N1) |  | 2.8×106 copies/mL | 5.5×105 copies/mL |
|  | Influenza B virus (B/Yamagata) |  | 5.5×105 copies/mL | 1.1×105 copies/mL |

# Table S2. Pathogen panel genome characteristics. Related to Fig. 1.

| Pathogen Name | Genome Size | Cg Size | Cg Ratio | Type |
| --- | --- | --- | --- | --- |
| Echovirus 11 | 7434 | 3571 | 0.48 | V |
| Candida albicans | 14282666 | 4775607 | 0.33 | F |
| Klebsiella oxytoca | 5944658 | 3310770 | 0.56 | B |
| Escherichia coli | 4965553 | 2510889 | 0.51 | B |
| Listeria monocytogenes | 2901562 | 1103860 | 0.38 | B |
| Streptococcus pneumoniae | 2240045 | 886914 | 0.40 | B |
| Enterococcus faecalis | 2988673 | 1120086 | 0.37 | B |
| Neisseria sicca | 2783943 | 1418405 | 0.51 | B |
| Cryptococcus gattii VGI | 19051922 | 9247646 | 0.49 | F |
| Streptococcus pyogenes | 1837281 | 708007 | 0.39 | B |
| Influenza A virus (H1N1) | 13285 | 5681 | 0.43 | V |
| Haemophilus influenzae | 1969659 | 754482 | 0.38 | B |
| Neisseria meningitidis | 2153416 | 1113323 | 0.52 | B |
| Candida lusitaniae | 12079919 | 5375014 | 0.44 | F |
| Human parechovirus | 7380 | 2929 | 0.40 | V |
| Human Respiratory syncytial virus A | 15199 | 5047 | 0.33 | V |
| Human Respiratory syncytial virus B | 15201 | 5122 | 0.34 | V |
| Human betaherpes virus 5 | 229354 | 131103 | 0.57 | V |
| Human parainfluenza virus 1 | 15484 | 5761 | 0.37 | V |
| Human alphaherpes virus 1 | 149643 | 98520 | 0.66 | V |
| Human alphaherpes virus 2 | 154746 | 108919 | 0.70 | V |
| Human betaherpesvirus 6B | 161573 | 69050 | 0.43 | V |
| Human mastadeno virus C | 35934 | 19832 | 0.55 | V |
| Human mastadeno virus E | 35916 | 20698 | 0.58 | V |
| Legionella pneumophila | 3516334 | 1349484 | 0.38 | B |
| Aeromonas hydrophila | 4527993 | 2807924 | 0.62 | B |
| Human alphaherpesvirus 3 | 124884 | 57472 | 0.46 | V |
| Streptococcus agalactiae | 2138694 | 760246 | 0.36 | B |
| Influenza B virus (B/Yamagata) | 14289 | 5699 | 0.40 | V |
| Pseudomonas fluorescens | 5962570 | 3579436 | 0.60 | B |

# Table S3. Sites and their corresponding technical parameters. Related to Fig. 1.

| Site | Sequencing Platform | Sequencing Mode | Library Construction | Host Depletion | Bead-Beating | Spike-In | Nucleic Acid Extraction Method | Alignment Method |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| C1 | MGISEQ-2000 | SE100 | Ultrasound | - | + | + | Column | Bwa |
| C2 | BGISEQ-500 | SE50 | Ultrasound | - | + | - | Column | Bwa |
| C3 | MGISEQ-2000 | SE100 | Ultrasound | - | + | - | Column | Bwa |
| C4 | BGISEQ-50 | SE50 | Endonuclease | - | + | - | Column | Bwa |
| C5 | Ion Proton | SE120-160bp | Endonuclease | - | + | - | Dynabeads | Bowtie2+Bwa |
| C6 | Illumina NextSeq 550 | PE75 | Transposase | - | - | + | Dynabeads | Bowtie2+IngeniSeq_MG |
| C7 | Illumina NextSeq 550 | SE75 | Endonuclease | - | + | - | Dynabeads | Bwa |
| C8 | Illumina NextSeq 550 | SE75 | Ultrasound | - | - | - | Dynabeads | Bowtie2+Bwa |
| C9 | Ion Proton | SE100-161bp | Endonuclease | + | - | - | Column | MAPMI |
| C10 | Illumina NextSeq 550 | SE75 | Transposase | - | + | - | Column | Bwa |
| C11 | Illumina NextSeq 550 | SE75 | Transposase | - | + | - | Column | Bwa |
| C12 | Illumina NextSeq 550 | PE150 | Endonuclease | + | - | - | Column | Bwa |
| C13 | NovaSeq 6000 | PE150 | Transposase | - | + | - | Column | Snap |
| C14 | NovaSeq 6000 | PE150 | Transposase | - | - | - | Dynabeads | Snap |
| C15 | Illumina NextSeq 500 | SE75 | Ultrasound | - | - | - | Column | Bwa |
| C16 | Illumina NextSeq 500 | SE75 | Ultrasound | - | - | - | Dynabeads | Bowtie2+Kraken2 |
| C17 | Illumina NextSeq 500 | SE75 | Endonuclease | - | + | + | Column | Bowtie2+Snap |

# Table S4. Library numbers and data size in the study.

| Site | Library NO. |  | Data Size |  |
| --- | --- | --- | --- | --- |
|  | Original | Dilution | Original | Dilution |
| C01 | 18 | 160 | 6.91E+10 | 4.61E+11 |
| C02 | 18 | 160 | 2.13E+10 | 1.75E+11 |
| C03 | 18 | 131# | 8.39E+09 | 1.81E+11 |
| C04 | 18 | 160 | 2.39E+10 | 1.41E+11 |
| C05 | 9* | 80* | 2.75E+10 | 2.38E+11 |
| C06 | 18 | 160 | 2.14E+10 | 3.32E+11 |
| C07 | 9* | 80* | 1.93E+10 | 1.10E+11 |
| C08 | 18 | 160 | 2.8E+10 | 2.34E+11 |
| C09 | 9* | 80* | 1.8E+10 | 2.09E+11 |
| C10 | 18 | 160 | 1.46E+10 | 1.65E+11 |
| C11 | 18 | 160 | 2.45E+10 | 1.70E+11 |
| C12 | 9* | 80* | 5.17E+10 | 4.54E+11 |
| C13 | 18 | 160 | 3.72E+10 | 3.41E+11 |
| C14 | 18 | 160 | 1.43E+10 | 7.74E+11 |
| C15 | 18 | 160 | 2.62E+10 | 1.12E+11 |
| C16 | 18 | 160 | 2.36E+10 | 1.96E+11 |
| C17 | 18 | 160 | 1.5E+10 | 2.33E+11 |
| Total | 270 | 2371 | 4.18E+11 | 5.09E+12 |

* mean co-libraries DNA and RNA nucleic acid;

# mean data missing.

# Table S5. Technical turnaround time of pathogen metagenomics workflow. Related to Fig. 1.

Unit: hour (h)

| Site | Preparation | Nucleic acid Extract | Nucleic Acid QC | Fragmentation | DNA_Library | Library_QC | Sequencing | Analysis | Report | TAT |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| C01 | 0.5 | 1 | 0.17 | 0.05 | 4 | 0.17 | 15 | 1.2 | 0.5 | 22.6 |
| C02 | 0.33 | 1.5 | 0.17 | 0.05 | 4 | 0.5 | 12 | 1.5 | 0.33 | 20.4 |
| C03 | 0.33 | 1.5 | 0.17 | 0.05 | 4 | 0.5 | 15 | 1.5 | 0.33 | 23.4 |
| C04 | 0.33 | 1.5 | 0.17 | 0.75 | 4 | 0.5 | 12 | 1 | 0.33 | 20.6 |
| C05 | 0.17 | 1 | 0.17 | 0.75 | 4 | 0.17 | 8 | 1 | 0.1 | 15.4 |
| C06 | 0 | 1.5 | 0.17 | 0.17 | 1.5 | 0.25 | 15 | 1.5 | 0.33 | 20.4 |
| C07 | 0.17 | 1 | 0.17 | 0.75 | 1.5 | 1 | 11 | 1 | 0.17 | 16.8 |
| C08 | 0 | 1.5 | 0.17 | 0.05 | 4 | 0.5 | 11 | 0.67 | 0.13 | 18.0 |
| C09 | 0.5 | 1.5 | 0.5 | 2 | 4 | 0.5 | 7.5 | 1.5 | 0.5 | 18.5 |
| C10 | 0.5 | 1.5 | 0.17 | 0.17 | 4 | 0.25 | 11 | 1.5 | 0.17 | 19.3 |
| C11 | 0.5 | 1.5 | 0.17 | 0.17 | 4 | 0.25 | 11 | 1.5 | 0.17 | 19.3 |
| C12 | 0.5 | 1 | 0.5 | 0.5 | 4 | 1 | 15 | 1.5 | 0.33 | 24.3 |
| C13 | 0.5 | 1.5 | 0.5 | 0.17 | 1.5 | 0.25 | 40 | 1.5 | 0.1 | 46.0 |
| C14 | 0 | 1.5 | 0.17 | 0.17 | 2 | 0.33 | 40 | 1 | 0.17 | 45.3 |
| C15 | 0 | 1 | 0.25 | 0.67 | 4 | 1.5 | 12 | 1 | 0.5 | 20.9 |
| C16 | 0 | 1.5 | 0.17 | 0.5 | 3 | 0.25 | 12 | 1 | 0.033 | 18.5 |
| C17 | 0.33 | 1.5 | 0.17 | 0.58 | 2.5 | 1.5 | 13 | 1.2 | 0.5 | 21.3 |

# Table S6. A linear mixed model for identification of significant contributors of experimental variance. Related to Fig. 5.

|  | Sum Sq | Mean Sq | NumDF | DenDF | F value | Pr(>F) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Cv sim | 2.669 | 2.689 | 1 | 13.6 | 53.852 | 5.53E-06*** |  |
| Library | 0.395 | 0.198 | 2 | 5.62 | 3.96 | 0.0845 |  |
| Micro | 2.212 | 1.106 | 2 | 681.08 | 22.148 | 4.80E-10*** |  |
| Platform | 0.631 | 0.126 | 5 | 7.49 | 2.526 | 0.123 |  |

|  | Estimate | Std.Error | df | t value | Pr(>¦t¦) |
| --- | --- | --- | --- | --- | --- |
| Intercept | 0.129 | 0.099 | 12.201 | 1.304 | 0.216 |
| Cv sim | 0.791 | 0.108 | 13.058 | 7.338 | 5.53E-06*** |
| Library Transposase | 0.248 | 0.088 | 4.924 | 2.814 | 0.038 |
| Library Ultrasound | 0.668 | 0.075 | 6.506 | 0.889 | 0.406 |
| MicroFungi | 0.193 | 0.031 | 679.291 | 6.305 | 5.20E-10*** |
| MicroViruses | -0.012 | 0.019 | 682.679 | -0.636 | 0.525 |
| PlatformMGISEQ | -0.057 | 0.159 | 11.788 | -0.358 | 0.727 |
| PlatformNextseq500 | 0.097 | 0.091 | 6.084 | 1.068 | 0.326 |
| PlatformNextseq550 | 0.103 | 0.093 | 5.679 | 1.108 | 0.313 |
| PlatformNovaSeq | -0.169 | 0.125 | 5.121 | -1.345 | 0.235 |
| PlatformProton | 0.068 | 0.121 | 9.829 | 0.565 | 0.585 |

# Fig. S1. (A) Summary of performance metrics as measured by recall, precision, and F-score; (B) Site-by-site summary; (C) Site analysis of the occurrences of true positive (TP), false positive (FP) and false negative (FN); (D) Correlation analysis. Related to Fig. 2.

# Fig. S2. (A) Heatmap showing the detected abundances at each site. Data were groups by microbial type, PRH and PRL. (B) Prevalence of FN results by microorganism. Related to Fig. 2.

# Fig. S3. Site performance metrics between diluted and undiluted samples. *, P<0.05, **, P<0.01. Related to Fig. 4. Data are representative of eight independent experiments (means ± SD in Fig. S6).

# Fig. S4. Correlation between observed and expected abundances by microbial type after normalization with HPV virus as internal control. Related to Fig. 4.

# Fig. S5. Comparison between the overall distribution of expected and observed microbial abundances. Related to Fig. 4.

# Fig. S6. Correlations between recall (A) or precision (B) and key technical variables. *, P<0.05, **, P<0.01. Related to Fig. 3.

# Fig. S7. Evaluation of three candidate pipelines for site-independent analysis.  (A-B) Comparison of sensitivity examined at both the genus and species level (A) and in different microbial types (B), *, P<0.05, **, P<0.01. (C-D) Comparison of specificity examined at both the genus and species level (C) and in different microbial types (D), *, P<0.05, **, P<0.01. (E) Comparison of accuracy, sensitivity, and specificity performance in our sequencing data set. Related to Fig. 3. Data are representative of 108 (A, C) or 62 (Bacteria), 42 (Viruses) and 4 (Fungi) in Fig. S5 B and D, independent experiments (means ± SD in A, B, C, D).

# Fig. S8. Count summary of all sites for each of the top four causes of false positive results. Related to Fig. 6.

# Fig. S9. Evaluation of three candidate pipelines for site-independent analysis. Comparison of sensitivity examined at both the genus and species level (left) and by different microbial type (right). Related to Fig. 6. Data are representative of 13 (Bacteria) or 7 (Fungi) and 10 (Viruses) independent experiments (means ± SD in Fig. S10).

# Fig. S10. Sequencing depth (left) and genome coverage (right) of the detected microbes in different result categories. Related to Fig. 6.