#### Supplementary material

#### ZnO nanoparticles alter redox metabolism of Limnoperna fortunei

Table. Operating parameters of the Elan 6000 ICP-MS used for the determination of Zn in digested mussels samples.

| RF Power | 1100 W |
| --- | --- |
| Gas flow rate (L min−1) |  |
| Main | 15 |
| Auxiliary | 1,0 |
| Carrier | 1,06 |
| Cones |  |
| Sampler/skimmer | Ni |
| Reading/replicate | 1 |
| Replicates | 4 |
| Dwell Time | 50 ms |
| Auto lens mode | On |
| Detector Voltage |  |
| Pulse | 1000 |
| Analog | -1850 |
| Detector operation mode | Dual |

- Test organisms

Limnoperna fortunei samples were collected in the Itapuã State Park conservation unity (RS, Brazil) (S 30° 21’ 25.8”, WO 51° 02’ 58.5”). The site is protected by the Environmental Department of the State government (http://www.sema.rs.gov.br, 2019). The collection of L. fortunei and water samples was carried out according to the protocol described by Villela et al. (2006). Aquariums containing 2 L of Itapuã water were used to place approximately 100 specimens, which were maintained under constant aeration and controlled temperature (19 ± 2 °C). The mussels were fed with a mixture of herbivorous fish feed and Itapuã water, provided every 2 days. After 10 days of acclimation period, the experiments could be carried out  (Girardello, et al. 2016a).

- Zinc Oxide Nanoparticles (ZnO-NP)

ZnO-NP (purity > 97%) was obtained from Sigma-Aldrich. The characterization of nanoparticles powder was performed by transmission electron microscopy (TEM) using a JEM JEOL 1200 Ex II, equipped with a CCD camera, operating at 80 kV, to analyze average dimensions, shape and morphology,. The X-ray diffraction (XRD) equipment (Siemens D500 X-ray diffractometer) was used to analyze the crystalline phase of ZnO-NP,  performed in the 2θ range from 20 to 80 with a step size of 0.05 using the CuKα (λ = 1.5406) radiation. The method of Brunauer-Emmett-Teller (BET) (Brunauer, Emmett, and Teller 1938) was used to obtain the surface area. The samples were pre-treated for 12 h under high vacuum at 70 °C. Afterwards, the nitrogen adsorption and desorption were performed at –196 °C on a Micrometrics Tristar® II 3020 instrument. Dynamic light scattering (DLS) measurements were performed with a Brookhaven Instruments EMI 9863 equipped with a 35 mW He-Ne laser diode at 632.8 nm. The zeta potential (ZP) measurements were carried out using a Brookhaven Instruments zeta potential analyzer, (λ = 660 nm) 31450. In order to evaluate the hydrodynamic size distribution by DLS, the electric charge and the stability of dispersion by ZP analysis, all the  solutions (1, 10, and 50 µg mL-1 ZnO-NP) were freshly prepared.

A 1000 µg mL-1 (12.28 mM ZnO-NP) stock solution of ZnO-NP was prepared in ultra-pure water (Milli-Q®, Millipore) and sonicated (Sonicator USC-1400A UNIQUE) for 30 min before dilution to prepare ZnO-NP solutions containing  1, 10 or 50 µg mL-1 (0.01228, 0.1228 and 0.6141 mM ZnO-NP, respectively). The water used to simulate the natural environment of the golden mussel was collected in Itapuã State Park (Viamão, RS, Brazil). Prior to exposure to mussels, nanoparticles were dispersed by sonication for 30 minutes. (Girardello, et al. 2016a).

- Analysis by ICP-MS

The determination of zinc contents was carried out using an ELAN 6000 inductively coupled plasma mass spectrometer (Perkin Elmer-Sciex, Thornhill, Canada); 99.996% argon (White Martins, São Paulo, Brazil) was used  as plasma and nebulizer gas. Rhodium (10 µg L-1) was used as an internal standard and recovery tests were performed to confirm the absence of interferences (recovery values ranged from 92 to 114%).

- Sample preparation for enzymatic and non-enzymatic antioxidant activity determination and oxidative damage to lipids and proteins evaluation

Following exposure to solutions containing different ZnO-NP concentrations, the samples (ca. 1 g) were homogenized in 0.154 mol L-1 KCl (1:5 m/v) containing a protease inhibitor (0.5 mmol L-1 phenyl methyl sulfonyl fluoride) and centrifuged at 7200 g for 30 min. The supernatant was used for superoxide dismutase and catalase activities and protein sulfhydryl content determination and to assess the oxidative damage to lipids and proteins (Iummato et al. 2013). The soluble protein content was determined in the supernatants using bovine serum albumin as a standard, according to Lowry and coauthors (1951).

  - Enzymatic and non-enzymatic antioxidant defenses

    - Superoxide dismutase and catalase activities

The inhibition of self-catalytic adrenochrome formation rate at 480 nm determined the activity of superoxide dismutase (Sod) (Bannister and Calabrese 1987) and the results were expressed as USod (units of enzyme activity)/mg protein. Catalase (Cat) activity was performed according to the method described by Aebi (1984) by the rate of H2O2 decomposition monitored at 240 nm. Results were expressed as UCat/mg of protein.

    - Protein sulfhydryl content

This assay was performed by reduction of 5,5′-dithiobis(2-nitrobenzoic) acid (DTNB) by thiols, originating a yellow derivative (TNB), which was further analyzed by spectrophotometry at 412 nm (Aksenov and Markesbery 2001). The sulfhydryl content is inversely correlated to oxidative damage to proteins. Results are expressed as mmol of DTNB/mg of protein.

    - Determination of Total Antioxidant Capacity Serum (TEAC)

The screening of antioxidant activity was performed by assessing the ability of the sample to oust the radical ABTS+ [2,2-azino-bis (3-etilbenzotiazolin) -6-sulfonic acid]. The method follows the procedures described by Re et al. (1999). The radical ABTS+ was formed from the reaction of 7 mmol L-1 ABTS with 2.45 mmol L-1 potassium persulfate and this solution was kept in the dark for 12-16 h at room temperature prior to use. Then the ABTS•+ solution was diluted in 5 mmol L-1 phosphate buffer (PBS pH 7.4) to reach an absorbance of 0.700 ± 0.35 at 734 nm.  Afterwards, 1.0 mL of the ABTS•+ diluted solution was mixed with 10 µL of the sample and after 6 min the absorbance was determined. A calibration curve for the quantification was established using Trolox solution and the results were expressed as mmol L-1 of TEAC.

    - Oxidative damage to lipids and proteins

Lipid peroxidation was performed according to Wills (1966), with modifications (Girardello, et al. 2006a). The process was based on monitoring the formation of thiobarbituric acid reactive substances (TBARS) during an acid-heating reaction and the results were expressed as nmol TMP/mg of protein.

Oxidative damage to proteins was determined based on the reaction of protein carbonyl groups with 2,4-dinitrophenylhydrazine (DNPH) (Levine, et al. 1990) and adapted according to Girardello, et al. (2006a). Absorbance was determined at 365 nm, and the results were expressed as nmol DNPH/mg protein.

      - DNA fragmentation assay

The DNA fragmentation assay was accomplished using the hemolymph cells of the L. fortunei. The hemolymph was extracted from the posterior adductor muscle with a hypodermic needle using a 1 mL syringe while the mussels were still alive (Girardello, et al. 2016a).

Genomic DNA from hemolymph was extracted using the Illustra tissue & cells genomicPrep Mini Spin Kit (GE Healthcare, Buckinghamshire, HP7 9NA UK) according to the manufacturer’s instructions. In this protocol, proteinase K was used at lysis step and RNAse A was used to remove RNA from samples. The purified genomic DNA was visualized on 1.5% agarose gel, stained with ethidium bromide. The analysis was performed using ImageQuant LAS 500 GE® equipment, where DNA fragmentation levels were observed.

Figure. DNA fragmentation assay at agarose gels. Samples of L. fortunei after ZnO-NP exposure: 2 h (1: control; 2: 1 µg mL-1; 3: 10 µg mL-1; 4: 50 µg mL-1); 4 h (5: control; 6: 1 µg mL-1; 7: 10 µg mL-1; 8: 50 µg mL-1) and 24 h (9: control; 10: 1 µg mL-1; 11: 10 µg mL-1; 12: 50 µg mL-1).