Table 3 : Characteristic of burner

| Characteristic of burner |  |
| --- | --- |
| Fuel pressure HP (burner /bar) | 20 |
| Fuel temperature burner (°C) | 85 |
| Air temperature (°C) | 32 |
| Hawker debit (m3/h) | 4 |
| Fluid temperature (°C) | 230 |
| gas temperature (°C) | 239 |
| CO2 (%) | 10.8 |
| O2 (%) | 6.9 |
| Combustion efficiency (%) | 88.7 |
| Excess air (%) | 48 |
| Loss of gas (%) | 11.3 |
| NOx (mg/Nm3) | 596 |
| CO (ppm) | 12 |