Table 1(a): Durability analysis of indigenous facemask

| Parameters | 0 washes | 5 washes | 10 washes | 20 washes | 30 washes |
| --- | --- | --- | --- | --- | --- |
| Breathability |  |  |  |  |  |
| Appearance |  |  |  |  |  |
| Fit |  |  |  |  |  |
| Candle Flame Extinguishing Test | Passed | Passed | Passed | Passed | Passed |
| Shape & Size |  |  |  |  |  |
| Water Repulsion (Hold up time in Seconds) | 252 | 247 | 235 | 227 | 157 |
| Images for Comparison |  |  |  |  |  |

Table 1(b): Durability analysis of commercial facemask

| Parameters | 0 washes | 5 washes | 10 washes | 20 washes | 30 washes |
| --- | --- | --- | --- | --- | --- |
| Breathability |  | × | × | × | × |
| Appearance |  | × | × | × | × |
| Fit |  | × | × | × | × |
| Candle Flame Extinguishing | Failed | Failed | Failed | Failed | Failed |
| Shape & Size |  | × (Shrinking observed) | × | × | × |
| Water Repulsion (Hold-up time in sec) | 3 sec | 2 | 1 | 0 | 0 |
| Images for Comparison |  |  |  |  |  |