# Supplementary Information: InSpectra – A Platform for Identifying Emerging Chemical Threats

Authors: Mathieu Feraud1*, Jake W. O’Brien1,2*@, Saer Samanipour1,2*@, Pradeep Dewapriya1, Denice van Herwerden2, Sarit Kaserzon1, Ian Wood3, Kevin V. Thomas1

1: Queensland Alliance for Environmental Health Sciences (QAEHS), The University of Queensland

2: Van ’t Hoff Institute for Molecular Sciences (HIMS), University of Amsterdam

3: School of Mathematics and Physics, The University of Queensland, St. Lucia, Queensland, Australia

*: these authors contributed equally

@: corresponding authors – j.obrien2@uq.edu.au and s.samanipour@uva.nl

# Code Availability

Table S1 Source code for packages used within InSpectra

| Algorithm | Journal | Source Code |
| --- | --- | --- |
| ProteoWizard | (1) | https://proteowizard.sourceforge.io/download.html |
| Self-Adjusting Feature Detection | (2) | https://bitbucket.org/SSamanipour/safd.jl/src/master/ |
| Componentisation | (3) | https://bitbucket.org/SSamanipour/compcreate.jl/src/master/). |
| Universal Library Search Algorithm | (3) | https://bitbucket.org/SSamanipour/ulsa.jl/src/master/ |

# Parameters Used

Table S2 Parameters used for demonstration of the workflows

| Suspect Screening |  |
| --- | --- |
| Mode | Positive |
| Mz threshold | 30 to 900 |
| Intensity threshold | 500 |
| Mass tolerance | 0.05 |
| Iso depth | 5 |
| Retention time width | 0.5 |
| SAFD |  |
| Mz threshold | 0 to 550 |
| Int threshold | 150 |
| Max number of iterations | 20000 |
| Max t peak width | 300 |
| Resolution | 20000 |
| Minimum mass width | 0.02 |
| R threshold | 0.75 |
| Minimum intensity | 1000 |
| Sig inc threshold | 5 |
| Signal to noise | 2 |
| Minimum peak w s | 3 |
| Componentisation |  |
| Mass ind per | 0.8 |
| Re win per | 0.5 |
| Delta mass | 0.004 |
| Min int | 300 |
| Universal Library Search Algorithm |  |
| Weights | [1,1,1,1,1,1,1] |

Table S3 Chromatographic conditions of the samples analysed for the demonstration of the workflows

| Time (min.) | Flow rate (mL/min.) | Mobile phase % |  |
| --- | --- | --- | --- |
|  |  | A | B |
| Stormwater |  |  |  |
| 0.00 | 0.4 | 95 | 5 |
| 1.00 | 0.4 | 95 | 5 |
| 4.00 | 0.4 | 50 | 50 |
| 17.00 | 0.4 | 1 | 99 |
| 20.00 | 0.4 | 1 | 99 |
| 20.10 | 0.4 | 95 | 5 |
| 23.00 | 0.4 | 95 | 5 |
| Blood and serum |  |  |  |
| 0.00 | 0.4 | 90 | 10 |
| 0.50 | 0.4 | 50 | 50 |
| 8.00 | 0.4 | 1 | 99 |
| 13.00 | 0.4 | 1 | 99 |
| 13.50 | 0.4 | 90 | 10 |
| 20.00 | 0.4 | 90 | 10 |
| Wastewater |  |  |  |
| 0.00 | 0.4 | 95 | 5 |
| 10.00 | 0.4 | 5 | 95 |
| 12.00 | 0.4 | 5 | 95 |
| 12.10 | 0.4 | 95 | 5 |
| 14.00 | 0.4 | 95 | 5 |

Table S4 SWATH data independent analysis window parameters

| Precursor ion start mass (Da) | Precursor ion end mass (Da) | DP (V) | DP spread (V) | CE (V) | CE spread (V) | Time bin to sum |
| --- | --- | --- | --- | --- | --- | --- |
| 100 | 150 | 80 | 0 | 35 | 5 | 4 |
| 149 | 190 | 80 | 0 | 35 | 5 | 4 |
| 189 | 225 | 80 | 0 | 35 | 5 | 4 |
| 224 | 260 | 80 | 0 | 35 | 5 | 4 |
| 259 | 295 | 80 | 0 | 35 | 5 | 4 |
| 294 | 330 | 80 | 0 | 35 | 5 | 4 |
| 329 | 365 | 80 | 0 | 35 | 5 | 4 |
| 364 | 400 | 80 | 0 | 35 | 5 | 4 |
| 399 | 600 | 80 | 0 | 35 | 5 | 4 |
| 599 | 1100 | 80 | 0 | 35 | 5 | 4 |

## References:

1.	Pedrioli PG, Eng JK, Hubley R, Vogelzang M, Deutsch EW, Raught B, et al. A common open representation of mass spectrometry data and its application to proteomics research. Nat Biotechnol. 2004;22(11):1459-66.

2.	Samanipour S, O’Brien JW, Reid MJ, Thomas KV. Self Adjusting Algorithm for the Nontargeted Feature Detection of High Resolution Mass Spectrometry Coupled with Liquid Chromatography Profile Data. Analytical Chemistry. 2019;91(16):10800-7.

3.	Samanipour S, Reid M, Baek K, Thomas KV. Combining a deconvolution and a universal library search algorithm for the non-target analysis of data independent LC-HRMS spectra. Environ Sci Technol. 2018.