# Supplementary Material

## Dispersive Liquid - Liquid Microextraction for the Determination of Sulfonamide Residues in   Egg Samples

Eskinder, Teklu.1,2*, Dube, S.1, Nindi, M.M.3

1. Department of Chemistry, College of Science Engineering and Technology, Science Campus, University of South Africa, Corner Christian de Wet and Pioneer Avenue Florida Park, Roodeport 1709, Gauteng, South Africa

2. 	Department of Chemistry, College of Natural and Computational Sciences, Debre Berhan University (DBU), Debre Berhan, Ethiopia

3. 	Institute for Nanotechnology and Water Sustainability (iNanoWS), the Science Campus, College of Science Engineering and Technology

*Correspondence should be addressed to eskinderteklu7@ gmail.com

min

1

2

3

4

5

mAU

0

20

40

60

80

SGD

SAM

SAA

SDZ

STZ

SPY

SMR

SMT

SMM

SCP

SMX

SSO

SBZ

SQZ

SSA

Figure S1 	A chromatogram of 15 separated sulfonamide standards (100 µg L-1) at 265 nm. Chromatographic conditions: flow rate of 1.8 mL min−1, column temperature 40 °C, injection volume of 5 μL, wavelength of 265 nm. A binary mobile phase comprising of solvent A (0.1% FA water) and solvent B (acetonitrile) with a gradient elution program of 10% B (0 - 1 min), 40% B (1 - 4 min), and 60% B (4 - 6 min)

mAU

8

6

4

2

0

1

2

3

4

5	min

Figure S2.    A chromatogram of blank egg sample. Chromatographic conditions: flow rate of 1.8 mL min−1; column temperature 40 °C; injection volume of 5 μL; wavelength of 265 nm. A binary mobile phase comprising of solvent A (0.1% FA in water) and solvent B (acetonitrile) with a gradient elution program of 10% B (0 - 1 min), 40%  (1 - 4 min) and 60% B (4 - 6 min).

mA

U

1.

5

1

0.

5

0

-

0.5

SMX

- 1

1

2

3

4

5

mi

n

Figure S3. 	A chromatogram of real egg sample. Chromatographic   conditions: flow rate of 1.8 mL min−1; column temperature 40 °C; injection volume of 5 μL; wavelength of 265 nm. A binary mobile phase comprising of solvent A (0.1% FA in water) and solvent B (acetonitrile) with a gradient elution program of 10% B (0 – 1 min), 40% B (1 - 4 min) and 60% B (4 - 6 min).

Table S1

| Compounds | Structures | CAS Number | KOW | pKa Values (pKa1, pKa2, pKa3) | Reference |
| --- | --- | --- | --- | --- | --- |
| SGD |  | 57-67-0 | -1.07 | 0.5± 0.1; 0.4 ± 0.1; 3.3 ± 0.4 | (Msagati and Nindi 2004) |
| SAM |  | 63-74 - 1 | -0.67 | 2.4; 10.4 | (Dub etal 2011) |
| SAA |  | 144 - 80-9 | 0.11 | 1.3 ± 0.1; 5.6 ± 0.5 | (Msagati and Nindi 2004) |
| SDZ |  | 68-35-9 | 0.81 | 1.6 ± 0.1;6.8 ± 0.50; 0.35 ± 0.2 | (Msagati and Nindi 2004) |
| STZ |  | 72-14 - 0 | 0.72 | 0.7 ± 0.1;7.8 ±0.5;2.3±0.5 | (Msagati and Nindi 2004) |
| SPY |  | 444-83-2 | 1.07 | 0.8±0.1;8.0±0.5, 2.90 ±0.5 | (Msagati and Nindi 2004) |
| SMR |  | 127- 97- 7 | 0.14 | 1.6 ± 0.1, 6.9 ± 0.5, 0.4 ± 0.1 | (Msagati and Nindi 2004) |
| SMT |  | 144 - 82-1 | 0.53 | 1.2± 0.1;7.0 ± 0.5 | (Msagati and Nindi 2004) |
| SMM |  | 1220 - 83-3 | 0.89 | 0.8 ± 0.1, 6.7 ± 0.5, 2.9 ± 0.4 | (Msagati and Nindi 2004) |
| SCP |  | 80-32-0 | 2.04 | 1.80, 5.70 | (Msagati and Nindi 2004) |
| SMX |  | 723- 46 - 6 | 0.89 | 1.4 ± 0.1, 7.7± 0.5 | (Msagati and Nindi 2004) |
| SSO |  | 127-69-5 | 1.01 | 1.50, 5.00 | [(Abdallah etal 2014) |
| SBZ |  | 127 - 71 - 9 | - | 1.1±0.1; 5.90±0.5 | Msagati and Nindi 2004) |
| SQZ |  | 59 - 40 - 5 | 1.69 | -1.4 ± 0.3 ,1.2 ± 0.1, 7.6 ± 0.3 | (Msagati and Nindi 2004) |
| SSA |  | 599 - 79 -1 | 3.8 | 1.9 ± 02; 2.9 ± 0.1; 1.2 ± 0.2; 7± 0.5 | (Msagati and Nindi 2004) |