Supplementary Materials

Analysis and occurrence of organophosphorus flame retardants and their metabolites in animal derived food

| Table S1 Details of UHPLC-MS/MS analysis of organophosphorus flame retardants (OPFRs)and their metabolites(mOPFRs) |  |  |  |
| --- | --- | --- | --- |
| Assembly | Parameter | OPFRs | mOPFRs |
| Liquid phase part | Liquid chromatography column | ACQUTTY UPLC BEH-C18（1.7 μm, 2.1×100 mm）; | ACQUTTY UPLC BEH-C18（1.7 μm, 2.1×100 mm） |
|  | Liquid phase guard column | ACQUITY UPLC BEH-C18 (1.7 μm, 2.1×20 mm) | ACQUITY UPLC BEH-C18 (1.7 μm, 2.1×20 mm) |
|  | Mobile phase | Aqueous phase (A): water containing 0.2% of FA; Organic phase (B): MeOH containing 0.2% of FA. | Aqueous phase (A): water containing 0.2% of FA; Organic phase (B): MeOH containing 0.2% of FA. |
|  | Elution procedure | The initial composition was 60% (B) and keep for 2 min; Rise to 99% (B) within 5.5 min and hold for 7.5 min; Decrease to 60% (B) within 0.1 min and equilibrate for 5.9 min. | The initial composition was 5% (B) and kept for 0.7 min；Rise to 100% (B) within 7.3 min and hold for 3 min; To 5% within 0.2 min (B); Equilibrate for 7.8 min. |
|  | Flow rate | 0.2 ml/min | 0.2 ml/min |
|  | Column temperature | 40 ℃ | 40 ℃ |
|  | Injection volume | 5 μl | 20 μl |
| Mass spectro- metry | Detection mode | Multi reactive ion monitoring (MRM) | Multi reactive ion monitoring (MRM) |
|  | Ion source | Vortex spray; Positive ionization mode | Vortex spray; Negative ionization mode |
|  | Air curtain pressure | 30 psi | 30 psi |
|  | Collision pressure | 7 psi | 7 psi |
|  | Ion spray voltage | 5500 V | -4500 V |
|  | Ion source temperature | 500 ℃ | 500 ℃ |
|  | Ion source pressure 1 | 55 psi | 55 psi |
|  | Ion source pressure 2 | 55 psi | 55 psi |

| Table S2 Physical and chemical properties of the selected OPFRs and mOPFRs. |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| OPFRs | abbreviation | chemical formula | RfD values (ng kg-1 bw -1) | mOPFRs | abbreviation |  | chemical formula |  |  | RfD values (ng kg-1 bw -1) |
| Triethyl phosphate | TEP | C6H15O4P | 125000 | Bis(2-chloroethyl)hydrogen phosphate | BCEP |  | C4H4Cl2O4P |  | / |  |
| Tri-propyl phosphate | TPrP | C9H21O4P | / | Bis(1-chloro-2-propyl)phosphate | BCIPP |  | C6H13Cl2O4P |  | / |  |
| Tri-n-butyl phosphate | TnBP | C12H27O4P | 10000 | Bis(1,3-dichloro-2-propyl) phosphate | BDCIPP |  | C6H11Cl4O4P |  | / |  |
| Tri-iso-butyl phosphate | TiBP | C12H27O4P | / | Diphenyl phosphate | DPHP |  | C12H11O4P |  | / |  |
| Tris(2-butoxyethyl) phosphate | TBOEP | C18H39O7P | 15,000 | Bis(butoxyethyl) phosphate | BBOEP |  | C12H27O6P |  | / |  |
| Trimethyl phosphate | TMP | C3H9O4P | / | Di-n-butyl phosphate | DnBP |  | C8H19O4P |  | / |  |
| Tris(2-chloroethyl) phosphate | TCEP | C6H12Cl3O4P | 7000 | Bis(2-ethylhexyl) phosphate | BEHP |  | C16H35O4P |  | / |  |
| Tris(2-chloro-iso-propyl) phosphate | TCIPP | C9H18Cl3O4P | 10000 |  |  |  |  |  |  |  |
| Triphenyl phosphate | TPhP | C18H15O4P | 70000 |  |  |  |  |  |  |  |
| Tricresyl phosphate | TCP | C21H21O4P | / |  |  |  |  |  |  |  |
| Tri-m-cresyl phosphate | TCrP | C21H21O4P | / |  |  |  |  |  |  |  |

# a:Date are described in Ali et al. (2013), Coelho et al. (2016), Ding et al. (2015) and Tajima et al. (2014)

Table S3 The parameters for exposure evaluation

|  | children | adults |
| --- | --- | --- |
| Body wight (kg) | 25 | 65 |
| daily consumption (g/day) | 28 | 29 |

# Fig.S1 The influence of the extractants in fish on the recoveries (R) and matrix effects (ME) of the OPFRs and mOPFRs.

Fig.S2 The influence of the extractants in beef on the recovery (R) and matrix effect (ME) of OPFRs and mOPFRs.

Fig.S3 The influence of the polarity and acidity of the extractant in fish on the recoveries (R) and matrix effects (ME) of the OPFRs and mOPFRs.

Fig.S4 The influence of the polarity and acidity of the extractant in beef on the recovery (R) and matrix effect (ME) of OPFRs and mOPFRs.

Fig.S5 The purification effect of traditional SPE on fish

Fig. 6 The purification effect of traditional SPE on beef.

Fig.S7 The purification effect of traditional d-SPE on fish.

Fig.S8 The purification effect of traditional d-SPE on beef.

Fig.S9 The effect of other purification methods on fish.

Fig.S10 The effect of other purification methods on beef.

Fig. S11 The optimization results of Captiva condition for fish.

Fig. S12 The optimization results of Captiva condition for beef.

Fig.S13 The comparison of purification effects of fish for Captiva and PSA.

Fig.S14 The comparison of purification effects of beef for Captiva and PSA.