# APPENDIX

# Equations

Va(t)=P-di .A . Cf /1000 							(1)

Vc(t)=mín D(t)ϴ.Va(t)+Vr(t-1)							(2)

Vr(t)=mín Vat+Vrt-1-VctK-1-ϴ.Vc(t)						(3)

SD=t=1TVctDt									(4)

REL=t=1Tt (se Vct= Dt) T								(5)

RH=t=1T Vct t=1T Vat 									(6)

Va: available rainwater volume (m³)

P: precipitation in the day (mm)

di: initial disposal (mm)

A: household roof area (m²)

Cf: initial runoff flow coefficient

Vc:  rainwater consumed (m³)

Vr:  rainwater volume in the reservoir (m³)

D: RWH system daily demand (m³)

K: accumulation tank capacity (m³)

ϴ: YAS coefficient (0≤ϴ≤1)

SD: satisfied demand (%)

REL: reliability (%)

RH: rainwater harvested (%)

t: day

T: RWH system life time (days)

B(m)=cf+Vm . TA-cf+Vm-Vc. TA1+pevTA		(7)

OC(m)=Em+Emv . Cv +Eq+Eb+Ea+Eav . Inv  vOCVPL=m=1TFc(m)1+i.tvdt-Inv			(8)

m: month

B: benefit ($)

Vc: volume supplied by RWHS in month m (m³)

Vm: volume of water consumed monthly (m³)

TA: water tariff ($/m³)

cf: fixed minimum water tariff ($)

pe: percentage of water tariff corresponding to the sewage (%)

vTA: water tariff variation rate (%)

OC: operating and maintenance expenses ($)

Em: fixed monthly expenses ($)

Emv: variable monthly expenses ($/m³)

Cv: monthly consumption (m³)

Eq: fixed quarterly expenses ($)

Eb: fixed biannual expenses ($)

Ea: fixed annual expenses ($)

Eav: variable annual expenses (%)

Inv: initial investment ($)

vOC: rate of variation in expenses (%)

Rev(m)=B(m)-OC(m)								(9)

BCR=m=1TRev(m)1+DR . vDRmInv								(10)

NPV=m=1TRev(m)1+DR . vDRm-Inv							(11)

NPVV=NPVm=1TVcm 									(12)

Rev: revenues ($)

DR: discount rate (% am)

vDR: rate of variation discount rate (%)

m: month

Inv: initial investment ($)

BCR: cost benefit ratio

NPV: net present value

NPVV: net present value per volume consumed

Fig. 4 Histogram of favorable scenarios for 18 sizes of storage tank according to different criteria and levels of water demand in the city of Rio Verde

Fig. 6 Performance analysis of the RWH in Formosa for each category of water demand household