Supplementary Information

A General Methodology to Measure the Light-to-Heat Conversion Efficiency of Solid Materials

Kai Gu1, Haizheng Zhong1,*

1 MIIT Key Laboratory for Low Dimensional Quantum Structure and Devices, School of Materials Sciences & Engineering, Beijing Institute of Technology, 100081 Beijing, China

1e-mail: kai_gu94@163.com

*e-mail: hzzhong@bit.edu.cn

Contents

PART 1: A review of solution method

PART 2: The experimental instructions of PEE method

PART 3: Figures and Tables

PART 1: A review of solution method

1.1 Roper’s model1

The energy balance in eq. 1 simplifies to

|  | imicp,idTdt=QI+Q0-Qext | S1 |
| --- | --- | --- |

where micp,i includes the solution and sample cell. Source term Q0 represents heat dissipated from light absorbed by the quartz sample cell itself (Figure S1a). The laser-induced source term QI represents heat dissipated.

|  | QI=I1-10-Aλη | S2 |
| --- | --- | --- |

where I is incident laser power, η represents the LHCE, and Aλ is absorbance of NCs given by Beer-Lambert’s Law. The external heat flow power Qext of the system is proportional to the temperature difference with the ambient temperature Tamb, with H as the proportionality factor.

|  | Qext=HT-Tamb | S3 |
| --- | --- | --- |

In order to solve η, it is necessary to solve for H. When laser irradiation ceases, QI + Q0 = 0 and the system cools, reducing eq. S1 to

|  | imicp,idTdt=-HT-Tamb | S4 |
| --- | --- | --- |

Eq. S4 may be solved using the initial condition T = Tmax at t = 0. The LHCE can be solved using equation.

|  | η=HTmax-Tamb-Q0I1-10-Aλ | S5 |
| --- | --- | --- |

1.2 Richardson’s model2

The calculation of LHCE in Richardson's model is similar with that of Roper's model.

|  | mwcp,wdTdt=QI-Qext=I1-10-Aλη-T-Tamb | S6 |
| --- | --- | --- |

In this equation mass (mw) and heat capacity (cp,w) components of the system are the mass and heat capacity of the droplet, and the significance of the other variables is consistent with Roper's model (Figure S1b). Eq. S6 can be simplified (eq. S7) by collecting terms and a variable change, T*, where T* is the temperature difference (T - Tamb) from the ambient temperature.

|  | dT*dt=A-BT* | S7 |
| --- | --- | --- |

A and B are shown in eqs. S8 and S9, where A (°C/s) is the rate of energy absorption and B (s-1) the rate constant associated with heat loss.

|  | A=I1-10-Aληmwcp,w | S8 |
| --- | --- | --- |
|  | B=Hmwcp,w | S9 |

The heating temperature trace is given by eq. S10. The LHCE can be obtained from eq. S11, in advance of fitting eq. S10 to obtain the parameter A.

|  | Tt=Tamb+AB1-e-Bt | S10 |
| --- | --- | --- |
|  | η=A∙mwcp,wI1-10-Aλ | S11 |

1.3 Wang’s model3

Wang et al. have argued that the mass and heat capacity terms in eq. S11 were not the product of the mass and heat capacity of the parts of the system. In the calibration experiment, the laser was replaced with a resistance, which was connected to a battery and immersed in the solution (Figure S1c). Assuming that resistance completely converts electrical energy into heat, then eq. S8 can be recast when the solution is heated with the resistance:

|  | A=Pmcp | S12 |
| --- | --- | --- |

where the power P is taken to be the heat power of the resistance, which is proportional to U2 and inversely proportional to R. In this equation, the proportionality factor mcp called the "effective mass" can be obtained from a linear fit by variation of P. Therefore, the LHCE can be calculated by rewriting eq. S12 to obtain.

|  | η=A∙mcpI1-10-Aλ | S13 |
| --- | --- | --- |

1.4 Pasciak’s model4

Pasciak et al. combined the advantages of Richardson’s and Wang's models and measured the average temperature of the droplet with a TGC while calibrating the mass term (Figure S1d). As a result, the procedure for calculating the LHCE is identical to Wang's model, with eq. S13.

PART 2: The experimental instructions of PEE method

Figure S2 shows photographs of the experimental setup, which is divided into electric (Module I) and heating module (Module II). Module I contains a resistor (A thin sheet with a bottom diameter of 5 mm and a thickness of 1 mm, 1.14 Ω), a DCPS (0 ~ 30 V), and a TGC (FTIR A700), while Module II contains a continuous laser (980 nm, 0 ~ 2 W), an optical power meter (PM100USB), and the same TGC. Samples were prepared by drop coating nanocrystals on filter paper with an area larger than the area of the spot of the laser source and fixed between the two modules. The center of the light source, the resistor and the sample are fixed on the same horizontal line. The diameter of the light spot is about 6 mm which is slightly larger than that of the resistor (5 mm). The diameters of the heating points on the sample are almost the same (Figure S5). The other experimental setups were placed in a sealed work box, except for the DCPS, laser power supply and the computer controlling the TGC. Prior to the measurement, all the instruments should be calibrated. Besides, the ambient temperature outside the work box is kept stable. The methodology is only applicable to the sample without any phase change during measurement.

The experimental steps are as follows.

1) The resistor is attached onto the filter paper with sample.

2) A fixed test area is defined on the computer to monitor the temperature change of the sample.

3) Set the power of the resistor to P0 by DCPS.

4) Start electric heating of the sample and record the average temperature in the test area.

5) When the sample reaches thermal equilibrium, stop heating the sample and save the temperature change curve. Note: The maximum temperature (TE,max) of the sample below 60 °C is suggested. The maximum temperature change (ΔTE,max) of the sample was controlled in the range between 3 ~ 10 °C.

6) After the temperature of the sample is stabilized, change the value of P0 and repeat steps 3 - 6.

7) Calculate P* according to eq. 3 and extract the maximum average temperature change (ΔTE,max) from the temperature change curve.

8) According to eq. 2, a linear fit is performed using P* and ΔTE,max to obtain H*, as shown in Figure 1b.

9) Remove the resistor.

10) The same fixed test area is used to monitor the temperature change of the sample.

11) Set the power of the laser to I0 or use an optical power meter to measure the power of the laser.

12) Adjust I0 to allow the laser to transmit the sample.

13) Start laser heating of the sample and record the average temperature in the test area.

14) When the sample reaches thermal equilibrium, stop heating the sample and save the temperature change curve.

15) Extract the maximum average temperature change (ΔTL,max) from the temperature change curve.

16) Measure the transmittance and reflectance of the sample using a spectrophotometer, and then calculate the absorbance of the sample according to eq. 6.

17) Finally, calculate the LHCE of the sample according to eq. 7.

PART 3: Figures and Tables

Table S1. Details of the LCHE calculation from P1, P2 and Tavg.

|  | Temperature under electric power (0.032 W) | H* (W/˚C) | Temperature under laser power (0.034 W) | η (a.u.) |
| --- | --- | --- | --- | --- |
| P1 | 7.81 | 0.00151 | 35.35 | 160.0% |
| Tavg | 4.24 | 0.00298 | 9.96 | 88.9% |
| P2 | 1.22 | 0.01727 | 1.43 | 143.2% |

Table S2. Details of LCHE calculation using different sizes of test areas.

| Test area | TE (˚C) (0.032 W) | H* (W/˚C) | TL (˚C) (0.034 W) | η (a.u.) |
| --- | --- | --- | --- | --- |
| 1 | 5.27 | 0.00238 | 12.74 | 90.8% |
| 2 | 4.23 | 0.00298 | 10.11 | 90.3% |
| 3 | 2.89 | 0.00416 | 6.66 | 83.1% |

Fig. S1. Diagrams of the experimental setup for the LHCE measurement proposed by Roper (a), Richardson (b), Wang (c), and Pasciak (d).

Fig. S2. Photographs of setups for measuring LHCE of solid materials.

Fig. S3. Temperature photos of a sample (a) and resistor (b) and line distributions of the temperature of Line1 and Line2 (c), where Line1 is the diameter of the test area while Line2 is the extension of Line1.

Fig. S4. Photographs of the size and shape of the resistor.

Fig. S5. Temperature photographs of a sample under electric (a) and laser heating (b), where the size and position of the test area are fixed.

Fig. S6. Size distributions of Au nanorods (a), PbSe nanocrystals (b) and Cu2Se nanocrystals (c).

Fig. S7. Transmission and reflection spectra of commercial Au nanorods (a), PbSe nanocrystals (b) and Cu2Se nanocrystals (c) together with a filter paper.

Fig. S8. XRD patterns of the synthesized PbSe nanocrystals (a) and Cu2Se nanocrystals (b).

Fig. S9. Calculation processes of the LHCE of GO (a-d) and graphene (e-h).

Fig. S10. DSC curves for all the samples, where no phase change occurred between the test temperatures of 25 and 60 ℃.

Fig. S11. (a) SEM image of a raw filter paper and the inset is a photograph of the raw filter paper. (b) Transmission and reflection spectra of the raw filter paper. (c) DSC curves of the raw filter paper and the standard sapphire reference.

References

1	Roper, D. K., Ahn, W. & Hoepfner, M. Microscale Heat Transfer Transduced by Surface Plasmon Resonant Gold Nanoparticles. J. Phys. Chem. C 111, 3636-3641 (2007).

2	Richardson, H. H., Carlson, M. T., Tandler, P. J., Hernandez, P. & Govorov, A. O. Experimental and Theoretical Studies of Light-to-Heat Conversion and Collective Heating Effects in Metal Nanoparticle Solutions. Nano Lett. 9, 1139-1146 (2009).

3	Wang, X., Li, G., Ding, Y. & Sun, S. Understanding the photothermal effect of gold nanostars and nanorods for biomedical applications. RSC Adv. 4, 30375-30383 (2014).

4	Paściak, A., Pilch-Wróbel, A., Marciniak, Ł., Schuck, P. J. & Bednarkiewicz, A. Standardization of Methodology of Light-to-Heat Conversion Efficiency Determination for Colloidal Nanoheaters. ACS Appl. Mater. Interfaces 13, 44556-44567 (2021).