Appendix 1 (Table) Comparison of operator performance through maximum exerted forces and time required for system instrumentation. Common superscript letters indicate significance (Read vertically)

| System of instrumentation | Maximum force exerted by system (N) | Time required for instrumentation (sec) |
| --- | --- | --- |
| Operator 1, ProTaper Gold | 21.89 ± 4.72 A | 242.91 ± 39.56 A |
| Operator 1, WaveOne Gold | 13.50 ± 3.04 A | 157.14 ± 17.30 A |
| Operator 2, ProTaper Gold | 24.11 ± 4.17 B | 143.86 ± 89.27 B |
| Operator 2, WaveOne Gold | 16.92 ± 3.15 B | 150.50 ± 20.33 B |

Appendix 2 (Figure) Graphical representation of the time needed for radicular preparation plotted for operators with different systems