Appendix   The additional Questionnaire with 39 questions and answers

| Question | Answers |  |
| --- | --- | --- |
| - Confident handling? * | Yes No | Absolute/relative number 36 (90.0 %) 3 (7.5 %) |
| - Reason for implantation of r-IPG? * | Generator change Pain Others | Absolute/relative number 11 (27.5 %) 15 (37.5 %) 14 (35.0 %) |
| - Person making the decision for the r-IPG System? | Patient Doctor Family Nurse | Absolute/relative number 13 (32.5 %) 27 (67.5 %) 0 0 |
| - Number of instructions given? | 1 instruction >1 instructions | Absolute/relative number 18 (45 %) 22 (55 %) |
| - Sufficiently prepared after last instruction? * | Yes No | Absolute/relative number 35 (87.5 %) 4 (10.0 %) |
| - Interval of recharging charger (days) |  | 17.24 ± 11.10 (mean ± SD) |
| - Interval of checking battery status (days)? |  | 5.39 ± 4.00 (mean ± SD) |
| - Interval of recharging stimulator (days) |  | 10.24 ± 7.82 (mean ± SD) |
| - Charging at what battery level? * | <25 % 25-50 % 50-75% >75 % warning signal | Absolute/relative number 16 (40.0 %) 18 (45.0 %) 2 (5.0 %) 0 (0.0 %) 2 (5.0 %) |
| - Duration of charging per stimulator (minutes) |  | 107 ± 58 (mean ± SD) |
| - Pleased with time required for charging? * | Yes No | Absolute/relative number 30 (75.0 %) 9 (22.5 %) |
| - Acceptance of recharging time per week * | 15 – 30 minutes 30 – 60 minutes 60 – 120 minutes 120 – 180 minutes > 180 minutes | Absolute/relative number 3 (7.5 %) 7 (17.5 %) 21 (52.5 %) 7 (17.5 %) 1 (2.5 %) |
| - Checking charging status of stimulator? | Patient Family Nurse Other | Absolute/relative number 40 (100.0 %) 0 0 0 |
| - Person charging stimulator? | Patient Family Nurse Other | Absolute/relative number 40 (100.0 %) 0 0 0 |
| - Stimulation time per day (hours) |  | 21.16 ± 6.00 (mean ± SD) |
| - Mobility during charging? * | Yes No | Absolute/relative number 15 (37.5 %) 23 (57.5 %) |
| - Activities during charging? * | Television Reading Working Other activities | Absolute/relative number 24 (60.0 %) 5 (12.5 %) 3 (7.5 %) 2 (5.0 %) |
| - Travel after r-IPG implantation? * | Yes No | Absolute/relative number 30 (75.0 %) 8 (20 %) |
| - Pursuing a job after r-IPG implantation? * | Yes No | Absolute/relative number 11 (27.5 %) 27 (67.5 %) |
| - Driving after r-IPG implantation? * | Yes No | Absolute/relative number 33 (82.5 %) 5 (12.5 %) |
| - Use of electronic devices? * | Yes No | Absolute/relative number 35 (87.5 %) 3 (7.5 %) |
| - Use of opioid pain relivers? | Yes No | Absolute/relative number 23 (57.5 %) 17 (42.5 %) |
| - Depression? | Yes No | Absolute/relative number 6 (15.0 %) 34 (85.0 %) |
| - Anxiety disorder? | Yes No | Absolute/relative number 2 (5.0 %) 38 (95.0 %) |
| - Problems with charging? | Yes No | Absolute/relative number 15 (37.5 %) 25 (62.5 %) |
| - Interruption of stimulation? * | Yes No | Absolute/relative number 11 (27.5 %) 27 (67.5 %) |
| - Evaluation of charging process? * | Checking of the charging state: Very difficult Difficult Neutral Easy Very easy Taking on and off charging belt Very difficult Difficult Neutral Easy Very easy Initiating connection between charger and stimulator: Very difficult Difficult Neutral Easy Very easy Charging of charger: Very difficult Difficult Neutral Easy Very easy Keeping connection between charger and stimulator: Very difficult Difficult Neutral Easy Very easy | Absolute/relative number 1 (2.5 %) 0 (0.0 %) 2 (5.0 %) 15 (37.5 %) 20 (50.0 %) 3 (7.5 %) 5 (12.5 %) 9 (22.5 %) 15 (37.5 %) 8 (20.0 %) 2 (5.0 %) 5 (12.5 %) 6 (15.0 %) 15 (37.5 %) 10 (25.0 %) 1 (2.5 %) 2 (5.0 %) 1 (2.5 %) 11 (27.5 %) 24 (60.0 %) 3 (7.5 %) 4 (10.0 %) 10 (25.0 %) 12 (30.0 %) 9 (22.5 %) |
| - Evaluation of the overall convenience of recharging? * | Very difficult Difficult Neutral Easy Very easy | Absolute/relative number 0 (0.0 %) 4 (10.0 %) 7 (17.5 %) 16 (40.0 %) 12 (30.0 %) |
| - Evaluation of the overall effort? * | Very high High Neutral Low Very low | Absolute/relative number 0 (0.0 %) 5 (12.5 %) 6 (15.0 %) 20 (50.0 %) 8 (20.0 %) |
| - Evaluation of the size of the stimulator? | Very big Big Neutral Small Very small | Absolute/relative number 0 (0.0 %) 7 (17.5 %) 19 (47.5 %) 14 (35.0 %) 0 (0.0 %) |
| - Charging the stimulator as a reminder of the disease? | Completely agree Agree Neutral Disagree Completely disagree | Absolute/relative number 5 (12.5 %) 3 (7.5 %) 12 (30.0 %) 11 (27.5 %) 9 (22.5 %) |
| - Charging the stimulator as active participation in therapy? * | Completely agree Agree Neutral Disagree Completely disagree | Absolute/relative number 12 (30.0 %) 16 (40.0 %) 10 (25.0 %) 1 (2.5 %) 0 (0.0 %) |
| - Fear of forgetting to charge? * | Completely agree Agree Neutral Disagree Completely disagree | Absolute/relative number 1 (2.5 %) 4 (10.0 %) 10 (25.0 %) 9 (22.5 %) 15 (37.5 %) |
| - Need to replace components of the Charge System after surgery? * | Yes No | Absolute/relative number 16 (40.0 %) 21 (52.5 %) |
| - Recommendation of r-IPG? * | Yes No | Absolute/relative number 35 (83.3 %) 1 (16.7 %) |
| - Preference of stimulator? * | Internal External | Absolute/relative number 33 (82.5 %) 2 (5.0 %) |
| - Would choose r-IPG again? * | Yes No | Absolute/relative number 33 (82.5 %) 3 (7.5 %) |
| - Importance of therapy? * | Fewer surgeries Less charging | Absolute/relative number 33 (82.5 %) 4 (10.0 %) |
| - Expectation of non-rechargeable battery life |  | 8.90 ± 4.57 (mean ± SD) |

*Incomplete data (n<40) and adjusted numbers with existing data