Supplementary Table 1. The criteria of significant ECG change set for serial comparison of pre- and post-vaccine ECGs by QTM-DX.

Premature ventricular beats (PVC) new PVC detected number of PVCs increase more than 2 PVC couplets, triplets or runs More than 2 PVC morphologies

Premature atrial beats (PAC) new PAC detected number of PACs increase more than 2 PAC couplets, triplets or runs

Heart rate change Heart rate increase >20 beats per minute (bpm) and current heart rate > 100 bpm Heart rate decrease >20 bpm and current heart rate < 60 bpm Extreme sinus bradycardia Heart rate below 40bpm

Atrial arrhythmia new atrial fibrillation, flutter, or tachycardia detected

Atrioventricular block PR interval increase > 30 ms 2nd or complete atrioventricular block

Bundle branch block or intraventricular conduction delay new right bundle branch block detected new left bundle branch block detected QRS duration increase >15ms and QRS duration >110ms

Q wave change Q wave duration ≥ 20 ms at lead V2, V3 Q wave duration ≥ 30 ms and Q wave amplitude > 0.1 mV at other leads QS complex in contiguous leads

QRS change QRS axis change by > 45 degrees Sum of limb leads' (R + S) decrease by > 30% Sum of chest leads' (R + S) decreased by > 30%

ST change ST elevated ≥ 0.2 mV compared to the baseline ST depressed ≥ 0.2 mV compared to the baseline

T wave change new T wave inversion detected T wave amplitude >10mm

Prolonged QT QTc interval increase >20 ms QTc interval >470 ms

Supplementary table 2. The sensitivity, specificity, positive predictive value and negative predictive value using the different ECG screening method

|  | Sensitivity | Specificity | Positive predictive value | Negative predictive value |
| --- | --- | --- | --- | --- |
| Using myocarditis and significant arrhythmia as positive outcome |  |  |  |  |
| Serial comparison of pre- and post-vaccine ECG | 100% | 99.1% | 9.8% | 100% |
| Only post-vaccine ECG | 100% | 86.0% | 0.72% | 100% |
| Post-vaccine ECG and any of cardiac symptoms | 20% | 97.5% | 0.79% | 99.9% |
| Using only myocarditis as positive outcome |  |  |  |  |
| Serial comparison of pre- and post-vaccine ECG | 100% | 99.1% | 2.0% | 100% |
| Only post-vaccine ECG | 100% | 85.9% | 0.14% | 100% |
| Post-vaccine ECG and any of cardiac symptoms | 0% | 97.4% | 0 | 100% |

Supplementary table 3 Expense of the present mass ECG screening

| Item | US dollars |
| --- | --- |
| Wages of the medical examiners | $37317 |
| Consumables of ECG | $25961 |
| Expenses of supplies, postage and phone | $468 |
| Shipping expenses | $516 |
| Miscellaneous | $5972 |
| Total | $70234 |