# Supplementary

## Preparation of 10x PBS buffer solution

To compare different reactor setups measuring the kLa-value a PBS-buffer solution has been defined as standard* and, thus, was used in this study. The PBS-buffer mimics physical properties like viscosity and density of a cultivation system. The composition is as follows.

| Amount |  | Component |
| --- | --- | --- |
| 80 ± 0.1 | g | NaCl |
| 2 ± 0.05 | g | KCl |
| 26.8 ± 0.1 | g | Na2HPO4 x 7 H2O |
| or 17.8 | g | Na2HPO4 x 2 H2O |
| or 14.2 | g | Na2HPO4 |
| 2.4 ± 0.05 | g | KH2PO4 |

* Meusel W, Löffelholz C, Husemann U, Dreher T, Greller G, Kauling J, Eibl D, Kleebank S, Bauer I, Glöckler R, Huber P, Kuhlmann W, John GT, Werner S, Kaiser SC, Pörtner R, Kraume M. Recommendations for process engineering characterisation of single-use bioreactors and mixing systems by using experimental methods. Studien und Positionspapiere. DECHEMA Gesellschaft für Chemische Technik und Biotechnologie e.V. 2016. https://dechema.de/dechema_media/Downloads/Positionspapiere/SingleUse_ProcessEngineeringCaracterisation_2016.pdf. Accessed 10 Mar 2021.

## Analytic of gluconate and 2-ketogluconate

Concentrations of glucose (black line), gluconate (blue lines) and 2-ketogluconate (2-KG, green line) in the aqueous phase over time during the cultivation with the improved sparger design. The shaded backgrounds mark periods annotated in (Fig. 7d) depending on the slope of the linear fit to ln(OTR).