Supplementary materials – The rapid detection of respiratory pathogens in critically ill children

John A Clark MBBS MRCPCH 1, 2*, Andrew Conway Morris PhD 2,3,4, Martin D Curran PhD 5, Deborah White MSc 2, Esther Daubney BSc 2, Iain RL Kean PhD 1, Vilas Navapurkar FFICM 2, Josefin Bartholdson Scott PhD 6, Mailis Maes PhD 6, Rachel Bousfield BMBS 2, 5, M. Estée Török PhD FRCP FRCPath 2, 7, David Inwald PhD FRCPCH 2, Zhenguang Zhang PhD 1, Shruti Agrawal MD FRCPCH 1,2, Constantinos Kanaris PhD FRCPCH FFICM 2, 8, Fahad Khokhar BSc 6, Theodore Gouliouris PhD FRCPath 2, 5, Stephen Baker PhD 6, and Nazima Pathan PhD FRCPCH 1, 2*

- Department of Paediatrics, University of Cambridge

- Cambridge University Hospitals NHS Foundation Trust

- Division of Anaesthesia, Department of Medicine, University of Cambridge

- Division of Immunology, Department of Pathology, University of Cambridge

- United Kingdom Health Security Agency, Clinical Microbiology and Public Health Laboratory, Cambridge

- Cambridge Institute of Therapeutic Immunology and Infectious Disease, University of Cambridge

- Division of Infectious Diseases, Department of Medicine, University of Cambridge

- Blizard Institute, Queen Mary University of London

*Corresponding author: Dr John Clark, Department of Paediatrics, Level 8, Addenbrooke’s Hospital, Cambridge Biomedical Campus, Cambridge CB2 0QQ. Email: jac302@cam.ac.uk

Sequencing methods

Library preparation and sequencing was undertaken by NovoGene Bioinformatics Technology Co. Ltd. Pre-processing of data included merging paired-end reads using FLASH (v1.2.7) and filtering of raw tags using Qiime (v1.7.0) [1, 2]. Taxonomy was reported according to the reference SILVA138 database using UCHIME algorithm and chimera sequences were removed [2, 3]. Sequence analysis was performed using Uparse (v7.0.1090), with ≥97% similarity assigned to the same Operational Taxonomic Units (OTUs) [4]. Species annotation was undertaken using Mothur method against the SSUrRNA database of SILVA138 [5–7]. OTUs belonging to known environmental contaminants were excluded from the analysis [8] To ensure organisms reported for comparison to TAC were highly representative of the sample, results were filtered to genus which were present in ≥500 reads and represented ≥0.5% of the classified reads in the sample. To validate detections on TAC that were not identified on culture, all targets on TAC at either species or genus level were included.

Table S1 Additional antimicrobials added to Antimicrobial Spectrum Index

| Drug | MSSA | Enterococcus spp. | Anaerobic organisms | Bacteroides fragilis | Moraxella spp./Haemophilus influenzae | Escherichia coli/Klebsiella spp. | Enterobacter/Serratia/Citrobacter | Extended spectrum beta lactamase producing organisms | Pseudomonas | MRSA | Penicillin-resistant streptococcus | Atypical respiratory pathogens$ | MDRO | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ceftolozane/tazobactam | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 8 |
| Flucloxacillin | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |
| Teicoplanin | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 3 |

MDRO: Multi-drug resistant organism; MRSA: Methicillin resistant staphylococcus aureus; MSSA: Methicillin sensitive staphylococcus aureus.  $ Chlamydia pneumoniae, mycoplasma pneumoniae and Legionella pneumophila NB: This table is an addition to the original Antimicrobial Spectrum Index developed by Gerber et al 2017 [9].

Additional results

Mini-BAL samples

Due to the precautions associated with aerosol generating procedures during the COVID-19 pandemic, sample volumes could only be measured after aliquots were taken for routine investigations and TAC, which was possible in 84/91 (92%) of mini-BAL samples. There was a mean of 2,294 µL (SD 1,156) sample remaining after microbiology culture, which exceeded the 750 µL volume required for nucleic acid extraction. No adverse events were reported relating to sample collection. There was significant microbiological growth in 18/91(20%) of samples which underwent both microbiology culture and TAC.  Microbiology culture was more likely to be positive in patients with suspected VAP (8/17) than CAP (10/74), (Χ2 9.8037, p=0.002).

TAC

TAC passed quality control in 99/100 assays. One assay failed as no human DNA was detected in the sample and no growth was detected on culture. This sample was excluded from sensitivity and specificity analysis. Excluding controls there were a total 496/9,108 (5.4%) hits on TAC with a mean Ct value of 29.5 (SD 5.2). Of these, 253 (63%) had a Ct value of ≤32. There was at least one detection with Ct ≤32 in 78/99 (79%) samples. Based on species specific targets, these results represented a median of one (IQR 0-2) bacterial species and one (IQR 0 -1) viral species detected per patient.

|  |  | Culture |  |  |  |  | Culture |  |  |  |  | Culture |  |  |  |  | Culture |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | A. baumannii |  |  |  |  | B. fragillis |  |  |  |  | B. pertussis |  |  |  |  | E. proteus |  |  |  |
|  |  | + | - |  |  |  | + | - |  |  |  | + | - |  |  |  | + | - |  |
| TAC | + | 0 | 1 | 1 |  | + | 0 | 0 | 0 |  | + | 0 | 0 | 0 |  | + | 0 | 0 | 0 |
|  | - | 0 | 90 | 90 |  | - | 0 | 91 | 91 |  | - | 0 | 91 | 91 |  | - | 0 | 91 | 91 |
|  |  | 0 | 91 |  |  |  | 0 | 91 |  |  |  | 0 | 91 |  |  |  | 0 | 91 |  |
|  | E. cloacae |  |  |  |  | E. faecalis* |  |  |  |  | E. faecium* |  |  |  |  | E. meningoseptica |  |  |  |
|  |  | + | - |  |  |  | + | - |  |  |  | + | - |  |  |  | + | - |  |
| TAC | + | 0 | 1 | 1 |  | + | 0 | 1 | 1 |  | + | 0 | 1 | 1 |  | + | 0 | 0 | 0 |
|  | - | 0 | 90 | 90 |  | - | 1 | 29 | 30 |  | - | 0 | 30 | 30 |  | - | 0 | 91 | 91 |
|  |  | 0 | 91 |  |  |  | 1 | 30 |  |  |  | 0 | 31 |  |  |  | 0 | 91 |  |
|  | E. coli |  |  |  |  | H. influenzae |  |  |  |  | K. pneumoniae |  |  |  |  | L. pneumophila |  |  |  |
|  |  | + | - |  |  |  | + | - |  |  |  | + | - |  |  |  | + | - |  |
| TAC | + | 1 | 1 | 2 |  | + | 4 | 8 | 12 |  | + | 1 | 1 | 2 |  | + | 0 | 0 | 0 |
|  | - | 0 | 89 | 89 |  | - | 0 | 79 | 79 |  | - | 0 | 89 | 89 |  | - | 0 | 91 | 91 |
|  |  | 1 | 90 |  |  |  | 4 | 87 |  |  |  | 1 | 90 |  |  |  | 0 | 91 |  |
|  | M. catarrhalis |  |  |  |  | M. morganii |  |  |  |  | M. tuberculosis |  |  |  |  | N. meningitidis |  |  |  |
|  |  | + | - |  |  |  | + | - |  |  |  | + | - |  |  |  | + | - |  |
| TAC | + | 1 | 6 | 7 |  | + | 1 | 0 | 1 |  | + | 0 | 0 | 0 |  | + | 0 | 0 | 0 |
|  | - | 0 | 84 | 84 |  | - | 0 | 90 | 90 |  | - | 0 | 91 | 91 |  | - | 0 | 91 | 91 |
|  |  | 1 | 90 |  |  |  | 1 | 90 |  |  |  | 0 | 91 |  |  |  | 0 | 91 |  |
|  | P. aeruginosa |  |  |  |  | S. marcescens |  |  |  |  | S. aureus |  |  |  |  | S. epidermidis |  |  |  |
|  |  | + | - |  |  |  | + | - |  |  |  | + | - |  |  |  | + | - |  |
| TAC | + | 3 | 6 | 9 |  | + | 1 | 0 | 1 |  | + | 2 | 4 | 6 |  | + | 0 | 3 | 3 |
|  | - | 1 | 81 | 82 |  | - | 0 | 90 | 90 |  | - | 0 | 85 | 85 |  | - | 0 | 88 | 88 |
|  |  | 4 | 87 |  |  |  | 1 | 90 |  |  |  | 2 | 89 |  |  |  | 0 | 91 |  |
|  | S. maltophilia |  |  |  |  | S. pneumoniae |  |  |  |  | S. pyogenes |  |  |  |  | Bacterial total |  |  |  |
|  |  | + | - |  |  |  | + | - |  |  |  | + | - |  |  |  | + | - |  |
| TAC | + | 0 | 2 | 2 |  | + | 2 | 6 | 8 |  | + | 0 | 0 | 0 |  | + | 16 | 41 | 57 |
|  | - | 0 | 89 | 89 |  | - | 0 | 83 | 83 |  | - | 0 | 91 | 91 |  | - | 2 | 1914 | 1916 |
|  |  | 0 | 91 |  |  |  | 2 | 89 |  |  |  | 0 | 91 |  |  |  | 18 | 1955 |  |
|  | C. albicans |  |  |  |  | A. fumigatus |  |  |  |  | Fungal total |  |  |  |  | Bacterial + Fungal total |  |  |  |
|  |  | + | - |  |  |  | + | - |  |  |  | + | - |  |  |  | + | - |  |
| TAC | + | 1 | 3 | 4 |  | + | 0 | 0 | 0 |  | + | 1 | 3 | 4 |  | + | 17 | 44 | 61 |
|  | - | 0 | 87 | 87 |  | - | 0 | 91 | 91 |  | - | 0 | 178 | 178 |  | - | 2 | 2092 | 2094 |
|  |  | 1 | 90 |  |  |  | 0 | 91 |  |  |  | 1 | 181 |  |  |  | 19 | 2136 |  |

Fig. S1 Calculation data of custom TaqMan Array Card sensitivity and specificity for bacterial and fungal species.

This figure demonstrates the individual and combined data used to determine the sensitivity and specificity of a custom TaqMan Array Card (TAC). Species that are not grown on standard microbiology culture have been excluded. These data are limited to bacterial and fungal species on the card, where cycle threshold result was ≤32, and excludes higher taxonomic targets and viruses. Positive and negative results on TAC are compared to microbiology culture. * These species were replaced on the TAC for SARS-CoV-2 targets during the study.

Table S2 Growth on microbiology culture versus detection on TaqMan Array Card

| Study ID | Sample method | Pathogen name | TaqMan array confirmatory result and Ct value | Species identified on TAC (Ct ≤32) | Detection on TAC including non-specific targets (any Ct) |
| --- | --- | --- | --- | --- | --- |
| C001 | Mini-BAL | Coagulase-negative Staphylococcus (CoNS) | mecA: 29 | O | ü |
| C002 | ETT aspirate | Klebsiella pneumoniae | K. pneumoniae #1: 28 K. pneumoniae #2: 28 | ü | ü |
| C004 | ETT aspirate | Candida albicans | C. albicans: 27 Candida spp: 25 | ü | ü |
| C008 | Mini-BAL | Pseudomonas aeruginosa | P. aeruginosa: 37 | O | ü |
| C029 | Mini-BAL | Enterococcus faecalis | E. faecalis: 35 | O | ü |
| C032 | Mini-BAL | Pseudomonas aeruginosa | P. aeruginosa #1: 27 P. aeruginosa #2: 27 | ü | ü |
| C036 | Mini-BAL | Moraxella catarrhalis | M. catarrhalis: 21 | ü | ü |
| C037 | Mini-BAL | Candida dubliniensis | Candida spp: 23 18S rRNA: 24 | O | ü |
| C046 | Mini-BAL | Staphylococcus aureus | S. aureus #1: 28 S. aureus #2: 29 CoNS: 32 | ü | ü |
| C048 | ETT aspirate | Morganella morganii | M. morganii: 25 | ü | ü |
| C052 | Mini-BAL | Pseudomonas aeruginosa | P. aeruginosa: 22 P. aeruginosa: 20 | ü | ü |
| C057 | Mini-BAL | Escherichia coli | E. coli #1: 30 E. coli #2: 28 | ü | ü |
| C059 | Mini-BAL | Staphylococcus aureus | S. aureus #1: 26 S. aureus #2: 27 CoNS: 28 | ü | ü |
|  |  | Haemophilus influenzae | H. influenzae #1: 19 H. influenzae #2: 19 | ü | ü |
| C067 | Mini-BAL | Serratia marcescens | S. marcescens #1: 23 S. marcescens #2: 21 | ü | ü |
| C089 | Mini-BAL | Haemophilus influenzae | H. influenzae #1: 18 H. influenzae #2: 19 | ü | ü |
|  |  | Streptococcus pneumoniae | Streptococcus spp #1: 27 Streptococcus spp #2: 25 S. pneumoniae #1: 27 S. pneumoniae #2: 26 | ü | ü |
| C107 | Mini-BAL | Haemophilus influenzae | H. influenzae #1: 19 H. influenzae #2: 20 | ü | ü |
| C111 | Mini-BAL | Streptococcus pneumoniae | S. pneumoniae #1: 24 S. pneumoniae #2: 23 Streptococcus spp #1: 26 Streptococcus spp #2: 23 | ü | ü |
|  |  | Haemophilus influenzae | H. influenzae #1: 20 H. influenzae #2: 21 | ü | ü |
| C121 | Mini-BAL | Pseudomonas aeruginosa | P. aeruginosa #1: 20 P. aeruginosa #2: 20 | ü | ü |
| CoNS: Coagulase negative staphylococcus; Ct: Cycle threshold; ETT: Endotracheal tube; Mini-BAL: Non-bronchoscopic bronchoalveolar lavage; TAC: TaqMan Array Card |  |  |  |  |  |

Table S3 Validation of bacterial species identified on TaqMan Array Card using 16S rRNA gene sequencing

| Study ID | Detection on TaqMan Array Card | Cycle threshold(s) | Detection on culture | Validation by 16S rRNA gene sequencing* | Corresponding 16S rRNA gene sequencing reads (n, % total classified reads) |  |
| --- | --- | --- | --- | --- | --- | --- |
| C001 | E. faecium | 27/27 | O | O | 60 | (0.04) |
| C002 | K. pneumoniae | 28/29 | P | O | 0 | (0.00) |
| C021 | S. pneumoniae | 31/29 | O | P | 2242 | (2.42) |
|  | H. influenzae | 27/28 | O | P | 866 | (0.93) |
|  | M. catarrhalis | 26 | O | P | 2869 | (3.09) |
| C025 | A. baumannii | 23/19 | O | P | 63714 | (67.87) |
|  | E. faecalis | 29 | O | P | 621 | (0.66) |
|  | S. maltophilia | 28 | O | O | 4 | (0.00) |
| C032 | P. aeruginosa | 27/27 | P | P | 17737 | (26.71) |
| C035 | M. catarrhalis | 29 | O | P | 22921 | (40.58) |
| C036 | M. catarrhalis | 21 | P | P | 63354 | (87.07) |
| C037 | P. aeruginosa | 23/20 | O | P | 45361 | (57.41) |
| C042 | S. epidermidis | 28 | O | P | 4279 | (9.08) |
|  | S. maltophilia | 28 | O | P | 2975 | (6.31) |
| C046 | S. pneumoniae | 26/26 | O | P | 17625 | (21.29) |
|  | H. influenzae | 24/24 | O | P | 45805 | (55.33) |
|  | S. aureus | 28/29 | P | P | 1008 | (1.22) |
| C048 | E. coli | 31 | O | P | 1012 | (1.09) |
|  | P. aeruginosa | 31 | O | P | 1462 | (1.57) |
|  | E. cloacae | 28/32 | O | O | 197 | (0.21) |
|  | M. morganii | 25 | P | P | 27358 | (29.43) |
| C049 | P. aeruginosa | 31 | O | P | 4848 | (10.18) |
| C052 | P. aeruginosa | 22/20 | P | P | 92889 | (90.47) |
| C057 | E. coli | 30/28 | P | P | 18574 | (34.03) |
| C059 | S. epidermidis | 28 | O | P | 579 | (0.66) |
|  | S. aureus | 26/27 | P | P | 579 | (0.66) |
|  | H. influenzae | 19/19 | P | P | 63302 | (72.05) |
| C062 | S. epidermidis | 31 | O | N/A | N/A |  |
| C063 | P. aeruginosa | 27/26 | O | P | 46063 | (58.18) |
|  | M. catarrhalis | 23 | O | P | 8366 | (10.57) |
| C067 | K. pneumoniae | 28/29 | O | O | 0 | (0.00) |
|  | S. marcescens | 23/21 | P | P | 41176 | (65.26) |
| C074 | S. aureus | 29/30 | O | P | 1064 | (4.68) |
| C078 | M. catarrhalis | 28 | O | P | 11538 | (21.32) |
| C084 | H. influenzae | 26/27 | O | P | 747 | (1.25) |
| C089 | H. influenzae | 18/19 | P | P | 3203 | (5.36) |
|  | S. pneumoniae | 27/26 | P | P | 69857 | (76.60) |
| C093 | S. pneumoniae | 31 | O | P | 31307 | (37.35) |
|  | H. influenzae | 24/26 | O | P | 29454 | (35.14) |
| C099 | H. influenzae | 27/29 | O | P | 35855 | (54.46) |
| C100 | S. pneumoniae | 29/32 | O | P | 3609 | (3.61) |
| C101 | S. pneumoniae | 31/31 | O | P | 13653 | (15.60) |
| C102 | S. pneumoniae | 31 | O | P | 1321 | (2.73) |
| C103 | H. influenzae | 31/29 | O | P | 3809 | (10.57) |
|  | M. catarrhalis | 27 | O | P | 582 | (1.62) |
| C107 | H. influenzae | 19/20 | P | P | 69776 | (77.84) |
| C109 | M. catarrhalis | 20 | O | P | 61502 | (74.41) |
| C111 | S. pneumoniae | 24/23 | P | P | 8230 | (8.64) |
|  | H. influenzae | 20/21 | P | P | 71303 | (74.83) |
| C114 | H. influenzae | 28/29 | O | P | 41880 | (74.73) |
| C115 | S. aureus | 29/30 | O | P | 10897 | (17.07) |
|  | P. aeruginosa | 30/30 | O | P | 4033 | (6.32) |
| C120 | S. aureus | 29 | O | P | 747 | (0.83) |
|  | H. influenzae | 20/21 | O | P | 57389 | (63.78) |
| C121 | P. aeruginosa | 20/20 | P | P | 67527 | (72.96) |
| C122 | S. aureus | 32/31 | O | O | 336 | (0.73) |
| C123 | P. aeruginosa | 32/31 | O | P | 3108 | (12.90) |
| N/A: insufficient sample available for sequencing. * Validation is reported as >500 reads and present in >0.5% of total classified reads |  |  |  |  |  |  |  |

Fig. S2 Virus detected using TaqMan Array Card versus standard of care

Total viruses detected on TaqMan Array Card (n = 99) compared to routine virology tests (n = 30) obtained within 24 hours before or after sampling for TAC. Note that routine samples were obtained from a variety of methods including nasopharyngeal aspirates (n = 14), nasopharyngeal +/- oropharyngeal swabs (n = 8), endotracheal tube aspirate samples (n = 4), mini-BALs (n = 3) and a throat swab (n = 1). There was at least one virus detected in 19/30 (63%) of these combined routine tests. Note that routine respiratory PCR testing in this institution does not include Bocavirus, Cytomegalovirus or Epstein Barr Virus.

| Characteristic | Control cohort N = 52 | RASCALS cohort N = 100 | p-value |
| --- | --- | --- | --- |
| Age (years), median (IQR) | 0.6 (0.1 – 2.6) | 1.2 (0.3-5.2) | 0.029a |
| Sex (male), n (%) | 34 (65) | 58 (58) | 0.377b |
| Weight (kilograms), median (IQR) | 5.9 (3.9 – 13.5) | 10.6 (5.3 – 19.7) | 0.026a |
| Suspected VAP, n (%) | 3 (6) | 20 (20) | 0.020b |
| Need for vasoactive support, n (%) | 15 (29) | 32 (32) | 0.690b |
| Days free of PICU at 28 days, mean (SD) | 18.5 (7.2) | 16.8 (7.9) | 0.216c |
| Days free of invasive ventilation at 28 days, mean (SD) | 18.9 (8.8) | 19.1 (7.2) | 0.878c |
| Survival to hospital discharge, n (%) | 49 (94) | 94 (94) | 0.954b |
| PIM3 score, median (IQR) | 0.8 (0.4 – 4.2) | 3.2 (0.5 – 5.0) | 0.029a |
| a = Mann-Whitney U test; b = Chi-square test for independence; c = Student’s t-test for equality of means, two-sided p, equal variance not assumed; IQR = Interquartile range; LRTI = Lower respiratory tract infection; PIM3 = Paediatric Index of Mortality 3; SD = Standard deviation; VAP = Ventilator associated pneumonia |  |  |  |

Table S4 Demographics of children in control cohort versus the RASCALS cohort

Table S5 Demographics of children with suspected community acquired pneumonia

| Characteristic | Control cohort N = 49 | RASCALS cohort N = 80 | p-value |
| --- | --- | --- | --- |
| Age (years), median (IQR) | 0.6 (0.1 – 2.6) | 1.1 (0.3 – 4.8) | 0.101a |
| Sex (male), n (%) | 33 (67) | 44 (55) | 0.165b |
| Weight (kilograms), median (IQR) | 6.0 (5.0 – 18.5) | 9.8 (5.0 – 18.5) | 0.128a |
| Need for vasoactive support, n (%) | 15 (31) | 23 (29) | 0.822b |
| Days free of PICU at 28 days, mean (SD) | 19.2 (6.7) | 18.0 (7.7) | 0.347c |
| Days free of invasive ventilation at 28 days, mean (SD) | 20.0 (7.0) | 20.1 (6.5) | 0.911c |
| Survival to hospital discharge, n (%) | 46 (94) | 77 (96) | 0.535b |
| PIM3 score, median (IQR) | 0.6 (0.1 – 2.5) | 1.1 (0.3 – 4.7) | 0.153a |
| Days on antimicrobial therapy, mean % (SD) | 65.5 (29.3) | 75.9 (33.0) | 0.065c |
| a = Mann-Whitney U test; b = Chi-square test for independence; c = Student’s t-test for equality of means, two-sided p, equal variance not assumed; IQR = Interquartile range; LRTI = Lower respiratory tract infection; PIM3 = Paediatric Index of Mortality 3; SD = Standard deviation; VAP = Ventilator associated pneumonia Antimicrobial Class; Control cohort N = 49 PICU days = 430; RASCALS cohort N = 80 PICU days = 766; p-value*. Treatment days; %; Treatment days; %. Aminoglycoside; 22; 5.1; 20; 2.6; 0.024. Beta-lactam; 234; 54.4; 470; 61.4; 0.019. Fluoroquinolone; 10; 2.3; 9; 1.2; 0.127. Glycopeptide; 7; 1.6; 25; 3.3; 0.093. Macrolide; 94; 21.9; 127; 16.6; 0.024. Other; 28; 6.5; 33; 4.3; 0.096. PICU: Paediatric intensive care unit; *Chi square test. Table S6 Comparison of antimicrobial use by class in children with suspected community acquired pneumonia |

References

1. 	Magoc T, Salzberg S (2011) FLASH: Fast Length Adjustment of Short Reads to Improve Genome Assemblies. Bioinformatics 27:2957–2963. https://doi.org/10.1093/bioinformatics/btr507

2. 	Bokulich NA, Subramanian S, Faith JJ, et al (2013) Quality-filtering vastly improves diversity estimates from Illumina amplicon sequencing. Nat Methods 10:57–59. https://doi.org/10.1038/nmeth.2276

3. 	Caporaso JG, Kuczynski J, Stombaugh J, et al (2010) QIIME allows analysis of high-throughput community sequencing data. Nat Methods 7:335–336. https://doi.org/10.1038/nmeth.f.303

4. 	Edgar RC (2013) UPARSE: highly accurate OTU sequences from microbial amplicon reads. Nat Methods 10:996–998. https://doi.org/10.1038/nmeth.2604

5. 	Altschul SF, Gish W, Miller W, et al (1990) Basic local alignment search tool. J Mol Biol 215:403–410. https://doi.org/https://doi.org/10.1016/S0022-2836(05)80360-2

6. 	Qiong W, M GG, M TJ, R CJ (2007) Naïve Bayesian Classifier for Rapid Assignment of rRNA Sequences into the New Bacterial Taxonomy. Appl Environ Microbiol 73:5261–5267. https://doi.org/10.1128/AEM.00062-07

7. 	Quast C, Pruesse E, Yilmaz P, et al (2013) The SILVA ribosomal RNA gene database project: improved data processing and web-based tools. Nucleic Acids Res 41:D590–D596. https://doi.org/10.1093/nar/gks1219

8. 	Salter SJ, Cox MJ, Turek EM, et al (2014) Reagent and laboratory contamination can critically impact sequence-based microbiome analyses. BMC Biol 12:87. https://doi.org/10.1186/s12915-014-0087-z

9. 	Gerber JS, Hersh AL, Kronman MP, et al (2017) Development and Application of an Antibiotic Spectrum Index for Benchmarking Antibiotic Selection Patterns Across Hospitals. Infect Control Hosp Epidemiol 38:993–997. https://doi.org/DOI: 10.1017/ice.2017.94