Metabolites, gene expression and gut microbiota profiles suggest the putative mechanisms via which dietary creatine increases the serum taurine and g-ABA contents in Megalobrama amblycephala

Yizhuo Hua1, Wangwang Huang1, Fan Wang1, Zhao Jing1, Juntao Li2, Yuhua Zhao1*

1 College of Fisheries, Huazhong Agricultural University; Key Lab of Freshwater Animal Breeding, Ministry of Agriculture; Key Lab of Agricultural Animal Genetics, Breeding and Reproduction of Ministry of Education; Freshwater Aquaculture Collaborative Innovation Center of Hubei Province, Wuhan 430070, China

2 Institute of Tropical Bioscience and Biotechnology, Haikou 570102, China

* Corresponding author: zhaoyuhua2005@mail.hzau.edu.cn (Yuhua Zhao)

Tel.: +86 27 87282113; fax: +86 27 87282114.

Supplementary Material

Animal rearing and feeding experiment

The fish were fed twice daily at 2.0-3.0% of their body weight, regularly adjusted according to the amount of uneaten feed. The amount of feed consumed and fecal matter excreted by the fish in each tank were recorded twice daily. Water temperature, oxygen content, nitrites and total ammonia nitrogen (TAN = NH3-N + NH4+-N) in the tanks were controlled: 24±2°C, >8 mg O2/L, <0.1 mg NO2-/L, <0.1mg TAN/L, respectively.

Sample collection

Blood was obtained from the caudal vein using sterile syringes with the pre-added anticoagulant solution and then centrifuged (3000 r/min) at 4°C for 10 min to obtain the plasma, which was quickly frozen in liquid nitrogen and stored at -80°C for biochemical assays. After euthanizing the fish by a trauma to the head and dissection, livers were collected. Each liver was weighed and divided into two parts: one was placed in formalin for histological examination, and the remainder was quickly frozen in liquid nitrogen and stored at -80°C for quantitative real-time PCR (qPCR).

Growth performance analysis

Weight gain (WG, %) = (final body weight – initial body weight) × 100 / initial body weight.

Specific growth rate (SGR, %) = 100 × (Ln final body weight − Ln initial body weight) / experiment duration in days.

Feed conversion ratio (FCR) = dry diet fed / wet weight gain.

Condition factor (CF, g/cm3) = 100 × body weight / (body length3).

Hepatosomatic index (HSI, %) = 100 × liver wet weight / body wet weight.

Diets composition analysis

Crude protein (N × 6.25) was determined following the Kjeldahl method after acid digestion using a Kjeltec system (Kjeltec 2300 Analyzer, Foss Tecator, Sweden). Crude fat was evaluated by the ether extraction method using Soxtec System HT (Soxtec System HT6, Tecator, Sweden). Moisture was determined by oven drying at 105°C until constant weight. Crude ash was measured using a muffle furnace at 550°C for 4 h.

H&E staining analyses of the liver

Liver tissues were fixed, dehydrated and embedded in paraffin. Liver sections (3 μm thickness) were then subjected to hematoxylin and eosin (H&E) staining. Liver tissue morphology and unstained areas of fat vacuoles were observed under a light microscope with 200× magnification (Olympus, Tokyo, Japan).

Analyses of relative levels of metabolites and amino acids

The content of related amino acids in serum using Automatic Amino acid analyzer (Membra Pure GmbH, Germany). The specific operations were: mix 100µl of sample and 25µl of 10% sulfosalicylic acid in a small centrifuge tube with a filter membrane (if no small centrifuge tube with filter is available, a normal tube can be used, but the sample should be filtered through 0.45um). Centrifuge tubes were placed in the refrigerator at 2-8℃ for 60 min. after which they were centrifuged at 4℃, 14500 r/min, for 15 min. The supernatant was centrifuged at 4℃, 14500r/min for 5min. Finally, the upper clear layer was aspirated, filtered again by a 0.22µm filter (Ameritech Scientific) and then injected into the sample bottle for analysis on the machine.

Various amino acid components with different structures, acidity, polarity and molecular size, the ion-exchange chromatographic column (Li-separation column, membraPure Bodenheim, Germany) was adopted, where the amino acids were eluted by lithium buffer system. The amino acid fractions were eluted down by buffers with different pH ion concentrations, and then mixed with ninhydrin reagents one by one. The resultant derivatives were measured by UV detection at two wavelengths of 440 and 570 nm simultaneously, and were identified and quantified according to their peak time and area when compared with the spectrogram of the standard amino acid samples (Sigma-Aldrich, St. Louis, MO, USA).

Relative metabolites (creatine) were quantified using high-performance liquid chromatography-tandem mass spectrometry (HPLC-MS/MS) on Ultimate3000 (Dionex, Sunnyvale, USA)-API 4000Q TRAP (AB Sciex, Framingham, MA, USA) by the Beijing Mass Spectrometry Medical Research Co. (Beijing, China). One hundred fifty μl of protein precipitant (containing melatonin) was added to 50 μl of serum solution of each sample, mixed thoroughly, and centrifuged at 13200 rpm for 4 min, and supernatant kept for further analyses. Five μl of the solution was analysed by the HPLC-MS/MS system. Chromatographic separations were performed on an Sapphire-C18 column (100×4.6 mm, 5 μm). The mobile phase A was 1% formic acid in water (v/v), and the organic mobile phase B was 1% acetonitrile (v/v). The solvent was delivered to the column at a flow rate of 1 mL min-1, and retention times are shown in Table 1. The conditions for mass spectrometry detection, optimized to obtain the highest signal intensity, were as follows: ion source = +ESI electrospray ion source; ion spray voltage = 4800 V; nebulizer gas pressure = 55 psi; curtain gas pressure = 60 psi; collision gas pressure = medium; turbo gas temperature = 500℃; entrance potential = 10V; collision cell exit potential = 2V. Nitrogen gas was used as the collision gas in the multiple reaction monitoring mode (Table 2). Calibration solution was used for calibration of the system and quantification of metabolites (Tables 2). The data were processed using Analyst software version 1.5.1 (Applied Biosystems).

Table 1 Flow retention time and gradient (v/v) of chromatographic separations

| Retention time (min) | 0 | 1.4 | 1.5 | 3.4 | 3.5 | 5.9 | 6.0 | 10.0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A (%) | 90 | 90 | 40 | 40 | 5 | 5 | 90 | 90 |
| B (%) | 10 | 10 | 60 | 60 | 95 | 95 | 10 | 10 |

Table 2 Parameters of the multiple reaction monitoring (MRM) mode

| Chemical Name | MRM (precursor ion/fragment ion) | Declustering Potential (v) | Impact Energy (v) | Origin and product number |
| --- | --- | --- | --- | --- |
| Creatiine | 132.1/90.1 | 30 | 25 | Aladdin, Shanghai, China 105933 |
| Melatonin-D4 | 237.1/178.1 | 35 | 25 | Aladdin, Shanghai, China M304327 |

Analysis of gut microbiota

Intestinal contents were collected from each of the 12 fish in each tank and mixed for 16S rRNA sequencing. Microbial community genomic DNA was extracted using the cetyltrimethylammonium Ammonium Bromide (CTAB) method. The DNA extract was checked on 1% agarose gel, and DNA concentration and purity were determined with NanoDrop 2000 UV-vis spectrophotometer (Thermo Scientific, Wilmington, USA). The hypervariable region V3-V4 of the bacterial 16S rRNA gene was amplified with primer pairs 338F (5'-ACTCCTACGGGAGGCAGCAG-3') and 806R (5'-GGACTACHVGGGTWTCTAAT-3') by an ABI GeneAmp® 9700 PCR thermocycler (ABI, CA, USA). The PCR amplification of the 16S rRNA gene was performed as follows: initial denaturation at 95℃ for 3min, followed by 27 cycles of denaturing at 95℃ for 30s, annealing at 55℃ for 30s and extension at 72℃for 45s, and single extension at 72℃ for 10min, and end at 4℃. Purified amplicons were pooled in equimolar and paired-end sequenced on an Illumina MiSeq PE300 platform/NovaSeq PE250 platform (Illumina, San Diego, USA) according to the standard protocols by Majorbio Bio-Pharm Technology Co. Ltd. (Shanghai, China). The raw 16S rRNA gene sequencing reads were demultiplexed, quality-filtered by fastp version 0.20.0 and merged by FLASH version 1.2.7 with the following criteria: (i) the 300bp reads were truncated at any site receiving an average quality score of <20 over a 50bp sliding window, and the truncated reads shorter than 50bp were discarded, reads containing ambiguous characters were also discarded; (ii) only overlapping sequences longer than 10bp were assembled according to their overlapped sequence. The maximum mismatch ratio of the overlap region is 0.2. Reads that could not be assembled were discarded; (iii) Samples were distinguished according to the barcode and primers, and the sequence direction was adjusted, exact barcode matching, 2 nucleotide mismatch in primer matching. Operational taxonomic units (OTUs) with a 97% similarity cutoff value were clustered using UPARSE version 7.1, and chimeric sequences were identified and removed. The taxonomy of each OTU representative sequence was analyzed by RDP Classifier version 2.2 against the 16S rRNA database (eg. Silva v138) using a confidence threshold of 0.7.