Supplement Data
The Effects of Enhanced Formaldehyde Clearance by Applying the NIOSH Hierarchy of Controls in a Gross Anatomy Laboratory.

Supplement material, Table 1 Area related parameters
	Zone
	Area (m2)
	Area/Return air grille (m2/unit)
	Area/Grille diffuser (m2/unit)
	Area/Table 2018 (m2/table)
	Area/Table 2019 (m2/table)

	1A
	61.15
	15.29
	20.38
	15.29
	N/A

	2A
	55.31
	13.83
	18.44
	13.83
	9.22

	3A
	56.49
	14.12
	18.83
	14.12
	9.41

	4A
	56.26
	14.07
	18.75
	14.07
	9.38

	5A
	56.35
	14.09
	18.78
	14.09
	9.39

	6A
	56.9
	9.48
	18.97
	N/A
	9.48

	1D
	42.93
	21.46
	14.31
	7.15
	N/A

	2D
	54.93
	13.73
	18.31
	9.15
	13.73

	3D
	54.61
	13.65
	18.2
	9.1
	13.65

	4D
	54.66
	13.66
	18.22
	9.11
	13.66

	5D
	36.68
	18.34
	18.34
	9.17
	18.34










Supplement material, Table 2 The academic year 2019, temperature (c), humidity (%RH), and air velocity (m/s) by region.
	
	Dissection region*
	Mean
	SD
	Minimum
	Maximum

	Temperature (c)
	1
	26.42
	0.34
	0.34
	26.7

	
	2
	27.9
	1.24
	25.7
	28.7

	
	3
	26.84
	1.39
	24.4
	27.9

	
	4
	23.66
	1.05
	21.9
	24.5

	
	5
	27.58
	0.58
	26.6
	28

	
	6
	26.44
	1.13
	24.5
	27.4

	
	7
	27.44
	0.65
	26.3
	27.9

	
	8
	N/A
	N/A
	N/A
	N/A

	
	9
	26.66
	0.96
	25
	27.5

	Humidity (%RH)
	1
	59.88
	1.44
	58.3
	62.2

	
	2
	61.74
	1.31
	59.8
	63.1

	
	3
	59.34
	1.65
	56.5
	60.5

	
	4
	41.7
	1.55
	39.9
	44

	
	5
	50.06
	1.38
	48.4
	51.5

	
	6
	62.96
	2.27
	61.1
	66.7

	
	7
	58.1
	1.66
	56.4
	60.2

	
	8
	N/A
	N/A
	N/A
	N/A

	
	9
	47.12
	2.54
	45
	51.1

	Air Velocity (m/s)
	1
	5.76
	1.96
	2.75
	7.89

	
	2
	1.48
	0.39
	0.96
	1.88

	
	3
	3.64
	1.05
	2.32
	4.79

	
	4
	1.99
	1.13
	1.13
	3.92

	
	5
	3.23
	1.33
	1.8
	5.36

	
	6
	3.88
	1.86
	1.9
	6.06

	
	7
	2.87
	1.22
	1.49
	4.61

	
	8
	N/A
	N/A
	N/A
	N/A

	
	9
	3.5
	1.43
	1.12
	5



*Number=Region (Measured Date/Month/Year); 1=Body Wall (10/09/2019), 2=Upper Limb (24/10/2019),3=Head-Neck(13/11/2019), 4=Thorax(06/12/2019), 5=Spinal Cord Removal(02/12/2019), 6=Lower Limb(16/1/2020). 7=Abdomen(14/02/2020), 8=Perineum(Laboratory closure), 9=Organ of Special Senses(09/4/2019)

