Supplement Data

The Effects of Enhanced Formaldehyde Clearance by Applying the NIOSH Hierarchy of Controls in a Gross Anatomy Laboratory.

Supplement material, Table 1 Area related parameters

| Zone | Area (m2) | Area/Return air grille (m2/unit) | Area/Grille diffuser (m2/unit) | Area/Table 2018 (m2/table) | Area/Table 2019 (m2/table) |
| --- | --- | --- | --- | --- | --- |
| 1A | 61.15 | 15.29 | 20.38 | 15.29 | N/A |
| 2A | 55.31 | 13.83 | 18.44 | 13.83 | 9.22 |
| 3A | 56.49 | 14.12 | 18.83 | 14.12 | 9.41 |
| 4A | 56.26 | 14.07 | 18.75 | 14.07 | 9.38 |
| 5A | 56.35 | 14.09 | 18.78 | 14.09 | 9.39 |
| 6A | 56.9 | 9.48 | 18.97 | N/A | 9.48 |
| 1D | 42.93 | 21.46 | 14.31 | 7.15 | N/A |
| 2D | 54.93 | 13.73 | 18.31 | 9.15 | 13.73 |
| 3D | 54.61 | 13.65 | 18.2 | 9.1 | 13.65 |
| 4D | 54.66 | 13.66 | 18.22 | 9.11 | 13.66 |
| 5D | 36.68 | 18.34 | 18.34 | 9.17 | 18.34 |

Supplement material, Table 2 The academic year 2019, temperature (c), humidity (%RH), and air velocity (m/s) by region.

|  | Dissection region* | Mean | SD | Minimum | Maximum |
| --- | --- | --- | --- | --- | --- |
| Temperature (c) | 1 | 26.42 | 0.34 | 0.34 | 26.7 |
|  | 2 | 27.9 | 1.24 | 25.7 | 28.7 |
|  | 3 | 26.84 | 1.39 | 24.4 | 27.9 |
|  | 4 | 23.66 | 1.05 | 21.9 | 24.5 |
|  | 5 | 27.58 | 0.58 | 26.6 | 28 |
|  | 6 | 26.44 | 1.13 | 24.5 | 27.4 |
|  | 7 | 27.44 | 0.65 | 26.3 | 27.9 |
|  | 8 | N/A | N/A | N/A | N/A |
|  | 9 | 26.66 | 0.96 | 25 | 27.5 |
| Humidity (%RH) | 1 | 59.88 | 1.44 | 58.3 | 62.2 |
|  | 2 | 61.74 | 1.31 | 59.8 | 63.1 |
|  | 3 | 59.34 | 1.65 | 56.5 | 60.5 |
|  | 4 | 41.7 | 1.55 | 39.9 | 44 |
|  | 5 | 50.06 | 1.38 | 48.4 | 51.5 |
|  | 6 | 62.96 | 2.27 | 61.1 | 66.7 |
|  | 7 | 58.1 | 1.66 | 56.4 | 60.2 |
|  | 8 | N/A | N/A | N/A | N/A |
|  | 9 | 47.12 | 2.54 | 45 | 51.1 |
| Air Velocity (m/s) | 1 | 5.76 | 1.96 | 2.75 | 7.89 |
|  | 2 | 1.48 | 0.39 | 0.96 | 1.88 |
|  | 3 | 3.64 | 1.05 | 2.32 | 4.79 |
|  | 4 | 1.99 | 1.13 | 1.13 | 3.92 |
|  | 5 | 3.23 | 1.33 | 1.8 | 5.36 |
|  | 6 | 3.88 | 1.86 | 1.9 | 6.06 |
|  | 7 | 2.87 | 1.22 | 1.49 | 4.61 |
|  | 8 | N/A | N/A | N/A | N/A |
|  | 9 | 3.5 | 1.43 | 1.12 | 5 |

*Number=Region (Measured Date/Month/Year); 1=Body Wall (10/09/2019), 2=Upper Limb (24/10/2019),3=Head-Neck(13/11/2019), 4=Thorax(06/12/2019), 5=Spinal Cord Removal(02/12/2019), 6=Lower Limb(16/1/2020). 7=Abdomen(14/02/2020), 8=Perineum(Laboratory closure), 9=Organ of Special Senses(09/4/2019)