Residual limb volume changes in transfemoral amputees

Linda Paternò1,2*, Michele Ibrahimi1,2, Elisa Rosini1,2, Giuseppe Menfi1,2, Vito Monaco1,2, Emanuele Gruppioni3, Leonardo Ricotti1,2, and Arianna Menciassi1,2

1 the BioRobotics Institute, Scuola Superiore Sant’Anna, Pisa, Italy.

2 Department of Excellence in Robotics & AI, Scuola Superiore Sant’Anna, Pisa, Italy.

3 INAIL Centro Protesi, Bologna, Italy.

*Correspondence e-mail: linda.paterno@santannapisa.it

Table S1. Previous clinical studies on lower residual limb volume changes. n°: number of enrolled subjects; TT: transtibial; TF: transfemoral; VAS: Vacuum Assisted Suspension; A: Anterior; P:Posterior.

| Volume changes: | Method | Results* | n° |
| --- | --- | --- | --- |
| Due to prosthesis doffing 1 | Custom scanning system | Max: 3.7% | 1 TT |
| Comparing suction and vacuum at 23 inHg 2 | Water displacement with casts | Vacuum: -1.6% ÷ 8.5% (mean: 3.7%) Suction: -11.3% ÷ -1.7% (mean: -6.5%) | 10 TT |
| Comparing 4% under-sized, neutral and 4% over-sized 3 | Water displacement with casts | Under-sized: -1.79% Neutral: +7.03% Over-sized: + 12.85% | 7 TT |
| Mean daily maximum 4 | Measuring liquid volume changes in a reservoir connected to the socket | Mean max: 2.7% | 1 TF |
| Due to prosthesis doffing and in 2 weeks 5 | Custom scanning system | Doffing: 2.4% ÷ 10.9% (mean 6.0%) 2 weeks: –2.0% ÷ +12.6% (mean 0.6%) | 6 TT |
| Within a day and in the long term 6 | Custom scanning system | Day: –2.4% ÷ +2.2% Long term: -4% ÷ 5% | 8 TT |
| In diabetic and nondiabetic amputees 7 | Bioimpedance analyzer | Diabetic: –6.9% ÷ 8.5% Nondiabetic: -3.6% ÷ 4% | 4 TT |
| Due to daily activities 8 | VITUS/Smart 3D scanner | Range: 0.5% ÷ 7.5% | 2 TF 1 TT |
| During resting, standing, walking 9 | Bioimpedance analyzer | Standing: -2.0% to -0.9% Walking: -3.5% to +0.9% | 4 TT |
| Comparing suction, vacuum at 10 inHg and 15 inHg 10 | OMEGA 3D scanner | Suction: 1.5% ÷ 4.9% Vacuum 15 inHg: -0.5% ÷ -0.8% Vacuum 10 inHg: 0.25% ÷ 0.8% | 1 TT |
| Comparing elevated and not elevated vacuum suspension 11 | Bioimpedance analyzer | Suction: -0.7% ÷ 4.3% Pin: -2.1% ÷ 4.3% VAS: -1.6% ÷ 3.4% | 7 TT |
| Due to prosthesis doffing before and after activity, comparing VAS and pin suspension 12 | Custom scanning system | Pin: post activity: +4.5% VAS: pre activity: 4.1% VAS: post activity: 6.3% | 5 TT |
| Due to prosthesis doffing and physical activity 13 | Bioimpedance analyzer | Sit: 1.8% ± 1.4% Liner: 1.3% ± 0.9% Walk: 2.8% ± 2.0% | 22 TT |
| Due to socks addition and removal within the socket 14 | Bioimpedance analyzer | Addition: -4.0% ÷ 0.8% (mean ± std: -0.9% ± 1.3%) Removal: -1.2% ÷ 2.8% (mean ± std: 0.5% ± 0.8%) | 28 TT |
| During post- operative recovery period 15 | OMEGA 3D scanner | Mean: 9.7% | 21 TT |
| During resting, standing, walking 16 | Bioimpedance analyzer | Resting: -1.9% ÷ 5.7% (mean ± std: 1.0% ± 2.2%) Standing:-5.4% ÷ -0.7% (mean ± std: -2.6% ± 1.1%) Walking: -4.9% ÷ 5.7% (mean ± std: 1.0% ± 2.5%) | 24 TT |
| With liquid-in and liquid-out bladders in the liner 17 | Bioimpedance analyzer | A: 0.4% ± 0.5% P: 0.2% ± 0.7% | 8 TT |
| When (1) prosthesis and liner donned; (2) prosthesis doffed and liner donned; (3) prosthesis and liner doffed 18 | Bioimpedance analyzer | (1) A:-2.1% ± 1.2%; P: -2.2% ± 1.1% (2) A: 6.3% ± 3.5%; P: 6.1% ± 4.7% (3) A: 4.9% ± 2.9%; P: 5.5% ± 3.0% | 16 TT |
| During morning and afternoon 19 | Bioimpedance analyzer | Resting: −7.6% ÷ 10.3% Standing: −15.6% ÷ 1.6% Walking: −6.1% ÷ 11.4% | 29 TT |
| Due to prosthesis doffing and muscle contraction 20 | Custom scanning system | Post doffing: 3.3% Muscle contraction < 1 % | 1 TT |
| Due to activity 21 | Bioimpedance analyzer | Low activity: –21.02 ÷ 1.01 High activity: –15.97 ÷ 7.51 | 13 TT |

*volume changes are expressed as percentage changes with respect to the reference volume.

Table S2. Residual limb volumes [dm3] for each subject (S), measured during the 1st test session over the 60-minute period after the prosthesis doffing.

| S | time |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | 0 min | 10 min | 20 min | 30 min | 40 min | 50 min | 60 min |
| S1 | 2.15 | 2.16 | 2.17 | 2.17 | 2.16 |  |  |
| S2 | 2.08 | 2.15 | 2.15 | 2.16 | 2.15 | 2.15 | 2.15 |
| S3 | 2.60 | 2.63 | 2.64 | 2.63 | 2.63 | 2.63 | 2.64 |
| S4 | 3.36 | 3.37 | 3.37 | 3.41 | 3.39 |  |  |
| S5 | 3.60 | 3.61 | 3.61 | 3.63 | 3.64 | 3.64 | 3.64 |
| S6 | 2.37 | 2.41 | 2.42 | 2.48 | 2.43 | 2.46 | 2.42 |
| S7 | 1.95 | 1.97 | 1.99 | 2.02 | 2.02 | 2.01 | 1.99 |
| S8 | 3.53 | 3.54 | 3.60 | 3.58 | 3.59 | 3.59 | 3.61 |
| S9 | 2.96 | 2.98 | 2.99 | 2.99 | 2.99 | 2.97 | 3.00 |
| S10 | 3.20 | 3.22 | 3.32 | 3.27 | 3.34 | 3.36 | 3.39 |
| S11 | 2.83 | 2.85 | 2.84 | 2.85 | 2.86 | 2.86 | 2.87 |
| S12 | 1.02 | 1.06 | 1.06 | 1.03 | 1.04 | 1.05 | 1.04 |
| S13 | 3.15 | 3.28 | 3.19 | 3.21 | 3.17 | 3.25 | 3.16 |
| S14 | 3.22 | 3.22 | 3.22 | 3.23 | 3.23 | 3.24 | 3.24 |
| S15 | 2.33 | 2.34 | 2.35 | 2.34 | 2.35 | 2.34 | 2.39 |
| S16 | 1.87 | 1.88 | 1.87 | 1.88 | 1.87 | 1.89 | 1.87 |
| S17 | 2.65 | 2.68 | 2.69 | 2.65 | 2.72 | 2.67 | 2.69 |
| S18 | 2.07 | 2.09 | 2.08 | 2.10 | 2.10 | 2.10 | 2.10 |
| S19 | 1.85 | 1.85 | 1.85 | 1.85 | 1.87 | 1.86 | 1.86 |
| S20 | 1.57 | 1.58 | 1.57 | 1.62 | 1.58 | 1.58 | 1.60 |
| S21 | 3.25 | 3.40 | 3.32 | 3.36 | 3.40 | 3.34 | 3.37 |
| S22 | 1.41 | 1.41 | 1.44 | 1.45 | 1.45 | 1.44 | 1.42 |
| S23 | 4.42 | 4.43 | 4.43 | 4.46 | 4.48 | 4.47 | 4.59 |
| S24 | 3.33 | 3.37 | 3.33 | 3.36 | 3.39 | 3.33 | 3.38 |

Table S3. Residual limb volumes [dm3] for each subject (S), measured immediately after the prosthesis doffing and after stabilization, both before and after physical activity, and both in the morning and in the afternoon. Each volume value is the mean over the three different test days (i.e., 2nd, 3rd, 4th test sessions).

| S | Morning |  |  |  | Afternoon |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Before activity |  | After activity |  | Before activity |  | After activity |  |
|  | Immediately after doffing | After stabilization | Immediately after doffing | After stabilization | Immediately after doffing | After stabilization | Immediately after doffing | After stabilization |
| S1 | 2.47 | 2.48 | 2.49 | 2.50 | 2.46 | 2.48 | 2.47 | 2.50 |
| S2 | 2.04 | 2.04 | 2.04 | 2.04 | 2.02 | 2.03 | 2.02 | 2.03 |
| S3 | 2.86 | 2.91 | 2.87 | 2.90 | 2.84 | 2.88 | 2.84 | 2.85 |
| S4 | 2.87 | 2.88 | 2.91 | 2.96 | 2.86 | 2.90 | 2.92 | 2.93 |
| S5 | 3.99 | 3.96 | 3.99 | 3.99 | 3.90 | 3.93 | 3.97 | 3.97 |
| S6 | 2.53 | 2.54 | 2.54 | 2.57 | 2.52 | 2.54 | 2.54 | 2.58 |
| S7 | 1.93 | 1.95 | 1.97 | 1.94 | 1.97 | 1.96 | 1.96 | 1.95 |
| S8 | 2.86 | 2.84 | 2.86 | 2.88 | 2.82 | 2.81 | 2.85 | 2.83 |
| S9 | 3.00 | 3.02 | 3.00 | 2.99 | 2.99 | 3.01 | 3.00 | 2.99 |
| S10 | 3.23 | 3.24 | 3.24 | 3.28 | 3.30 | 3.33 | 3.25 | 3.29 |
| S11 | 3.28 | 3.31 | 3.34 | 3.32 | 3.26 | 3.29 | 3.29 | 3.28 |
| S12 | 0.68 | 0.66 | 0.69 | 0.66 | 0.69 | 0.67 | 0.70 | 0.69 |
| S13 | 2.71 | 2.69 | 2.70 | 2.71 | 2.68 | 2.69 | 2.68 | 2.70 |
| S14 | 2.52 | 2.56 | 2.54 | 2.61 | 2.52 | 2.58 | 2.54 | 2.57 |
| S15 | 2.09 | 2.12 | 2.13 | 2.12 | 2.07 | 2.08 | 2.12 | 2.11 |
| S16 | 1.61 | 1.62 | 1.62 | 1.62 | 1.61 | 1.61 | 1.62 | 1.63 |
| S17 | 2.66 | 2.66 | 2.63 | 2.65 | 2.64 | 2.65 | 2.68 | 2.68 |
| S18 | 1.70 | 1.71 | 1.68 | 1.72 | 1.67 | 1.71 | 1.69 | 1.69 |
| S19 | 1.85 | 1.84 | 1.85 | 1.83 | 1.86 | 1.85 | 1.85 | 1.85 |
| S20 | 1.65 | 1.65 | 1.67 | 1.68 | 1.68 | 1.70 | 1.68 | 1.70 |
| S21 | 3.35 | 3.37 | 3.31 | 3.36 | 3.27 | 3.33 | 3.27 | 3.32 |
| S22 | 1.41 | 1.39 | 1.42 | 1.42 | 1.38 | 1.41 | 1.41 | 1.39 |
| S23 | 4.43 | 4.44 | 4.48 | 4.48 | 4.43 | 4.54 | 4.51 | 4.49 |

References

1.	Sanders, J. E., Greve, J. M., Clinton, C. & Hafner, B. J. Changes in interface pressure and stump shape over time: Preliminary results from a trans-tibial amputee subject. Prosthet. Orthot. Int. 24, 163–168 (2000).

2.	Board, W. J., Street, G. M. & Caspers, C. A comparison of trans‐tibial amputee suction and vacuum socket conditions. Prosthet. Orthot. Int. 25, 202–209 (2001).

3.	Goswami, J., Lynn, R., Street, G. & Harlander, M. Walking in a vacuum assisted socket shifts the stump fluid balance. Prosthet. Orthot. Int 27, 107–113 (2003).

4.	Greeenwald, R. M., Dean, R. C. & Board, W. J. Volume management: smart variable geometry socket (SVGS) technology for lower-limb prostheses. Prosthet. Orthot. Int 15, 107–112 (2003).

5.	Zachariah, S. G., Saxena, R., Fergason, J. R. & Sanders, J. E. Shape and volume change in the transtibial residuum over the short term: preliminary investigation of six subjects. J. Rehabil. Res. Dev. 41, 683–94 (2004).

6.	Sanders, J. E., Zachariah, S. G., Jacobsen, A. K. & Fergason, J. R. Changes in interface pressures and shear stresses over time on trans-tibial amputee subjects ambulating with prosthetic limbs : comparison of diurnal and six-month differences. 38, 1566–1573 (2005).

7.	Sanders, J. E., Rogers, E. L. & Abrahamson, D. C. Assessment of residual-limb volume change using bioimpedence. J. Rehabil. Res. Dev. 44, 525–35 (2007).

8.	Staker, M., Ryan, K. & LaBat, K. Medicine and Design Investigate Residual Limb Volume Fluctuations: Three Case Studies. Australas. Med. J. 156–161 (2008). doi:10.4066/AMJ.2009.92

9.	Sanders, J. E., Harrison, D. S., Allyn, K. J. & Myers, T. R. Clinical Utility of In-Socket Residual Limb Volume Change Measurement: Case Study Results. Prosthet. Orthot. Int. 33, 378–390 (2009).

10.	Gerschutz, M. J., Denune, J. A., Colvin, J. M. & Schober, G. Elevated Vacuum Suspension Influence on Lower Limb Amputeeʼs Residual Limb Volume at Different Vacuum Pressure Settings. JPO J. Prosthetics Orthot. 22, 252–256 (2010).

11.	Sanders, J. E., Harrison, D. S., Myers, T. R. & Allyn, K. J. Effects of elevated vacuum on in-socket residual limb fluid volume: Case study results using bioimpedance analysis. J. Rehabil. Res. Dev. 48, 1231–1248 (2011).

12.	Klute, G. K. et al. Vacuum-assisted socket suspension compared with pin suspension for lower extremity amputees: Effect on fit, activity, and limb volume. Arch. Phys. Med. Rehabil. 92, 1570–1575 (2011).

13.	Sanders, J. E. et al. Post-doffing residual limb fluid volume change in people with trans-tibial amputation. Prosthet. Orthot. Int. 36, 443–449 (2012).

14.	Sanders, J. E. et al. How do sock ply changes affect residual-limb fluid volume in people with transtibial amputation? J. Rehabil. Res. Dev. 49, 241–256 (2012).

15.	Tantua, A. T. & Van Den Dungen, J. H. B. Reduction of residual limb volume in people with transtibial amputation. J. Rehabil. Res. Dev. 51, 1119–1126 (2014).

16.	Sanders, J. E., Cagle, J. C., Allyn, K. J., Harrison, D. S. & Ciol, M. A. How do walking, standing, and resting influence transtibial amputee residual limb fluid volume? 201 JRRD JRRD 51, 201–212 (2014).

17.	Sanders, J. E. et al. Preliminary evaluation of a novel bladder-liner for facilitating residual-limb fluid volume recovery without doffing. 53, 1107–1120 (2016).

18.	Sanders, J. E. et al. Does temporary socket removal affect residual limb fluid volume of trans-tibial amputees? Prosthet. Orthot. Int. 40, 320–328 (2016).

19.	Sanders, J. E. et al. Residual limb fluid volume change and volume accommodation: Relationships to activity and self-report outcomes in people with trans-tibial amputation. Prosthet. Orthot. Int. 42, 415–427 (2018).

20.	Solav, D., Moerman, K. M., Jaeger, A. M. & Herr, H. M. A Framework for Measuring the Time-Varying Shape and Full-Field Deformation of Residual Limbs Using 3-D Digital Image Correlation. IEEE Trans. Biomed. Eng. 66, 2740–2752 (2019).

21.	Youngblood, R. T. et al. Effects of activity intensity, time, and intermittent doffing on daily limb fluid volume change in people with transtibial amputation. Prosthet. Orthot. Int. 43, 28–38 (2019).