## Appendix A: OTT Parsivel2 disdrometer introduction

OTT Parsivel2 is a new type of laser-optical disdrometer. Its principle is to use the parallel laser beam generated by the transmitter as the sampling space, and the receiver converts the received light beam into voltage. When no precipitation particles fall through the horizontal laser beam, the maximum voltage is the output voltage of the receiver, while there are precipitation particles passing through the horizontal laser beam, the output voltage will change. The size of the precipitation particles can be judged by the voltage (Zhu and Liu, 2013, Kathiravelu, et al,2016). After detecting the size and velocity of raindrops, the Parsivel2 divides them into 32 diameter levels and 32 velocity levels. The measuring area of the instrument is 5400 mm2, the time interval is 60s, and the rainfall intensity is 0.001~1200 mm h-1.

## Appendix B: DSD data calculation

Considering the error caused by the particle size to the sampling area, the sampling area is corrected according to the following equation (Jaffrain and Berne, 2011):

Si=l×w-Di2                                                                                                              （1）

Here, l and w are the standard length and width of the light beam, which are 180 mm and 30 mm, respectively, Di (unit: mm) is the median diameter of raindrops at the ith size bin, Si (unit: m2) is the effective sampling area of the ith size bin,

According to DSD data, the number concentration of raindrops (N(Di):m-3 mm-1) per unit volume and unit size interval for each diameter class can be calculated by the following formula:

NDi=j=132nijSi∙∆t∙Vj∙∆Di                                                                                            （2）

Where nij stands for the number of raindrops within size bin i and velocity bin j, Δt is the sampling time, which is 60s in this study, Vj (unit: m s-1) is the falling speed of the raindrop in the jth velocity bin, ΔDi (unit: mm) represents the corresponding diameter interval,

In order to describe the overall microphysical characteristics of precipitation, its microphysical parameters are calculated as follows:

NT=i=332NDi∆Di                                                                                                            （3）

R=6π×10-4∙i=332j=132Di3NDiVj∆Di                                                                      （4）

Z=i=132Di6NDi∆Di                                                                                                        （5）

W=π6×10-3∙ρw∙i=132Di3NDi∆Di                                                                          （6）

Dm=i=332NDiDi4∆Dii=332NDiDi3∆Di                                                                                                   （7）

Nw=44πρw103WDm4                                                                                                           （8）

Where NT (unit: m-3) is the total concentration of raindrops, R (unit: mm h-1) is the rain rate, Z is the radar reflectivity factor (unit: mm6 m-3), and W (unit: g m-3) is the liquid water content, ρw (1 g cm-3) is the density of water, Dm (unit: mm) is the mass-weighted average diameter, and Nw (unit: mm-1 m-3) is the normalized intercept parameter, which represents the number concentration value (N(Di)) when the raindrop diameter tends to zero.