Supplementary Information

Analytical quality by design methodology for botanical raw material analysis: A case study of flavonoids in Genkwa Flos

Min Kyoung Kim1, Sang Cheol Park2, Geonha Park2, Eunjung Choi2, Yura Ji2, Young Pyo Jang2,3,*

1University Institute of Pharmacy, Kyung Hee University, Seoul 02447, South Korea. 2Department of Life and Nanopharmaceutical Sciences, Graduate school, Kyung Hee University, Seoul 02447, South Korea.

3Department of Oriental Pharmaceutical Science, College of Pharmacy, Kyung Hee University, Seoul 02447, South Korea.

*Corresponding author

Email: ypjang@khu.ac.kr

Address: Department of Oriental Pharmaceutical Science, College of Pharmacy, Kyung Hee University, Seoul 02447, South Korea

Tel: 82-2-961-9421

Fax: 82-2-961-9580

Table S1: The calculated USP Plate Count and USP Capacity factor in every fourteen experimental runs by central composite design (CCD) matrix

| 14 runs by CCD Chromatographic criteria |  | Peak no. |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 |
| 1 | USP Plate Count | 50509 | 53401 | 60151 | 83109 | 89555 | 103831 | 159726 | 188207 | 230619 | 336201 | 463022 |
|  | USP Capacity factor | 11.65 | 12.00 | 12.80 | 15.22 | 15.84 | 17.13 | 21.49 | 23.41 | 26.02 | 31.63 | 37.29 |
| 2 | USP Plate Count | 40550 | 41990 | 48778 | 68196 | 78881 | 92242 | 134542 | 167211 | 198458 | 302940 | 420348 |
|  | USP Capacity factor | 10.33 | 10.53 | 11.43 | 13.69 | 14.80 | 16.09 | 19.64 | 22.01 | 24.07 | 29.97 | 35.48 |
| 3 | USP Plate Count | 40596 | 42084 | 48854 | 68315 | 79009 | 92381 | 134710 | 167398 | 198712 | 303129 | 420645 |
|  | USP Capacity factor | 10.34 | 10.54 | 11.44 | 13.71 | 14.82 | 16.10 | 19.65 | 22.02 | 24.08 | 29.98 | 35.50 |
| 4 | USP Plate Count | 40573 | 42060 | 48854 | 68315 | 78977 | 92347 | 134710 | 167398 | 198661 | 303066 | 420645 |
|  | USP Capacity factor | 10.33 | 10.54 | 11.44 | 13.71 | 14.81 | 16.10 | 19.65 | 22.02 | 24.08 | 29.98 | 35.50 |
| 5 | USP Plate Count | 27461 | 33667 | 33667 | 48024 | 63159 | 74763 | 99423 | 135592 | 152769 | 252578 | 356102 |
|  | USP Capacity factor | 8.48 | 9.49 | 9.49 | 11.53 | 13.37 | 14.64 | 17.03 | 20.06 | 21.35 | 27.74 | 33.13 |
| 6 | USP Plate Count | 34024 | 52349 | 63073 | 91515 | 112244 | 131417 | 193047 | 257194 | 295315 | 470910 | 667256 |
|  | USP Capacity factor | 9.41 | 11.92 | 13.18 | 16.08 | 17.91 | 19.46 | 23.80 | 27.63 | 29.68 | 37.74 | 45.11 |
| 7 | USP Plate Count | 27841 | 29427 | 32813 | 43502 | 46878 | 54462 | 78080 | 88804 | 109315 | 156952 | 211180 |
|  | USP Capacity factor | 8.45 | 8.72 | 9.26 | 10.81 | 11.26 | 12.22 | 14.83 | 15.88 | 17.72 | 21.44 | 25.03 |
| 8 | USP Plate Count | 40573 | 41966 | 48753 | 68196 | 78881 | 92242 | 134542 | 167117 | 198356 | 302814 | 420274 |
|  | USP Capacity factor | 10.33 | 10.53 | 11.42 | 13.69 | 14.80 | 16.09 | 19.64 | 22.00 | 24.06 | 29.96 | 35.48 |
| 9 | USP Plate Count | 22931 | 35970 | 44461 | 64894 | 86470 | 102217 | 139876 | 196680 | 218810 | 367097 | 524259 |
|  | USP Capacity factor | 7.69 | 9.88 | 11.10 | 13.62 | 15.87 | 17.34 | 20.46 | 24.45 | 25.84 | 33.76 | 40.54 |
| 10 | USP Plate Count | 25417 | 26078 | 30475 | 41616 | 49411 | 57957 | 78913 | 97487 | 114940 | 176592 | 242064 |
|  | USP Capacity factor | 8.12 | 8.24 | 8.98 | 10.67 | 11.71 | 12.77 | 15.07 | 16.86 | 18.39 | 23.03 | 27.14 |
| 11 | USP Plate Count | 40550 | 41990 | 48778 | 68225 | 78913 | 92277 | 134584 | 167211 | 198407 | 302940 | 420497 |
|  | USP Capacity factor | 10.33 | 10.53 | 11.43 | 13.70 | 14.81 | 16.09 | 19.64 | 22.01 | 24.06 | 29.97 | 35.49 |
| 12 | USP Plate Count | 38595 | 41313 | 45406 | 60657 | 62786 | 72623 | 110300 | 123181 | 154337 | 217049 | 293516 |
|  | USP Capacity factor | 10.05 | 10.44 | 10.99 | 12.86 | 13.10 | 14.16 | 17.69 | 18.75 | 21.11 | 25.22 | 29.49 |
| 13 | USP Plate Count | 40596 | 42037 | 48803 | 68225 | 78881 | 92277 | 134584 | 167211 | 198458 | 302940 | 420423 |
|  | USP Capacity factor | 10.34 | 10.54 | 11.43 | 13.70 | 14.80 | 16.09 | 19.64 | 22.01 | 24.07 | 29.97 | 35.49 |
| 14 | USP Plate Count | 62729 | 65595 | 75295 | 106574 | 118611 | 137620 | 213550 | 262554 | 315138 | 471537 | 657582 |
|  | USP Capacity factor | 13.14 | 13.46 | 14.49 | 17.43 | 18.44 | 19.94 | 25.09 | 27.93 | 30.69 | 37.76 | 44.78 |

Figure S1. Linear calibration plots for liquid chromatographic estimation of apigenin 7-O-glucuronide (A), apigenin (B), and genkwanin. The corresponding insets depict the residual plots confirming the linearity range.