## Slide 1
Fig.1. Optimized B. melitensis LAMP assay
Agarose gel electrophoresis for LAMP amplicons Lane M: 100 bp ladder, lane 1: NTC, lane 2: Positive LAMP amplification with B. melitensis genomic DNA showing laddering pattern, lane 3: LAMP amplification with B. abortus genomic DNA showing no laddering
(b) Visualization of LAMP amplicon by SYBR Green I dye: Positive LAMP amplicons appeared green while the negative amplicons remained orange
B. melitensis
B. abortus
M
NTC

## Slide 2
Flow direction
LAMP Amplicon
Gold nanoparticle (GNP)
Streptavidin
Streptavidin-GNP conjugate
labelled LAMP amplicon
Biotin
Digoxigenin
Anti-digoxigenin
Albumin biotin labelled bovine
Fig. 2. The schematic illustration depicting the principle involved in LAMP-Lateral Flow Immunoassay (LAMP-LFIA)

## Slide 3
Fig. 2a. Optimized B. melitensis LAMP-LFIA
Strip 1: Non template control (NTC), Strip 2: B. melitensis (positive control)
NTC PC

## Slide 4
B. abortus S99
B. melitensis
NTC
B. abortus S19
B. abortus 544
B. suis
NTC
M. tuberculosis
B. melitensis
P. vulgaris
P. aeruginosa
M. bovis AN5
C. jejuni
H. influenzae
L. monocytogenes
S. aureus
P. multocida B:2
K. pneumoniae
V. parahemolyticus
Fig. 3a. Specificity of LAMP-LFIA with other Brucella spp.
Fig. 3b. Specificity of LAMP-LFIA with other bacterial species

## Slide 5
Fig. 4b. Analytical sensitivity of PCR using LAMP outer primers
Lane M:100 bp ladder, lane 1: NTC, lane 2: neat genomic DNA (121 ng), lane 3-7:ten fold serially diluted B. melitensis genomic DNA showing amplification band upto 1.21pg, lane 8-12: no amplification from 121fg to 12.1ag
Fig. 4a. Analytical sensitivity of LAMP-LFIA
Strip 1:NTC, strip 2: B. melitensis genomic DNA neat (121ng), strip 3-12: 10 fold serially diluted B. melitensis genomic DNA (12.1 ng to 12.1 ag) showing red band at both test and control line till 12.1 fg.

## Slide 6
121 pg
1.21 pg
12.1 pg
121 fg
12.1 fg
Fig. 4c. Analytical sensitivity of RT-PCR using LAMP outer primers
(a) Amplification curve of RT-PCR obtained using B. melitensis LAMP outer primer showing amplification from 121pg to 12.1fg

## Slide 7
Fig. 4d. Analytical sensitivity of PCR using established primer (Hinic et al., 2008).
1.5% agarose gel electrophoresis of PCR amplicon
lane M:100 bp ladder, lane 1: NTC, lane 2: neat genomic DNA (121 ng), lane 3-7:ten-fold serially diluted B. melitensis genomic DNA showing amplification band upto 1.21pg, lane 8-12: no amplification from 121fg to 12.1ag
Fig. 4e. Analytical sensitivity of LAMP by RT-PCR using established primer
(a) Amplification curve of RT-PCR obtained using B. melitensis LAMP outer primers showing amplification from 121pg to 12.1fg
121 pg
1.21 pg
12.1 pg
121 fg
12.1 fg

## Slide 8
Fig. 5. Evaluation of LAMP-LFIA in spiked milk samples: Visualization of spiked milk using LAMP-LFIA : Strip1: NTC, Strip 2: Negative control, Strip 3-7: serially diluted spiked milk sample (104-1 CFU)