Supplements

1. Supplementary Methods

Scanning Protocol

Magnetic resonance imaging (MRI) scans were acquired at the Douglas Brain Imaging Center using on a Siemens Magnetom Trio (Tim System 3T, MR B17) scanner equipped with a 12-channel head coil. The imaging protocol on the 3T scanners was the same for all participants. The protocol included the sequential acquisition of 1) sagittal T2 weighted images, 2) resting state functional MRI images collected with a T2*-weighted gradient echo epi sequence, 3) task-based functional MRI with a socio-emotional paradigm (Cyberball Game) and a cognitive control paradigm (Go-NoGo task) collected with T2*-weighted gradient echo epi sequences, 4) high-definition T1-weighted structural images, and 5) Diffusion Tensors Imaging (DTI). Total scan time was approximately 60 minutes.

Neuroimaging acquisition

Structural scans were collected with T1-weighted magnetization prepared rapid gradient echo (MPRAGE) of 176 axial anatomical slices (repetition time [TR] = 2300 ms; echo time [TE] = 2.98 ms; inversion time [TI] = 900 ms; flip angle [FA] = 9°; field of view [FOV] = 256 mm; voxel size [VS] = 1x1x1 mm; matrix =: 256x256, acquisition time [T] = 9.23 min), which were used for tissue segmentation and alignments.

For the Cyberball Game (Eisenberg et al. 2003), three functional scans, each lasting 3 minutes and 29 seconds were acquired with a T2*-weighted gradient echo epi sequence (19 axial slices; slice thickness: 4.0 mm; TR = 3000ms; TE = 25ms; FA = 90°, FOV = 200 mm; matrix = 64x64; VS= 3.1x3.1x4.0 mm; T=5.5 min). For the Go-NoGo Task, all blocks were recorded with a single T2*-weighted gradient echo epi sequence (TR = 2090ms; TE = 30 ms ; FA = 90°; FOV=224 mm; matrix: 64x64; voxel = 3.5x3.5x3.5 mm; T=6.27 min). In task-based fMRI, stimuli were displayed on an MRI-compatible liquid crystal screen at the rear of the scanner, viewable on a mirror inside the MRI bore.

Anatomical data preprocessing

The T1-weighted (T1w) image was corrected for intensity non-uniformity (INU) with N4BiasFieldCorrection [1], distributed with ANTs 2.2.0 [2], RRID:SCR_004757, and used as an anatomical reference throughout the workflow.

The T1w-image was then skull-stripped with a Nipype implementation of the antsBrainExtraction.sh workflow (from ANTs), using OASIS30ANTs as target template. Brain tissue segmentation of cerebrospinal fluid (CSF), white-matter (WM) and gray-matter (GM) was performed on the brain-extracted T1w using fast (FSL 5.0.9) [3]. Volume-based spatial normalization to standard space [ICBM 152 Nonlinear Asymmetrical template version 2009c; , 4] was performed through nonlinear registration with antsRegistration (ANTs 2.2.0), using brain-extracted versions of both T1w reference and the T1w template.

Functional image preprocessing

Acquired images were visually inspected for artifacts, including irrecoverable signal dropout derived from magnetic distortions across regions of interest, excessive N/2 ghosting in fMRI scans, and ringing due to head motion in T1w images.

For both Cyberball Games and Go-NoGo fMRI BOLD runs, preprocessing was performed using fMRIPrep 1.4.1 [5–7]. First, a reference volume and its skull-stripped version were generated using a custom methodology of fMRIPrep. The BOLD reference was then co-registered to the T1w reference using flirt [FSL 5.0.9; , 8] which implements boundary-based registration [9] cost-function. Co-registration was configured with nine degrees of freedom to account for distortions remaining in the BOLD reference. Head-motion parameters with respect to the BOLD reference (transformation matrices, and six corresponding rotation and translation parameters) are estimated before any spatiotemporal filtering using mcflirt [FSL 5.0.9; , 10]. BOLD runs were slice-time corrected using 3dTshift from AFNI [11]. The BOLD time-series were resampled into standard space (MNI152NLin2009cAsym). Additionally, a set of physiological regressors were extracted to allow for component-based noise correction [CompCor; 12]. Principal components are estimated after high-pass filtering the preprocessed BOLD time-series (using a discrete cosine filter with 128s cut-off) and are calculated within the intersection of a subcortical mask and the union of cerebrospinal fluid and white matter masks calculated in T1w space, after their projection to the native space of each functional run (using the inverse BOLD-to-T1w transformation). Alongside the corresponding preprocessed data, fMRIprep generated HTML reports for each subject. These reports were systematically screened to ensure adequate quality of preprocessed data (alignment of BOLD and T1w, acceptable brain masks, etc.).

Following preprocessing, the first 6 volumes were discarded to account for spin saturation effects. We then conducted nuisance regression (nuisance regressors included 6 translation and rotation motion parameters, their first derivatives, and aCompCor components 0-5).

Neuroimaging analysis

Within-subject contrasts maps were obtained with Nistat v0.0.1b1 (https://nistats.github.io/), a Python module for functional MRI statistical analysis leveraging Nilearn v0.6.0 [13]. Contrast maps of interests were derived from a block-designed model, where block types were entered as regressors into a general linear model applied on the preprocessed and denoised fMRI data set of each participant. The Nistat function FirstLevelModel estimated HRF using the finite impulse response (FIR) basis set [14] and applied a 6-mm FWHM Gaussian filter. For the Cyberball Game, we calculated an inclusion and an exclusion contrast, using the "Passive viewing" condition as the control condition. As social exclusion was run only after 1 minute in the final round, we used the final 90 seconds of the third round to calculate the exclusion contrast. Accordingly, the social inclusion contrast used the whole second round ("Social Inclusion") and the first minute of the third round. For the Go-NoGo Task, the contrast of interest was NoGo vs. Go blocks, reflecting activity when the task demands cognitive inhibition as opposed to a simple motor response. Each contrast map was mean-centered and normalized to enable group analyses.

Between-participant whole-brain analyses were conducted with AFNI’s 3dMVM [15], a program that performed voxel-wise ANCOVA-style computations. Each group-related statistical map was controlled for categorical (sex) and numerical covariates (age, IQ, both normalized). Significance thresholds were set at voxel level p-uncorrected < 0.005, which is more stringent than thresholds used with similar group sizes with similar paradigms [16, 17]. Additionally, we examined results set at a voxel level p-uncorrected <0.001 in order establish the robustness of our findings. The resulting statistical maps were corrected for multiple comparisons at p-corrected <0.05 using AFNI’s 3dClustsim algorithm.  Residuals maps post-generalized linear modeling were used to compute the parameters of the spatial autocorrelation function (ARF) [18]. The output was provided by AFNI’s 3dFWHMx, which uses mixed Gaussian/mono-exponential model (median values for Go-NoGo: 0.85, 3.29, 15.61; Cyberball: 0.91, 3.48, 23.77). This approach computes the minimum cluster size to mitigate bias of distribution in the first level statistical map due to the hypothesis of not-normal distribution [19].

To address replicability issues regarding single modality fMRI [18], we also examined results with a voxel-level threshold p-uncorrected < 0.001; the results remained largely consistent, but several regions were not significant at that level (see Results). The cluster size surviving whole brain correction, using a grey-matter mask, was determined to be k>504 for Go-NoGo, and k>517 for Cyberball Game. Post-hoc pairwise analyses were only conducted in clusters that were found to be significant at the three-group comparison level in order to limit false positives.

To extract values in significant clusters we used Nilearn’s NiftiLabelsMasker function and AFNI’s Daemon Atlas for anatomical location (coordinates are reported in MNI Space). Normalized individual contrast coefficients (betas) were extracted from significant clusters for each contrast.

Supplemental references

1. 	Tustison NJ, Avants BB, Cook PA, Zheng Y, Egan A, Yushkevich PA, et al. N4ITK: Improved N3 Bias Correction. IEEE Transactions on Medical Imaging. 2010;29:1310–1320.

2. 	Avants BB, Epstein CL, Grossman M, Gee JC. Symmetric diffeomorphic image registration with cross-correlation: Evaluating automated labeling of elderly and neurodegenerative brain. Medical Image Analysis. 2008;12:26–41.

3. 	Zhang Y, Brady M, Smith S. Segmentation of brain MR images through a hidden Markov random field model and the expectation-maximization algorithm. IEEE Transactions on Medical Imaging. 2001;20:45–57.

4. 	Fonov V, Evans A, McKinstry R, Almli C, Collins D. Unbiased nonlinear average age-appropriate brain templates from birth to adulthood. NeuroImage. 2009;47:S102.

5. 	Esteban O, Markiewicz CJ, Goncalves M, DuPre E, Kent JD, Salo T, et al. FMRIPrep. Zenodo; 2018.

6. 	Esteban O, Markiewicz CJ, Blair RW, Moodie CA, Isik AI, Erramuzpe A, et al. fMRIPrep: a robust preprocessing pipeline for functional MRI. Nature Methods. 2019;16:111–116.

7. 	Esteban O, Ciric R, Finc K, Blair RW, Markiewicz CJ, Moodie CA, et al. Analysis of task-based functional MRI data preprocessed with fMRIPrep. Nat Protoc. 2020;15:2186–2202.

8. 	Jenkinson M, Smith S. A global optimisation method for robust affine registration of brain images. Medical Image Analysis. 2001;5:143–156.

9. 	Greve DN, Fischl B. Accurate and robust brain image alignment using boundary-based registration. Neuroimage. 2009;48:63–72.

10. 	Jenkinson M, Bannister P, Brady M, Smith S. Improved optimization for the robust and accurate linear registration and motion correction of brain images. Neuroimage. 2002;17:825–841.

11. 	Cox RW, Hyde JS. Software tools for analysis and visualization of fMRI data. NMR Biomed. 1997;10:171–178.

12. 	Behzadi Y, Restom K, Liau J, Liu TT. A component based noise correction method (CompCor) for BOLD and perfusion based fMRI. Neuroimage. 2007;37:90–101.

13. 	Abraham A, Pedregosa F, Eickenberg M, Gervais P, Mueller A, Kossaifi J, et al. Machine learning for neuroimaging with scikit-learn. Front Neuroinform. 2014;8.

14. 	Glover GH. Deconvolution of impulse response in event-related BOLD fMRI. Neuroimage. 1999;9:416–429.

15. 	Chen G, Adleman NE, Saad ZS, Leibenluft E, Cox RW. Applications of multivariate modeling to neuroimaging group analysis: a comprehensive alternative to univariate general linear model. Neuroimage. 2014;99:571–588.

16. 	Olié E, Jollant F, Deverdun J, Champfleur NM de, Cyprien F, Bars EL, et al. The experience of social exclusion in women with a history of suicidal acts: a neuroimaging study. Sci Rep. 2017;7:1–8.

17. 	Pan LA, Batezati-Alves SC, Almeida JRC, Segreti A, Akkal D, Hassel S, et al. Dissociable patterns of neural activity during response inhibition in depressed adolescents with and without suicidal behavior. J Am Acad Child Adolesc Psychiatry. 2011;50:602-611.e3.

18. 	Cox RW, Chen G, Glen DR, Reynolds RC, Taylor PA. FMRI Clustering in AFNI: False-Positive Rates Redux. Brain Connect. 2017;7:152–171.

19. 	Eklund A, Nichols TE, Knutsson H. Cluster failure: Why fMRI inferences for spatial extent have inflated false-positive rates. Proc Natl Acad Sci U S A. 2016;113:7900–7905.

2. Supplementary Tables

sTable 1: List of medication in patients (patient controls and suicide attempters)

|  | Total (PC and SA, n=64) |
| --- | --- |
| ANTIDEPRESSANTS |  |
| Bupropion (n) | <5 |
| Dose range, mg/day (min/max) | 150/150 |
| Ciitalopram (n) | 6 |
| Dose range, mg/day (min/max) | 10/40 |
| Escitalopram (n) | 9 |
| Dose range, mg/day (min/max) | 43966 |
| Sertraline (n) | 7 |
| Dose range, mg/day (min/max) | 25/200 |
| Fluoxetine (n) | 11 |
| Dose range, mg/day (min/max) | 10/50 |
| Venlafaxine (n) | 1 |
| Dose range, mg/day (min/max) | 112.5/112.5 |
| ADJUNCT NEUROLEPTICS |  |
| Risperidone (n) | 2 |
| Dose range, mg/day (min/max) | 1/1 |
| Quetiapine (n) | 19 |
| Dose range, mg/day (min/max) | 6.25/50 |
| Aripiprazole (n) | 2 |
| Dose range, mg/day (min/max) | 5-15 |
| Lurasidone (n) | 1 |
| Dose range, mg/day (min/max) | 80 |
| MOOD STABILIZER |  |
| Gabapentine (n) | 1 |
| Dose range, mg/day (min/max) | 600/600 |
| Lamotrigine (n) | 3 |
| Dose range, mg/day (min/max) | 75/400 |
| BENZODIAZEPINE |  |
| Alprazolam (n) | 1 |
| Dose range, mg/day (min/max) | 0.25/0.25 |
| Clonazepam (n) | 1 |
| Dose range, mg/day (min/max) | 0.25/0.25 |
| Zopiclone (n) | 1 |
| Dose range, mg/day (min/max) | 7.5/7.5 |
| STIMULANTS |  |
| Atomoxetine (n) | 3 |
| Dose range, mg/day (min/max) | 20/30 |
| Amphetamine (n) | 6 |
| Dose range, mg/day (min/max) | 25/60 |
| Methylphenidate (n) | 4 |
| Dose range, mg/day (min/max) | 10/90 |

sTable 2: Comparison of sociodemographic variables between included and missing participants.

|  | Included Participants (n=96) | Missing Participants | T-test / Chi-Square |
| --- | --- | --- | --- |
|  |  | (n=9) | t/χ2, p-value |
| Age Mean (sd) | 15.84 (1.40) | 15.67 (1.39) | t=-0.35, p=0.73 |
| Sex |  |  |  |
| Female, n (%) | 75 (78) | 5 (56) | 1.23, p=0.26 |
| Male, n (%) | 21 (22) | 4 (44) |  |
| Ethnicity |  |  |  |
| Asian, n (%) | 3 (3) | 0 (0) | χ2=0, p=1 |
| Black/Afro-American, n (%) | 6 (6) | 2 (22) | χ2=1.58, p=0.21 |
| White, n (%) | 63 (66) | 6 (66) | χ2=0, p=1 |
| Latinx/Hispanic, n (%) | 3 (3) | 0 (0) | χ2=0, p=1 |
| First Nations, n (%) | 9 (9) | 1 (11) | χ2=0, p=1 |
| Multiethnic, n (%) | 5 (5) | 0 (0) | χ2=0, p=1 |
| Other, n (%) | 10 (10) | 0 (0) | χ2=0.18, p=1 |
| Parental Education |  |  |  |
| Elementary, n (%) | 11 (11) | 0 (0) | χ2=0.25, p=0.61 |
| High School, n (%) | 17 (18) | 5 (55) | χ2=5.01, p=0.02 |
| College, n (%) | 13 (13) | 2 (22) | χ2=0.05, p=0.83 |
| University, n (%) | 54 (56) | 2 (22) | χ2=2.58, p=0.11 |

sTable 3: Correlations between socio-demographic and clinical variables with behavioral and neuroimaging variables from the Cyberball Game and Go-NoGo Task

|  | Sex1 | Age2 | IQ3 | BDI4 | BIS4 |
| --- | --- | --- | --- | --- | --- |
|  | t, p-value | , p-value | , p-value | , p-value | , p-value |
| Cyberball Game |  |  |  |  |  |
| Need-Threat Scale |  |  |  |  |  |
| Belonging | -1.58, p=0.6 | -0.05, p=1.0 | -0.05, p=1.0 | -0.35, p<0.005* | -0.23, p=0.15 |
| Self-Esteem | 0.43, p=1.0 | -0.03, p=1.0 | 0.01, p=1.0 | -0.49, p<0.005* | -0.27, p=0.045* |
| Significant Existence | -0.89, p=1.0 | -0.08, p=1.0 | -0.04, p=1.0 | -0.44, p<0.005* | -0.24, p=0.1 |
| Control | -0.07, p=1.0 | 0.02, p=1.0 | 0.16, p=0.6 | -0.28, p=0.04* | -0.15, p=0.8 |
| Total Score | -0.60, p=1.0 | -0.04, p=1.0 | 0.02, p=1.0 | -0.47, p<0.005* | -0.27, p=0.05* |
| fMRI Neuroimaging: Significant clusters |  |  |  |  |  |
| Contrast: Inclusion - Control |  |  |  |  |  |
| Left Insula | -1.11, p=1.0 | -0.10, p=1.0 | -0.04, p=1.0 | -0.38, p=0.0008* | -0.20, p=0.4 |
| Contrast: Exclusion – Control |  |  |  |  |  |
| Left Inferior Frontal Gyrus | 1.41, p=1.0 | 0.06, p=1.0 | -0.03, p=1.0 | -0.30, p=0.02 | 0.04, p=1.0 |
| Right Middle Frontal Gyrus | -1.36, p=0.9 | -0.04, p=1.0 | -0.007, p=1.0 | -0.25, p=0.1 | -0.08, p=1.0 |
| Right Inferior Frontal Gyrus | 1.34, p=0.95 | 0.06, p=1.0 | 0.04, p=1.0 | -0.12, p=1.0 | -0.22, p=0.2 |
| Go-NoGo Task |  |  |  |  |  |
| Response Times |  |  |  |  |  |
| Go Blocks | t=0.58, p=1.0 | -0.01, p=1.0 | 0.03, p=1.0 | -0.02, p=0.84 | 0.03, p=1.0 |
| NoGo Blocks | t=0.15, p=1.0 | 0.14, p=0.9 | 0.25, p=0.09 | -0.21, p=0.25 | -0.07, p=1.0 |
| Errors |  |  |  |  |  |
| Omissions (Go Blocks) | t=0.31, p=1.0 | 0.04, p=1.0 | -0.10, p=1.0 | 0.10, p=1.0 | 0.11, p=1.0 |
| Omissions (NoGo Blocks) | t=-1.33, p=0.85 | 0.19, p=0.35 | -0.11, p=1.0 | 0.09, p=1.0 | 0.16, p=0.8 |
| Commissions | t=0.26, p=1.0 | -0.28, p=0.04* | -0.24, p=0.1 | 0.21, p=0.25 | 0.17, p=0.6 |
| fMRI Neuroimaging: Significant clusters |  |  |  |  |  |
| Right Precentral Gyrus | -1.76, p=0.7 | 0.17, p=0.8 | 0.02, p=1.0 | -0.11, p=1.0 | -0.07, p=1.0 |
| Left Precentral Gyrus | -0.36, p=1.0 | 0.01, p=1.0 | -0.01, p=1.0 | 0.26, p=1.0 | 0.35, p=1.0 |
| Left Inferior Frontal Gyrus | -1.84, p=0.6 | 0.13, p=1.0 | -0.03, p=1.0 | 0.23, p=1.0 | -0.17, p=1.0 |
| Right Fusiform Gyrus | -0.11, p=1.0 | r=0.15, p=1.0 | -0.1, p=1.0 | -0.01, p=1.0 | 0.24, p=1.0 |

*p<0.05, p-values were adjusted with Bonferroni correction.

For the Need-Threat Scale, Bonferroni correction was performed for 5 variables (Belonging, Self-Esteem, Significant Existence, Control, Total Score). For the Go-NoGo Task, Bonferroni correction was performed for 5 variables (Go Blocks Response Times, Response Times for NoGo Blocks, Omissions errors in Go Blocks, Omission errors in NoGo Blocks, Comission errors). For fMRI Neuroimaging, Bonferonni correction was peformed for 8 significant clusters obtained from both tasks (0.08/8=0.00625).

1. Controlling for age, and IQ.

2. Controlling for sex, and IQ.

3. Controlling for age, and sex.

4. Controlling for age, sex, and IQ.

sTable 4: Correlations between clinical variable related to suicide attempts (SA group) with behavioral and neuroimaging variables from the Cyberball Game and Go-NoGo Task

|  | Age of first suicide attempt1 | Number of suicide attempts1 | Recency of last suicide attempt (in months)1 |
| --- | --- | --- | --- |
|  | , p-value | , p-value | , p-value |
| Cyberball |  |  |  |
| Need-Threat Scale |  |  |  |
| Belonging | -0.20, p=1.0 | 0.33, p=0.5 | -0.10, p=1.0 |
| Self-Esteem | -0.12, p=1.0 | 0.48, p=0.05* | -0.05, p=1.0 |
| Significant Existence | -0.26, p=0.8 | 0.48, p=0.06 | -0.19, p=1.0 |
| Control | -0.15, p=1.0 | -0.19, p=1.0 | 0.28, p=0.7 |
| Total | -0.22, p=1.0 | 0.36, p=0.3 | -0.04, p=1.0 |
| fMRI Neuroimaging: Significant clusters |  |  |  |
| Contrast: Inclusion - Control |  |  |  |
| Left Insula | -0.04, p=1.0 | 0.24, p=1.0 | -0.13, p=0.49 |
| Contrast: Exclusion - Control |  |  |  |
| Left Inferior Frontal Gyrus | 0.19, p=1.0 | -0.17, p=0.38 | -0.03, p=0.90 |
| Right Middle Frontal Gyrus | 0.18, p=1.0 | -0.20, p=0.30 | 0.16, p=0.42 |
| Right Inferior Frontal Gyrus | 0.25, p=1.0 | -0.14, p=0.47 | 0.05, p=0.82 |
| Go-NoGo |  |  |  |
| Response Times |  |  |  |
| Go Blocks | -0.22, p=1.0 | 0.36, p=0.3 | -0.04, p=1.0 |
| NoGo Blocks | -0.20, p=1.0 | 0.33, p=0.5 | -0.10, p=1.0 |
| Errors |  |  |  |
| Omissions (Go Blocks) | -0.12, p=1.0 | 0.48, p=0.05 | -0.05, p=1.0 |
| Omissions (NoGo Blocks) | -0.26, p=0.9 | 0.48, p=0.05 | -0.19, p=1.0 |
| Commissions | -0.15, p=1.0 | -0.19, p=1.0 | 0.28, p=0.7 |
| fMRI Neuroimaging: Significant clusters |  |  |  |
| Right Precentral Gyrus | -0.11, p=1.0 | -0.07, p=1.0 | -0.17, p=1.0 |
| Left Precentral Gyrus | 0.26, p=1.0 | 0.35, p=0.6 | 0.03, p=1.0 |
| Left Inferior Frontal Gyrus | 0.23, p=1.0 | -0.17, p=1.0 | 0.02, p=1.0 |
| Right Fusiform Gyrus | -0.01, p=1.0 | 0.24, p=1.0 | 0.00, p=1.0 |

*p<0.05, p-values were adjusted with Bonferroni correction.

For the Need-Threat Scale, Bonferroni correction was performed for 5 variables (Belonging, Self-Esteem, Significant Existence, Control, Total Score). For the Go-NoGo Task, Bonferroni correction was performed for 5 variables (Go Blocks Response Times, Response Times for NoGo Blocks, Omissions errors in Go Blocks, Omission errors in NoGo Blocks, Comission errors). For fMRI Neuroimaging, Bonferonni correction was peformed for 8 significant clusters obtained from both tasks (0.08/8=0.00625).

1. Controlling for age, sex, and IQ.

sTable 5: Group differences in functional Magnetic Resonance Imaging elicited by the Go-NoGo Task and Cyberball Game (3 contrasts, voxel threshold p<0.001; Cluster correction p<0.05)

|  |  |  |  | Size | Peak voxel |  |
| --- | --- | --- | --- | --- | --- | --- |
| Region |  | Brodmann Area | Side | Voxels (n) | Coordinates [x, y, z] | Statistics (F or t) |
| Contrast: Inclusion – Control condition (Cyberball Game)1 |  |  |  |  |  |  |
| Insula |  | 13 | L | 337 | [-36,6,8] | F=12.3 |
| Contrast: Exclusion – Control condition (Cyberball Game)2 |  |  |  |  |  |  |
| Superior Frontal Gyrus |  | 9 | R | 249 | [34,-40,32] | F=11.5 |
| Contrast: NoGo vs. Go (Go-Nogo task)1 |  |  |  |  |  |  |
| Precentral Gyrus |  | 6/9 | R | 1246 | [37,-1,27] | F=15.6 |
| Precentral Gyrus |  | 6 | L | 281 | [-47,6,32] | F=9.2 |

1. Cluster size threshold: n=235 voxels

2. Cluster size threshold: n=243 voxels

R=right, L=left; SA: Suicide attempters; PC: Patient controls; HC: Healthy controls

sTable 6: Correlations between neural activation for the two contrasts of Cyberball Game and Need-Threat Scale variables following Cyberball Game in all participants.

|  | Need-Thread Scale |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Total1 | Belonging1 | Self-Esteem1 | Significant Existence1 | Sense of Control1 |
|  | , p-value | , p-value | , p-value | , p-value | , p-value |
| Contrast: Inclusion - Control |  |  |  |  |  |
| Left Insula | 0.29, p=0.04* | 0.33, p=0.008* | 0.18, p=0.7 | 0.34, p=0.007* | 0.08, p=1.0 |
| Contrast: Exclusion – Control |  |  |  |  |  |
| Left Inferior Frontal Gyrus | 0.19, p=0.6 | 0.21, p=0.3 | 0.17, p=0.8 | 0.10, p=1.0 | 0.19, p=0.6 |
| Right Middle Frontal Gyrus | 0.10, p=1.0 | 0.05, p=1.0 | 0.21, p=0.3 | 0.03, p=1.0 | 0.07, p=1.0 |
| Right Inferior Frontal Gyrus | 0.06, p=1.0 | 0.04, p=1.0 | 0.11, p=1.0 | 0.11, p=1.0 | 0.17, p=0.8 |

*p<0.05, p-values were adjusted with Bonferroni correction for 8 significant clusters obtained from both tasks.

1. Controlling for age, sex, and IQ.

sTable 7: Correlations between neural activition for the Nogo vs. Go contrast and Go-NoGo behavioral performance in all participants.

|  | Response Times (ms) |  | Number of Errors |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Go Blocks 1 | NoGo Blocks 1 | Omissions - Go Blocks 1 | Omissions - NoGo Blocks 1 | Commissions 1 |
|  | , p-value | , p-value | , p-value | , p-value | , p-value |
| Right Precentral Gyrus | 0.17, p=0.9 | 0.16, p=1.0 | 0.12, p=1.0 | 0.23, p=0.2 | 0.00, p=1.0 |
| Left Precentral Gyrus | 0.23, p=0.24 | 0.30, p=0.03* | 0.12, p=1.0 | 0.07, p=1.0 | -0.20, p=0.4 |
| Left Inferior Frontal Gyrus | -0.07, p=1.0 | -0.07, p=1.0 | 0.05, p=1.0 | -0.05, p=1.0 | 0.05, p=1.0 |
| Right Fusiform Gyrus | 0.06, p=1.0 | 0.01, p=1.0 | 0.00, p=1.0 | -0.09, p=1.0 | 0.05, p=1.0 |

*p<0.05, p-values were adjusted with Bonferroni correction for 8 significant clusters obtained from both tasks.

1. Controlling for age, sex, and IQ..

Supplementary Figure 1: Correlation matrix of BOLD signals extracted in regions significantly different across all three groups (SA, PC, HC) in the Go-NoGo Task and Cyberball Game (All participants).

Numbers represented in the correlation matrix are Pearson’s correlation coefficients (r). Significant level was set at p = 0.05/7 (Bonferonni’s correction for 7 contrast-to-contrast comparisons). Non-significant correlations are crossed out.

Significant correlations:

Right Precentral Gyrus (GoNo-Go) – Left Prencentral Gyrus (GoNo-Go): r=0.36, p=0.002

Right Fusiform Gyrus (GoNo-Go) – Left Inferior Frontal Gyrus (GoNo-Go): r=0.43, p=0.0005

Left Insula (Inclusion, Cyberball) – Right Precentral Gyrus (GoNo-Go): r=-0.32, p= 0.00002

Abbreviations.

Hemispheres: R = Right, L = Left.

Functional Tasks: GNG = Go-NoGo Task, CB = Cyberball Game.

Contrasts: GNG = NoGo vs Go contrast in the Go-NoGo Task, Exclusion = Exclusion vs. Control contrast in the Cyberball Game, Inclusion = Inclusion vs. Control contrast in the Cyberball Game.

Brain Regions: IFG = Inferior Frontal Gyrus, MFG = Middle Frontal Gyrus.