Supplementary Figure: The HPLC analyze of QLT.[image: Figure S1]
[bookmark: _Hlk99550230]Figure Supplementary: The HPLC analyze of QLT. The peak value of 7.268 is Salidroside, and 27.703 is ginsenoside Rg1. The fingerprint of QLT capsule is accurate, specific and sensitive, providing a reliable basis for the quality control of QLT.
Methods: Diamonsil C18 column (4.6mm×250mm, 5μm), acetonitrile-water solution gradient elution, detection wavelength: 203nm; flow rate: 1mL/min; injection, volume: 10μL; temperature: 25℃.
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