# Appendices

Table A.1 Quantitative table of indicators

| indicator layer | Evaluation criteria or factors | Very suitable [9-10] | More appropriate [7-9) | Suitable [3-7) | Less suitable [1-3) | Very unsuitable [0-1) |
| --- | --- | --- | --- | --- | --- | --- |
| A11 Electricity-heat transformation rate | Heat generating material | Inorganic non-metallic electric heating materials | - | - | - | Metal electric heating materials |
| A12 Gear adjustment | Adjustment method | Infinitely manual and intelligent regulation | Induction manual | High, middle and low third gear | High and low two gear | Non-adjustable |
| A13 terminal type | Heat transfer method | Radiation | Radiation and convection | Convective | - | - |
| A14 warming time | JG/T236-2008 (Building Industry Standard of the People’s Republic of China 2008) | ≤10min | ≤15min | ≤20min | - | >20min |
| A15 temperature control accuracy | JG/T236-2008 [42] | ≤0.5℃ | ≤1℃ | ≤1.5℃ | ≤2℃ | >2℃ |
| A16 heat storage time | Adjustable time duration | Infinitely manual and intelligent regulation of heat storage time | Intelligent regulation of heat storage time | Infinitely manual control of the heat storage time | - | Non-adjustable |
| A17 Thermal storage efficiency | JG/T236-2008 | 90%-100% | 85%-90% | 80%-85% | 75%-80% | <75% |
| A21 Initial investment | Acceptance | ≥90% | ≥80% | ≥70% | ≥60% | <60% |
| A22 O&M costs | Acceptance | ≥90% | ≥80% | ≥70% | ≥60% | <60% |
| A23 Service life | Safety of Domestic Appliances | >10years | ≥7years | ≥4years | ≥2years | <2years |
| A31 Heat sensation | Residents' subjective perceptions | Reasonable | Nice and warm | Slightly warmer, slightly cooler | Cold, hot | Very cold, hot |
| A32 Thermal Comfort | Residents' subjective perceptions | Very comfortable | Comforts | Slightly uncomfortable | Uncomfortable | Very uncomfortable. |
| A33 Blowing sensation | Residents' subjective perceptions | Windless | Slight blowing sensation | The distinct sensation of blowing air | The strong feeling of blowing air | Intolerable |
| A34 Sense of humidity | Residents' subjective perceptions | Reasonable | A little damp, a little dry | Humid, dry | Very wet, very dry. | Intolerable |
| A41 Dumping cutoff | Power failure protection number method | ≥3 types | 2 kinds | 1 type | - | None |
| A42 Protected against accidental contact | - | Have | - | - | - | None |
| A43 Waterproof | Japanese Industrial Standards (JIS) | ≥IPX4 | IPX3 | IPX2 | IPX1 | None |
| A44 Locally overheated | ①No risk of local overheating ②Effective measures to avoid local overheating | With ① or ② | - | - | - | Neither |
| A45 Surface temperature | JG/T236-2008 | Grade III | - | grade II |  | Grade I |
| A51 Color profile | Subjective factor | Beautiful. | Nicer looking | General | Unattractive | Not pretty. |
| A52 Control method | APP remote control, remote control, mechanical control, etc. | 3 or more control methods | 2 types of control | 1 type of control | - | None |
| A53 Easy placement | Subjective feeling | Very appropriate size and weight | Suitable size and weight | Generally acceptable size and weight | Larger size or heavier weight | Large and heavy in size |
| A54 Easy mobile installation | Subjective factor | Easy mobile installation | Removable and mountable, but one of them is a bit tricky | It can be moved and installed, but both are cumbersome | It can be moved and installed, but both are a pain in the ass | Non-removable, troublesome to install |
| A61 Senseable Air Quality | Senseable air quality | Fresh air, no dullness, high acceptability and no odor | Air is fresher, slightly dull, more acceptable or slightly odorous | Air somewhat fresh, noticeably dull, more receptive or noticeably odorous | Air is not fresh, very noticeably dull, less acceptable or very noticeably offensive | The air freshness, dullness and odour are unbearable, and the acceptability is totally unacceptable |
| A62 Produce noise | Day and night noise tests | Daytime <40dB(A), Nighttime <30dB(A) | Daytime <45dB(A), Nighttime <35dB(A) | Daytime <50dB(A), Nighttime <40dB(A) | Daytime <55dB(A), Nighttime <45dB(A) | Daytime >55dB(A), Nighttime >45dB(A) |