Title: Development of a novel integrated isothermal amplification system for detection of bacteria-spiked blood samples

Authors: Jin Li1#, Mei-Yun Shang1#, Shao-Li Deng1, Min Li1, Ning Su1, Xiao-Dong Ren1, Xian-Ge Sun1, Wen-Man Li1, Yu-Wei Li1, Ruo-Xu Li1, Qing Huang1*, Wei-Ping Lu1*

*Co-corresponding authors:

Wei-Ping Lu, M.D. Ph.D., Email: luweiping19710416@163.com

Qing Huang, M.D. Ph.D., Email: qinghuang@tmm.edu.cn

Tel: +86-23-68746995

Fax: +86-23-68716530

1Department of Laboratory Medicine, Daping Hospital, Army Medical University, Chongqing, 400042, P.R. China

#These authors contributed equally to this work

SUPPLEMENTARY MATERIALS INDEX

Supplementary Figure 1  Relative positions of the amplicon target genes in bacterial specific target genes of bloodstream infection.

Supplementary Figure 2  Structure diagram of the detection device.

Supplementary Figure 3  Primer screening for basic RPA assays.

Supplementary Figure 4  Sensitivity of the real-time PCR assays.

Supplementary Table 1  Samples for specificity assays.

Supplementary Table 2  Primers and probes of real-time PCR.

Supplementary Figure 1. Relative positions of the amplicon target genes in bacterial specific target genes of bloodstream infection.  (A: S. aureus; B: K. peneumoniae; C: P. aeruginosa; D: H. influenzae).

Supplementary Figure 2. Structure diagram of the detection device. This device consists of top cover (1) and bottom container. Bottom pad (2), reaction chamber (3) and inspection window (4) constituted the bottom container. Number 5 and 6 represent the left channel and the right channel respectively.

Supplementary Figure 3. Primer screening for basic RPA. Several sets of forward and reverse primer screens were conducted according to the manufacturer’s instructions to obtain best amplification efficacy of four bacteria. (A: S. aureus; B: K. peneumoniae; C: P. aeruginosa; D: H. influenzae).

Supplementary Figure 4. Sensitivity of the real-time PCR assays. A, B, C, D and E represent the results of S. aureus, K. peneumoniae, P. aeruginosa, and H. influenza real-time PCR sensitivity assays, respectively. The sensitivity of the real-time PCR assays based on the quantity of genomic DNA of above four bacteria was tested by real-time PCR at 95°C for 2 min, followed by 40 cycles of 95°C for 15 seconds and 60°C for 1 min. NC: negative control.

Supplementary Table 1 Samples for specificity assays

| Target bacteria | Non-target bacteria |
| --- | --- |
|  | Staphylococcus haemolyticus |
|  | Staphylococcus cohnii |
|  | Staphylococcus hominis |
| Staphylococcus aureus | Staphylococcus caprea |
|  | Staphylococcus epidermidis |
|  | Enterococcus faecalis |
|  | Enterococcus faecium |
|  | Klebsiella oxytoca |
|  | Escherichia coli |
|  | Acinetobacter baumannii |
| Klebsiella peneumoniae | Pseudomonas aeruginosa |
|  | Proteus mirabilis |
|  | Enterobacter cloacae |
|  | Enterobacter aerogenes |
|  | Proteus mirabilis |
|  | Burkholder cepacia |
|  | Pseudomonas putida |
| Pseudomonas aeruginosa | Enterobacter cloacae |
|  | Klebsiella pneumoniae |
|  | Escherichia coli |
|  | Acinetobacter baumannii |
|  | Haemophilus parahaemolyticus |
|  | Haemophilus parainfluenzae |
|  | Escherichia coli |
| Haemophilus influenzae | Acinetobacter baumannii |
|  | Klebsiella pneumoniae |
|  | Pseudomonas aeruginosa |
|  | Stenotrophomonas maltophilia |

Supplementary Table 2 Primers and probes of Real-Time PCR.

| Target bacteria | Target region | Oligonucleotide | Origin |
| --- | --- | --- | --- |
| S. aureus | Nuc | Forward:AGCATCCTAAAAAAGGTGTAGAGA Reverse:CTTCAATTTTMTTTGCATTTTCTACCA Probe:TEX-TTTTCGTAAATGCACTTGCTTCAGGACCA-BHQ1 | (1) |
| K. peneumoniae | CelB | Forward:TTGCCGCCAGCTATCTTCAC Reverse:GGCAATACGCCAATGACCGT Probe:FAM-AACCGATGGCTTATGGCGTGCCGCT-BHQ1 | This publishment |
| P. aeruginosa | Eta | Forward:ACAACGCCCTCAGCATCAC Reverse:AGTTCAGCGACCAACTGCC Probe:FAM-TCGAAGGTGGCGTCGAGCCGAACAA-BHQ1 | This publishment |
| H. influenzae | Fuck | Forward:ATGGCGGGAACATCAATGA Reverse:ACGCATAGGAGGGAAATGGTT Probe:FAM-CGGTAATTGGGATCCAT-MGB | (1) |

Reference

1. Gadsby NJ, McHugh MP, Russell CD, Mark H, Conway Morris A, Laurenson IF, et al. Development of two real-time multiplex PCR assays for the detection and quantification of eight key bacterial pathogens in lower respiratory tract infections. Clin Microbiol Infect 2015;21(8):788.e1-788.e13. doi: 10.1016/j.cmi.2015.05.004.