SUPPORTING INFORMATION

Associations between urinary parabens and lung cancer.

Weili Mao1; Jianli Qu2; Songyang Zhong1; Xilin Wu1; Kaili Mao1,*; Kaizhen Liao2; Hangbiao Jin2,*

1 Department of Pharmacy, Quzhou Affiliated Hospital of Wenzhou Medical University, Quzhou People’s Hospital, Quzhou, Zhejiang 324000, P. R. China.

2 Key Laboratory of Microbial Technology for Industrial Pollution Control of Zhejiang Province, College of Environment, Zhejiang University of Technology, Hangzhou, Zhejiang 310032, P. R. China.

Standards and reagents. Methyl paraben (MeP), ethyl paraben (EtP), propyl paraben (PrP), butyl paraben (BuP), and benzyl paraben (BzP) were obtained from AccuStandard, Inc. (New Haven, CT). 13C-labeled internal standards, 3C6-MeP, 13C6-EtP, 13C6-PrP, and 13C6-BuP were supplied by Sigma-Aldrich (St. Louis, MO, U.S.). D4-BzP was supplied by CDN Isotopes Inc. (Pointe-Claire, Quebec, Canada). HPLC–MS grade methanol, ammonia, ammonium acetate, and formic acid were supported from J&K Scientific (Shanghai, China) and DiKMA (Shanghai, China). The Milli-Q water was prepared using an ultrapure water system (Academic A10; Germany). The stock standard solutions of target compound and internal standards solution were prepared in methanol (1 mg/mL) and stored at 20 ℃ in the dark.

Table S1. The Precursor and Product Ions of Analytes for Instrumental Analysis. Quantifying Ions are Highlighted in Bold.

| Nomenclature | Acronym | Precursor ion | Product ion |
| --- | --- | --- | --- |
| Methyl paraben | MeP | 150.9 | 136.0, 92.0 |
| Ethyl paraben | EtP | 165.0 | 136.0, 92.0 |
| Propyl paraben | PrP | 179.0 | 136.0, 92.0 |
| Butyl paraben | BuP | 193.0 | 136.0, 92.0 |
| Benzyl paraben | BzP | 226.9 | 136.1, 92.0 |
|  | MeP-d4 | 155.0 | 140.0, 96.0 |
|  | PrP-d4 | 183.0 | 140.0, 96.0 |
|  | BzP-d4 | 231.0 | 140.0, 96.0 |

Table S2. Limits of Detection (LODs), Spiked Concentrations and Recoveries of Target Parabens in Human Urine (n = 5).

|  | Spiked concentration (ng/mL) | Recovery (%) of human urine (n = 5) |  | LODs (ng/mL) |
| --- | --- | --- | --- | --- |
|  |  | Mean ± SD | Range |  |
| MeP | 5 | 113 ± 6.9 | 89–120 | 0.02 |
| EtP | 5 | 85 ± 11.2 | 76–99 | 0.02 |
| PrP | 5 | 97 ± 9.3 | 82–106 | 0.09 |
| BuP | 5 | 103 ± 10.0 | 94–114 | 0.10 |
| BzP | 5 | 116 ± 8.5 | 90–129 | 0.05 |

Table S3. Precision of Analytical Methods for parabens Spiked at Around LOQ. RSD Means Relative Standard Deviation.

|  | Accuracy (%) |  | Precision (RSD; %) |  | Intra-day (RSD; %) b |  | Inter-day (RSD; %) b |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Urine |  | Urine |  | Urine |  | Urine |
| MeP | 95 |  | 12 |  | 10.2 |  | 8.9 |
| EtP | 101 |  | 10 |  | 11.8 |  | 9.4 |
| PrP | 117 |  | 9.6 |  | 8.7 |  | 8.7 |
| BuP | 98 |  | 9.1 |  | 9.5 |  | 11.0 |
| BzP | 109 |  | 8.5 |  | 12.0 |  | 11.4 |

a mean value of quintuplicate analysis. b Intra-day (24 hour) precision: n = 5. Inter-day (3 weeks) precision: n = 5.

Table S4. Correlation Between Individual Paraben Concentrations (ng/mL) in Human Urine.

|  | EtP | PrP | BuP | BzP |
| --- | --- | --- | --- | --- |
| MeP | 0.627** | 0.521** | 0.245** | -0.126 |
| EtP |  | 0.468** | 0.333** | 0.287 |
| PrP |  |  | 0.590** | -0.027 |
| BuP |  |  |  | 0.500* |

a rs is the Spearman’s correlation coefficient.

The bold indicates correlation is significant at the 0.05 level (2-tailed).