Supplementary information

Supplementary table 1. Pathologic and electrical parameters of irreversible electroporation (IRE) with a balloon catheter based on the electrical field intensity.

| Ablated area and depth | 1500 V (N=6) | 2000 V (N=6) | P-value |
| --- | --- | --- | --- |
| Damaged surface area (mm2) | 105.3 (99.7-109.6) | 140.8 (137.1-149.3) | 0.004† |
| Damaged layer (deepest) |  |  | 0.02* |
| MM | 1 (16.7) | 0 |  |
| SM | 4 (66.7) | 0 |  |
| PM | 1 (16.7) | 6 (100) |  |
| Damaged depth (µm) | 476.1 (405.1-728.0) | 900.1 (695.7-1159.9) | 0.03† |
| Electrical parameters | 1500 V (N=6) | 2000 V (N=6) | P-value |
| Average current (A) | 4.4 (3.5-5.9) | 8.0 (7.7-8.7) | 0.004† |
| Impedance change (Z) | 1178.5 (1113.5-1255.0) | 4491.0 (4419.0-4591.3) | 0.004† |
| Electrical energy (J) | 1.9 (1.8-2.0) | 3.4 (3.3-3.4) | 0.004† |

SM, submucosal layer; PM, propria muscularis; MM, muscularis mucosa; TUNEL, terminal deoxynucleotidyl transferase dUTP nick end labeling, volt; A, ampere; J, Joule

*, Fisher exact method for categorical variables.

†, Mann-Whitney test for non-parametric analysis. Data was expressed as median and interquartile range (IQR).

P < 0.05 is considered to be statistically significant.