Supplementary Tables

Supplementary Table 1. Detailed methodology used in each centre to characterise the immunophenotype of MSCs

|  | GALWAY | HEIDELBERG | LIVERPOOL |
| --- | --- | --- | --- |
| Instrument | FACS Canto II (BD Biosciences) | FACS Canto (BD Biosciences) | FACScalibur (BD Biosciences) |
| FACS Buffer | 2% FBS in 1X DPBS, sterile filtered | 0.4 % bovine serum albumin BSA, 0.02 % sodium azide NaN3 in PBS, pH 7.4 |  |
| Blocking |  | 4°C for 5 minutes with FcR blocking reagent (Miltenyi Biotec, 130-059-901) |  |
| Antibodies | BD Biosciences StemFlow Human MSC Analysis Kit (BD Biosciences, 562245) | anti-CD44 (APC Cy7, Biolegend, 103028), anti-CD73 (PE, Biolegend 344004), anti-CD90 (APC, BD Biosciences, 559869, ), anti-CD-105 (PE-Cy7, Biolegend, 304016, ), anti-CD34 (APC, BD Biosciences 555824), anti-CD45 (PE-Cy7, Biolenged 304016), anti-HLA-DR (APC Cy7, Biolegend, 307618). | anti-CD11b (APC, Miltenyi Biotec, 130 113-793), anti-CD19 (APC, Miltenyi Biotec, 130-113-727), anti-CD34 (APC, Miltenyi Biotec, 130-113-738), anti CD44 (APC, Miltenyi Biotec, 130-113-893), anti CD45 (APC, Miltenyi Biotec, 130-113-676), anti CD73 (APC, Miltenyi Biotec, 130-097-945), anti-CD90 (APC, Miltenyi Biotec 130-117-534), anti CD105 (APC, Miltenyi Biotec, 130-099-125), anti-HLA-DR (APC, Miltenyi Biotec, 130-113-960), IgG1 mouse isotype (APC, Miltenyi Biotec, 130-113-758), or IgG2 mouse isotype (APC, Miltenyi, 130-113-831) |
| Viability dye and concentration | Draq7TM (1:750 in FACS buffer) (BioStatus, DR70250) | Sytox Blue viability dye (1:2000 in FACS Buffer) (Invitrogen Life Technologies, S34859) |  |
| Events recorded | > 104 | > 104 | > 104 |

Supplementary Information

Materials and Methods

- Serum Screen

Three batches of FBS from different suppliers were tested to source a serum that supported the growth of MSCs from each tissue source in adequate amounts to service the complete project. Three already isolated BM-MSC donors were used, and we measured their proliferation rates, immunophenotype, and trilineage differentiation potential. Proliferation and immunophenotype were performed as described previously in the Materials and Methods section.

For adipogenic differentiation, confluent cultures were treated with adipogenic induction media, which consisted of high glucose Dulbecco’s modified eagle medium (HG-DMEM, SigmaAldrich, D5796) supplemented with 10% of each FBS respectively and 1% penicillin-streptomycin (PS, Gibco, 15140-122), 1 µM dexamethasone (Merck, D4902), 10 µg/mL insulin (Sigma, 11376497001), 200 µM indomethacin (Merck, I7378) and 500 µM 3-Isobutyl-1-Methyl-Xanthine (MIX, Merck, I7018)) during 3 days and subsequently with adipogenic maintenance media (HG-DMEM, 10% of each FBS, and 1% PS) for 1 day in three repeating cycles. At the completion of the last cycle, cells were incubated in maintenance media for 7 days. Control cells were maintained in regular culture media. Detection of intracellular lipid accumulation was achieved by staining the cultures with 3% Oil Red O (Sigma, O0625) in de-ionised water (6:4) after fixation with 10% neutral buffered formalin (Sigma-Aldrich, HT501128). Harris Modified Haematoxylin (Sigma-Aldrich, HHS-16) was used to counterstain before brightfield imaging at 4X on an Olympus BX43 microscope fitted with an HD Chrome camera (1/.8”) and a 0.5x C-mount adapter. For quantitative analysis, 99% isopropanol (Sigma-Aldrich, I9516) was used to extract the Oil Red O-stained lipids that were then quantified in a multimode plate reader via absorbance at 490 nm (Victor X3, Perkin Elmer).

For chondrogenic differentiation, harvested BM-MSCs were transferred to screw capped microcentrifuge tubes at a concentration of 2 x 105 cells and centrifuged at 100 g for 5 minutes in a swing out rotor to generate cell pellets. Negative differentiated pellets were cultured with incomplete chondrogenic media (ICM: HG-DMEM supplemented with 100 nM dexamethasone, 50 µg/mL ascorbic acid 2-phosphate (Sigma, A8960) 40 µg/mL L-proline (Sigma, P0380), 1X ITS+ media supplement (insulin, transferrin, selenous acid, linoleic acid, bovine serum albumin), 1 mM sodium pyruvate,1% PS) while positive differentiated pellets were cultured with complete chondrogenic media (CCM: ICM supplemented with 10 ng/ml transforming growth factor β3 (TGF-β3, R&D Systems, UK). Media changes were performed every other day for 21 days. The level of chondrogenesis was assessed by measuring the sulphated glycosaminoglycans (s-GAG) present in each pellet using the DMMB assay and normalising between cultures by DNA content measured using PicoGreenTM Quant-iT Kit (ThermoFisher Scientific, P11496) as per the manufacturer’s instructions.

For osteogenic differentiation, 80% confluent cultures were treated with osteogenic induction media, which consisted oflow glucose Dulbecco’s modified eagle medium (LG-DMEM, SigmaAldrich, D6046) supplemented with 10% of each FBS, 1% PS, 100 nM dexamethasone, 100 µM ascorbic acid 2-phosphate (Sigma, A8960), and 10 mM ß-glycerophosphate (Sigma, G9422). Control cells were maintained in regular culture media. Media changes were performed twice per week for 17 days. At the end of this period, cultures were washed with PBS and treated with 0.5 M HCl (Sigma, 1090581000) to collect the cell layer. The cell suspension was then incubated overnight at 4 °C under agitation, centrifuged to discard cell debris and the calcium present in the supernatant quantified using the Stanbio Calcium CPC liquicolour kit (Stanbio via ThermoFisher, 0150250) as per the manufacturer’s instructions. Representative brightfield images of the cultures were taken after fixation in 95% ice cold methanol and staining for calcium deposits with 2% Alizarin Red S (Merck, A5533). Images were taken as described for adipogenic cultures.