## Physical
Parameters | Units | Appratus | Accuracy | Test Method. | WHO Limits for drinking water | FAO Limits for Agricultral Use
PH |  | PH meter with Buffer solution | ±0.002 | ASTM D1293-99 | 6.5-8.5 | 5-8.5
Color | TCU | Multiparameter Photometer. |  | ASTM D1209-05 | 5 | Unpleasent/Acceptable
Taste and Odour |  | Acceptable/Non Acceptable |  | ASTM E2892-15 | Acceptable | Unpleasent/Acceptable
TSS | mg/L | Filter paper, beaker, Desiccators, tritation assembly, vaccum pump, conical flask. | ±0.5% | ASTM D5907-18 | 25 | 120
TDS | mg/L | Filter paper, beaker, Desiccators, tritation assembly, vaccum pump, conical flask. | ±0.5% | ASTM D5907-10 | 300 | 0-2000
Electric Conductivity | µs/cm | DDS-22C High Accuracy digital Conductivity meter. | ±1.0% | ASTM D1225-14 | 400 | >3
Dissolved Oxygen (DO) | mg/L | BOD bottle and other related chemicals. | ±1.0% | ASTM D888-09 | 6.5-8 | 5.0-8.0
Biochemical Oxygen Demand (BOD) | mg/L | BOD bottle and other related chemicals. | ±1.0% | ASTM D2329-68 | 0.0004 | 80
Chemical Oxygen Demand (COD) | mg/L | BOD bottle and other related chemicals. | ±1.0% | ASTM D1252-06 | <250 | 150
Turbidity | NTU | Turbidity meter. | ±1.0% | ASTM D1889-00 | 5 | 5

## Physical_Relations
|  |  | 6.5 |  | 8.5 | [5 empty] | 6.5 | 8.5
PH |  | Limit | Minus from 6.5 |  | Minus from 8.5 |  |  | PH |  | Limit | Minus from 6.5 | Minus from 8.5
Warsak Dam (WD) | 7.15 | A | 0.65 |  | 1.35 |  |  | Warsak Dam (WD) | 7.15 | A | 0.65 | 1.35
Adezai (AK) | 6.93 | A | 0.43 |  | 1.57 |  |  | Adezai (AK) | 6.93 | A | 0.43 | 1.57
Naghuman (NG) | 6.94 | A | 0.44 |  | 1.56 |  |  | Naghuman (NG) | 6.94 | A | 0.44 | 1.56
khiyali (KK) | 7.68 | A | 1.18 |  | 0.82 |  |  | khiyali (KK) | 7.68 | A | 1.18 | 0.82
Jindi (JR) | 7.2 | A | 0.7 |  | 1.3 |  |  | Jindi (JR) | 7.2 | A | 0.7 | 1.3
Bara (BR) | 6.97 | A | 0.47 |  | 1.53 |  |  | Bara (BR) | 6.97 | A | 0.47 | 1.53
Pabbi (PR) | 7.06 | A | 0.56 |  | 1.44 |  |  | Pabbi (PR) | 7.06 | A | 0.56 | 1.44
Nowshera (NK) | 7.03 | A | 0.53 |  | 1.47 |  |  | Nowshera (NK) | 7.03 | A | 0.53 | 1.47
Rustam (RR) | 7.37 | A | 0.87 |  | 1.13 |  |  | Rustam (RR) | 7.37 | A | 0.87 | 1.13
Indus River at Khairabad (IR) | 7.18 | A | 0.68 |  | 1.32 |  |  | Indus River at Khairabad (IR) | 7.18 | A | 0.68 | 1.32
[5 empty] | 50% value | [6 empty] | 50% value
TSS |  | Limit | 25 |  | 12.5 | (0.35 or 0.9) |  | TSS |  | Limit | 25 | 12.5 | (0.35 or 0.9)
Warsak Dam (WD) | 4 | Normal | -21 | 1 | 37.5 | -7.35 | -7.35 | Warsak Dam (WD) | 4 | Normal | -21 | 37.5 | 1.4
Adezai (AK) | 23 | Normal | -2 | 1 | 37.5 | -0.7 | -0.7 | Adezai (AK) | 23 | Normal | -2 | 37.5 | 8.05
Naghuman (NG) | 18 | Normal | -7 | 1 | 37.5 | -2.45 | -2.45 | Naghuman (NG) | 18 | Normal | -7 | 37.5 | 6.3
khiyali (KK) | 8 | Normal | -17 | 1 | 37.5 | -5.95 | -5.95 | khiyali (KK) | 8 | Normal | -17 | 37.5 | 2.8
Jindi (JR) | 13 | Normal | -12 | 1 | 37.5 | -4.2 | -4.2 | Jindi (JR) | 13 | Normal | -12 | 37.5 | 4.55
Bara (BR) | 30 | TSS found | 5 | 2 | 37.5 | 1.75 | 1.75 | Bara (BR) | 30 | TSS found | 5 | 37.5 | 10.5
Pabbi (PR) | 18 | Normal | -7 | 1 | 37.5 | -2.45 | -2.45 | Pabbi (PR) | 18 | Normal | -7 | 37.5 | 6.3
Nowshera (NK) | 22 | Normal | -3 | 1 | 37.5 | -1.05 | -1.05 | Nowshera (NK) | 22 | Normal | -3 | 37.5 | 7.7
Rustam (RR) | 10 | Normal | -15 | 1 | 37.5 | -5.25 | -5.25 | Rustam (RR) | 10 | Normal | -15 | 37.5 | 3.5
Indus River at Khairabad (IR) | 18 | Normal | -7 | 1 | 37.5 | -2.45 | -2.45 | Indus River at Khairabad (IR) | 18 | Normal | -7 | 37.5 | 6.3
[6 empty] | 1.75 | [6 empty] | 10.5
[5 empty] | 50% value | [6 empty] | 50% value
| TDS | Limit | 300 |  | 150 | 0.35 |  |  | TDS | Limit | 300 | 150 | (0.35-0.9)
Warsak Dam (WD) | 160 | Normal | -140 | 1 | 450 |  |  | Warsak Dam (WD) | 160 | Normal | -140 | 450
Adezai (AK) | 236 | Normal | -64 | 1 | 450 |  |  | Adezai (AK) | 236 | Normal | -64 | 450
Naghuman (NG) | 160 | Normal | -140 | 1 | 450 |  |  | Naghuman (NG) | 160 | Normal | -140 | 450
khiyali (KK) | 120 | Normal | -180 | 1 | 450 |  |  | khiyali (KK) | 120 | Normal | -180 | 450
Jindi (JR) | 193 | Normal | -107 | 1 | 450 |  |  | Jindi (JR) | 193 | Normal | -107 | 450
Bara (BR) | 39 | Normal | -261 | 1 | 450 |  |  | Bara (BR) | 39 | Normal | -261 | 450
Pabbi (PR) | 193 | Normal | -107 | 1 | 450 |  |  | Pabbi (PR) | 193 | Normal | -107 | 450
Nowshera (NK) | 120 | Normal | -180 | 1 | 450 |  |  | Nowshera (NK) | 120 | Normal | -180 | 450
Rustam (RR) | 178 | Normal | -122 | 1 | 450 |  |  | Rustam (RR) | 178 | Normal | -122 | 450
Indus River at Khairabad (IR) | 261 | Normal | -39 | 1 | 450 |  |  | Indus River at Khairabad (IR) | 261 | Normal | -39 | 450
[5 empty] | 50 % value | [6 empty] | 50 % value
Electric Conductivity |  | Limit | 400 |  | 200 | 0.35 |  | Electric Conductivity |  | Limit | 400 | 200 | (0.35-0.9)
Warsak Dam (WD) | 380 | Normal | -20 | 1 | 600 | -7 | -7 | Warsak Dam (WD) | 380 | Normal | -20 | 600 | 133
Adezai (AK) | 560 | Found | 160 | 2 | 600 | 56 | 56 | Adezai (AK) | 560 | Found | 160 | 600 | 196
Naghuman (NG) | 360 | Normal | -40 | 1 | 600 | -14 | -14 | Naghuman (NG) | 360 | Normal | -40 | 600 | 126
khiyali (KK) | 290 | Normal | -110 | 1 | 600 | -38.5 | -38.5 | khiyali (KK) | 290 | Normal | -110 | 600 | 101.5
Jindi (JR) | 460 | Found | 60 | 2 | 600 | 21 | 21 | Jindi (JR) | 460 | Found | 60 | 600 | 161
Bara (BR) | 150 | Normal | -250 | 1 | 600 | -87.5 | -87.5 | Bara (BR) | 150 | Normal | -250 | 600 | 52.5
Pabbi (PR) | 800 | Found | 400 | 3 | 600 | 140 | 140 | Pabbi (PR) | 800 | Found | 400 | 600 | 720
Nowshera (NK) | 290 | Normal | -110 | 1 | 600 | -38.5 | -38.5 | Nowshera (NK) | 290 | Normal | -110 | 600 | 101.5
Rustam (RR) | 450 | Found | 50 | 2 | 600 | 17.5 | 17.5 | Rustam (RR) | 450 | Found | 50 | 600 | 157.5
Indus River at Khairabad (IR) | 640 | Found | 240 | 3 | 600 | 84 | 84 | Indus River at Khairabad (IR) | 640 | Found | 240 | 600 | 576
[6 empty] | 140 | [6 empty] | 720
DO |  | Limit | 8 |  | 4 |  |  | DO |  | Limit | 8 | 4 | (0.35-0.9)
Warsak Dam (WD) | 17 | Normal | 9 | 1 | 12 | 3.15 | 3.15 | Warsak Dam (WD) | 17 | Normal | 9 | 12 | 15.3
Adezai (AK) | 8.6 | Normal | 0.6 | 1 | 12 | 0.21 | 0.21 | Adezai (AK) | 8.6 | Normal | 0.6 | 12 | 3.01
Naghuman (NG) | 9.5 | Normal | 1.5 | 1 | 12 | 0.525 | 0.525 | Naghuman (NG) | 9.5 | Normal | 1.5 | 12 | 3.325
khiyali (KK) | 7 | Found | -1 |  | 12 | -0.35 | -0.35 | khiyali (KK) | 7 | Found | -1 | 12 | 2.45
Jindi (JR) | 12 | Normal | 4 | 1 | 12 | 1.4 | 1.4 | Jindi (JR) | 12 | Normal | 4 | 12 | 10.8
Bara (BR) | 9 | Normal | 1 | 1 | 12 | 0.35 | 0.35 | Bara (BR) | 9 | Normal | 1 | 12 | 3.15
Pabbi (PR) | 12 | Normal | 4 | 1 | 12 | 1.4 | 1.4 | Pabbi (PR) | 12 | Normal | 4 | 12 | 10.8
Nowshera (NK) | 12 | Normal | 4 | 1 | 12 | 1.4 | 1.4 | Nowshera (NK) | 12 | Normal | 4 | 12 | 10.8
Rustam (RR) | 6.7 | Found | -1.3 |  | 12 | -0.455 | -0.455 | Rustam (RR) | 6.7 | Found | -1.3 | 12 | 2.345
Indus River at Khairabad (IR) | 12 | Normal | 4 | 1 | 12 | 1.4 | 1.4 | Indus River at Khairabad (IR) | 12 | Normal | 4 | 12 | 10.8
[6 empty] | 3.15 | [6 empty] | 2.345
[5 empty] | 50% value | [6 empty] | 50% value
| BOD | Limit | 5 |  | 2.5 | (0.35-0.9) |  |  | BOD | Limit | 5 | 2.5 | (0.35-0.9)
Warsak Dam (WD) | 1 | Normal | -4 | 1 | 7.5 | -1.4 | -1.4 | Warsak Dam (WD) | 1 | Normal | -4 | 7.5 | 0.35
Adezai (AK) | 2 | Normal | -3 | 1 | 7.5 | -1.05 | -1.05 | Adezai (AK) | 2 | Normal | -3 | 7.5 | 0.7
Naghuman (NG) | 2 | Normal | -3 | 1 | 7.5 | -1.05 | -1.05 | Naghuman (NG) | 2 | Normal | -3 | 7.5 | 0.7
khiyali (KK) | 2 | Normal | -3 | 1 | 7.5 | -1.05 | -1.05 | khiyali (KK) | 2 | Normal | -3 | 7.5 | 0.7
Jindi (JR) | 3 | Normal | -2 | 1 | 7.5 | -0.7 | -0.7 | Jindi (JR) | 3 | Normal | -2 | 7.5 | 1.05
Bara (BR) | 6 | Found | 1 | 2 | 7.5 | 0.35 | 0.35 | Bara (BR) | 6 | Found | 1 | 7.5 | 2.1
Pabbi (PR) | 3 | Normal | -2 | 1 | 7.5 | -0.7 | -0.7 | Pabbi (PR) | 3 | Normal | -2 | 7.5 | 1.05
Nowshera (NK) | 2 | Normal | -3 | 1 | 7.5 | -1.05 | -1.05 | Nowshera (NK) | 2 | Normal | -3 | 7.5 | 0.7
Rustam (RR) | 3 | Normal | -2 | 1 | 7.5 | -0.7 | -0.7 | Rustam (RR) | 3 | Normal | -2 | 7.5 | 1.05
Indus River at Khairabad (IR) | 3 | Normal | -2 | 1 | 7.5 | -0.7 | -0.7 | Indus River at Khairabad (IR) | 3 | Normal | -2 | 7.5 | 1.05
[6 empty] | 0.35 | [6 empty] | 2.1
| COD | Limit | 250 | [5 empty] | COD | Limit | 250
Warsak Dam (WD) | 5 | Normal |  | 1 |  |  |  | Warsak Dam (WD) | 5 | Normal
Adezai (AK) | 5 | Normal |  | 1 |  |  |  | Adezai (AK) | 5 | Normal
Naghuman (NG) | 4 | Normal |  | 1 |  |  |  | Naghuman (NG) | 4 | Normal
khiyali (KK) | 4 | Normal |  | 1 |  |  |  | khiyali (KK) | 4 | Normal
Jindi (JR) | 5 | Normal |  | 1 |  |  |  | Jindi (JR) | 5 | Normal
Bara (BR) | 7 | Normal |  | 1 |  |  |  | Bara (BR) | 7 | Normal
Pabbi (PR) | 5 | Normal |  | 1 |  |  |  | Pabbi (PR) | 5 | Normal
Nowshera (NK) | 5 | Normal |  | 1 |  |  |  | Nowshera (NK) | 5 | Normal
Rustam (RR) | 4.3 | Normal |  | 1 |  |  |  | Rustam (RR) | 4.3 | Normal
Indus River at Khairabad (IR) | 5 | Normal |  | 1 |  |  |  | Indus River at Khairabad (IR) | 5 | Normal
[5 empty] | 50 % value | [6 empty] | 50 % value
| Turbidity | Limit | 5 |  | 2.5 | 0.35 |  |  | Turbidity | Limit | 5 | 2.5 | (0.35-0.9)
Warsak Dam (WD) | 0 | Normal | -5 | 1 | 7.5 | -1.75 | -1.75 | Warsak Dam (WD) | 0 | Normal | -5 | 7.5 | 0
Adezai (AK) | 0 | Normal | -5 | 1 | 7.5 | -1.75 | -1.75 | Adezai (AK) | 0 | Normal | -5 | 7.5 | 0
Naghuman (NG) | 0 | Normal | -5 | 1 | 7.5 | -1.75 | -1.75 | Naghuman (NG) | 0 | Normal | -5 | 7.5 | 0
khiyali (KK) | 1 | Normal | -4 | 1 | 7.5 | -1.4 | -1.4 | khiyali (KK) | 1 | Normal | -4 | 7.5 | 0.35
Jindi (JR) | 2 | Normal | -3 | 1 | 7.5 | -1.05 | -1.05 | Jindi (JR) | 2 | Normal | -3 | 7.5 | 0.7
Bara (BR) | 16 | Found | 11 | 3 | 7.5 | 10.45 | 10.45 | Bara (BR) | 16 | Found | 11 | 7.5 | 15.2
Pabbi (PR) | 2 | Normal | -3 | 1 | 7.5 | -1.05 | -1.05 | Pabbi (PR) | 2 | Normal | -3 | 7.5 | 0.7
Nowshera (NK) | 1 | Normal | -4 | 1 | 7.5 | -1.4 | -1.4 | Nowshera (NK) | 1 | Normal | -4 | 7.5 | 0.35
Rustam (RR) | 2 | Normal | -3 | 1 | 7.5 | -1.05 | -1.05 | Rustam (RR) | 2 | Normal | -3 | 7.5 | 0.7
Indus River at Khairabad (IR) | 1 | Normal | -4 | 1 | 7.5 | -1.4 | -1.4 | Indus River at Khairabad (IR) | 1 | Normal | -4 | 7.5 | 0.35
[6 empty] | 10.45 | [6 empty] | 15.2

## Chemical_Relations
[7 empty] | 50% value | [7 empty] | 50% value | on actual value
Total Alkalinity |  | Limit | 20 | 200 |  |  | 100 | (0.35-0.9) |  | Total Alkalinity |  | Limit | 20 | 200 | 100 | (0.35-0.9)
Warsak Dam (WD) | 210 | Found | 190 | 10 | 2 |  | 300 | 3.5 |  | Warsak Dam (WD) | 210 | Found | 190 | 10 | 300 | 73.5
Adezai (AK) | 180 | Normal | 160 | -20 | 1 |  | 300 | -7 |  | Adezai (AK) | 180 | Normal | 160 | -20 | 300 | 63
Naghuman (NG) | 120 | Normal | 100 | -80 | 1 |  | 300 | -28 |  | Naghuman (NG) | 120 | Normal | 100 | -80 | 300 | 42
khiyali (KK) | 114 | Normal | 94 | -86 | 1 |  | 300 | -30.1 |  | khiyali (KK) | 114 | Normal | 94 | -86 | 300 | 39.9
Jindi (JR) | 160 | Normal | 140 | -40 | 1 |  | 300 | -14 |  | Jindi (JR) | 160 | Normal | 140 | -40 | 300 | 56
Bara (BR) | 250 | Found | 230 | 50 | 2 |  | 300 | 17.5 |  | Bara (BR) | 250 | Found | 230 | 50 | 300 | 87.5
Pabbi (PR) | 195 | Normal | 175 | -5 | 1 |  | 300 | -1.75 |  | Pabbi (PR) | 195 | Normal | 175 | -5 | 300 | 68.25
Nowshera (NK) | 200 | Found | 180 | 0 | 1 |  | 300 | 0 |  | Nowshera (NK) | 200 | Found | 180 | 0 | 300 | 70
Rustam (RR) | 175 | Normal | 155 | -25 | 1 |  | 300 | -8.75 |  | Rustam (RR) | 175 | Normal | 155 | -25 | 300 | 61.25
Indus River at Khairabad (IR) | 165 | Normal | 145 | -35 | 1 |  | 300 | -12.25 |  | Indus River at Khairabad (IR) | 165 | Normal | 145 | -35 | 300 | 57.75
[8 empty] | 17.5 | [7 empty] | 87.5
[7 empty] | 50% value | [7 empty] | 50% value
Sodium (Na) |  | Limit | 50 |  |  |  | 25 | (0.35-0.9) |  | Sodium (Na) |  | Limit | 50 |  | 25 | (0.35-0.9)
Warsak Dam (WD) | 25.2 | Normal | -24.8 |  | 1 |  | 75 | -8.68 |  | Warsak Dam (WD) | 25.2 | Normal | -24.8 |  | 75 | 8.82
Adezai (AK) | 36.3 | Normal | -13.7 |  | 1 |  | 75 | -4.795 |  | Adezai (AK) | 36.3 | Normal | -13.7 |  | 75 | 12.705
Naghuman (NG) | 25.1 | Normal | -24.9 |  | 1 |  | 75 | -8.715 |  | Naghuman (NG) | 25.1 | Normal | -24.9 |  | 75 | 8.785
khiyali (KK) | 17.1 | Normal | -32.9 |  | 1 |  | 75 | -11.515 |  | khiyali (KK) | 17.1 | Normal | -32.9 |  | 75 | 5.985
Jindi (JR) | 33.5 | Normal | -16.5 |  | 1 |  | 75 | -5.775 |  | Jindi (JR) | 33.5 | Normal | -16.5 |  | 75 | 11.725
Bara (BR) | 67 | Found | 17 |  | 2 |  | 75 | 5.95 |  | Bara (BR) | 67 | Found | 17 |  | 75 | 23.45
Pabbi (PR) | 60 | Found | 10 |  | 2 |  | 75 | 3.5 |  | Pabbi (PR) | 60 | Found | 10 |  | 75 | 21
Nowshera (NK) | 17.1 | Normal | -32.9 |  | 1 |  | 75 | -11.515 |  | Nowshera (NK) | 17.1 | Normal | -32.9 |  | 75 | 5.985
Rustam (RR) | 16.45 | Normal | -33.55 |  | 1 |  | 75 | -11.7425 |  | Rustam (RR) | 16.45 | Normal | -33.55 |  | 75 | 5.7575
Indus River at Khairabad (IR) | 43.5 | Normal | -6.5 |  | 1 |  | 75 | -2.275 |  | Indus River at Khairabad (IR) | 43.5 | Normal | -6.5 |  | 75 | 15.225
[8 empty] | 5.95 | [7 empty] | 23.45
[7 empty] | 50% value | [7 empty] | 50% value
Calcium (ca) |  | Limit | 40 | 80 |  |  | 40 | (0.35-0.9) |  | Calcium (ca) |  | Limit | 40 | 80 | 40 | (0.35-0.9)
Warsak Dam (WD) | 62 | Normal | -18 |  | 1 |  | 120 | -6.3 |  | Warsak Dam (WD) | 62 | Normal | -18 |  | 120 | 21.7
Adezai (AK) | 289 | Found | 209 |  | 3 |  | 120 | 188.1 |  | Adezai (AK) | 289 | Found | 209 |  | 120 | 260.1
Naghuman (NG) | 62.5 | Normal | -17.5 |  | 2 |  | 120 | -6.125 |  | Naghuman (NG) | 62.5 | Normal | -17.5 |  | 120 | 21.875
khiyali (KK) | 76 | Normal | -4 |  | 1 |  | 120 | -1.4 |  | khiyali (KK) | 76 | Normal | -4 |  | 120 | 26.6
Jindi (JR) | 160 | Found | 80 |  | 3 |  | 120 | 28 |  | Jindi (JR) | 160 | Found | 80 |  | 120 | 144
Bara (BR) | 206 | Found | 126 |  | 3 |  | 120 | 113.4 |  | Bara (BR) | 206 | Found | 126 |  | 120 | 185.4
Pabbi (PR) | 101 | Found | 21 |  | 2 |  | 120 | 7.35 |  | Pabbi (PR) | 101 | Found | 21 |  | 120 | 35.35
Nowshera (NK) | 76 | Normal | -4 |  | 1 |  | 120 | -1.4 |  | Nowshera (NK) | 76 | Normal | -4 |  | 120 | 26.6
Rustam (RR) | 120 | Found | 40 |  | 2 |  | 120 | 14 |  | Rustam (RR) | 120 | Found | 40 |  | 120 | 108
Indus River at Khairabad (IR) | 275 | Found | 195 |  | 3 |  | 120 | 175.5 |  | Indus River at Khairabad (IR) | 275 | Found | 195 |  | 120 | 247.5
[8 empty] | 188.1 | [7 empty] | 260.1
[7 empty] | 50 % value | [7 empty] | 50 % value
Total Hardness |  | Limit | 200 |  |  |  | 100 | (0.35-0.9) |  | Total Hardness |  | Limit | 200 |  | 100 | (0.35-0.9)
Warsak Dam (WD) | 118 | Normal | -82 |  | 1 |  | 300 | -28.7 |  | Warsak Dam (WD) | 118 | Normal | -82 |  | 300 | 41.3
Adezai (AK) | 136 | Normal | -64 |  | 1 |  | 300 | -22.4 |  | Adezai (AK) | 136 | Normal | -64 |  | 300 | 47.6
Naghuman (NG) | 221 | Found | 21 |  | 2 |  | 300 | 7.35 |  | Naghuman (NG) | 221 | Found | 21 |  | 300 | 77.35
khiyali (KK) | 143 | Normal | -57 |  | 1 |  | 300 | -19.95 |  | khiyali (KK) | 143 | Normal | -57 |  | 300 | 50.05
Jindi (JR) | 125 | Normal | -75 |  | 1 |  | 300 | -26.25 |  | Jindi (JR) | 125 | Normal | -75 |  | 300 | 43.75
Bara (BR) | 221 | Found | 21 |  | 2 |  | 300 | 7.35 |  | Bara (BR) | 221 | Found | 21 |  | 300 | 77.35
Pabbi (PR) | 125 | Normal | -75 |  | 1 |  | 300 | -26.25 |  | Pabbi (PR) | 125 | Normal | -75 |  | 300 | 43.75
Nowshera (NK) | 143 | Normal | -57 |  | 1 |  | 300 | -19.95 |  | Nowshera (NK) | 143 | Normal | -57 |  | 300 | 50.05
Rustam (RR) | 89 | Normal | -111 |  | 1 |  | 300 | -38.85 |  | Rustam (RR) | 89 | Normal | -111 |  | 300 | 31.15
Indus River at Khairabad (IR) | 180 | Normal | -20 |  | 1 |  | 300 | -7 |  | Indus River at Khairabad (IR) | 180 | Normal | -20 |  | 300 | 63
[8 empty] | 7.35 | [7 empty] | 77.35
[7 empty] | 50 % value | [7 empty] | 50 % value
Magnesium (Mg) |  | Limit | 150 |  |  |  | 75 | (0.35-0.9) |  | Magnesium (Mg) |  | Limit | 30 |  | 15 | (0.35-0.9)
Warsak Dam (WD) | 45 | Normal | -105 |  | 1 | 0 | 225 | -36.75 |  | Warsak Dam (WD) | 45 | Normal | -105 |  | 225 | 15.75
Adezai (AK) | 67 | Normal | -83 |  | 1 | 0 | 225 | -29.05 |  | Adezai (AK) | 67 | Normal | -83 |  | 225 | 23.45
Naghuman (NG) | 45.2 | Normal | -104.8 |  | 1 | 0 | 225 | -36.68 |  | Naghuman (NG) | 45.2 | Normal | -104.8 |  | 225 | 15.82
khiyali (KK) | 77 | Normal | -73 |  | 1 | 0 | 225 | -25.55 |  | khiyali (KK) | 77 | Normal | -73 |  | 225 | 26.95
Jindi (JR) | 58 | Normal | -92 |  | 1 | 0 | 225 | -32.2 |  | Jindi (JR) | 58 | Normal | -92 |  | 225 | 20.3
Bara (BR) | 229 | Found | 79 |  | 3 | 1 | 225 | 27.65 |  | Bara (BR) | 229 | Found | 79 |  | 225 | 206.1
Pabbi (PR) | 210 | Found | 60 |  | 2 | 0.5 | 225 | 21 |  | Pabbi (PR) | 210 | Found | 60 |  | 225 | 73.5
Nowshera (NK) | 77 | Normal | -73 |  | 1 | 0 | 225 | -25.55 |  | Nowshera (NK) | 77 | Normal | -73 |  | 225 | 26.95
Rustam (RR) | 44.45 | Normal | -105.55 |  | 1 | 0 | 225 | -36.9425 |  | Rustam (RR) | 44.45 | Normal | -105.55 |  | 225 | 15.5575
Indus River at Khairabad (IR) | 143 | Normal | -7 |  | 1 | 0 | 225 | -2.45 |  | Indus River at Khairabad (IR) | 143 | Normal | -7 |  | 225 | 50.05
[5 empty] | 1 |  |  | 27.65 | [7 empty] | 206.1
3
[7 empty] | 50 % value | [7 empty] | 50 % value
Nitrite |  | Limit | 0.1 | 1 |  |  | 0.5 | (0.35-0.9) |  | Nitrite |  | Limit | 0.1 | 1 | 0.5 | (0.35-0.9)
Warsak Dam (WD) | 13 | Found | 12 |  | 3 |  | 1.5 | 10.8 | 10.8 | Warsak Dam (WD) | 13 | Found | 12 |  | 1.5 | 11.7
Adezai (AK) | 41 | Found | 40 |  | 3 |  | 1.5 | 36 | 36 | Adezai (AK) | 41 | Found | 40 |  | 1.5 | 36.9
Naghuman (NG) | 0 | Normal | -1 |  | 1 |  | 1.5 | -0.35 | -0.35 | Naghuman (NG) | 0 | Normal | -1 |  | 1.5 | 0
khiyali (KK) | 37 | Found | 36 |  | 3 |  | 1.5 | 32.4 | 32.4 | khiyali (KK) | 37 | Found | 36 |  | 1.5 | 33.3
Jindi (JR) | 42 | Found | 41 |  | 3 |  | 1.5 | 36.9 | 36.9 | Jindi (JR) | 42 | Found | 41 |  | 1.5 | 37.8
Bara (BR) | 39 | Found | 38 |  | 3 |  | 1.5 | 34.2 | 34.2 | Bara (BR) | 39 | Found | 38 |  | 1.5 | 35.1
Pabbi (PR) | 34 | Found | 33 |  | 3 |  | 1.5 | 29.7 | 29.7 | Pabbi (PR) | 34 | Found | 33 |  | 1.5 | 30.6
Nowshera (NK) | 66 | Found | 65 |  | 3 |  | 1.5 | 58.5 | 58.5 | Nowshera (NK) | 66 | Found | 65 |  | 1.5 | 59.4
Rustam (RR) | 38 | Found | 37 |  | 3 |  | 1.5 | 33.3 | 33.3 | Rustam (RR) | 38 | Found | 37 |  | 1.5 | 34.2
Indus River at Khairabad (IR) | 32 | Found | 31 |  | 3 |  | 1.5 | 27.9 | 27.9 | Indus River at Khairabad (IR) | 32 | Found | 31 |  | 1.5 | 28.8
[8 empty] | 58.5 | [7 empty] | 59.4
[7 empty] | 50 % value | [7 empty] | 50 % value
Sulfate |  | Limit | 200 | 250 |  |  | 125 | 0.35 |  | Sulfate |  | Limit | 200 | 250 | 125 | 0.35
Warsak Dam (WD) | 28.14 | Normal |  | -221.86 | 1 |  |  |  |  | Warsak Dam (WD) | 28.14 | Normal
Adezai (AK) | 47.16 | Normal |  | -202.84 | 1 |  |  |  |  | Adezai (AK) | 47.16 | Normal
Naghuman (NG) | 27.91 | Normal |  | -222.09 | 1 |  |  |  |  | Naghuman (NG) | 27.91 | Normal
khiyali (KK) | 39.62 | Normal |  | -210.38 | 1 |  |  |  |  | khiyali (KK) | 39.62 | Normal
Jindi (JR) | 53.97 | Normal |  | -196.03 | 1 |  |  |  |  | Jindi (JR) | 53.97 | Normal
Bara (BR) | 39.62 | Normal |  | -210.38 | 1 |  |  |  |  | Bara (BR) | 39.62 | Normal
Pabbi (PR) | 53.97 | Normal |  | -196.03 | 1 |  |  |  |  | Pabbi (PR) | 53.97 | Normal
Nowshera (NK) | 39.62 | Normal |  | -210.38 | 1 |  |  |  |  | Nowshera (NK) | 39.62 | Normal
Rustam (RR) | 53.97 | Normal |  | -196.03 | 1 |  |  |  |  | Rustam (RR) | 53.97 | Normal
Indus River at Khairabad (IR) | 53.97 | Normal |  | -196.03 | 1 |  |  |  |  | Indus River at Khairabad (IR) | 53.97 | Normal
Chloride. |  | Limit | 200 | 250 | [5 empty] | Chloride. |  | Limit | 200 | 250
Warsak Dam (WD) | 23 | Normal |  | -227 | 1 |  |  |  |  | Warsak Dam (WD) | 23 | Normal
Adezai (AK) | 9 | Normal |  | -241 | 1 |  |  |  |  | Adezai (AK) | 9 | Normal
Naghuman (NG) | 11 | Normal |  | -239 | 1 |  |  |  |  | Naghuman (NG) | 11 | Normal
khiyali (KK) | 8 | Normal |  | -242 | 1 |  |  |  |  | khiyali (KK) | 8 | Normal
Jindi (JR) | 11 | Normal |  | -239 | 1 |  |  |  |  | Jindi (JR) | 11 | Normal
Bara (BR) | 13 | Normal |  | -237 | 1 |  |  |  |  | Bara (BR) | 13 | Normal
Pabbi (PR) | 17 | Normal |  | -233 | 1 |  |  |  |  | Pabbi (PR) | 17 | Normal
Nowshera (NK) | 13 | Normal |  | -237 | 1 |  |  |  |  | Nowshera (NK) | 13 | Normal
Rustam (RR) | 17 | Normal |  | -233 | 1 |  |  |  |  | Rustam (RR) | 17 | Normal
Indus River at Khairabad (IR) | 6 | Normal |  | -244 | 1 |  |  |  |  | Indus River at Khairabad (IR) | 6 | Normal
Phosphate |  | Limit | 0.5 | 0.7 | [5 empty] | Phosphate |  | Limit | 0.5 | 0.7
Warsak Dam (WD) | 0.27 | Normal |  | -0.43 | 1 |  |  |  |  | Warsak Dam (WD) | 0.27 | Normal
Adezai (AK) | 0.03 | Normal |  | -0.67 | 1 |  |  |  |  | Adezai (AK) | 0.03 | Normal
Naghuman (NG) | 0 | Normal |  | -0.7 | 1 |  |  |  |  | Naghuman (NG) | 0 | Normal
khiyali (KK) | 0.04 | Normal |  | -0.66 | 1 |  |  |  |  | khiyali (KK) | 0.04 | Normal
Jindi (JR) | 0.26 | Normal |  | -0.44 | 1 |  |  |  |  | Jindi (JR) | 0.26 | Normal
Bara (BR) | 0.23 | Normal |  | -0.47 | 1 |  |  |  |  | Bara (BR) | 0.23 | Normal
Pabbi (PR) | 0.33 | Normal |  | -0.37 | 1 |  |  |  |  | Pabbi (PR) | 0.33 | Normal
Nowshera (NK) | 0.13 | Normal |  | -0.57 | 1 |  |  |  |  | Nowshera (NK) | 0.13 | Normal
Rustam (RR) | 0.33 | Normal |  | -0.37 | 1 |  |  |  |  | Rustam (RR) | 0.33 | Normal
Indus River at Khairabad (IR) | 0.04 | Normal |  | -0.66 | 1 |  |  |  |  | Indus River at Khairabad (IR) | 0.04 | Normal
Arsenic |  | Limit | 0.05 | [6 empty] | Arsenic |  | Limit | 0.05
Warsak Dam (WD) | 0.015 | Normal | -0.035 |  | 1 |  |  |  |  | Warsak Dam (WD) | 0.015 | Normal
Adezai (AK) | 0.021 | Normal | -0.029 |  | 1 |  |  |  |  | Adezai (AK) | 0.021 | Normal
Naghuman (NG) | 0.0035 | Normal | -0.0465 |  | 1 |  |  |  |  | Naghuman (NG) | 0.0035 | Normal
khiyali (KK) | 0.01 | Normal | -0.04 |  | 1 |  |  |  |  | khiyali (KK) | 0.01 | Normal
Jindi (JR) | 0.025 | Normal | -0.025 |  | 1 |  |  |  |  | Jindi (JR) | 0.025 | Normal
Bara (BR) | 0.01 | Normal | -0.04 |  | 1 |  |  |  |  | Bara (BR) | 0.01 | Normal
Pabbi (PR) | 0.021 | Normal | -0.029 |  | 1 |  |  |  |  | Pabbi (PR) | 0.021 | Normal
Nowshera (NK) | 0.012 | Normal | -0.038 |  | 1 |  |  |  |  | Nowshera (NK) | 0.012 | Normal
Rustam (RR) | 0.021 | Normal | -0.029 |  | 1 |  |  |  |  | Rustam (RR) | 0.021 | Normal
Indus River at Khairabad (IR) | 0.021 | Normal | -0.029 |  | 1 |  |  |  |  | Indus River at Khairabad (IR) | 0.021 | Normal
[7 empty] | 50 % value | [7 empty] | 50 % value
Total Coliform |  | Limit | 0 |  |  |  | 0 | 0.35 |  | Total Coliform |  | Limit | 0 |  | 0 | 0.35
Warsak Dam (WD) | 0 | Normal | 0 |  | 1 |  | 0 | 0 | 0 | Warsak Dam (WD) | 0 | Normal | 0 |  | 0 | 0
Adezai (AK) | 2 | Found | 2 |  | 3 |  | 0 | 1.8 | 1.8 | Adezai (AK) | 2 | Found | 2 |  | 0 | 1.8
Naghuman (NG) | 0 | Normal | 0 |  | 1 |  | 0 | 0 | 0 | Naghuman (NG) | 0 | Normal | 0 |  | 0 | 0
khiyali (KK) | 0 | Normal | 0 |  | 1 |  | 0 | 0 | 0 | khiyali (KK) | 0 | Normal | 0 |  | 0 | 0
Jindi (JR) | 0.1 | Found | 0.1 |  | 3 |  | 0 | 0.09 | 0.09 | Jindi (JR) | 0.1 | Found | 0.1 |  | 0 | 0.09
Bara (BR) | 0 | Normal | 0 |  | 1 |  | 0 | 0 | 0 | Bara (BR) | 0 | Normal | 0 |  | 0 | 0
Pabbi (PR) | 9 | Found | 9 |  | 3 |  | 0 | 8.1 | 8.1 | Pabbi (PR) | 9 | Found | 9 |  | 0 | 8.1
Nowshera (NK) | 4 | Found | 4 |  | 3 |  | 0 | 3.6 | 3.6 | Nowshera (NK) | 4 | Found | 4 |  | 0 | 3.6
Rustam (RR) | 0.1 | Found | 0.1 |  | 3 |  | 0 | 0.09 | 0.09 | Rustam (RR) | 0.1 | Found | 0.1 |  | 0 | 0.09
Indus River at Khairabad (IR) | 3 | Found | 3 |  | 3 |  | 0 | 2.7 | 2.7 | Indus River at Khairabad (IR) | 3 | Found | 3 |  | 0 | 2.7
[8 empty] | 8.1 | [7 empty] | 8.1
[7 empty] | 50 % value | [7 empty] | 50 % value
Fecal Coliform |  | Limit | 0 |  |  |  | 0 | 0.35 |  | Fecal Coliform |  | Limit | 0 |  | 0 | 0.35
Warsak Dam (WD) | 0 | Normal | 0 |  | 1 |  | 0 | 0 | 0 | Warsak Dam (WD) | 0 | Normal | 0 |  | 0 | 0
Adezai (AK) | 0 | Normal | 0 |  | 1 |  | 0 | 0 | 0 | Adezai (AK) | 0 | Normal | 0 |  | 0 | 0
Naghuman (NG) | 0 | Normal | 0 |  | 1 |  | 0 | 0 | 0 | Naghuman (NG) | 0 | Normal | 0 |  | 0 | 0
khiyali (KK) | 0 | Normal | 0 |  | 1 |  | 0 | 0 | 0 | khiyali (KK) | 0 | Normal | 0 |  | 0 | 0
Jindi (JR) | 1 | Found | 1 |  | 3 |  | 0 | 0.9 | 0.9 | Jindi (JR) | 1 | Found | 1 |  | 0 | 0.9
Bara (BR) | 0 | Normal | 0 |  | 1 |  | 0 | 0 | 0 | Bara (BR) | 0 | Normal | 0 |  | 0 | 0
Pabbi (PR) | 2 | Found | 2 |  | 3 |  | 0 | 1.8 | 1.8 | Pabbi (PR) | 2 | Found | 2 |  | 0 | 1.8
Nowshera (NK) | 0 | Normal | 0 |  | 1 |  | 0 | 0 | 0 | Nowshera (NK) | 0 | Normal | 0 |  | 0 | 0
Rustam (RR) | 1 | Found | 1 |  | 3 |  | 0 | 0.9 | 0.9 | Rustam (RR) | 1 | Found | 1 |  | 0 | 0.9
Indus River at Khairabad (IR) | 0 | Normal | 0 |  | 1 |  | 0 | 0 | 0 | Indus River at Khairabad (IR) | 0 | Normal | 0 |  | 0 | 0
[8 empty] | 1.8 | [7 empty] | 1.8

## Physical_within_relation
|  |  | 6.5 | on Difference value |  |  |  | 6.5 | On observed value
PH |  | Limit | Minus from 6.5 | Difference | PH |  | Limit | Minus from 6.5 | Difference
Warsak Dam (WD) | 7.15 | A | 0.65 |  | Warsak Dam (WD) | 7.15 | A | 0.65
Adezai (AK) | 6.93 | A | 0.43 |  | Adezai (AK) | 6.93 | A | 0.43
Naghuman (NG) | 6.94 | A | 0.44 |  | Naghuman (NG) | 6.94 | A | 0.44
khiyali (KK) | 7.68 | A | 1.18 |  | khiyali (KK) | 7.68 | A | 1.18
Jindi (JR) | 7.2 | A | 0.7 |  | Jindi (JR) | 7.2 | A | 0.7
Bara (BR) | 6.97 | A | 0.47 |  | Bara (BR) | 6.97 | A | 0.47
Pabbi (PR) | 7.06 | A | 0.56 |  | Pabbi (PR) | 7.06 | A | 0.56
Nowshera (NK) | 7.03 | A | 0.53 |  | Nowshera (NK) | 7.03 | A | 0.53
Rustam (RR) | 7.37 | A | 0.87 |  | Rustam (RR) | 7.37 | A | 0.87
Indus River at Khairabad (IR) | 7.18 | A | 0.68 |  | Indus River at Khairabad (IR) | 7.18 | A | 0.68
TSS |  | Limit | 25 |  | TSS |  | Limit | 25
Warsak Dam (WD) | 4 | Normal | -21 |  | Warsak Dam (WD) | 4 | Normal | -21
Adezai (AK) | 23 | Normal | -2 |  | Adezai (AK) | 23 | Normal | -2
Naghuman (NG) | 18 | Normal | -7 |  | Naghuman (NG) | 18 | Normal | -7
khiyali (KK) | 8 | Normal | -17 |  | khiyali (KK) | 8 | Normal | -17
Jindi (JR) | 13 | Normal | -12 |  | Jindi (JR) | 13 | Normal | -12
Bara (BR) | 30 | Found | 5 |  | Bara (BR) | 30 | Found | 5
Pabbi (PR) | 18 | Normal | -7 |  | Pabbi (PR) | 18 | Normal | -7
Nowshera (NK) | 22 | Normal | -3 |  | Nowshera (NK) | 22 | Normal | -3
Rustam (RR) | 10 | Normal | -15 |  | Rustam (RR) | 10 | Normal | -15
Indus River at Khairabad (IR) | 18 | Normal | -7 |  | Indus River at Khairabad (IR) | 18 | Normal | -7
| TDS | Limit | 300 |  |  | TDS | Limit | 300
Warsak Dam (WD) | 160 | Normal | -140 |  | Warsak Dam (WD) | 160 | Normal | -140
Adezai (AK) | 236 | Normal | -64 |  | Adezai (AK) | 236 | Normal | -64
Naghuman (NG) | 160 | Normal | -140 |  | Naghuman (NG) | 160 | Normal | -140
khiyali (KK) | 120 | Normal | -180 |  | khiyali (KK) | 120 | Normal | -180
Jindi (JR) | 193 | Normal | -107 |  | Jindi (JR) | 193 | Normal | -107
Bara (BR) | 39 | Normal | -261 |  | Bara (BR) | 39 | Normal | -261
Pabbi (PR) | 193 | Normal | -107 |  | Pabbi (PR) | 193 | Normal | -107
Nowshera (NK) | 120 | Normal | -180 |  | Nowshera (NK) | 120 | Normal | -180
Rustam (RR) | 178 | Normal | -122 |  | Rustam (RR) | 178 | Normal | -122
Indus River at Khairabad (IR) | 261 | Normal | -39 |  | Indus River at Khairabad (IR) | 261 | Normal | -39
Electric Conductivity |  | Limit | 400 |  | Electric Conductivity |  | Limit | 400
Warsak Dam (WD) | 380 | Normal | -20 |  | Warsak Dam (WD) | 380 | Normal | -20
Adezai (AK) | 560 | Found | 160 | 100 | Adezai (AK) | 560 | Found | 160 | 100
Naghuman (NG) | 360 | Normal | -40 | 110 | Naghuman (NG) | 360 | Normal | -40 | 110
khiyali (KK) | 290 | Normal | -110 | 80 | khiyali (KK) | 290 | Normal | -110 | 80
Jindi (JR) | 460 | Found | 60 | 10 | Jindi (JR) | 460 | Found | 60 | 10
Bara (BR) | 150 | Normal | -250 | 180 | Bara (BR) | 150 | Normal | -250 | 180
Pabbi (PR) | 800 | Found | 400 | 190 | Pabbi (PR) | 800 | Found | 400 | 190
Nowshera (NK) | 290 | Normal | -110 |  | Nowshera (NK) | 290 | Normal | -110
Rustam (RR) | 450 | Found | 50 |  | Rustam (RR) | 450 | Found | 50
Indus River at Khairabad (IR) | 640 | Found | 240 |  | Indus River at Khairabad (IR) | 640 | Found | 240
|  |  |  | 10 |  |  |  |  | 10
DO |  | Limit | 8 |  | DO |  | Limit | 8
Warsak Dam (WD) | 17 | Normal | 9 |  | Warsak Dam (WD) | 17 | Normal | 9
Adezai (AK) | 8.6 | Normal | 0.6 |  | Adezai (AK) | 8.6 | Normal | 0.6
Naghuman (NG) | 9.5 | Normal | 1.5 |  | Naghuman (NG) | 9.5 | Normal | 1.5
khiyali (KK) | 7 | Found | -1 |  | khiyali (KK) | 7 | Found | -1
Jindi (JR) | 12 | Normal | 4 |  | Jindi (JR) | 12 | Normal | 4
Bara (BR) | 9 | Normal | 1 |  | Bara (BR) | 9 | Normal | 1
Pabbi (PR) | 12 | Normal | 4 |  | Pabbi (PR) | 12 | Normal | 4
Nowshera (NK) | 12 | Normal | 4 |  | Nowshera (NK) | 12 | Normal | 4
Rustam (RR) | 6.7 | Found | -1.3 | 0.3 | Rustam (RR) | 6.7 | Found | -1.3
Indus River at Khairabad (IR) | 12 | Normal | 4 |  | Indus River at Khairabad (IR) | 12 | Normal | 4
0.3
| BOD | Limit | 5 |  |  | BOD | Limit | 5
Warsak Dam (WD) | 1 | Normal | -4 |  | Warsak Dam (WD) | 1 | Normal | -4
Adezai (AK) | 2 | Normal | -3 |  | Adezai (AK) | 2 | Normal | -3
Naghuman (NG) | 2 | Normal | -3 |  | Naghuman (NG) | 2 | Normal | -3
khiyali (KK) | 2 | Normal | -3 |  | khiyali (KK) | 2 | Normal | -3
Jindi (JR) | 3 | Normal | -2 |  | Jindi (JR) | 3 | Normal | -2
Bara (BR) | 6 | Found | 1 |  | Bara (BR) | 6 | Found | 1
Pabbi (PR) | 3 | Normal | -2 |  | Pabbi (PR) | 3 | Normal | -2
Nowshera (NK) | 2 | Normal | -3 |  | Nowshera (NK) | 2 | Normal | -3
Rustam (RR) | 3 | Normal | -2 |  | Rustam (RR) | 3 | Normal | -2
Indus River at Khairabad (IR) | 3 | Normal | -2 |  | Indus River at Khairabad (IR) | 3 | Normal | -2
| COD | Limit | 250 |  |  | COD | Limit | 250
Warsak Dam (WD) | 5 | Normal |  |  | Warsak Dam (WD) | 5 | Normal
Adezai (AK) | 5 | Normal |  |  | Adezai (AK) | 5 | Normal
Naghuman (NG) | 4 | Normal |  |  | Naghuman (NG) | 4 | Normal
khiyali (KK) | 4 | Normal |  |  | khiyali (KK) | 4 | Normal
Jindi (JR) | 5 | Normal |  |  | Jindi (JR) | 5 | Normal
Bara (BR) | 7 | Normal |  |  | Bara (BR) | 7 | Normal
Pabbi (PR) | 5 | Normal |  |  | Pabbi (PR) | 5 | Normal
Nowshera (NK) | 5 | Normal |  |  | Nowshera (NK) | 5 | Normal
Rustam (RR) | 4.3 | Normal |  |  | Rustam (RR) | 4.3 | Normal
Indus River at Khairabad (IR) | 5 | Normal |  |  | Indus River at Khairabad (IR) | 5 | Normal
| Turbidity | Limit | 5 |  |  | Turbidity | Limit | 5
Warsak Dam (WD) | 0 | Normal | -5 |  | Warsak Dam (WD) | 0 | Normal | -5
Adezai (AK) | 0 | Normal | -5 |  | Adezai (AK) | 0 | Normal | -5
Naghuman (NG) | 0 | Normal | -5 |  | Naghuman (NG) | 0 | Normal | -5
khiyali (KK) | 1 | Normal | -4 |  | khiyali (KK) | 1 | Normal | -4
Jindi (JR) | 2 | Normal | -3 |  | Jindi (JR) | 2 | Normal | -3
Bara (BR) | 16 | Found | 11 |  | Bara (BR) | 16 | Found | 11
Pabbi (PR) | 2 | Normal | -3 |  | Pabbi (PR) | 2 | Normal | -3
Nowshera (NK) | 1 | Normal | -4 |  | Nowshera (NK) | 1 | Normal | -4
Rustam (RR) | 2 | Normal | -3 |  | Rustam (RR) | 2 | Normal | -3
Indus River at Khairabad (IR) | 1 | Normal | -4 |  | Indus River at Khairabad (IR) | 1 | Normal | -4

## Chemical_within_relation
[5 empty] | on differnce value | [6 empty] | on Observed value
Total Alkalinity |  | Limit | 20 | 200 | Difference |  | Total Alkalinity |  | Limit | 20 | 200 | Difference
Warsak Dam (WD) | 210 | Found | 190 | 10 | 40 |  | Warsak Dam (WD) | 210 | Found | 190 | 10
Adezai (AK) | 180 | Normal | 160 | -20 | 10 |  | Adezai (AK) | 180 | Normal | 160 | -20
Naghuman (NG) | 120 | Normal | 100 | -80 | 50 |  | Naghuman (NG) | 120 | Normal | 100 | -80
khiyali (KK) | 114 | Normal | 94 | -86 |  |  | khiyali (KK) | 114 | Normal | 94 | -86
Jindi (JR) | 160 | Normal | 140 | -40 |  |  | Jindi (JR) | 160 | Normal | 140 | -40
Bara (BR) | 250 | Found | 230 | 50 |  |  | Bara (BR) | 250 | Found | 230 | 50
Pabbi (PR) | 195 | Normal | 175 | -5 |  |  | Pabbi (PR) | 195 | Normal | 175 | -5
Nowshera (NK) | 200 | Found | 180 | 0 |  |  | Nowshera (NK) | 200 | Found | 180 | 0
Rustam (RR) | 175 | Normal | 155 | -25 |  |  | Rustam (RR) | 175 | Normal | 155 | -25
Indus River at Khairabad (IR) | 165 | Normal | 145 | -35 |  |  | Indus River at Khairabad (IR) | 165 | Normal | 145 | -35
10
Sodium (Na) |  | Limit | 50 |  |  |  | Sodium (Na) |  | Limit | 50
Warsak Dam (WD) | 25.2 | Normal | -24.8 |  |  |  | Warsak Dam (WD) | 25.2 | Normal | -24.8
Adezai (AK) | 36.3 | Normal | -13.7 |  |  |  | Adezai (AK) | 36.3 | Normal | -13.7
Naghuman (NG) | 25.1 | Normal | -24.9 |  |  |  | Naghuman (NG) | 25.1 | Normal | -24.9
khiyali (KK) | 17.1 | Normal | -32.9 |  |  |  | khiyali (KK) | 17.1 | Normal | -32.9
Jindi (JR) | 33.5 | Normal | -16.5 |  |  |  | Jindi (JR) | 33.5 | Normal | -16.5
Bara (BR) | 67 | Found | 17 |  |  |  | Bara (BR) | 67 | Found | 17
Pabbi (PR) | 60 | Found | 10 |  |  |  | Pabbi (PR) | 60 | Found | 10
Nowshera (NK) | 17.1 | Normal | -32.9 |  |  |  | Nowshera (NK) | 17.1 | Normal | -32.9
Rustam (RR) | 16.45 | Normal | -33.55 |  |  |  | Rustam (RR) | 16.45 | Normal | -33.55
Indus River at Khairabad (IR) | 43.5 | Normal | -6.5 |  |  |  | Indus River at Khairabad (IR) | 43.5 | Normal | -6.5
Calcium (ca) |  | Limit | 40 | 80 |  |  | Calcium (ca) |  | Limit | 40 | 80
Warsak Dam (WD) | 62 | Normal | -18 |  |  |  | Warsak Dam (WD) | 62 | Normal | -18
Adezai (AK) | 289 | Found | 209 | 129 |  |  | Adezai (AK) | 289 | Found | 209
Naghuman (NG) | 62.5 | Normal | -17.5 | 83 |  |  | Naghuman (NG) | 62.5 | Normal | -17.5
khiyali (KK) | 76 | Normal | -4 | 188 |  |  | khiyali (KK) | 76 | Normal | -4
Jindi (JR) | 160 | Found | 80 | 169 |  |  | Jindi (JR) | 160 | Found | 80
Bara (BR) | 206 | Found | 126 | 14 |  |  | Bara (BR) | 206 | Found | 126
Pabbi (PR) | 101 | Found | 21 | 46 |  |  | Pabbi (PR) | 101 | Found | 21
Nowshera (NK) | 76 | Normal | -4 | 59 |  |  | Nowshera (NK) | 76 | Normal | -4
Rustam (RR) | 120 | Found | 40 | 40 |  |  | Rustam (RR) | 120 | Found | 40
Indus River at Khairabad (IR) | 275 | Found | 195 | 115 |  |  | Indus River at Khairabad (IR) | 275 | Found | 195
105
86
69
19
174
155
|  |  | Min | 14
Total Hardness |  | Limit | 200 |  |  |  | Total Hardness |  | Limit | 200
Warsak Dam (WD) | 118 | Normal | -82 |  |  |  | Warsak Dam (WD) | 118 | Normal | -82
Adezai (AK) | 136 | Normal | -64 |  |  |  | Adezai (AK) | 136 | Normal | -64
Naghuman (NG) | 221 | Found | 21 |  |  |  | Naghuman (NG) | 221 | Found | 21
khiyali (KK) | 143 | Normal | -57 |  |  |  | khiyali (KK) | 143 | Normal | -57
Jindi (JR) | 125 | Normal | -75 |  |  |  | Jindi (JR) | 125 | Normal | -75
Bara (BR) | 221 | Found | 21 |  |  |  | Bara (BR) | 221 | Found | 21
Pabbi (PR) | 125 | Normal | -75 |  |  |  | Pabbi (PR) | 125 | Normal | -75
Nowshera (NK) | 143 | Normal | -57 |  |  |  | Nowshera (NK) | 143 | Normal | -57
Rustam (RR) | 89 | Normal | -111 |  |  |  | Rustam (RR) | 89 | Normal | -111
Indus River at Khairabad (IR) | 180 | Normal | -20 |  |  |  | Indus River at Khairabad (IR) | 180 | Normal | -20
Magnesium (Mg) |  | Limit | 150 |  |  |  | Magnesium (Mg) |  | Limit | 30
Warsak Dam (WD) | 45 | Normal | -105 |  |  |  | Warsak Dam (WD) | 45 | Normal | -105
Adezai (AK) | 67 | Normal | -83 |  |  |  | Adezai (AK) | 67 | Normal | -83
Naghuman (NG) | 45.2 | Normal | -104.8 |  |  |  | Naghuman (NG) | 45.2 | Normal | -104.8
khiyali (KK) | 77 | Normal | -73 |  |  |  | khiyali (KK) | 77 | Normal | -73
Jindi (JR) | 58 | Normal | -92 |  |  |  | Jindi (JR) | 58 | Normal | -92
Bara (BR) | 229 | Found | 79 |  |  |  | Bara (BR) | 229 | Found | 79
Pabbi (PR) | 210 | Found | 60 | 19 |  |  | Pabbi (PR) | 210 | Found | 60
Nowshera (NK) | 77 | Normal | -73 |  |  |  | Nowshera (NK) | 77 | Normal | -73
Rustam (RR) | 44.45 | Normal | -105.55 |  |  |  | Rustam (RR) | 44.45 | Normal | -105.55
Indus River at Khairabad (IR) | 143 | Normal | -7 |  |  |  | Indus River at Khairabad (IR) | 143 | Normal | -7
Nitrite |  | Limit | 0.1 | 1 |  |  | Nitrite |  | Limit | 0.1 | 1
Warsak Dam (WD) | 13 | Found | 12 |  | -28 | 28 | Warsak Dam (WD) | 13 | Found | 12
Adezai (AK) | 41 | Found | 40 |  | 13 | 13 | Adezai (AK) | 41 | Found | 40
Naghuman (NG) | 0 | Normal | -1 |  | -24 | 24 | Naghuman (NG) | 0 | Normal | -1
khiyali (KK) | 37 | Found | 36 |  | -29 | 29 | khiyali (KK) | 37 | Found | 36
Jindi (JR) | 42 | Found | 41 |  | -26 | 26 | Jindi (JR) | 42 | Found | 41
Bara (BR) | 39 | Found | 38 |  | -21 | 21 | Bara (BR) | 39 | Found | 38
Pabbi (PR) | 34 | Found | 33 |  | -53 | 53 | Pabbi (PR) | 34 | Found | 33
Nowshera (NK) | 66 | Found | 65 |  | -25 | 25 | Nowshera (NK) | 66 | Found | 65
Rustam (RR) | 38 | Found | 37 |  | -19 | 19 | Rustam (RR) | 38 | Found | 37
Indus River at Khairabad (IR) | 32 | Found | 31 |  | 4 | 4 | Indus River at Khairabad (IR) | 32 | Found | 31
[5 empty] | -1 | 1
[5 empty] | 2 | 2
[5 empty] | 7 | 7
[5 empty] | -25 | 25
[5 empty] | 3 | 3
[5 empty] | 9 | 9
[5 empty] | -5 | 5
[5 empty] | -2 | 2
[5 empty] | 3 | 3
[5 empty] | -29 | 29
[5 empty] | -1 | 1
[5 empty] | 5 | 5
[5 empty] | 3 | 3
[5 empty] | 8 | 8
[5 empty] | -24 | 24
[5 empty] | 4 | 4
[5 empty] | 10 | 10
[5 empty] | 5 | 5
[5 empty] | -27 | 27
[5 empty] | 1 | 1
[5 empty] | 7 | 7
[5 empty] | -32 | 32
[5 empty] | -4 | 4
[5 empty] | 2 | 2
[5 empty] | 28 | 28
[5 empty] | 34 | 34
[5 empty] | 6 | 6
1
Sulfate |  | Limit | 200 | 250 |  |  | Sulfate |  | Limit | 200 | 250
Warsak Dam (WD) | 28.14 | Normal |  |  |  |  | Warsak Dam (WD) | 28.14 | Normal
Adezai (AK) | 47.16 | Normal |  |  |  |  | Adezai (AK) | 47.16 | Normal
Naghuman (NG) | 27.91 | Normal |  |  |  |  | Naghuman (NG) | 27.91 | Normal
khiyali (KK) | 39.62 | Normal |  |  |  |  | khiyali (KK) | 39.62 | Normal
Jindi (JR) | 53.97 | Normal |  |  |  |  | Jindi (JR) | 53.97 | Normal
Bara (BR) | 39.62 | Normal |  |  |  |  | Bara (BR) | 39.62 | Normal
Pabbi (PR) | 53.97 | Normal |  |  |  |  | Pabbi (PR) | 53.97 | Normal
Nowshera (NK) | 39.62 | Normal |  |  |  |  | Nowshera (NK) | 39.62 | Normal
Rustam (RR) | 53.97 | Normal |  |  |  |  | Rustam (RR) | 53.97 | Normal
Indus River at Khairabad (IR) | 53.97 | Normal |  |  |  |  | Indus River at Khairabad (IR) | 53.97 | Normal
Chloride. |  | Limit | 200 | 250 |  |  | Chloride. |  | Limit | 200 | 250
Warsak Dam (WD) | 23 | Normal |  |  |  |  | Warsak Dam (WD) | 23 | Normal
Adezai (AK) | 9 | Normal |  |  |  |  | Adezai (AK) | 9 | Normal
Naghuman (NG) | 11 | Normal |  |  |  |  | Naghuman (NG) | 11 | Normal
khiyali (KK) | 8 | Normal |  |  |  |  | khiyali (KK) | 8 | Normal
Jindi (JR) | 11 | Normal |  |  |  |  | Jindi (JR) | 11 | Normal
Bara (BR) | 13 | Normal |  |  |  |  | Bara (BR) | 13 | Normal
Pabbi (PR) | 17 | Normal |  |  |  |  | Pabbi (PR) | 17 | Normal
Nowshera (NK) | 13 | Normal |  |  |  |  | Nowshera (NK) | 13 | Normal
Rustam (RR) | 17 | Normal |  |  |  |  | Rustam (RR) | 17 | Normal
Indus River at Khairabad (IR) | 6 | Normal |  |  |  |  | Indus River at Khairabad (IR) | 6 | Normal
Phosphate |  | Limit | 0.5 | 0.7 |  |  | Phosphate |  | Limit | 0.5 | 0.7
Warsak Dam (WD) | 0.27 | Normal |  |  |  |  | Warsak Dam (WD) | 0.27 | Normal
Adezai (AK) | 0.03 | Normal |  |  |  |  | Adezai (AK) | 0.03 | Normal
Naghuman (NG) | 0 | Normal |  |  |  |  | Naghuman (NG) | 0 | Normal
khiyali (KK) | 0.04 | Normal |  |  |  |  | khiyali (KK) | 0.04 | Normal
Jindi (JR) | 0.26 | Normal |  |  |  |  | Jindi (JR) | 0.26 | Normal
Bara (BR) | 0.23 | Normal |  |  |  |  | Bara (BR) | 0.23 | Normal
Pabbi (PR) | 0.33 | Normal |  |  |  |  | Pabbi (PR) | 0.33 | Normal
Nowshera (NK) | 0.13 | Normal |  |  |  |  | Nowshera (NK) | 0.13 | Normal
Rustam (RR) | 0.33 | Normal |  |  |  |  | Rustam (RR) | 0.33 | Normal
Indus River at Khairabad (IR) | 0.04 | Normal |  |  |  |  | Indus River at Khairabad (IR) | 0.04 | Normal
Arsenic |  | Limit | 0.05 |  |  |  | Arsenic |  | Limit | 0.05
Warsak Dam (WD) | 0.015 | Normal |  |  |  |  | Warsak Dam (WD) | 0.015 | Normal
Adezai (AK) | 0.021 | Normal |  |  |  |  | Adezai (AK) | 0.021 | Normal
Naghuman (NG) | 0.0035 | Normal |  |  |  |  | Naghuman (NG) | 0.0035 | Normal
khiyali (KK) | 0.01 | Normal |  |  |  |  | khiyali (KK) | 0.01 | Normal
Jindi (JR) | 0.025 | Normal |  |  |  |  | Jindi (JR) | 0.025 | Normal
Bara (BR) | 0.01 | Normal |  |  |  |  | Bara (BR) | 0.01 | Normal
Pabbi (PR) | 0.021 | Normal |  |  |  |  | Pabbi (PR) | 0.021 | Normal
Nowshera (NK) | 0.012 | Normal |  |  |  |  | Nowshera (NK) | 0.012 | Normal
Rustam (RR) | 0.021 | Normal |  |  |  |  | Rustam (RR) | 0.021 | Normal
Indus River at Khairabad (IR) | 0.021 | Normal |  |  |  |  | Indus River at Khairabad (IR) | 0.021 | Normal
Total Coliform |  | Limit | 0 |  |  |  | Total Coliform |  | Limit | 0
Warsak Dam (WD) | 0 | Normal | 0 |  |  |  | Warsak Dam (WD) | 0 | Normal | 0
Adezai (AK) | 2 | Found | 2 | 1.9 | 1.9 |  | Adezai (AK) | 2 | Found | 2
Naghuman (NG) | 0 | Normal | 0 | -7 | 7 |  | Naghuman (NG) | 0 | Normal | 0
khiyali (KK) | 0 | Normal | 0 | -2 | 2 |  | khiyali (KK) | 0 | Normal | 0
Jindi (JR) | 0.1 | Found | 0.1 | 1.9 | 1.9 |  | Jindi (JR) | 0.1 | Found | 0.1
Bara (BR) | 0 | Normal | 0 | -1 | 1 |  | Bara (BR) | 0 | Normal | 0
Pabbi (PR) | 9 | Found | 9 | -8.9 | 8.9 |  | Pabbi (PR) | 9 | Found | 9
Nowshera (NK) | 4 | Found | 4 | -3.9 | 3.9 |  | Nowshera (NK) | 4 | Found | 4
Rustam (RR) | 0.1 | Found | 0.1 | 0 | 0 |  | Rustam (RR) | 0.1 | Found | 0.1
Indus River at Khairabad (IR) | 3 | Found | 3 | -2.9 | 2.9 |  | Indus River at Khairabad (IR) | 3 | Found | 3
|  |  |  | 5 | 5
|  |  |  | 8.9 | 8.9
|  |  |  | 6 | 6
|  |  |  | 3.9 | 3.9
|  |  |  | 1 | 1
|  |  |  | -2.9 | 2.9
0
Fecal Coliform |  | Limit | 0 |  |  |  | Fecal Coliform |  | Limit | 0
Warsak Dam (WD) | 0 | Normal | 0 |  |  |  | Warsak Dam (WD) | 0 | Normal | 0
Adezai (AK) | 0 | Normal | 0 |  |  |  | Adezai (AK) | 0 | Normal | 0
Naghuman (NG) | 0 | Normal | 0 |  |  |  | Naghuman (NG) | 0 | Normal | 0
khiyali (KK) | 0 | Normal | 0 |  |  |  | khiyali (KK) | 0 | Normal | 0
Jindi (JR) | 1 | Found | 1 | -1 | 1 |  | Jindi (JR) | 1 | Found | 1
Bara (BR) | 0 | Normal | 0 | 0 | 0 |  | Bara (BR) | 0 | Normal | 0
Pabbi (PR) | 2 | Found | 2 | 1 | 1 |  | Pabbi (PR) | 2 | Found | 2
Nowshera (NK) | 0 | Normal | 0 |  |  |  | Nowshera (NK) | 0 | Normal | 0
Rustam (RR) | 1 | Found | 1 |  |  |  | Rustam (RR) | 1 | Found | 1
Indus River at Khairabad (IR) | 0 | Normal | 0 |  |  |  | Indus River at Khairabad (IR) | 0 | Normal | 0

## Chemical
Parameters | Units | Appratus | Accuracy | Test Method. | WHO Limits for drinking water | FAO Limits for Agricultral Use
Total Alkalinity | mg/L | Burette,Pipettes, conical flask |  | Indicator Method ASTM D1067-02 | 20-200 | 150
Sodium (Na) | mg/L |  |  | ASTM D4191-15 | 50 | >70
Calcium (ca) | mg/L |  |  | ASTM D511-14 | 40-80 | 40-100
Total Hardness | mg/L |  |  | EDTA Method ASTM D1126-02 | <300 | 100-150
Magnesium (Mg) | mg/L |  |  | ASTM D511-14 | <30 | 30-50
Nitrite | mg/L |  |  | ASTM D7781-14 | 0.1-1 | 1.0-3.0
Sulfate | mg/L |  |  | ASTM D516-16 | 200-250 | 50-960
Chloride. | mg/L |  |  | ASTM D512-12 | 200-250 | <70
Phosphate | mg/L |  |  | ASTM D515-60 | 0.5-0.7 | 5
Arsenic | mg/L |  |  | ASTM D2972-15 | <0.05 | 0.04-0.09
Total Coliform | MPN/100ml |  |  | ASTM D9132-82 | 0 | 0
Fecal Coliform | MPN/100ml |  |  | ASTM D3508-78 | 0 | 0

## Chemical Results.
Location | Chemical Parameters for Drinking Water
| Total Alkalinity | Sodium (Na) | Calcium (ca) | Total Hardness | Magnesium (Mg) | Nitrite | Sulfate | Chloride. | Phosphate | Arsenic | Total Coliform | Fecal Coliform
Warsak Dam (WD) | 210 | 25.2 | 62 | 118 | 45 | 13 | 28.14 | 23 | 0.27 | 0.015 | 0 | 0
Adezai (AK) | 180 | 36.3 | 289 | 136 | 67 | 41 | 47.16 | 9 | 0.03 | 0.021 | 2 | 0
Naghuman (NG) | 120 | 25.1 | 62.5 | 221 | 45.2 | 0 | 27.91 | 11 | 0 | 0.0035 | 0 | 0
khiyali (KK) | 114 | 17.1 | 76 | 143 | 77 | 37 | 39.62 | 8 | 0.04 | 0.01 | 0 | 0
Jindi (JR) | 160 | 33.5 | 160 | 125 | 58 | 42 | 53.97 | 11 | 0.26 | 0.025 | 0.1 | 1
Bara (BR) | 250 | 67 | 206 | 221 | 229 | 39 | 39.62 | 13 | 0.23 | 0.01 | 0 | 0
Pabbi (PR) | 195 | 60 | 101 | 125 | 210 | 34 | 53.97 | 17 | 0.33 | 0.021 | 9 | 2
Nowshera (NK) | 200 | 17.1 | 76 | 143 | 77 | 66 | 39.62 | 13 | 0.13 | 0.012 | 4 | 0
Rustam (RR) | 175 | 16.45 | 120 | 89 | 44.45 | 38 | 53.97 | 17 | 0.33 | 0.021 | 0.1 | 1
Indus River at Khairabad (IR) | 165 | 43.5 | 275 | 180 | 143 | 32 | 53.97 | 6 | 0.04 | 0.021 | 3 | 0

## Physical Results for Drinking
Location | Physical Parameters for Drinking water
| PH | TSS | TDS | Electric Conductivity | DO | BOD | COD | Turbidity
Warsak Dam (WD) | 7.15 | 4 | 160 | 380 | 17 | 1 | 5 | 0
Adezai (AK) | 6.93 | 23 | 236 | 560 | 8.6 | 2 | 5 | 0
Naghuman (NG) | 6.94 | 18 | 160 | 360 | 9.5 | 2 | 4 | 0
khiyali (KK) | 7.68 | 8 | 120 | 290 | 7 | 2 | 4 | 1
Jindi (JR) | 7.2 | 13 | 193 | 460 | 12 | 3 | 5 | 2
Bara (BR) | 6.97 | 30 | 39 | 150 | 9 | 6 | 7 | 16
Pabbi (PR) | 7.06 | 18 | 193 | 800 | 12 | 3 | 5 | 2
Nowshera (NK) | 7.03 | 22 | 120 | 290 | 12 | 2 | 5 | 1
Rustam (RR) | 7.37 | 10 | 178 | 450 | 6.7 | 3 | 4.3 | 2
Indus River at Khairabad (IR) | 7.18 | 18 | 261 | 640 | 12 | 3 | 5 | 1